| PART 1 - GENERAL |  |
| --- | --- |
| 1.1 SECTION INCLUDES | .1 Outline requirements for materials and installation for structural steel for buildings. |
| 1.2 REFERENCES | .1 National Research Council Canada .1 National Building Code of Canada 2010 (NBCC). .2 American Society for Testing and Materials International, (ASTM) .1 ASTM A 36/A 36M-08, Specification for Structural Steel. .2 ASTM A 193/A 193M 09, Specification for Alloy-Steel and Stainless Steel Bolting Materials for High-Temperature Service. .3 ASTM A 307-07b, Specification for Carbon Steel Bolts and Studs, 60,000 psi Tensile Strength. .4 ASTM A 325-09a, Specification for Structural Bolts, Steel, Heat Treated, 120/105 ksi Minimum Tensile Strength. .5 ASTM A 325M-09, Specification for High-Strength Bolts for Structural Steel Joints (Metric). .6 ASTM A 490M-09a, Specification for High-Strength Steel Bolts, Classes 10.9 and 10.9.3, for Structural Steel Joints (Metric). .7 ASTM A123/A 123M-09, Standard Specification for Zinc (Hot-Dip Galvanized) Coatings on Iron and Steel Products. .8 ASTM A153/A 153M-09, Standard Specification for Zinc Coating (Hot-Dip) on Iron and Steel Hardware .3 Canadian General Standards Board (CGSB) .1 CAN/CGSB-85.10-99, Protective Coatings for Metals. .4 Canadian Institute of Steel Construction (CISC)/Canadian Paint Manufacturer's Association (CPMA). .1 CISC/CPMA 1-73b, Quick-Drying, One-Coat Paint for Use on Structural Steel. .2 CISC/CPMA 2-75, Quick-Drying, Primer for use on Structural Steel. .5 Canadian Standards Association (CSA International) .1 CAN/CSA-G40.20-04/G40.21-04 (R2009), General Requirements for Rolled or Welded Structural Quality Steel/Structural Quality Steel. .2 CSA S16-09, Limit States Design of Steel Structures. .3 CSA-S136-07, Cold Formed Steel Structural Members. .4 CSA-S136.1-95 (R2002), Commentary on CSA Standard S136. .5 CSA W47.1-09, Certification of Companies for Fusion Welding of Steel Structures. .6 CSA W48-06, Filler Metals and Allied Materials for Metal Arc Welding. .7 CSA W55.3-08, Resistance Welding Qualification Code for Fabricators of Structural Members Used in Buildings. .8 CSA W59-03 (R2008), Welded Steel Construction (Metal Arc Welding). .6 Master Painters Institute .1 MPI-INT 5.1, Structural Steel and Metal Fabrications. .2 MPI-EXT 5.1, Structural Steel and Metal Fabrications. .7 The Society for Protective Coatings (SSPC) .1 SSPC SP-6/NACE No. 3-07, Commercial Blast Cleaning. |
| 1.3 DESIGN REQUIREMENTS | .1 Design structural steel framing in accordance with requirements of CSA S16 and CSA S136 to resist forces, moments, shears, and allow for movements. .2 Design all steel framing connections. .3 Structures to be designed to the NBCC, Part 4, Post-Disaster Importance Category. .4 Design for quality and durability in accordance with Section 01 47 13, LEED Requirements. |
| 1.4 SHOP DRAWINGS | .1 Submit shop drawings including fabrication and erection documents and materials list in accordance with Section 01 33 00 - Submittal Procedures. .2 Shop drawings shall be stamped and signed by a qualified Professional Engineer licensed in the Province of Manitoba. |
| 1.5 SAMPLES | .1 Submit samples in accordance with Section 01 33 00 - Submittal Procedures. .2 If applicable for the final design of the buildings, prepare sample of typical exposed structural connections for approval by Consultant. Samples to be judged upon alignment of surfaces, uniform contact between surfaces, smoothness, and uniformity of finished welds. When approved, sample units will serve as a standard for workmanship, appearance, and material acceptable for entire project. |
| 1.6 QUALITY CONTROL | .1 Submit mill test reports prior to fabrication of structural steel. .2 Submit structural steel Fabricator's affidavit stating that materials and products used in fabrication conform to applicable material and products standards specified and indicated. |
| 1.7 WASTE MANAGEMENT AND DISPOSAL | .1 Separate waste materials for reuse, recycling, and disposal in accordance with Section 01 74 19 - Construction Waste Management and Disposal. |
| PART 2 - PRODUCTS |  |
| 2.1 MATERIALS | .1 Products and workmanship to be selected for quality and in accordance with Section 01 47 13, LEED Requirements. .2 Consultant to specify material requirements including, but not limited to, the following: .1 Structural steel. .2 Anchor bolts. .3 High strength anchor bolts. .4 Bolts, nuts and washers. .5 Welding materials. .6 Shop paint primer. .7 Galvanizing for steel shapes. .8 Galvanizing for steel fasteners. .9 Shear studs. |
| 2.2 FABRICATION | .1 Fabricate structural steel in accordance with CSA S16 and CSA S136 and in accordance with shop drawings approved by Consultant. .2 The Consultant to provide fabrication criteria as required including, but not limited to, the following: .1 Drawing dimensions. .2 Openings and punched holes. .3 Shop connections. .4 Field connections. .5 Column ends and bearing plates. .6 Items exposed to exterior. .7 Shear studs. .8 Minimizing corrosion potential. .9 Passivation for stainless steel. .10 Shop priming. |
| PART 3 - EXECUTION |  |
| 3.1 GENERAL | .1 Perform structural steel work in accordance with CSA S16 and CSA S136. .2 Perform welding in accordance with CSA W59 for steel and CSA W59.2 for aluminum. .3 Companies to be certified under Division 1 or 2 of CSA W47.1 for fusion welding of steel structures and/or CSA W55.3 for resistance welding of structural components. |
| 3.2 MARKING | .1 Mark materials in accordance with CAN/CSA-G40.21. |
| 3.4 ERECTION | .1 Erect structural steel in accordance with CSA S16 and CSA S136 and in accordance with erection and shop drawings approved by Consultant. .2 Consultant to specify acceptable procedures and criteria as required for all structural steel erection including, but not limited to, the following: .1 Field cutting or altering. .2 Damaged members. .3 Field connections. .4 Field welding (surfaces, temperature, preheat and interpass temperatures). .5 Erection loads. .6 Temporary bracing. .7 Column bases. .8 Enlarging or matching of unfair bolt holes. .9 Touch-up. |
| 3.5 FIELD QUALITY CONTROL | .1 Inspection and testing of materials and workmanship shall be carried out by testing laboratory designated by Consultant. .2 Consultant to prepare testing plan. .3 Design Build Team to pay costs of tests. .4 The Contract Administrator reserves the right to arrange and pay for additional testing. Provide unencumbered access to all portions of the Work and cooperate with appointed testing agency. Such testing will not augment or replace Design Build Team quality control nor relieve Design Build Team of their contractual responsibility. |
| 3.6 CLEANING | .1 Clean up in accordance with Section 01 74 11, Cleaning. |