## 122-2021_FORM B - PRICES
FORM B (R1): PRICES
(SEE B10)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
| A | HENDERSON HIGHWAY - LEIGHTON AVENUE TO McLEOD AVENUE
EARTH AND BASE WORKS
A003 | A.1 | Excavation | CW 3110-R21 | m³ | 350 |  | 0
A004 | A.2 | Sub-Grade Compaction | CW 3110-R21 | m² | 910 |  | 0
A007 | A.3 | Supplying and Placing Sub-base Material | CW 3110-R21
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 660 |  | 0
A010 | A.4 | Supplying and Placing Base Course Material | CW 3110-R21
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 75 |  | 0
A022 | A.5 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 910 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | A.6 | Pavement Removal | CW 3110-R21
B002 | i) | Concrete Pavement |  | m² | 985 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 250 |  | 0
B004 | A.7 | Slab Replacement | CW 3230-R8
B010 | i) | 230 mm Concrete Pavement (Plain-Dowelled) |  | m² | 200 |  | 0
B017 | A.8 | Partial Slab Patches | CW 3230-R8
B022 | i) | 230 mm Concrete Pavement (Type A) |  | m² | 5 |  | 0
B023 | ii) | 230 mm Concrete Pavement (Type B) |  | m² | 250 |  | 0
B024 | iii) | 230 mm Concrete Pavement (Type C) |  | m² | 25 |  | 0
B025 | iv) | 230 mm Concrete Pavement (Type D) |  | m² | 25 |  | 0
B047-24 | A.9 | Partial Slab Patches - Early Opening (24 hour) | CW 3230-R8
B054-24 | i) | 230 mm Concrete Pavement (Type C) |  | m² | 50 |  | 0
B064-72 | A.10 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8
B070-72 | i) | 230 mm Concrete Pavement (Plain-Dowelled) |  | m² | 100 |  | 0
B077-72 | A.11 | Partial Slab Patches - Early Opening (72 hour) | CW 3230-R8
B082-72 | i) | 230 mm Concrete Pavement (Type A) |  | m² | 5 |  | 0
B083-72 | ii) | 230 mm Concrete Pavement (Type B) |  | m² | 250 |  | 0
B084-72 | iii) | 230 mm Concrete Pavement (Type C) |  | m² | 25 |  | 0
B085-72 | iv) | 230 mm Concrete Pavement (Type D) |  | m² | 25 |  | 0
B094 | A.12 | Drilled Dowels | CW 3230-R8
B096 | i) | 28.6 mm Diameter |  | each | 1130 |  | 0
B097 | A.13 | Drilled Tie Bars | CW 3230-R8
B099 | i) | 25 M Deformed Tie Bar |  | each | 1385 |  | 0
B114rl | A.14 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B116rl | i) | Monolithic Median Slab | SD-226A | m² | 10 |  | 0
B118rl | ii) | 100 mm Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 30 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 100 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 325 |  | 0
B154rl | A.15 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Barrier (100 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rl1 | a) | Less than 3 m |  | m | 55 |  | 0
B155rl2 | b) | 3 m to 30 m |  | m | 105 |  | 0
B159rl | ii) | Barrier (100 mm reveal ht, Separate) | SD-203A
B159rl1 | a) | Less than 3 m |  | m | 50 |  | 0
B159rl2 | b) | 3 m to 30 m |  | m | 90 |  | 0
B159rl3 | c) | Greater than 30 m |  | m | 185 |  | 0
B167rlA | iii) | Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 105 |  | 0
B184rlA | iv) | Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229D | m | 60 |  | 0
B185rlD | v) | Splash Strip, ( Separate, 600 mm width) | SD-223B | m | 95 |  | 0
B188 | A.16 | Supply and Installation of Dowel Assemblies | CW 3310-R17 | m | 25 |  | 0
B190 | A.17 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 1500 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 160 |  | 0
B200 | A.18 | Planing of Pavement | CW 3450-R6
B202 | i) | 50 - 100 mm Depth (Asphalt) |  | m² | 6350 |  | 0
B219 | A.19 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 8 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | A.20 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
C007 | i) | Construction of 230 mm Concrete Pavement (Plain-Dowelled) |  | m² | 735 |  | 0
C019 | A.21 | Concrete Pavements for Early Opening | CW 3310-R17
C025-72 | i) | Construction of 230 mm Concrete Pavement for Early Opening 72 Hour (Plain-Dowelled) |  | m² | 175 |  | 0
C029-72 | ii) | Construction of 150 mm Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 75 |  | 0
C050 | A.22 | Supply and Installation of Dowel Assemblies | CW 3310-R17 | m | 135 |  | 0
JOINT AND CRACK SEALING
D006 | A.23 | Reflective Crack Maintenance | CW 3250-R7 | m | 1800 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | A.24 | Catch Basin | CW 2130-R12
E004 | i) | SD-024, 1200 mm deep |  | each | 1 |  | 0
E006 | A.25 | Catch Pit | CW 2130-R12
E007 | i) | SD-023 |  | each | 5 |  | 0
E007D | A.26 | Remove and Replace Existing Catch Pit | CW 2130-R12
E007E | i) | SD-023 |  | each | 1 |  | 0
E008 | A.27 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E011 | a) | Trenchless Installation, Class B Type 2 Bedding, Class 2 Backfill |  | m | 50 |  | 0
E012 | A.28 | Drainage Connection Pipe | CW 2130-R12 | m | 20 |  | 0
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 1 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 1 |  | 0
E026 | iii) | AP-008 - Standard Grated Cover for Standard Frame |  | each | 1 |  | 0
E028 | iv) | AP-011 - Barrier Curb and Gutter Frame |  | each | 1 |  | 0
E029 | v) | AP-012 - Barrier Curb and Gutter Cover |  | each | 1 |  | 0
E034 | A.29 | Connecting to Existing Catch Basin | CW 2130-R12
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 7 |  | 0
E036 | A.30 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm (PVC) Connecting Pipe
E038 | a) | Connecting to 300 mm (CONC) Sewer |  | each | 3 |  | 0
E042 | A.31 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 250 mm |  | each | 1 |  | 0
E050 | A.32 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 6 |  | 0
E051 | A.33 | Installation of Subdrains | CW 3120-R4 | m | 20 |  | 0
| A.34 | Plugging Existing Sewers and Sewer Services Smaller Than 300 Millimetres | CW 2130-R12 | each | 3 |  | 0
ADJUSTMENTS
F001 | A.35 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 4 |  | 0
F002 | A.36 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.5 |  | 0
F003 | A.37 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 2 |  | 0
F005 | ii) | 51 mm |  | each | 3 |  | 0
F006 | iii) | 64 mm |  | each | 1 |  | 0
F007 | iv) | 76 mm |  | each | 1 |  | 0
F009 | A.38 | Adjustment of Valve Boxes | CW 3210-R8 | each | 1 |  | 0
F015 | A.39 | Adjustment of Curb and Gutter Frames | CW 3210-R8 | each | 2 |  | 0
LANDSCAPING
G001 | A.40 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 25 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 50 |  | 0
G005 | A.41 | Salt Tolerant Grass Seeding | E12 | m² | 50 |  | 0
MISCELLANEOUS
| A.42 | 100 mm Sidewalk with Block Outs | E13 | m² | 5 |  | 0
| A | HENDERSON HIGHWAY - LEIGHTON AVENUE TO McLEOD AVENUE |  |  |  | Subtotal: | 0
| B | WATER AND WASTE WORK
HENDERSON HIGHWAY - SEWER REPAIR (S-MA40006756)
E017 | B.1 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017G | i) | 300 mm
E017H | a) | Class 3 Backfill |  | each | 2 |  | 0
E022A | B.2 | Sewer Inspection ( following repair) | CW 2145-R4
E022E | i) | 300 mm, CS |  | m | 98 |  | 0
| B | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
| C | MOBILIZATION /DEMOLIBIZATION
I001 | C.1 | Mobilization/Demobilization | E2 | L. sum | 1 |  | 0
| C | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0
SUMMARY
| A | HENDERSON HIGHWAY - LEIGHTON AVENUE TO McLEOD AVENUE |  |  |  | Subtotal: | 0
| B | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
| C | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0