## 807-2021
FORM B(R1): PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
PART 1 CITY FUNDED WORK
| A | PIONEER AVE - MAIN ST TO WESTBROOK ST ASPHALT RECONSTRUCTION
EARTH AND BASE WORKS
A003 | A.1 | Excavation | CW 3110-R21 | m³ | 1510 |  | 0
A004 | A.2 | Sub-Grade Compaction | CW 3110-R21 | m² | 2300 |  | 0
A007 | A.3 | Supplying and Placing Sub-base Material | CW 3110-R21
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 800 |  | 0
A008A1 | ii) | 100 mm Granular A Limestone |  | tonne | 1800 |  | 0
A010 | A.4 | Supplying and Placing Base Course Material | CW 3110-R21
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 250 |  | 0
A012 | A.5 | Grading of Boulevards | CW 3110-R21 | m² | 20 |  | 0
A016 | A.6 | Removal of Existing Concrete Bases | CW 3110-R21
A017 | i) | 600 mm Diameter or Less |  | each | 1 |  | 0
A022 | A.7 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 2300 |  | 0
A022A4 | A.8 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 2300 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | A.9 | Pavement Removal | CW 3110-R21
B002 | i) | Concrete Pavement |  | m² | 2500 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 100 |  | 0
B047-24 | A.10 | Partial Slab Patches - Early Opening (24 hour) | CW 3230-R8, E35
B049-24 | i) | 250 mm Type 3 Concrete Pavement (Type B) |  | m² | 80 |  | 0
B051-24 | ii) | 250 mm Type 3 Concrete Pavement (Type D) |  | m² | 40 |  | 0
B094 | A.11 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 100 |  | 0
B096 | ii) | 28.6 mm Diameter |  | each | 125 |  | 0
B097 | A.12 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 100 |  | 0
B099 | ii) | 25 M Deformed Tie Bar |  | each | 125 |  | 0
B100r | A.13 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B101r | i) | Median Slab |  | m² | 115 |  | 0
B102r | ii) | Monolithic Median Slab |  | m² | 25 |  | 0
B104r | iii) | 100 mm Sidewalk |  | m² | 750 |  | 0
B105r | iv) | Bullnose |  | m² | 3 |  | 0
B107i | A.14 | Miscellaneous Concrete Slab Installation | CW 3235-R9, E35
B109i | i) | Type 1 Concrete Monolithic Median Slab | SD-226A | m² | 10 |  | 0
B112i | ii) | Type 1 Concrete Bullnose | SD-227C | m² | 1 |  | 0
B114A | A.15 | Type 1 Concrete 100 mm Sidewalk with Block Outs | E14, E35 | m² | 1350 |  | 0
B114E | A.16 | Paving Stone Indicator Surfaces | E15 | m² | 150 |  | 0
B114rl | A.17 | Miscellaneous Concrete Slab Renewal | CW 3235-R9, E35
B116rl | i) | Type 1 Concrete Monolithic Median Slab | SD-226A | m² | 20 |  | 0
B118rl | ii) | 100 mm Type 1 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 40 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 30 |  | 0
B120rl | c) | 5 sq.m. to 20 sq.m. Exposed Aggregate | E17 | m² | 20 |  | 0
B121rlD | d) | Greater than 20 sq.m. |  | m² | 100 |  | 0
B122rl | iii) | Type 1 Concrete Bullnose | SD-227C | m² | 2 |  | 0
B154rl | A.18 | Concrete Curb Renewal | CW 3240-R10, E35
B155rlB | i) | Type 1 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205, SD-206A |  |  |  |  | add "Slip Form Paving" if specified
B155rl^1 | a) | Less than 3 m |  | m | 15 |  | 0 | In item code replace ^ with A or B or omit according to the code of the item used above
B155rl^2 | b) | 3 m to 30 m |  | m | 10 |  | 0 | In item code replace ^ with A or B or omit according to the code of the item used above
B184rlA | ii) | Type 1 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 20 |  | 0
B189 | A.19 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 100 |  | 0
B190 | A.20 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B194 | i) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 30 |  | 0
B200 | A.21 | Planing of Pavement | CW 3450-R6
B202 | i) | 50 - 100 mm Depth (Asphalt) |  | m² | 160 |  | 0
B219 | A.22 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 15 |  | 0
ROADWORKS - NEW CONSTRUCTION
C019 | A.23 | Concrete Pavements for Early Opening | CW 3310-R17, E35
C026-72 | i) | Construction of 200 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 100 |  | 0
C032 | A.24 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17, E35
C034B | i) | Construction of Barrier (200 mm ht, Type 1, Separate) | SD-203A | m | 50 |  | 0
C038B | ii) | Construction of Curb and Gutter (180 mm ht, Barrier, Integral, 600 mm width, 150 mm Plain Type 1 Concrete Pavement) Slip Form Paving | SD-200 | m | 270 |  | 0
C039B | iii) | Construction of Curb and Gutter (180 mm ht, Modified Barrier, Integral, 600 mm width, 150 mm Plain Type 1 Concrete Pavement) | SD-200 SD-203B | m | 50 |  | 0
C040 | iv) | Construction of Curb and Gutter (40 mm ht, Lip Curb, Integral, 600 mm width, 150 mm Plain Type 1 Concrete Pavement) | SD-200 SD-202B | m | 15 |  | 0
C041 | v) | Construction of Curb and Gutter (8-12 mm ht, Curb Ramp, Integral, 600 mm width, 150 mm Plain Type 1 Concrete Pavement) | SD-200 SD-229E | m | 40 |  | 0
C046 | vi) | Construction of Curb Ramp (8-12 mm ht, Type 1, Integral) | SD-229C | m | 7 |  | 0
C055 | A.25 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 250 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 90 |  | 0
C063 | A.26 | Construction of Asphaltic Concrete Base Course (Type III) | CW 3410-R12 | tonne | 580 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | A.27 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 4 |  | 0
E008 | A.28 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Sand Bedding, Class 3 Backfill |  | m | 18 |  | 0
E011 | b) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 7 |  | 0
E023 | A.29 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 6 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 6 |  | 0
E032 | A.30 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 250 mm Catch Basin Lead |  | each | 5 |  | 0
E036 | A.31 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm (PVC) Connecting Pipe
E038 | a) | Connecting to 300mm PVC Sewer |  | each | 4 |  | 0
| A.32 | Supply and Install Sewer Service Outlet Restrictor | CW 2130-R12, E26
| i) | 150mm |  | each | 4 |  | 0
E046 | A.33 | Removal of Existing Catch Basins | CW 2130-R12 | each | 5 |  | 0
E050 | A.34 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 2 |  | 0
| A.35 | Watermain and Water Service Insulation | E16
| i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 20 |  | 0
E051 | A.36 | Installation of Subdrains | CW 3120-R4 | m | 72 |  | 0
ADJUSTMENTS
F001 | A.37 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 6 |  | 0
F002 | A.38 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 3 |  | 0
F003 | A.39 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 6 |  | 0
F009 | A.40 | Adjustment of Valve Boxes | CW 3210-R8 | each | 7 |  | 0
F010 | A.41 | Valve Box Extensions | CW 3210-R8 | each | 3 |  | 0
F011 | A.42 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 3 |  | 0
F018 | A.43 | Curb Stop Extensions | CW 3210-R8 | each | 3 |  | 0
F028 | A.44 | Adjustment of Traffic Signal Service Box Frames | CW 3210-R8 | each | 1 |  | 0
LANDSCAPING
G001 | A.45 | Sodding | CW 3510-R9
G003 | i) | width > or = 600 mm |  | m² | 20 |  | 0
MISCELLANEOUS
| A.46 | Durable Pavement Markings for Gore Area | E28 | LS | 1 |  | 0
| A.47 | Tree Removal | E24 | each | 1 |  | 0
| A | PIONEER AVE - MAIN ST TO WESTBROOK ST ASPHALT RECONSTRUCTION |  |  |  | Subtotal: | 0
| B | WILLIAM STEPHENSON WAY - MAIN ST TO WESTBROOK ST ASPHALT RECONSTRUCTION
EARTH AND BASE WORKS
A003 | B.1 | Excavation | CW 3110-R21 | m³ | 1000 |  | 0
A004 | B.2 | Sub-Grade Compaction | CW 3110-R21 | m² | 1350 |  | 0
A007 | B.3 | Supplying and Placing Sub-base Material | CW 3110-R21
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 500 |  | 0
A008A1 | ii) | 100 mm Granular A Limestone |  | tonne | 1000 |  | 0
A010 | B.4 | Supplying and Placing Base Course Material | CW 3110-R21
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 150 |  | 0
A012 | B.5 | Grading of Boulevards | CW 3110-R21 | m² | 20 |  | 0
A022 | B.6 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 1350 |  | 0
A022A4 | B.7 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 1350 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | B.8 | Pavement Removal | CW 3110-R21
B002 | i) | Concrete Pavement |  | m² | 1500 |  | 0
B097 | B.9 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 100 |  | 0
B100r | B.10 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 500 |  | 0
B114A | B.11 | Type 1 Concrete 100 mm Sidewalk with Block Outs | E14, E35 | m² | 980 |  | 0
B114E | B.12 | Paving Stone Indicator Surfaces | E15 | m² | 100 |  | 0
B114rl | B.13 | Miscellaneous Concrete Slab Renewal | CW 3235-R9, E35
B118rl | i) | 100 mm Type 1 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 5 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 7 |  | 0
B154rl | B.14 | Concrete Curb Renewal | CW 3240-R10, E35
B184rlA | i) | Type 1 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 4 |  | 0
B189 | B.15 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 50 |  | 0
B200 | B.16 | Planing of Pavement | CW 3450-R6
B202 | i) | 50 - 100 mm Depth (Asphalt) |  | m² | 100 |  | 0
B219 | B.17 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 6 |  | 0
ROADWORKS - NEW CONSTRUCTION
C019 | B.18 | Concrete Pavements for Early Opening | CW 3310-R17, E35
C026-72 | i) | Construction of Type 4 200 mm Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 50 |  | 0
C032 | B.19 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17, E35
C038B | i) | Construction of Curb and Gutter (180 mm ht, Barrier, Integral, 600 mm width, 150 mm Plain Type 1 Concrete Pavement) Slip Form Paving | SD-200 | m | 200 |  | 0
C039B | ii) | Construction of Curb and Gutter (180 mm ht, Modified Barrier, Integral, 600 mm width, 150 mm Plain Type 1 Concrete Pavement) | SD-200 SD-203B | m | 30 |  | 0
C041 | iii) | Construction of Curb and Gutter (8-12 mm ht, Curb Ramp, Integral, 600 mm width, 150 mm Plain Type 1 Concrete Pavement) | SD-200 SD-229E | m | 30 |  | 0
C046 | iv) | Construction of Curb Ramp (8-12 mm ht, Integral) | SD-229C | m | 4 |  | 0
C051 | B.20 | 100 mm Type 1 Concrete Sidewalk | CW 3325-R5 | m² | 50 |  | 0
C055 | B.21 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 130 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 50 |  | 0
C063 | B.22 | Construction of Asphaltic Concrete Base Course (Type III) | CW 3410-R12 | tonne | 320 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | B.23 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 2 |  | 0
E008 | B.24 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Sand Bedding, Class 3 Backfill |  | m | 2 |  | 0
E023 | B.25 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 2 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 2 |  | 0
E042 | B.26 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 250 mm |  | each | 2 |  | 0
E046 | B.27 | Removal of Existing Catch Basins | CW 2130-R12 | each | 2 |  | 0
| B.28 | Watermain and Water Service Insulation | E16
| i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 100 |  | 0
E051 | B.29 | Installation of Subdrains | CW 3120-R4 | m | 12 |  | 0
ADJUSTMENTS
F001 | B.30 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 2 |  | 0
F002 | B.31 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
F003 | B.32 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 1 |  | 0
F009 | B.33 | Adjustment of Valve Boxes | CW 3210-R8 | each | 6 |  | 0
F010 | B.34 | Valve Box Extensions | CW 3210-R8 | each | 2 |  | 0
F028 | B.35 | Adjustment of Traffic Signal Service Box Frames | CW 3210-R8 | each | 1 |  | 0
LANDSCAPING
G001 | B.36 | Sodding | CW 3510-R9
G003 | i) | width > or = 600 mm |  | m² | 20 |  | 0
| B | WILLIAM STEPHENSON WAY - MAIN ST TO WESTBROOK ST ASPHALT RECONSTRUCTION |  |  |  | Subtotal: | 0
| C | ST. MARY AVE - MEMORIAL BLVD TO PORTAGE AV CONCRETE RECONSTRUCTION
EARTH AND BASE WORKS
A003 | C.1 | Excavation | CW 3110-R21 | m³ | 4700 |  | 0
A004 | C.2 | Sub-Grade Compaction | CW 3110-R21 | m² | 6350 |  | 0
A007 | C.3 | Supplying and Placing Sub-base Material | CW 3110-R21
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 6150 |  | 0
A010 | C.4 | Supplying and Placing Base Course Material | CW 3110-R21
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 750 |  | 0
A012 | C.5 | Grading of Boulevards | CW 3110-R21 | m² | 110 |  | 0
A022 | C.6 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 6350 |  | 0
A022A4 | C.7 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 6350 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | C.8 | Pavement Removal | CW 3110-R21
B002 | i) | Concrete Pavement |  | m² | 5850 |  | 0
B094 | C.9 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 100 |  | 0
B096 | ii) | 28.6 mm Diameter |  | each | 100 |  | 0
B097 | C.10 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 100 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 100 |  | 0
B099 | iii) | 25 M Deformed Tie Bar |  | each | 500 |  | 0
B100r | C.11 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B102r | i) | Monolithic Median Slab |  | m² | 240 |  | 0
B103r | ii) | Safety Median |  | m² | 40 |  | 0
B104r | iii) | 100 mm Sidewalk |  | m² | 1660 |  | 0
B105r | iv) | Bullnose |  | m² | 2 |  | 0
B114A | C.12 | Type 1 Concrete 100 mm Sidewalk with Block Outs | E14 | m² | 1730 |  | 0
B114E | C.13 | Paving Stone Indicator Surfaces | E15 | m² | 200 |  | 0
B126r | C.14 | Concrete Curb Removal | CW 3240-R10
B127r | i) | Barrier Separate |  | m | 30 |  | 0
B189 | C.15 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 20 |  | 0
B199 | C.16 | Construction of Asphalt Patches | CW 3410-R12 | m² | 100 |  | 0
B219 | C.17 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 36 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | C.18 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17, E35
C004 | i) | Construction of 250 mm Type 1 Concrete Pavement (Plain-Dowelled) Slip Form Paving |  | m² | 2000 |  | 0
C004 | ii) | Construction of 250 mm Type 1 Concrete Pavement (Plain-Dowelled) |  | m² | 3500 |  | 0
C008 | iii) | Construction of 200 mm Concrete Pavement (Reinforced) |  | m² | 200 |  | 0
C014 | iv) | Construction of Type 1 Concrete Median Slabs | SD-227A | m² | 250 |  | 0
C015 | v) | Construction of Monolithic Bike Lane Type 1 Concrete Median Slabs | SD-226A | m² | 85 |  | 0
C016 | vi) | Construction of Type 1 Concrete Safety Medians | SD-226B | m² | 55 |  | 0
C018 | vii) | Construction of Monolithic Type 1 Concrete Bull-noses | SD-227C | m² | 5 |  | 0
C019 | C.19 | Concrete Pavements for Early Opening | CW 3310-R17, E35
C022 | i) | Construction of 250 mm Type 4 Concrete Pavement for Early Opening 72 hour (Plain-Dowelled) |  | m² | 400 |  | 0
C026-72 | ii) | Construction of 200 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 600 |  | 0
C032 | C.20 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17, E35
C033B | i) | Construction of Barrier (180 mm ht, Type 1, Dowelled) | SD-205 | m | 60 |  | 0
C035B | ii) | Construction of Barrier (180 mm ht, Type 1, Integral) Slip Form Paving | SD-204 | m | 500 |  | 0
C037B | iii) | Construction of Modified Barrier (180 mm ht, Type 1, Integral) | SD-203B | m | 180 |  | 0
C046 | iv) | Construction of Curb Ramp (8-12 mm ht, Type 1, Integral) | SD-229C | m | 150 |  | 0
C050 | C.21 | Supply and Installation of Dowel Assemblies | CW 3310-R17 | m | 1600 |  | 0
C051 | C.22 | 100 mm Type 1 Concrete Sidewalk | CW 3325-R5 | m² | 50 |  | 0
C055 | C.23 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
C059 | i) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 150 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | C.24 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 11 |  | 0
E006 | C.25 | Catch Pit | CW 2130-R12
E007 | i) | SD-023 |  | each | 3 |  | 0
E008 | C.26 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Sand Bedding, Class 3 Backfill |  | m | 30 |  | 0
E011 | b) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 50 |  | 0
E012 | C.27 | Drainage Connection Pipe | CW 2130-R12 | m | 6 |  | 0
E013 | C.28 | Sewer Service Risers | CW 2130-R12
E014 | i) | 250 mm
E015 | a) | SD-014 |  | vert. m | 9 |  | 0
E023 | C.29 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 10 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 10 |  | 0
E034 | C.30 | Connecting to Existing Catch Basin | CW 2130-R12
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 2 |  | 0
E036 | C.31 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm (PVC) Connecting Pipe
E038 | a) | Connecting to 300 mm (Conc. CS) Sewer |  | each | 2 |  | 0
E041 | b) | Connecting to 525 mm (Conc.) Sewer |  | each | 2 |  | 0
E041B | c) | Connecting to 750 mm (Conc.) Sewer |  | each | 1 |  | 0
E041B | d) | Connecting to 1350 mm (Conc.) Sewer |  | each | 2 |  | 0
E046 | C.32 | Removal of Existing Catch Basins | CW 2130-R12 | each | 4 |  | 0
E050 | C.33 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 2 |  | 0
E051 | C.34 | Installation of Subdrains | CW 3120-R4 | m | 120 |  | 0
ADJUSTMENTS
F001 | C.35 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 11 |  | 0
F002 | C.36 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 6 |  | 0
F003 | C.37 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 10 |  | 0
F009 | C.38 | Adjustment of Valve Boxes | CW 3210-R8 | each | 7 |  | 0
F010 | C.39 | Valve Box Extensions | CW 3210-R8 | each | 3 |  | 0
F028 | C.40 | Adjustment of Traffic Signal Service Box Frames | CW 3210-R8 | each | 2 |  | 0
| C.41 | Televise Existing Catch Basin Lead
| i) | 200m Catch Basin Lead |  | m | 20 |  | 0
|  | LANDSCAPING |  |  |  |  | 0
G001 | C.42 | Sodding | CW 3510-R9
G003 | i) | width > or = 600 mm |  | m² | 110 |  | 0
MISCELLANEOUS
| C.43 | Green Bike Lane Treatment | E28 | m² | 180 |  | 0
| C.44 | Installation of Concrete Filled Bollards |  | each | 10 |  | 0
| C | ST. MARY AVE - MEMORIAL BLVD TO PORTAGE AV CONCRETE RECONSTRUCTION |  |  |  | Subtotal: | 0
| D | COLONY ST - MEMORIAL BLVD TO ST. MARY AVE ASPHALT OVERLAY
EARTH AND BASE WORKS
A012 | D.1 | Grading of Boulevards | CW 3110-R21 | m² | 20 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | D.2 | Pavement Removal | CW 3110-R21
B003 | i) | Asphalt Pavement |  | m² | 35 |  | 0
B064-72 | D.3 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8, E35
B071-72 | i) | 200 mm Type 4 Concrete Pavement (Reinforced) |  | m² | 500 |  | 0
B077-72 | D.4 | Partial Slab Patches - Early Opening (72 hour) | CW 3230-R8, E35
B086-72 | i) | 200 mm Type 4 Reinforced Concrete Pavement (Type A) |  | m² | 10 |  | 0
B087-72 | ii) | 200 mm Type 4 Reinfrorced Concrete Pavement (Type B) |  | m² | 35 |  | 0
B089-72 | iii) | 200 mm Type 4 Reinforced Concrete Pavement (Type D) |  | m² | 10 |  | 0
B094 | D.5 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 200 |  | 0
B097 | D.6 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 300 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 275 |  | 0
B114rl | D.7 | Miscellaneous Concrete Slab Renewal | CW 3235-R9, E35
B118rl | i) | 100 mm Type 1 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 30 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 15 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 85 |  | 0
B154rl | D.8 | Concrete Curb Renewal | CW 3240-R10, E35
B155rlB | i) | Type 1 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rlB1 | a) | Less than 3 m |  | m | 10 |  | 0
B155rlB2 | b) | 3 m to 30 m |  | m | 60 |  | 0
B168rlA | ii) | Type 1 Concrete Modified Barrier (150 mm reveal ht Integral) | SD-203B | m | 10 |  | 0
B184rl | iii) | Type 1 Concrete Curb Ramp (8-12 mm reveal ht, Integral) | SD-229C,D | m | 7 |  | 0
B184rlA | iv) | Type 1 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 25 |  | 0
B189 | D.9 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 20 |  | 0
B190 | D.10 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 380 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 50 |  | 0
B206 | D.11 | Supply and Install Pavement Repair Fabric | E13
B206A | i) | Type A |  | m² | 350
B219 | D.12 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 4 |  | 0
JOINT AND CRACK SEALING
D005 | D.13 | Longitudinal Joint & Crack Filling ( > 25 mm in width ) | CW 3250-R7 | m | 150 |  | 0
D006 | D.14 | Reflective Crack Maintenance | CW 3250-R7 | m | 320 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E007D | D.15 | Remove and Replace Existing Catch Pit | CW 2130-R12
E007E | i) | SD-023 |  | each | 1 |  | 0
ADJUSTMENTS
F001 | D.16 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 3 |  | 0
F009 | D.17 | Adjustment of Valve Boxes | CW 3210-R8 | each | 2 |  | 0
LANDSCAPING
G001 | D.18 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 50 |  | 0
| D | COLONY ST - MEMORIAL BLVD TO ST. MARY AVE ASPHALT OVERLAY |  |  |  | Subtotal: | 0
| E | MAIN STREET SIDEWALK
B100r | E.1 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 380 |  | 0
B126r | E.2 | Concrete Curb Removal | CW 3240-R10
B127rB | i) | Barrier Separate |  | m | 80 |  | 0
B135i | E.3 | Concrete Curb Installation | CW 3240-R10
B136iB | i) | Type 1 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205 | m | 80 |  | 0
B189 | E.4 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 75 |  | 0
B114A | E.5 | Type 1 Concrete 100 mm Sidewalk with Block Outs | E14 | m² | 380 |  | 0
B114E | E.6 | Paving Stone Indicator Surfaces | E15 | m² | 30 |  | 0
F019 | E.7 | Relocating Existing Hydrant - Type A | CW 2110-R11 | each | 1 |  | 0
| E.8 | Tree Removal | E24 | each | 4 |  | 0
| E | MAIN STREET SIDEWALK |  |  |  | Subtotal: | 0
| F | STREETSCAPING
ROADWORKS - RENEWALS
C051 | F.1 | 100mm Type 1 Concrete Sidewalk with Blockouts & Thickened Edge at Planting Bed | CW 3325-R5, E35 | m² | 1200 |  | 0
| F.2 | 100mm Type 1 Coloured Concrete Sidewalk, Charcoal Colour & Thickened Edge at Planting Bed & William Stephenson Transit Stop | CW 3325-R5, E17, E35 | m² | 93 |  | 0
| F.3 | 200mm Type 1 Coloured Concrete Sidewalk, Charcoal Colour & Thickened Edge (at bus shelter / digital sign locations) | CW 3325-R5, E17, E35 | m² | 18 |  | 0
| F.4 | Install T-Man Concrete Pile | Sht L2.3 Dtl 1 | each | 1 |  | 0
| F.5 | Install Concrete Foundation for Bus Stop Flag | Sht L2.3 Dtl 2 | each | 1 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
STRUCTURAL SOIL CELL
| F.6 | Structural Soil Cell System | E18 | l.s | 1 |  | 0
| F.7 | Drainage Pipe | E18 | m | 93 |  | 0
E034 | F.8 | Connecting to Existing Catch Basin | CW 2130-R12
E035 | i) | 150 mm Drainage Connection Pipe |  | each | 2 |  | 0
UNIT PAVING
| F.9 | Holland Paver, Charcoal Colour | CW 3335,E15 | m² | 90 |  | 0
SOFT LANDSCAPE
| F.10 | Clay-Rich Planting Medium | E19 | m3 | 143 |  | 0
| F.11 | Sodding | CW 3510, CW 3540, SD-243, E20 | m2 | 30 |  | 0
| F.12 | American Elm | E21 | each | 4 |  | 0
| F.13 | Dropmore Linden | E21 | each | 5 |  | 0
| F.14 | Black Granite Mulch | E21 | m2 | 30 |  | 0
SITE FURNISHINGS
| F.15 | Bench Type 1 | E22 | each | 8 |  | 0
| F.16 | Bench Type 2 | E22 | each | 6 |  | 0
| F.17 | Waste Receptacle | E22 | each | 2 |  | 0
| F.18 | Bike Rack | E22 | each | 3 |  | 0
| F.19 | Timber Fence | E25 | m | 70 |  | 0
LANDSCAPE MAINTENANCE
| F.20 | Year One Landscape Maintenance | E23 | l.s. | 1 |  | 0
| F.21 | Year Two Landscape Maintenance | E23 | l.s. | 1 |  | 0
| F | STREETSCAPING |  |  |  | Subtotal: | 0
| G | WILLIAM STEPHENSON WAY SIDEWALK MAINTENANCE - WESTBROOK ST TO ISRAEL ASPER WAY
B097 | G.1 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 50 |  | 0
B100r | G.2 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B106r | i) | Monolithic Curb and Sidewalk |  | m² | 150 |  | 0
B107i | G.3 | Miscellaneous Concrete Slab Installation | CW 3235-R9, E35
B114A | G.4 | Type 1 Concrete 100 mm Sidewalk with Block Outs | E14, E35 | m² | 150 |  | 0
B114E | G.5 | Paving Stone Indicator Surfaces | E15 | m² | 15 |  | 0
B114rl | G.6 | Miscellaneous Concrete Slab Renewal | CW 3235-R9, E35
B118rl | i) | 100 mm Type 1 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 20 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 15 |  | 0
B126r | G.7 | Concrete Curb Removal | CW 3240-R10
B132r | i) | Curb Ramp |  | m | 20 |  | 0
B135i | G.8 | Concrete Curb Installation | CW 3240-R10
B150iA | i) | Type 1 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229A,B,C | m | 35 |  | 0
B154rl | G.9 | Concrete Curb Renewal | CW 3240-R10, E35
B184rlA | i) | Type 1 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 20 |  | 0
B189 | G.10 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 50 |  | 0
B219 | G.11 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 6 |  | 0
| G | WILLIAM STEPHENSON WAY SIDEWALK MAINTENANCE - WESTBROOK ST TO ISRAEL ASPER WAY |  |  |  | Subtotal: | 0
| H | TRAFFIC SIGNALS
PIONEER AND WESTBROOK
| H.1 | Installation of Conduit | CW 3620, E29
| i) | Installation of Conduit - Single |  | m | 20 |  | 0
| ii) | Installation of Conduit - Double |  | m | 60 |  | 0
| H.2 | Installation of Bases | CW 3620, E31,E32, E33
| i) | Signal Pole Base – Type G (Light Duty – 32 Dia. Bolts) | SD-313 | each | 2 |  | 0
| ii) | Signal Pole Base - Type OD (Medium Duty – 32 Dia. Bolts) | SD-312A | each | 1 |  | 0
| H.3 | Installation of Service Boxes
| i) | Service Box – Pre-Cast (17"x30") | SD-322, E30 | each | 2 |  | 0
| H.4 | Removal of Existing Bases and Service Boxes | CW 3620
| i) | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 4 |  | 0
| H.5 | Cutovers | CW 3620 | each | 5 |  | 0
MAIN AND PIONEER
| H.6 | Installation of Conduit | CW 3620, E29
| i) | Installation of Conduit - Single |  | m | 75 |  | 0
| ii) | Installation of Conduit - Double |  | m | 320 |  | 0
| H.7 | Installation of Bases | CW 3620, E31,E32, E33
| i) | Signal Pole Base – Type A (Light Duty – 25 Dia. Bolts) | SD-310 | each
| ii) | Signal Pole Base – Type G (Light Duty – 32 Dia. Bolts) | SD-313 | each | 7 |  | 0
| iii) | Signal Pole Base - Type OD (Medium Duty – 32 Dia. Bolts) | SD-312A | each | 2 |  | 0
| iv) | Controller Base | SD-312A | each | 1 |  | 0
| v) | Pedestal Base | SD-312A | each | 1 |  | 0
| H.8 | Installation of Service Boxes
| i) | Service Box – Pre-Cast (17"x30") | SD-322, E30 | each | 9 |  | 0
| H.9 | Removal of Existing Bases and Service Boxes | CW 3620
| i) | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 7 |  | 0
| ii) | Removal of Existing Contoller Base or Pedestal Base | CW 3620 | each | 1 |  | 0
| H.10 | Cutovers | CW 3620 | each | 3 |  | 0
GRAHAM/WILLIAM STEPHENSON AND MAIN
| H.11 | Installation of Conduit | CW 3620, E29
| i) | Installation of Conduit - Single |  | m | 35 |  | 0
| ii) | Installation of Conduit - Double |  | m | 45 |  | 0
| H.12 | Installation of Bases | CW 3620, E31,E32, E33
| i) | Signal Pole Base – Type G (Light Duty – 32 Dia. Bolts) | SD-313 | each | 3 |  | 0
| H.13 | Installation of Service Boxes
| i) | Service Box – Pre-Cast (17"x30") | SD-322, E30 | each | 3 |  | 0
| H.14 | Removal of Existing Bases and Service Boxes | CW 3620
| i) | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 1 |  | 0
| H.15 | Cutovers | CW 3620 | each | 2 |  | 0
WESTBROOK AND WILLIAM STEPHENSON
| H.16 | Installation of Conduit | CW 3620, E29
| i) | Installation of Conduit - Single |  | m | 25 |  | 0
| ii) | Installation of Conduit - Double |  | m | 55 |  | 0
| H.17 | Installation of Bases | CW 3620, E31,E32, E33
| i) | Signal Pole Base – Type G (Light Duty – 32 Dia. Bolts) | SD-313 | each | 3 |  | 0
| H.18 | Installation of Service Boxes
| i) | Service Box – Pre-Cast (17"x30") | SD-322, E30 | each | 2 |  | 0
| H.19 | Removal of Existing Bases and Service Boxes | CW 3620
| i) | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 4 |  | 0
| H.20 | Cutovers | CW 3620 | each | 2 |  | 0
BALMORAL AND ST. MARY
| H.21 | Installation of Conduit | CW 3620, E29
| i) | Installation of Conduit - Single |  | m | 110 |  | 0
| H.22 | Installation of Bases | CW 3620, E31,E32, E33
| i) | Signal Pole Base – Type G (Light Duty – 32 Dia. Bolts) | SD-313 | each | 2 |  | 0
| H.23 | Installation of Service Boxes
| i) | Service Box – Pre-Cast (17"x30") | SD-322, E30 | each | 1 |  | 0
| H.24 | Removal of Existing Bases and Service Boxes | CW 3620
| i) | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 2 |  | 0
| H.25 | Ground Rods (Electrodes) | CW 3620 | each | 1 |  | 0
PORTAGE AND SPENCE/ST. MARY
| H.26 | Installation of Conduit | CW 3620, E29
| i) | Installation of Conduit - Single |  | m | 30 |  | 0
| ii) | Installation of Conduit - Double |  | m | 125 |  | 0
| H.27 | Installation of Bases | CW 3620, E31,E32, E33
| i) | Signal Pole Base – Type G (Light Duty – 32 Dia. Bolts) | SD-313 | each | 3 |  | 0
| H.28 | Installation of Service Boxes
| i) | Service Box – Pre-Cast (17"x30") | SD-322, E30 | each | 4 |  | 0
| H.29 | Installation of Conduit into Existing Bases | CW 3620
| i) | Installaton of Conduit into Existing Concrete Base | CW 3620 | each | 1 |  | 0
| H.30 | Removal of Existing Bases and Service Boxes | CW 3620
| i) | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 5 |  | 0
| H.31 | Cutovers | CW 3620 | each | 3 |  | 0
COLONY AND ST. MARY
| H.32 | Installation of Conduit | CW 3620, E29
| i) | Installation of Conduit - Single |  | m | 80 |  | 0
| H.33 | Installation of Bases | CW 3620, E31,E32, E33
| i) | Signal Pole Base – Type G (Light Duty – 32 Dia. Bolts) | SD-313 | each | 2 |  | 0
| H.34 | Removal of Existing Bases and Service Boxes | CW 3620
| i) | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 2 |  | 0
| H.35 | Cutovers | CW 3620 | each | 1 |  | 0
| H | TRAFFIC SIGNALS |  |  |  | Subtotal: | 0
| I | SPENCE STREET WATER MAIN RENEWAL
WATERMAINS
| I.1 | Watermain Renewal | CW 2110-R11
| i) | 150 mm |  | m | 5 |  | 0
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill
| ii) | 200 mm
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 80 |  | 0
| I.2 | Hydrant Assemby | CW 2110-R11
| i) | SD-006 |  | each | 1 |  | 0
| I.3 | Watermain Valve | CW 2110-R11
| i) | 200 mm |  | each | 2 |  | 0
| I.4 | Fittings | CW 2110-R11
| i) | Tees
| a) | 200 mm x 200 mm x 150 mm |  | each | 1 |  | 0
| ii) | Bends (SD-004)
| a) | 150mm - 45° |  | each | 2 |  | 0
| b) | 200mm - 45° |  | each | 2 |  | 0
| iii) | Reducers
| a) | 200mm - 150mm |  | each | 1 |  | 0
| I.5 | Connecting to Existing Watermains and Large Diameter Water Services | CW 2110-R11
| i) | In-Line Connection - No Plug Existing
| a) | 150 mm |  | each | 1 |  | 0
| b) | 200 mm |  | each | 1 |  | 0
| I.6 | 10.9 Kilogram Sacrifical Zinc Anodes | CW 2110-R11
| i) | On Metallic Watermains |  | each | 1 |  | 0
|  | PROVISIONAL ITEMS | E24
| I.7 | Cement Stabilized Fill | CW 2030-R7, CW 2160-R7 | m3 | 5 |  | 0
| I.8 | Temporary Surface Restoration | E25
| i) | Street Pavement |  | m | 25 |  | 0
| ii) | Sidewalk |  | m | 20 |  | 0
| I.9 | Regrading of Existing Sewer Service - Up to 1.5 metres Long | CW 2110-R11
| i) | 150 mm |  | each | 1 |  | 0
| I | SPENCE STREET WATER MAIN RENEWAL |  |  |  | Subtotal: | 0
PART 2 MANITOBA HYDRO/PROVINCIALLY FUNDED WORK
| J | WILLIAM STEPHENSON WAY
| J.1 | Removal of 25'/35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E34 | each | 4 |  | 0
| J.2 | Installation of conduit and #4 AL C/N or 1/0 AL Triplex streetlight cable in conduit by open trench method. | E34 | lin.m | 195 |  | 0
| J.3 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E34 | each | 5 |  | 0
| J.4 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E34 | each | 3 |  | 0
| J.5 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E34 | set | 6 |  | 0
| J.6 | Splicing #4 Al C/N or 2 single conductor street light cables. | E34 | set | 2 |  | 0
| J.7 | Installation of break-away base and reaction plate on base mounted poles up to 45'. | E34 | each | 5 |  | 0
| J.8 | Installation of overhead span of #6 duplex between new or existing streetlight poles and connect luminaire to provide temporary Overhead Feed. | E34 | per span | 4 |  | 0
| J.9 | Removal of overhead span of #6 duplex between new or existing streetlight poles to remove temporary Overhead Feed. | E34 | per span | 5 |  | 0
| J | WILLIAM STEPHENSON WAY |  |  |  | Subtotal: | 0
| K | MAIN STREET
| K.1 | Removal of 25'/35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E34 | each | 3 |  | 0
| K.2 | Installation of conduit and #4 AL C/N or 1/0 AL Triplex streetlight cable in conduit by open trench method. | E34 | lin.m | 110 |  | 0
| K.3 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E34 | each | 3 |  | 0
| K.4 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E34 | each | 4 |  | 0
| K.5 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E34 | set | 3 |  | 0
| K.6 | Splicing #4 Al C/N or 2 single conductor street light cables. | E34 | set | 2 |  | 0
| K.7 | Installation of break-away base and reaction plate on base mounted poles up to 45'. | E34 | each | 3 |  | 0
| K.8 | Installation of overhead span of #6 duplex between new or existing streetlight poles and connect luminaire to provide temporary Overhead Feed. | E34 | per span | 4 |  | 0
| K.9 | Removal of overhead span of #6 duplex between new or existing streetlight poles to remove temporary Overhead Feed. | E34 | per span | 5 |  | 0
| K.10 | Expose underground cable entrance of existing streetlight pole and install new streetlight cable. | E34 | each | 2 |  | 0
| K | MAIN STREET |  |  |  | Subtotal: | 0
| L | PIONEER AVENUE
| L.1 | Removal of 25'/35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E34 | each | 4 |  | 0
| L.2 | Installation of conduit and #4 AL C/N or 1/0 AL Triplex streetlight cable in conduit by open trench method. | E34 | lin.m | 275 |  | 0
| L.3 | Installation of 25'/35' pole on a slope including: davit arm, precast concrete base c/w expanding pole key anchors, luminaire and appurtenances. | E34 | each | 7 |  | 0
| L.4 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E34 | each | 4 |  | 0
| L.5 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E34 | set | 7 |  | 0
| L.6 | Splicing #4 Al C/N or 2 single conductor street light cables. | E34 | set | 2 |  | 0
| L.7 | Installation of break-away base and reaction plate on base mounted poles up to 45'. | E34 | each | 6 |  | 0
| L.8 | Installation of overhead span of #6 duplex between new or existing streetlight poles and connect luminaire to provide temporary Overhead Feed. | E34 | per span | 4 |  | 0
| L.9 | Removal of overhead span of #6 duplex between new or existing streetlight poles to remove temporary Overhead Feed. | E34 | per span | 4 |  | 0
| L | PIONEER AVENUE |  |  |  | Subtotal: | 0
| M | ST. MARY AVENUE
| M.1 | Removal of 25'/35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E16. | each | 15 |  | 0
| M.2 | Installation of conduit and #4 AL C/N or 1/0 AL Triplex streetlight cable in conduit by open trench method. | E16. | lin.m | 590 |  | 0
| M.3 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E16. | each | 15 |  | 0
| M.4 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E16. | each | 6 |  | 0
| M.5 | Install lower 3 m of Cable Guard, ground lug, cable up pole, and first 3 m section of ground rod per Standard CD 315-5. | E16. | each | 2 |  | 0
| M.6 | Installation and connection of externally-mounted relay and PEC per Standards CD 315-12 and CD 315-13. | E16. | each | 2 |  | 0
| M.7 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E16. | set | 16 |  | 0
| M.8 | Splicing #4 Al C/N or 2 single conductor street light cables. | E16. | set | 1 |  | 0
| M.9 | Installation of break-away base and reaction plate on base mounted poles up to 45'. | E16. | each | 15 |  | 0
| M.10 | Installation of overhead span of #6 duplex between new or existing streetlight poles and connect luminaire to provide temporary Overhead Feed. | E16. | per span | 13 |  | 0
| M.11 | Removal of overhead span of #6 duplex between new or existing streetlight poles to remove temporary Overhead Feed. | E16. | per span | 14 |  | 0
| M.12 | Expose underground cable entrance of existing streetlight pole and install new streetlight cable. | E16. | each | 1 |  | 0
| M | ST. MARY AVENUE |  |  |  | Subtotal: | 0
| N | MOBILIZATION /DEMOLIBIZATION
I001 | N.1 | Mobilization/Demobilization | E3 | L. sum | 1 |  | 0
| N | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0
SUMMARY
PART 1 CITY FUNDED WORK
| A | PIONEER AVE - MAIN ST TO WESTBROOK ST ASPHALT RECONSTRUCTION |  |  |  | Subtotal: | 0
| B | WILLIAM STEPHENSON WAY - MAIN ST TO WESTBROOK ST ASPHALT RECONSTRUCTION |  |  |  | Subtotal: | 0
| C | ST. MARY AVE - MEMORIAL BLVD TO PORTAGE AV CONCRETE RECONSTRUCTION |  |  |  | Subtotal: | 0
| D | COLONY ST - MEMORIAL BLVD TO ST. MARY AVE ASPHALT OVERLAY |  |  |  | Subtotal: | 0
| E | MAIN STREET SIDEWALK |  |  |  | Subtotal: | 0
| F | STREETSCAPING |  |  |  | Subtotal: | 0
| G | WILLIAM STEPHENSON WAY SIDEWALK MAINTENANCE - WESTBROOK ST TO ISRAEL ASPER WAY |  |  |  | Subtotal: | 0
| H | TRAFFIC SIGNALS |  |  |  | Subtotal: | 0
| I | SPENCE STREET WATER MAIN RENEWAL |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 1 | 0
PART 2 MANITOBA HYDRO/PROVINCIALLY FUNDED WORK
| J | WILLIAM STEPHENSON WAY |  |  |  | Subtotal: | 0
| K | MAIN STREET |  |  |  | Subtotal: | 0
| L | PIONEER AVENUE |  |  |  | Subtotal: | 0
| M | ST. MARY AVENUE |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 2 | 0
| N | MOBILIZATION /DEMOLIBIZATION |  |  |  | Total: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0
Note on D2: Insert reference to "Prices" clause from the "Bidding Procedures". Revise the Header by inserting the Tender #.
Note on E267: Pheifer, Henly: old version has vert m ( no period)