## FORM B - PRICES
FORM B (R1): PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
| A | ROADWORKS: LILY STREET - MARKET AVE TO DISRAELI FWY
EARTH AND BASE WORKS
A003 | A.1 | Excavation | CW 3110-R19, E30 | m³ | 3060 |  | 0
A004 | A.2 | Sub-Grade Compaction | CW 3110-R19, E30 | m² | 5100 |  | 0
A007 | A.3 | Crushed Sub-base Material | CW 3110-R19
A007A | i) | 50 mm |  | tonne | 5000 |  | 0
A010 | A.4 | Supplying and Placing Base Course Material | CW 3110-R19 | m³ | 683 |  | 0
A016 | A.5 | Removal of Existing Concrete Bases | CW 3110-R19
A017 | i) | 600 mm Diameter or Less |  | each | 5 |  | 0
A022 | A.6 | Separation Geotextile Fabric | CW 3130-R4 | m² | 5100 |  | 0
ROADWORKS - RENEWALS
B001 | A.7 | Pavement Removal | CW 3110-R19
B002 | i) | Concrete Pavement |  | m² | 4960 |  | 0
B094 | A.8 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 65 |  | 0
B097 | A.9 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 135 |  | 0
B100r | A.10 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 2040 |  | 0
B114rl | A.11 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 20 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 50 |  | 0
B126r | A.12 | Concrete Curb Removal | CW 3240-R10
B127r | i) | Barrier Integral |  | m | 185 |  | 0
B200 | A.13 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 500 |  | 0
B219 | A.14 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 32 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | A.15 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
C008 | i) | Construction of 200 mm Concrete Pavement (Reinforced) with Concrete Block Outs |  | m² | 1420 |  | 0
C032 | A.16 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
C033 | i) | Construction of Barrier (150 mm ht, Dowelled) | SD-205 | m | 155 |  | 0
C038 | ii) | Construction of Curb and Gutter (150 mm ht, Barrier, Integral, 600 mm width, 150 mm Plain Concrete Pavement), Slip Form Paving | SD-200 | m | 50 |  | 0
C038 | iii) | Construction of Curb and Gutter (150 mm ht, Barrier, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 | m | 270 |  | 0
C039 | iv) | Construction of Curb and Gutter (150 mm ht, Modified Barrier, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 SD-203B | m | 105 |  | 0
C040 | v) | Construction of Curb and Gutter (40 mm ht, Lip Curb, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 SD-202B | m | 60 |  | 0
C041 | vi) | Construction of Curb and Gutter (8-12 mm ht, Curb Ramp, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 SD-229E | m | 170 |  | 0
C051 | A.17 | 100 mm Concrete Sidewalk with Concrete Block Outs | CW 3325-R5 | m² | 2800 |  | 0
C055 | A.18 | Construction of Asphaltic Concrete Pavements | CW 3410-R11
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 510 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 170 |  | 0
C063 | A.19 | Construction of Asphaltic Concrete Base Course (Type III) | CW 3410-R11 | tonne | 770 |  | 0
C064 | A.20 | Construction of Asphalt Patches | CW 3410-R11 | m² | 10 |  | 0
|  | JOINT AND CRACK SEALING |  |  |  |  | 0
D001 | A.21 | Joint Sealing | CW 3250-R7 | m | 760 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | A.22 | Catch Basin c/w Barrier Curb and Gutter Frame and Cover | CW 2130-R12
E004 | i) | SD-024, 1200 mm deep |  | each | 13 |  | 0
| A.23 | Manhole c/w Standard Frame and Cover | CW 2130-R12
| i) | SD-010, 2000 mm deep
| a) | 1200 mm width |  | v.m | 6 |  | 0
E008 | A.24 | Sewer Service | CW 2130-R12
E009 | i) | 350 mm, SDR-35
E011 | a) | Trenchless Installation, Class B Type 1 Bedding, Class 1 Backfill |  | m | 69 |  | 0
E009 | ii) | 250 mm, SDR-35
E011 | a) | Trenchless Installation, Class B Type 1 Bedding, Class 1 Backfill |  | m | 91 |  | 0
E032 | A.25 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 350 mm Catch Basin Lead |  | each | 2 |  | 0
E033 | ii) | 250 mm Catch Basin Lead |  | each | 4 |  | 0
E034 | A.26 | Connecting to Catch Basin | CW 2130-R12
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 1 |  | 0
E012 | ii) | Drainage Connection Pipe | CW 2130-R12 | m | 10 |  | 0
E036 | A.27 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm (Type SDR-35) Connecting Pipe
E039 | a) | Connecting to 375 mm Sewer |  | each | 2 |  | 0
E040 | b) | Connecting to 450 mm Sewer |  | each | 5 |  | 0
| c) | Connecting to 1500 mm Brick Sewer |  | each | 1 |  | 0
E022A | A.28 | Sewer Inspection ( following repair) | CW2145-R3
E022B | i) | 350 mm, PVC |  | m | 69 |  | 0
E023 | A.29 | Replacing Existing Manhole and Catch Basin Frames & Covers | CW 2130-R12
E024 | i) | AP-004 - Standard Frame for Manhole and Catch Basin |  | each | 8 |  | 0
E025 | ii) | AP-005 - Standard Solid Cover for Standard Frame |  | each | 6 |  | 0
E026 | iii) | AP-006 - Standard Grated Cover for Standard Frame |  | each | 2 |  | 0
| A.30 | Removal of Existing Curb Inlets | CW 2130-R12 | each | 5 |  | 0
E046 | A.31 | Removal of Existing Catch Basins | CW 2130-R12 | each | 7 |  | 0
E050 | A.32 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 7 |  | 0
E051 | A.33 | Installation of Subdrains | CW 3120-R4 | m | 312 |  | 0
E072 | A.34 | Watermain and Water Service Insulation | E33
E073 | i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 100 |  | 0
ADJUSTMENTS
F001 | A.35 | Adjustment of Catch Basins / Manholes Frames | CW 3210-R7 | each | 12 |  | 0
F002 | A.36 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 2 |  | 0
F003 | A.37 | Lifter Rings | CW 3210-R7
F004 | i) | 38 mm |  | each | 5 |  | 0
F005 | ii) | 51 mm |  | each | 6 |  | 0
F009 | A.38 | Adjustment of Valve Boxes | CW 3210-R7 | each | 20 |  | 0
F010 | A.39 | Valve Box Extensions | CW 3210-R7 | each | 3 |  | 0
| A | ROADWORKS: LILY STREET - MARKET AVE TO DISRAELI FWY |  |  |  | Subtotal: | 0
| B | STREETSCAPING: LILY STREET - MARKET AVE TO DISRAELI FWY
REMOVALS
| B.1 | Removal & Disposal of Trees | E26 | each | 13 |  | 0
EXISTING TREE PROTECTION & PRUNING
| B.2 | Tree Protection, Pruning, Root Pruning & Temporary Root Cover Material | E2,E15 | each | 13 |  | 0
TREE VAULTS
| B.3 | Construction of Tree Vaults | E16 | m³ | 435 |  | 0
| B.4 | Construction of Tree Vaults over Hydro Duct | E16 | m³ | 85 |  | 0
| B.5 | Perf. Drainage Pipe | E16 | m | 955 |  | 0
CONCRETE & ACCESSORIES
| B.6 | Supply and Install CIP Reinforced Concrete Pile for Pedestrian Light (including excavation, anchor rods and conduit for electrical) | E14 | each | 40 |  | 0
| B.7 | Supply and Install CIP Retaining Wall (incl. Footings, and Base Course) | E14 | m | 9 |  | 0
| B.8 | Precast Concrete Sidewalk Panel | E16
| i) | Type A - Lily |  | each | 44 |  | 0
| ii) | Type B - Lily |  | each | 85 |  | 0
| iii) | Type C - James, Rupert, Pacific, Alexander, Galt |  | each | 12 |  | 0
| iv) | Type D - Alexander |  | each | 4 |  | 0
| B.9 | Mortar bed for: | E17
| i) | Granite Pavers |  | m² | 58 |  | 0
| ii) | Endicott Pavers at Tree Vaults |  | m² | 110 |  | 0
UNIT PAVING
| B.10 | 300 x 151 x 100 Broadway Paver, Charcoal Colour - museum loading area indicator strips | E17 | m² | 24 |  | 0
| B.11 | 300 x 151 x 100 Broadway Paver, Mahogony Colour - pedestrian crossings | E17 | m² | 136 |  | 0
| B.12 | 300 x 151 x 100 Broadway Paver, Antique Brown Colour - museum loading area sidewalk | E17 | m² | 34 |  | 0
| B.13 | 300 x 151 x 100 Broadway Paver, Buff Colour - Lily Roadway Intersections & Elgin | E17 | m² | 581 |  | 0
| B.14 | 600 x 300 x 100 Broadway Paver, Buff Colour - Between Roadway Letters | E17 | m² | 54 |  | 0
| B.15 | 210 x 105 x 60 Holland Paver, Sierra Grey Colour | E17 | m² | 65 |  | 0
| B.16 | 600 x 300 x 60 Broadway Paver w/letters, Buff Colour | E17
| i) | Supply |  | each | 194 |  | 0
| ii) | Installation of Letter Pavers |  | each | 194 |  | 0
| B.17 | 194 x 93 x 57 Endicott Paver, Medium Ironspot #46 | E17 | m² | 908 |  | 0
| B.18 | 194 x 93 x 57 Endicott Paver, Dark Ironspot - indicator strips | E17 | m² | 395 |  | 0
| B.19 | Stockpiled Granite Pavers 200 x 100 x 60 | E17 | m² | 50 |  | 0
| B.20 | Stockpiled Granite Pavers 400 x 150 x 60 | E17 | m² | 8 |  | 0
EXTERIOR METAL FABRICATION
| B.21 | Tree Cover: Lily | E18
| i) | 2 Piece Galvanized Steel Plate |  | each | 133 |  | 0
| ii) | 2 Piece Galvanized Steel Plate w/Opening |  | each | 67 |  | 0
| B.22 | Tree Cover: James, Rupert, Pacific, Alexander & Galt 2 Piece Galvanized Steel Plate w/Opening | E18 | each | 8 |  | 0
| B.23 | Tripod | E18 | each | 8 |  | 0
| B.24 | Trellis Post W/Horiz. Beam | E18 | each | 9 |  | 0
| B.25 | C-Channel Bollard - In-Ground inc conc. piers | E18 | each | 5 |  | 0
| B.26 | Parking Screen Fence - In-Ground | E18 | m | 100 |  | 0
| B.27 | Museum Anchor Bracket & Silouette | E18 | each | 1 |  | 0
SITE CARPENTRY
| B.28 | Wood Bench | E19 | ls | 1 |  | 0
SITE FURNISHINGS
| B.29 | Greenscreen Panels | E23 | each | 8 |  | 0
| B.30 | Victor Stanley Inc. Classic Series C-140 Bench with Centre Arm Rest, Black Powdercoated, IPE Hardwood Slats | E23 | each | 4 |  | 0
| B.31 | Dual Stream Waste Receptacle | E23 | each | 3 |  | 0
| B.32 | Hoop Style Bike Racks | E23 | each | 8 |  | 0
SOFT LANDSCAPE
| B.33 | Planting Medium | E24 | m³ | 410 |  | 0
| B.34 | Wood Chip Mulch | E24 | m² | 565 |  | 0
| B.35 | Black Granite Mulch | E24 | m² | 98 |  | 0
| B.36 | Sodding | E24 | m² | 100 |  | 0
| B.37 | Amur Maple | E25 | each | 26 |  | 0
| B.38 | Fall Gold Black Ash | E25 | each | 77 |  | 0
| B.39 | Brandon Elm | E25 | each | 15 |  | 0
| B.40 | Alpine Currant | E25 | each | 13 |  | 0
| B.41 | Dwarf European Cranberry | E25 | each | 30 |  | 0
| B.42 | Miss Kim Lilac | E25 | each | 18 |  | 0
| B.43 | Dart's Gold Ninebark | E25 | each | 17 |  | 0
| B.44 | Pygmy Caragana | E25 | each | 49 |  | 0
| B.45 | Engleman's Ivy | E25 | each | 16 |  | 0
| B.46 | Blue Wedgewood Hosta | E25 | each | 53 |  | 0
MISCELLANEOUS
| B.47 | Placement of Utility Conduits | E12 | m | 950 |  | 0
| B.48 | Placement of Utility Vaults | Appendix A | m | 9 |  | 0
| B.49 | Hydro Excavation | E28 | hr | 20 |  | 0
|  | LANDSCAPE MAINTENANCE |  |  |  |  | 0
| B.50 | Year One Maintenance | E27 | l.s. | 1 |  | 0
| B.51 | Year Two Maintenance | E27 | l.s. | 1 |  | 0
| B | STREETSCAPING: LILY STREET - MARKET AVE TO DISRAELI FWY |  |  |  | Subtotal: | 0
| C | ELECTRICAL: LILY STREET - MARKET AVE TO DISRAELI FWY
PEDESTRIAN AND FEATURE LIGHTING
| C.1 | Sidewalk Lighting | 26 50 00 (Dwg E1.4)
| i) | Washington Kline Pole Lighting |  | each | 43 |  | 0
| ii) | 53mm red PVC Conduit |  | each | 850 |  | 0
| iii) | #1/0 AWG Triplex Cu. Wire |  | m | 2550 |  | 0
| iv) | New pole to match existing in area |  | each | 39 |  | 0
| v) | #12 AWG RW90 Cu. Wire |  | m | 414 |  | 0
| C.2 | Trellis Lighting | 26 50 00 (Dwg E1.4) |  |  |  | 0
| i) | Bega Luminaires |  | each | 18 |  | 0
| ii) | Square 4" Junction Boxes (Painted Black) |  | each | 15 |  | 0
| iii) | 53mm red PVC Conduit |  | m | 75 |  | 0
| iv) | #12 AWG RW90 Cu. Wire |  | m | 225 |  | 0
| C.3 | Specialty Lighting | 26 50 00 (Dwg E1.4)
| i) | New Mounting for Feature Lighting |  | each | 1 |  | 0
| ii) | Wall Mounted Slihouette Lighting |  | each | 1 |  | 0
| iii) | Flood Lighting |  | each | 2 |  | 0
| C.4 | Site Services | 26 24 16 (Dwg E1.4)
| i) | 120/208V, 1-phase, 3W 100A Panelboard c/w weatherproof enclosure |  | each | 2 |  | 0
| ii) | Manitoba Hydro service c/w meter |  | each | 2 |  | 0
| C | ELECTRICAL: LILY STREET - MARKET AVE TO DISRAELI FWY |  |  |  | Subtotal: | 0
| D | ROADWORKS: JOHN HIRSCH PLACE - RORIE ST TO BANNATYNE AVE
EARTH AND BASE WORKS
A003 | D.1 | Excavation | CW 3110-R19 | m³ | 400 |  | 0
A004 | D.2 | Sub-Grade Compaction | CW 3110-R19 | m² | 1300 |  | 0
A007 | D.3 | Crushed Sub-base Material | CW 3110-R19
A007A | i) | 50 mm |  | tonne | 850 |  | 0
A010 | D.4 | Supplying and Placing Base Course Material | CW 3110-R19 | m³ | 130 |  | 0
A016 | D.5 | Removal of Existing Concrete Bases | CW 3110-R19
A017 | i) | 600 mm Diameter or Less |  | each | 7 |  | 0
A022 | D.6 | Separation Geotextile Fabric | CW 3130-R4 | m² | 1300 |  | 0
| D.7 | Stockpile Granite Pavers for Reinstallation | E17 | m² | 98 |  | 0
| D.8 | Removal and Stockpile Granite Bollard for Reinstallation | E11 | l.s. | 1 |  | 0
ROADWORKS - RENEWALS
B001 | D.9 | Pavement Removal | CW 3110-R19
B002 | i) | Concrete Pavement |  | m² | 1195 |  | 0
B094 | D.10 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 20 |  | 0
B097 | D.11 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 20 |  | 0
B100r | D.12 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 15 |  | 0
B126r | D.13 | Concrete Curb Removal | CW 3240-R10
B127r | i) | Barrier Integral |  | m | 20 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | D.14 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
C008 | i) | Construction of 200 mm Concrete Pavement (Reinforced) |  | m² | 152 |  | 0
C011 | ii) | Construction of 150 mm Concrete Pavement (Reinforced) with Concrete Block Outs |  | m² | 1150 |  | 0
C032 | D.15 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
C033 | i) | Construction of Barrier (180 mm ht, Dowelled) | SD-205 | m | 133 |  | 0
C064 | D.16 | Construction of Asphalt Patches | CW 3410-R11 | m² | 43 |  | 0
| D | ROADWORKS: JOHN HIRSCH PLACE - RORIE ST TO BANNATYNE AVE |  |  |  | Subtotal: | 0
| E | STRATA CELL: JOHN HIRSCH PLACE - RORIE ST TO BANNATYNE AVE
| E.1 | Strata Cell 60 Series | E13
| i) | Supply and install Strata Cell (including excavation, base, bioretention soil and compaction) |  | each | 3030 |  | 0
| E.2 | Strata Cell Catchbasin | CW 2130-R12
| i) | SD-024, 1800 mm deep |  | each | 5 |  | 0
| E.3 | Distribution Pipe | E13
| i) | 125mm perforated HDPE pipe |  | m | 315 |  | 0
| ii) | 125mm solid HDPE pipe |  | m | 5 |  | 0
| iii) | 150mm solid HDPE pipe |  | m | 6 |  | 0
| E.4 | Vertical Pipe | E13
| i) | 150mm solid HDPE |  | m | 55 |  | 0
| E.5 | Square Shape RootRain Arborvent | E13 | each | 50 |  | 0
| E.6 | Fittings | E13
| i) | 125mm x 150mm x 125mm Tee |  | each | 50 |  | 0
| ii) | 125mm x 125mm x 125mm Tee |  | each | 75 |  | 0
| iii) | 150mm x 125mm x 150mm Tee |  | each | 4 |  | 0
| iv) | 125mm x 125mm Cross |  | each | 1 |  | 0
| v) | 125mm 22.5 Bend |  | each | 2 |  | 0
| vi) | 150mm 45 Bend |  | each | 1 |  | 0
| vii) | 150mm x 125mm Reducer |  | each | 4 |  | 0
| E.7 | Subdrain | E13
| i) | 150mm perforated HDPE subdrain |  | m | 92 |  | 0
| ii) | 150mm solid HDPE subdrain |  | m | 38 |  | 0
| E.8 | Subdrain Cleanout Assembly | E13 | each | 6 |  | 0
| E.9 | Biaxial Geogrid | E13 | m² | 500 |  | 0
A022 | E.10 | Separation Geotextile Fabric | CW 3130-R4 | m² | 590 |  | 0
| E.11 | Reroot Root Barrier | E13 | m | 20 |  | 0
LAND DRAINAGE SEWER
E012 | E.12 | Drainage Connection Pipe | CW 2130-R12 | m | 14 |  | 0
| E.13 | Strata Cell Catchbasin | CW 2130-R12
| i) | SD-024, 1800 mm deep |  | each | 2 |  | 0
F002 | E.14 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 2 |  | 0
E032 | E.15 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 250 mm Catch Basin Lead |  | each | 1 |  | 0
E036 | E.16 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm (Type SDR-35) Connecting Pipe
| a) | Connecting to 1125 mm Sewer |  | each | 1 |  | 0
LAND DRAINAGE SEWER
| E.17 | Strata Cells Maintenance Year One | E13 | ls | 1 |  | 0
| E.18 | Strata Cells Maintenance Year Two | E13 | ls | 1 |  | 0
| E | STRATA CELL: JOHN HIRSCH PLACE - RORIE ST TO BANNATYNE AVE |  |  |  | Subtotal: | 0
| F | STREETSCAPING: JOHN HIRSCH PLACE - RORIE ST TO BANNATYNE AVE
REMOVALS
| F.1 | Removal & Disposal of Trees | E26 | each | 6 |  | 0
EXISTING TREE PROTECTION & PRUNING
| F.2 | Tree Protection, Pruning, Root Pruning & Temporary Root Cover Material | E2,E15 | each | 13 |  | 0
CONCRETE & ACCESSORIES
| F.3 | Supply and Install Light CIP Reinforced Concrete Pile for Pedestrian Light (including excavation, anchor rods and conduit for electrical) | E14 | each | 13 |  | 0
| F.4 | Supply and Install CIP Reinforced Concrete Pile for Steel Trellis (Including excavation) | E14 | each | 25 |  | 0
| i) | Supply and Install CIP Retaining Wall (incl. Footings, and Base Course) |  | m | 37 |  | 0
C008 | F.5 | Mortar Bed for Granite Pavers | E17 | m² | 33 |  | 0
C055 |  | UNIT PAVING
C059 | F.6 | 300 x 300 x 100 Broadway Paver, Buff Colour | E17 | m² | 1042 |  | 0
| F.7 | 194 x 93 x 57 Endicott Paver, Dark Ironspot | E17 | m² | 2 |  | 0
E008 | F.8 | 200 x 100 x 60 Stockpiled Granite Pavers | E17 | m² | 20 |  | 0
E009 | F.9 | 400 x 150 x 60 Stockpiled Granite Pavers | E17 | m² | 13 |  | 0
E011 |  | EXTERIOR METAL FABRICATION |  |  |  |  | 0
E036 | F.10 | Trellis Post | E18 | each | 16 |  | 0
E037 | F.11 | Trellis Post W/Horiz. Beam | E18 | each | 9 |  | 0
| F.12 | Information Panel | E18 | each | 2 |  | 0
E039 | F.13 | I-Beam Bollard - Surface Mounted | E18 | each | 11 |  | 0
E040 | F.14 | Parking Screen Fence | E18 |  |  |  | 0
| i) | In-Ground |  | m | 21 |  | 0
| ii) | Surface Mounted |  | m | 24 |  | 0
SITE CARPENTRY
| F.15 | Timber Planter | E19
| i) | 5019 x 1385 |  | each | 2 |  | 0
| ii) | 4375 x 1385 |  | each | 1 |  | 0
|  | SITE FURNISHINGS |  |  |  |  | 0
| F.16 | Greenscreen Panels | E23 | each | 20 |  | 0
| F.17 | Victor Stanley Inc. Classic Series C-140 Bench with Centre Arm Rest, Black Powdercoated, IPE Hardwood Slats | E23 | each | 2 |  | 0
| F.18 | Maglin MLB-872 wall mounted bench | E23 | each | 12 |  | 0
| F.19 | Limestone Seating Block | E23 | each | 4 |  | 0
| F.20 | Dual Stream Waste Receptacle | E23 | each | 2 |  | 0
| F.21 | Granite Bollard From Stockpile | E23 | each | 1 |  | 0
SOFT LANDSCAPE
| F.22 | Planting Medium | E24 | m3 | 93 |  | 0
| F.23 | Wood Chip Mulch | E24 | m² | 315 |  | 0
| F.24 | Amur Maple | E25 | each | 4 |  | 0
| F.25 | Brandon Elm 65 cal. | E25 | each | 2 |  | 0
| F.26 | Brandon Elm 75 cal. | E25 | each | 1 |  | 0
| F.27 | Red Osier Dogwood | E25 | each | 8 |  | 0
| F.28 | Dwarf European Cranberry | E25 | each | 106 |  | 0
| F.29 | Miss Kim Lilac | E25 | each | 148 |  | 0
| F.30 | Dart's Gold Ninebark | E25 | each | 127 |  | 0
| F.31 | Engleman's Ivy | E25 | each | 37 |  | 0
| F.32 | Blue Wedgewood Hosta | E25 | each | 141 |  | 0
LANDSCAPE MAINTENANCE
| F.33 | Year One Maintenance | E27 | l.s. | 1 |  | 0
| F.34 | Year Two Maintenance | E27 | l.s. | 1 |  | 0
| F | STREETSCAPING: JOHN HIRSCH PLACE - RORIE ST TO BANNATYNE AVE |  |  |  | Subtotal: | 0
| G | ELECTRICAL: JOHN HIRSCH PLACE - RORIE ST TO BANNATYNE AVE
PEDESTRIAN AND FEATURE LIGHTING
| G.1 | Sidewalk Lighting | 26 50 00 (Dwg E1.4)
| i) | Washington Kline Pole Lighting |  | each | 11 |  | 0
| ii) | 53mm red PVC Conduit |  | each | 190 |  | 0
| iii) | #1/0 AWG Triplex Cu. Wire |  | m | 550 |  | 0
| iv) | New pole to match existing in area |  | each | 9 |  | 0
| v) | #12 AWG RW90 Cu. Wire |  | m | 100 |  | 0
| G.2 | Trellis Lighting | 26 50 00 (Dwg E1.4) |  |  |  | 0
| i) | Bega Luminaires |  | each | 31 |  | 0
| ii) | Square 4" Junction Boxes (Painted Black) |  | each | 25 |  | 0
| iii) | 53mm red PVC Conduit |  | m | 500 |  | 0
| iv) | #1/0 AWG Triplex Cu. Wire |  | m | 1500 |  | 0
| v) | #12 AWG RW90 Cu. Wire |  | m | 500 |  | 0
| G.3 | Specialty Lighting | 26 50 00 (Dwg E1.4)
| i) | Flood Lighting |  | each | 11 |  | 0
| ii) | 53mm red PVC Conduit |  | m | 150 |  | 0
| iii) | #1/0 AWG Triplex Cu. Wire |  | m | 450 |  | 0
| G.4 | Parking Receptacles | 26 06 22 (Dwg E1.4)
| i) | IPLC Pedestals |  | each | 7 |  | 0
| ii) | 27mm PVC Conduit |  | m | 60 |  | 0
| iii) | #12 AWG RW90 Cu. Wire |  | m | 180 |  | 0
| G | ELECTRICAL: JOHN HIRSCH PLACE - RORIE ST TO BANNATYNE AVE |  |  |  | Subtotal: | 0
| H | PROVISIONAL ITEMS
JOHN HIRSCH PARKING LOT
A003 | H.1 | Excavation | CW 3110-R19, E32 | m³ | 230 |  | 0
A004 | H.2 | Sub-Grade Compaction | CW 3110-R19, E32 | m² | 370 |  | 0
A007 | H.3 | Crushed Sub-base Material | CW 3110-R19, E32
A007A | i) | 50 mm |  | tonne | 234 |  | 0
A010 | H.4 | Supplying and Placing Base Course Material | CW 3110-R19, E32 | m³ | 37 |  | 0
A022 | H.5 | Separation Geotextile Fabric | CW 3130-R4 , E32 | m² | 370 |  | 0
C001 | H.6 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17, E32
C008 | i) | Construction of 150 mm Concrete Pavement (Reinforced) with Concrete Block Outs |  | m² | 290 |  | 0
C055 | H.7 | Construction of Asphaltic Concrete Pavements | CW 3410-R11 , E32
C059 | i) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 15 |  | 0
| H.8 | 300 x 300 x 100 Broadway Paver, Buff Colour | E17,E32 | m² | 220 |  | 0
E011 |  | PAVEMENT MARKING |  |  |  |  | 0
E023 | H.9 | Line Painting | E32 | l.s. | 1 |  | 0
SITE CARPENTRY
| H.10 | Dual Garbage Bin Enclosure | E19, E32 | l.s. | 1 |  | 0
| H.11 | Single Garbage Bin Enclosure | E19, E32 | l.s. | 1 |  | 0
EXTERIOR METAL FABRICATION
| H.12 | Hydro Anchor Bracket & Silouette | E18, E32 | each | 6 |  | 0
| H.13 | Steel Pipe Bollard | E18, E32 | each | 9 |  | 0
MISCELLANEOUS
| H.14 | Abandonment of 145 Pacific Avenue Areaway | E31 | ls | 1 |  | 0
| H.15 | Areaway Backfill | E31 | m³ | 320 |  | 0
| H | PROVISIONAL ITEMS |  |  |  | Subtotal: | 0
| I | DELETABLE ITEMS
LILY STREET ENTRY MAP
C047 | I.1 | Construction of Safety Curb (330 mm ht) | SD-206B | m | 20 |  | 0
| I.2 | Supply and Install CIP Reinforced Concrete Pile for Entry Map (Including excavation, pile cap and grade beams) | E14 | ls | 1 |  | 0
| I.3 | Entry Map Silouhette East Side | E18 | each | 1 |  | 0
| I.4 | Entry Map Silouhette West Side | E18 | each | 1 |  | 0
JOHN HIRSCH FEATURE LIGHTING
| I.5 | Specialty Lighting | 26 50 00 (Dwg E1.4)
| i) | Pole Mounted feature lighting |  | each | 4 |  | 0
| ii) | New mounting for feature lighting |  | each | 4 |  | 0
| I | DELETABLE ITEMS |  |  |  | Subtotal: | 0
SUMMARY
| A | ROADWORKS: LILY STREET - MARKET AVE TO DISRAELI FWY |  |  |  | Subtotal: | 0
| B | STREETSCAPING: LILY STREET - MARKET AVE TO DISRAELI FWY |  |  |  | Subtotal: | 0
| C | ELECTRICAL: LILY STREET - MARKET AVE TO DISRAELI FWY |  |  |  | Subtotal: | 0
| D | ROADWORKS: JOHN HIRSCH PLACE - RORIE ST TO BANNATYNE AVE |  |  |  | Subtotal: | 0
| E | STRATA CELL: JOHN HIRSCH PLACE - RORIE ST TO BANNATYNE AVE |  |  |  | Subtotal: | 0
| F | STREETSCAPING: JOHN HIRSCH PLACE - RORIE ST TO BANNATYNE AVE |  |  |  | Subtotal: | 0
| G | ELECTRICAL: JOHN HIRSCH PLACE - RORIE ST TO BANNATYNE AVE |  |  |  | Subtotal: | 0
| H | PROVISIONAL ITEMS |  |  |  | Subtotal: | 0
| I | DELETABLE ITEMS |  |  |  | Subtotal: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0