## FORM B- PRICES
FORM B: PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
| A | SARGENT AVENUE - ARLINGTON ST TO ERIN ST - CONCRETE RECONSTRUCTION
EARTH AND BASE WORKS
A003 | A.1 | Excavation | CW 3110-R20 E15 | m³ | 18300 |  | 0
| A.2 | Hydro-Excavation | E17 | hour | 100 |  | 0
A004 | A.3 | Sub-Grade Compaction | CW 3110-R20 | m² | 21250 |  | 0
A007 | A.4 | Supplying and Placing Sub-base Material | CW 3110-R20
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 8600 |  | 0
A008A1 | ii) | 100 mm Granular A Limestone |  | tonne | 18400 |  | 0
A010 | A.5 | Supplying and Placing Base Course Material | CW 3110-R20
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 1800 |  | 0
A012 | A.6 | Grading of Boulevards | CW 3110-R20 | m² | 950 |  | 0
A016 | A.7 | Removal of Existing Concrete Bases | CW 3110-R20
A017 | i) | 600 mm Diameter or Less |  | each | 10 |  | 0
| A.8 | Removal of Existing Street Car Bedding | E23 | m³ | 1900 |  | 0
| A.9 | Removal of Existing Street Car Rails | E23 | m | 2300 |  | 0
A022 | A.10 | Geotextile Fabric | CW 3130-R5
A022A2 | i) | Separation/Filtration Fabric |  | m² | 21250 |  | 0
A022A4 | A.11 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 18600 |  | 0
A030 | A.12 | Fill Material | CW 3170-R3
A031 | i) | Placing Suitable Site Material |  | m³ | 100 |  | 0
ROADWORKS - RENEWALS
B001 | A.13 | Pavement Removal | CW 3110-R20
B002 | i) | Concrete Pavement |  | m² | 19000 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 155 |  | 0
| iii) | Temporary Asphalt Pavement |  | m² | 1000 |  | 0
B094 | A.14 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 570 |  | 0
B096 | ii) | 28.6 mm Diameter |  | each | 1750 |  | 0
B097 | A.15 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 500 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 1700 |  | 0
B100r | A.16 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 4900 |  | 0
B154rl | A.17 | Concrete Curb Renewal | CW 3240-R10
B155rlA | i) | Barrier (150 mm reveal ht, Dowelled) | SD-205, SD-206A
B157rlA | a) | 3 m to 30 m |  | m | 5 |  | 0
B167rlB | ii) | Modified Barrier (180 mm reveal ht, Dowelled) | SD-203B | m | 15 |  | 0
B184rlA | iii) | Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 25 |  | 0
B189 | A.18 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 15 |  | 0
C054A | A.19 | Interlocking Paving Stones | CW 3335-R1 | m² | 5 |  | 0
B190 | A.20 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 75 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 40 |  | 0
| iii) | Temporary Asphalt Pavement
| a) | Type IA |  | tonne | 250 |  | 0
B199 | A.21 | Construction of Asphalt Patches | CW 3410-R12 | m² | 200 |  | 0
B200 | A.22 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 600 |  | 0
B219 | A.23 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 100 |  | 0
ROADWORK - NEW CONSTRUCTION
C001 | A.24 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
C007 | i) | Construction of 230 mm Concrete Pavement (Plain-Dowelled) |  | m² | 3500 |  | 0
C007 | ii) | Construction of 230 mm Concrete Pavement (Plain-Dowelled, Slip-formed) |  | m² | 10200 |  | 0
C008 | iii) | Construction of 200 mm Concrete Pavement (Reinforced) |  | m² | 1750 |  | 0
C019 | A.25 | Concrete Pavements for Early Opening | CW 3310-R17
C025-24 | i) | Construction of 230 mm Concrete Pavement for Early Opening 24 Hour (Plain-Dowelled) |  | m² | 300 |  | 0
C025-72 | ii) | Construction of 230 mm Concrete Pavement for Early Opening 72 Hour (Plain-Dowelled) |  | m² | 2300 |  | 0
C026-24 | iii) | Construction of 200 mm Concrete Pavement for Early Opening 24 Hour (Reinforced) |  | m² | 200 |  | 0
C026-72 | iv) | Construction of 200 mm Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 320 |  | 0
C029-72 | v) | Construction of 150 mm Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 500 |  | 0
C032 | A.26 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
C035B | i) | Construction of Barrier (180 mm ht, Integral) | SD-204 | m | 1400 |  | 0
C037B | ii) | Construction of Modified Barrier (180 mm ht, Integral) | SD-203B | m | 300 |  | 0
C045 | iii) | Construction of Lip Curb (40 mm ht, Integral) | SD-202B | m | 30 |  | 0
C046 | iv) | Construction of Curb Ramp (8-12 mm ht, Integral) | SD-229C | m | 520 |  | 0
C050 | A.27 | Supply and Installation of Dowel Assemblies | CW 3310-R17 | m | 4000 |  | 0
C051 | A.28 | 100 mm Concrete Sidewalk | CW 3325-R5 | m² | 385 |  | 0
| A.29 | 100 mm Concrete Sidewalk with Block Outs | E19 | m² | 4800 |  | 0
| A.30 | Supply and Installation of Paving Stones for Indicator Surfaces | E20 | m² | 340 |  | 0
JOINT AND CRACK SEALING
D006 | A.31 | Reflective Crack Maintenance | CW 3250-R7 | m | 400 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | A.32 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 31 |  | 0
E008 | A.33 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Bedding with Sand, Class 3 Backfill |  | m | 31 |  | 0
E011 | b) | Trenchless Installation, Class B Bedding with Sand, Class 3 Backfill |  | m | 157 |  | 0
E013 | A.34 | Sewer Service Risers | CW 2130-R12
E014 | i) | 250 mm
E016 | a) | SD-015 |  | vert. m | 45.2 |  | 0
E023 | A.35 | Replacing Existing Manhole and Catchbasin Frames and Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 36 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 36 |  | 0
E032 | A.36 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 250 mm Catch Basin Lead |  | each | 1 |  | 0
E036 | A.37 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm PVC Connecting Pipe
E041B | a) | Connecting to 250 mm SRS |  | each | 2 |  | 0
E038 | b) | Connecting to 300 mm SRS |  | each | 1 |  | 0
E038 | c) | Connecting to 300 mm CS |  | each | 4 |  | 0
E039 | d) | Connecting to 375 mm CS |  | each | 4 |  | 0
E040 | e) | Connecting to 450 mm SRS |  | each | 3 |  | 0
E041A | f) | Connecting to 600 mm CS |  | each | 2 |  | 0
E041B | g) | Connecting to 750 mm CS |  | each | 6 |  | 0
E041B | h) | Connecting to 900 mm CS |  | each | 6 |  | 0
E041B | i) | Connecting to 900 mm SRS |  | each | 2 |  | 0
E046 | A.38 | Removal of Existing Catch Basins | CW 2130-R12 | each | 28 |  | 0
E050 | A.39 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 11 |  | 0
| A.40 | Abandoning Existing Sewer Services Under Pavement | CW 2130-R12
| i) | Existing Catch Basin Leads (250 mm or smaller) |  | each | 28 |  | 0
E051 | A.41 | Installation of Subdrains | CW 3120-R4 | m | 370 |  | 0
ADJUSTMENTS
F001 | A.42 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 36 |  | 0
F002 | A.43 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 2 |  | 0
F003 | A.44 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 5 |  | 0
F006 | ii) | 64 mm |  | each | 36 |  | 0
F009 | A.45 | Adjustment of Valve Boxes | CW 3210-R8 | each | 26 |  | 0
F010 | A.46 | Valve Box Extensions | CW 3210-R8 | each | 5 |  | 0
F011 | A.47 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 20 |  | 0
F018 | A.48 | Curb Stop Extensions | CW 3210-R8 | each | 5 |  | 0
LANDSCAPING
G001 | A.49 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 300 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 600 |  | 0
| A | SARGENT AVENUE - ARLINGTON ST TO ERIN ST - CONCRETE RECONSTRUCTION |  |  |  | Subtotal: | 0
| B | WATER AND WASTE WORK
SARGENT AVENUE - EPR (MA20009660, MA20009658, MA20009711, MA20017251)
E072 | B.1 | Water Service Insulation | E21
E073 | i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 350 |  | 0
E017 | B.2 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017E | i) | 250 mm
E017F | a) | Class 3 Backfill |  | each | 1 |  | 0
E017G | ii) | 300 mm
E017H | a) | Class 3 Backfill |  | each | 1 |  | 0
E017I | iii) | 375mm
E017J | a) | Class 3 Backfill |  | each | 2 |  | 0
E020 | B.3 | Sewer Repair - In Addition to First 3.0 Meters | CW 2130-R12
E020E | i) | 250 mm
E020F | a) | Class 3 Backfill |  | m | 0.8 |  | 0
E036 | B.4 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 150 mm Connecting Pipe
E041B | a) | Connecting to 250 mm SRS |  | each | 2 |  | 0
E038 | b) | Connecting to 300 mm SRS |  | each | 1 |  | 0
E022A | B.5 | Sewer Inspection ( following repair) | CW2145-R4
E022D | i) | 250 mm SRS |  | m | 25 |  | 0
E022E | ii) | 300 mm SRS |  | m | 90 |  | 0
E022F | iii) | 375 mm CS |  | m | 170 |  | 0
| B.6 | Patching Existing Manhole | CW2130-R12 | vert. m | 0.5 |  | 0
| B.7 | Repair of Manhole Benching | E22 | each | 1 |  | 0
| B.8 | Manhole Inspection | CW2145-R4 | each | 1 |  | 0
| B | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
| C | SIGNALS
SARGENT & ERIN
INSTALLATIONS
| C.1 | Installation of Conduit | CW 3620-R9
| i) | Installation of Conduit in Open Trench- Single |  | m | 40 |  | 0
| ii) | Installation of Conduit in Open Trench- Double |  | m | 40 |  | 0
| iii) | Installation of Conduit by Directional Boring- Single |  | m | 85 |  | 0
| iv) | Installation of Conduit by Directional Boring- Double |  | m | 85 |  | 0
| C.2 | Installation of Concrete Bases | CW 3620-R9
| i) | Controller Base |  | each | 1 |  | 0
| ii) | Signal Pole Base – Type G (Light Duty – 32 Dia. Bolts) | SD-313 | each | 2 |  | 0
| iii) | Signal Pole Base - Type OD (Medium Duty – 32 Dia. Bolts) | SD-312A | each | 6 |  | 0
| iv) | Signal Pole Base - Type PM (Cyclist/Pushbutton) | E24 | each | 2 |  | 0
| C.3 | Ground Rods (Electrodes) | CW 3620 | each | 1 |  | 0
| C.4 | Installation of Service Boxes | CW 3620-R9
| i) | Service Box- Pre-Cast | SD-322 | each | 3 |  | 0
| C.5 | Installation of Conduit into Traffic Signal Service Boxes | CW 3620 | each | 3 |  | 0
| C.6 | Installation of Conduit into Existing Concrete Base | CW 3620 | each | 2 |  | 0
REMOVALS
| C.7 | Removal of Existing Bases and Service Boxes
| i) | Signal Pole Base, Controller, Terminal Base, Service Box | CW 3620 | each | 10 |  | 0
MISCELLANEOUS
| C.8 | Cutovers | CW 3620 | each | 3 |  | 0
SARGENT & WALL
INSTALLATIONS
| C.9 | Installation of Conduit | CW 3620-R9
| i) | Installation of Conduit in Open Trench- Single |  | m | 40 |  | 0
| ii) | Installation of Conduit in Open Trench- Double |  | m | 40 |  | 0
| iii) | Installation of Conduit by Directional Boring- Single |  | m | 85 |  | 0
| iv) | Installation of Conduit by Directional Boring- Double |  | m | 85 |  | 0
| C.10 | Installation of Concrete Bases | CW 3620-R9
| i) | Controller Base |  | each | 1 |  | 0
| ii) | Signal Pole Base – Type G (Light Duty – 32 Dia. Bolts) | SD-313 | each | 2 |  | 0
| iii) | Signal Pole Base - Type OD (Medium Duty – 32 Dia. Bolts) | SD-312A | each | 6 |  | 0
| iv) | Signal Pole Base - Type PM (Cyclist/Pushbutton) | E24 | each | 2 |  | 0
| C.11 | Ground Rods (Electrodes) | CW 3620 | each | 1 |  | 0
| C.12 | Installation of Service Boxes | CW 3620-R9
| i) | Service Box- Pre-Cast | SD-322 | each | 3 |  | 0
| C.13 | Installation of Conduit into Traffic Signal Service Boxes | CW 3620 | each | 3 |  | 0
| C.14 | Installation of Conduit into Existing Concrete Base | CW 3620 | each | 2 |  | 0
REMOVALS
| C.15 | Removal of Existing Bases and Service Boxes
| i) | Signal Pole Base, Controller, Terminal Base, Service Box | CW 3620 | each | 10 |  | 0
MISCELLANEOUS
| C.16 | Cutovers | CW 3620 | each | 3 |  | 0
SARGENT & DOMINION
INSTALLATIONS
| C.17 | Installation of Conduit | CW 3620-R9
| i) | Installation of Conduit in Open Trench- Single |  | m | 40 |  | 0
| ii) | Installation of Conduit in Open Trench- Double |  | m | 40 |  | 0
| iii) | Installation of Conduit by Directional Boring- Single |  | m | 90 |  | 0
| iv) | Installation of Conduit by Directional Boring- Double |  | m | 90 |  | 0
| C.18 | Installation of Concrete Bases | CW 3620-R9
| i) | Controller Base |  | each | 1 |  | 0
| ii) | Signal Pole Base – Type G (Light Duty – 32 Dia. Bolts) | SD-313 | each | 2 |  | 0
| iii) | Signal Pole Base - Type OD (Medium Duty – 32 Dia. Bolts) | SD-312A | each | 6 |  | 0
| C.19 | Ground Rods (Electrodes) | CW 3620 | each | 1 |  | 0
| C.20 | Installation of Service Boxes | CW 3620-R9
| i) | Service Box- Pre-Cast | SD-322 | each | 3 |  | 0
| C.21 | Installation of Conduit into Traffic Signal Service Boxes | CW 3620 | each | 3 |  | 0
| C.22 | Installation of Conduit into Existing Concrete Base | CW 3620 | each | 2 |  | 0
REMOVALS
| C.23 | Removal of Existing Bases and Service Boxes
| i) | Signal Pole Base, Controller, Terminal Base, Service Box | CW 3620 | each | 11 |  | 0
MISCELLANEOUS
| C.24 | Cutovers | CW 3620 | each | 3 |  | 0
SARGENT & BANNING
INSTALLATIONS
| C.25 | Installation of Conduit | CW 3620-R9
| i) | Installation of Conduit in Open Trench- Single |  | m | 30 |  | 0
| ii) | Installation of Conduit by Directional Boring- Single |  | m | 30 |  | 0
| C.26 | Installation of Concrete Bases | CW 3620-R9
| i) | Signal Pole Base - Type OD (Medium Duty – 32 Dia. Bolts) | SD-312A | each | 2 |  | 0
REMOVALS
| C.27 | Removal of Existing Bases and Service Boxes
| i) | Signal Pole Base, Controller, Terminal Base, Service Box | CW 3620 | each | 2 |  | 0
MISCELLANEOUS
| C.28 | Cutovers | CW 3620 | each | 1 |  | 0
| C | SIGNALS |  |  |  | Subtotal: | 0
| D | STREET LIGHTING CONDUIT INSTALLATION
| D.1 | Street Lighting Conduit Installation | E18 | m | 160 |  | 0
| D | STREET LIGHTING CONDUIT INSTALLATION |  |  |  | Subtotal: | 0
| E | WATERMAIN
INSTALLATIONS
| E.1 | Water Main Renewal | CW 2110-R11
| i) | 400 mm
| a) | Trenchless installation, class B sand bedding, Class 3 backfill |  | m | 40 |  | 0
| ii) | 350 mm
| a) | Trenchless installation, class B sand bedding, Class 5 backfill |  | m | 2 |  | 0
| iii) | 300 mm
| a) | Trenchless installation, class B sand bedding, Class 3 backfill |  | m | 40 |  | 0
| iv) | 250 mm
| a) | Trenchless installation, class B sand bedding, Class 3 backfill |  | m | 630 |  | 0
| b) | In a 450mm diameter steel casing pipe |  | m | 25 |  | 0
| v) | 250 mm with nitrile gaskets
| a) | Trenchless installation, class B sand bedding, Class 3 backfill |  | m | 60 |  | 0
| vi) | 200 mm
| a) | Trenchless installation, class B sand bedding, Class 3 backfill |  | m | 70 |  | 0
| vii) | 150 mm
| a) | Trenchless installation, class B sand bedding, Class 3 backfill |  | m | 50 |  | 0
| E.2 | Hydrant Assembly | CW 2110-R11
| i) | SD-006 |  | each | 3 |  | 0
| ii) | SD-007 |  | each | 2 |  | 0
| E.3 | Water Main Valve | CW 2110-R11
| i) | 150 mm |  | each | 5 |  | 0
| ii) | 200 mm |  | each | 2 |  | 0
| iii) | 250 mm |  | each | 10 |  | 0
| iv) | 300 mm |  | each | 2 |  | 0
| E.4 | Water Main Valve By-pass Assembly | E16
| i) | 400 mm X 150 mm |  | each | 1 |  | 0
| E.5 | Fittings | CW 2110-R11
| i) | Tees
| a) | 250 mm X 250 mm x 150 mm |  | each | 4 |  | 0
| ii) | Bends (SD-004)
| a) | 150 mm - 45° |  | each | 4 |  | 0
| b) | 200 mm - 45° |  | each | 6 |  | 0
| c) | 250 mm - 45° |  | each | 2 |  | 0
| d) | 250 mm - 22.5° |  | each | 8 |  | 0
| e) | 300 mm- 22.5° |  | each | 2 |  | 0
| f) | 400 mm- 45° |  | each | 4 |  | 0
| iii) | Bends (SD-005)
| a) | 150 mm - 45° |  | each | 8 |  | 0
| b) | 200 mm - 45° |  | each | 8 |  | 0
| c) | 250 mm - 45° |  | each | 4 |  | 0
| d) | 300 mm - 45° |  | each | 2 |  | 0
| iv) | Crosses
| a) | 400 mm X 400 mm x 250 mm x 250 mm |  | each | 1 |  | 0
| b) | 300 mm X 300 mm x 250 mm x 250 mm |  | each | 1 |  | 0
| c) | 250 mm X 250 mm x 200 mm x 200 mm |  | each | 2 |  | 0
| d) | 250 mm X 250 mm x 150 mm x 150 mm |  | each | 1 |  | 0
| v) | Reducers
| a) | 350mm X 300 mm |  | each | 1 |  | 0
| E.6 | Water Services | CW 2110-R11
| i) | 19 mm
| a) | Trenchless installation, class B sand bedding, Class 3 backfill |  | m | 45 |  | 0
| ii) | 25 mm
| a) | Trenchless installation, class B sand bedding, Class 3 backfill |  | m | 30 |  | 0
| iii) | 50 mm
| a) | Trenchless installation, class B sand bedding, Class 3 backfill |  | m | 5 |  | 0
| iv) | 150 mm
| a) | Trenchless installation, class B sand bedding, Class 3 backfill |  | m | 6 |  | 0
| E.7 | Corporation Stops | CW 2110-R11
| i) | 19 mm |  | each | 13 |  | 0
| ii) | 25 mm |  | each | 6 |  | 0
| iii) | 50 mm |  | each | 1 |  | 0
| E.8 | Curb Stops | CW 2110-R11
| i) | 19 mm |  | each | 5 |  | 0
| ii) | 25 mm |  | each | 2 |  | 0
| E.9 | Curb Stop Boxes | CW 2110-R11
| i) | 19 mm |  | each | 5 |  | 0
| ii) | 25 mm |  | each | 2 |  | 0
| E.10 | Connecting to Existing Watermains and Large Diameter Water Services | CW 2110-R11
| i) | In-line connection - no plug existing
| a) | 150 mm |  | each | 6 |  | 0
| b) | 200 mm |  | each | 4 |  | 0
| c) | 250 mm |  | each | 7 |  | 0
| d) | 300 mm |  | each | 1 |  | 0
| e) | 350 mm |  | each | 1 |  | 0
| f) | 400 mm |  | each | 2 |  | 0
| E.11 | Connecting Existing Copper Water Services to New Watermains | CW 2110-R11
| i) | 19 mm |  | each | 13 |  | 0
| ii) | 25 mm |  | each | 6 |  | 0
| iii) | 50 mm |  | each | 1 |  | 0
| E.12 | 10.9 Kilogram Sacrifical Zinc Anodes | CW 2110-R11
| i) | On Metallic Water Mains |  | each | 6 |  | 0
| ii) | On Water Services |  | each | 5 |  | 0
| E.13 | Continuity Bonding | CW 2110-R11 | each | 25 |  | 0
| E.14 | Maintaining Curb Stop Excavations | CW 2110-R11 | each / day | 5 |  | 0
PROVISIONAL ITEMS
| E.15 | Cement Stabilized Fill | CW 2030-R7 | m³ | 10 |  | 0
| E.16 | Water Services | CW 2110-R11
| i) | 38mm
| a) | Trenchless installation, class B sand bedding, Class 3 backfill |  | m | 5 |  | 0
| E.17 | Regrading of Existing Sewer Service - Up to 1.5 meters long | CW 2130-R12
| i) | 150mm |  | each | 5 |  | 0
| ii) | 200mm |  | each | 3 |  | 0
| iii) | 250mm |  | each | 3 |  | 0
| E.18 | Water Main and Water Service Insulation | CW 2130-R12
| i) | In a trench (SD-018)
| a) | 100mm thick |  | m | 15 |  | 0
| E.19 | Remobilization to Site to Complete Watermain at Rail | E13 | L.S. | 1 |  | 0
| E | WATERMAIN |  |  |  | Subtotal: | 0
| F | MOBILIZATION /DEMOBILIZATION
I001 | F.1 | Mobilization/Demobilization (Section A-D) | E9 | L.S. | 1 |  | 0
I001 | F.2 | Watermain Mobilization/Demobilization (Section E) | E9 | L.S. | 1 |  | 0
| F | MOBILIZATION /DEMOBILIZATION |  |  |  | Subtotal: | 0
SUMMARY
| A | SARGENT AVENUE - ARLINGTON ST TO ERIN ST - CONCRETE RECONSTRUCTION |  |  |  | Subtotal: | 0
| B | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
| C | SIGNALS |  |  |  | Subtotal: | 0
| D | STREET LIGHTING CONDUIT INSTALLATION |  |  |  | Subtotal: | 0
| E | WATERMAIN |  |  |  | Subtotal: | 0
| F | MOBILIZATION /DEMOBILIZATION |  |  |  | Subtotal: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0