## 748-2020- Unit Prices
FORM B: PRICES
(See B10)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
A003 | A | CAMPEAU STREET OUTFALL (S-MA60023323)
A004 | A1 | Site Development and Restoration | E11 | lump sum | 1 |  | 0
| A2 | Supply and Installation of Outfall Pipe | E16 |  |  |  | 0 | 0
|  | a) 450 mm diameter CMP (2.0mm) c/w Polymer Coating |  | l.m. | 7 |  | 0
|  | b) 300 mm ID HDPE DR17 (trenchless) |  | l.m. | 16.9 |  | 0
| A3 | Supply and Installation of Gravity Sewer Pipe | CW 2130-R12 |  |  |  | 0
|  | a) 300 mm PVC DR35 (trenchless) |  | l.m. | 5.1 |  | 0
| A4 | Supply and Installation of Standard Drop Manhole (SD-010D) | CW 2130-R12 | vert.m. | 4.3 |  | 0
| A5 | Connect 300 mm ID HDPE DR17 to Manhole | E16 | each | 1 |  | 0
| A6 | Connect 300 mm PVC DR35 to Manhole | E16 | each | 2 |  | 0
| A7 | Construction of HDPE to CMP Expansion Joint (450 mm diameter) | E16 | each | 1 |  | 0
| A8 | Plugging and Abandoning Existing Outfall with lightweight cellular concrete, density 475 kg/m3) | E35 | m3 | 3 |  | 0
| A9 | Supply and Installation of In-Line Gate Valve | E40 | lump sum | 1 |  | 0
| A10 | Riverbank Regrading | E20 | m3 | 250 |  | 0
| A11 | Geotextile | E21 | m2 | 10 |  | 0
| A12 | Rockfill Riprap | E15 | tonne | 12 |  | 0
A010 | A13 | Installation of Silt Fence | E12 | l.m. | 20 |  | 0
A012 | A14 | Erosion Control Blankets | E30 | m2 | 200 |  | 0
A022 | A15 | Tree Removal | E13
A022A |  | a) 50 mm to 249 mm diameter |  | each | 4 |  | 0
B099 |  | b) 250 mm to 499 mm diameter |  | each | 2 |  | 0
B199 |  | c) 500 mm to 1000 mm diameter |  | each | 1 |  | 0
B219 | A16 | Tree Revegation | E23
|  | a) Manitoba Maple |  | each | 3 |  | 0
|  | b) Basswood |  | each | 3 |  | 0
C007 |  | c) American Elm (Prairie Expedition or Discovery) |  | each | 2 |  | 0
C008 |  | d) Oak |  | each | 1 |  | 0
E004 | A17 | Native Grass Seed & Topsoil | E22 | m2 | 150 |  | 0
| A18 | Sodding | CW3510-R9 |  |  |  | 0
E005 |  | a) Width > or = 600mm |  | m2 | 50 |  | 0
F028 | A19 | Temporary Surface Restoration | E33 | m2 | 10 |  | 0
| A20 | Patching Existing Manholes | CW 2130-R12 | vert.m. | 1 |  | 0
| A21 | Sewer Inspection | E25 |  |  |  | 0
|  | a) Outfall (300mm ID HDPE, 450mm CMP) |  | l.m. | 21.9 |  | 0
|  | b) Sewer (300mm PVC) |  | l.m. | 5.1 |  | 0
| A | CAMPEAU STREET OUTFALL (S-MA60023323) |  |  | Subtotal: |  | 0
A003 | B | MORROW AVENUE OUTFALL (S-MA70011102)
| B1 | Site Development and Restoration | E11 | lump sum | 1 |  | 0
A004 | B2 | Supply and Installation of Temporary Shoring | E32 | lump sum | 1 |  | 0
A010 | B3 | Supply and Installation of Outfall Pipe | E16 |  |  |  | 0
A012 |  | a) 750 mm diameter CMP (2.8mm) c/w Polymer Coating |  | l.m. | 34 |  | 0
| B4 | Supply and Installation of Debris Grate | E16 |  |  |  | 0
|  | a) 750 mm diameter |  | each | 1 |  | 0
A022A | B5 | Construction of Concrete Collar | E19 |  |  |  | 0
B099 |  | a) 750 mm diameter |  | lump sum | 1 |  | 0
C014 | B6 | Riverbank Regrading | E20 | m3 | 10 |  | 0
C015 | B7 | Geotextile | E21 | m2 | 10 |  | 0
E004 | B8 | Rockfill Riprap | E15 | tonne | 12 |  | 0
E004 | B9 | Installation of Silt Fence | E12 | l.m. | 15 |  | 0
| B10 | Erosion Control Blankets | E30 | m2 | 250 |  | 0
E005 | B11 | Tree Removal | E13
E046 |  | a) 50 mm to 249 mm diameter |  | each | 1 |  | 0
F001 |  | b) 250 mm to 499 mm diameter |  | each | 1 |  | 0
| B12 | Tree Revegation | E23
|  | a) Manitoba Maple |  | each | 1 |  | 0
F028 |  | b) Basswood |  | each | 2 |  | 0
G003 | B13 | Native Grass Seed & Topsoil | E22 | m2 | 100 |  | 0
| B14 | Sodding | CW3510-R9 |  |  |  | 0
|  | a) Width > or = 600mm |  | m2 | 150 |  | 0
| B15 | Sewer Inspection | E25 |  |  |  | 0
|  | a. Outfall (600 mm conc, 750 mm CMP) |  | l.m. | 65 |  | 0
| B16 | Allowance for Water Service Repair | CW 2110 | allowance | 1 | 5000 | 5000
| B17 | Allowance for Vibration Monitoring | E39 | allowance | 1 | 10000 | 10000
| B | MORROW AVENUE OUTFALL (S-MA70011102) |  |  | Subtotal: |  | 15000
A003 | C | COMANCHE ROAD OUTFALL (S-MA70125881)
| C1 | Site Development and Restoration | E11 | lump sum | 1 |  | 0
A010 | C2 | Supply and Installation of Outfall Pipe | E16 |  |  |  | 0
A012 |  | a) 450 mm diameter CMP (2.0mm) c/w Polymer Coating |  | l.m. | 23.2 |  | 0
A022 | C3 | Construction of Concrete Collar | E19 |  |  |  | 0
A022A |  | a) 450 mm diameter |  | lump sum | 1 |  | 0
B099 | C4 | Removal of Concrete Debris | E37 | tonne | 5 |  | 0
B199 | C5 | Riverbank Regrading | E20 | m3 | 15 |  | 0
B219 | C6 | Geotextile | E21 | m2 | 20 |  | 0
| C7 | Rockfill Riprap | E15 | tonne | 30 |  | 0
| C8 | Installation of Silt Fence | E12 | l.m. | 15 |  | 0
C007 | C9 | Erosion Control Blankets | E30 | m2 | 200 |  | 0
C008 | C10 | Tree Removal | E13
C014 |  | a) 50 mm to 249 mm diameter |  | each | 5 |  | 0
C015 |  | b) 250 mm to 499 mm diameter |  | each | 5 |  | 0
E004 | C11 | Tree Revegation | E23
E004 |  | a) Manitoba Maple |  | each | 5 |  | 0
|  | b) Basswood |  | each | 8 |  | 0
E005 | C12 | Native Grass Seed & Topsoil | E22 | m2 | 200 |  | 0
F011 | C13 | Temporary Surface Restoration | E33 | m2 | 20 |  | 0
G001 | C14 | Prepare & Compact Subgrade | CW3110-R19 | m2 | 20 |  | 0
G002 | C15 | Supplying and Placing Crushed Sub-Base Material | CW3110-R19 |  |  |  | 0
G003 |  | a) 50 mm |  | tonne | 8 |  | 0
| C16 | Supplying and Placing Base Course Material | CW3110-R19 | m3 | 4 |  | 0
| C17 | Separation Geotextile | CW3130-R5 | m2 | 20 |  | 0
| C18 | Existing Pathway Removal | CW3110-R19 |  |  |  | 0
|  | a) Asphalt Pavement |  | m2 | 20 |  | 0
| C19 | Construction of Asphaltic Concrete Pavements | CW3410-R12 |  |  |  | 0
|  | a) Main Line Paving - Type 1A |  | tonne | 5 |  | 0
| C20 | Sewer Inspection | E25 |  |  |  | 0
|  | a) Outfall (375 mm PVC, 450 mm CMP) |  | l.m. | 27 |  | 0
| C21 | Water main and water service insulation | CW 2110 |  |  |  | 0
|  | a) in a trench, 100 mm thick (SD-018) |  | m | 5 |  | 0
F028 | C22 | Allowance for Water Main Repair | CW 2110 | allowance | 1 | 10000 | 10000
| C | COMANCHE ROAD OUTFALL (S-MA70125881) |  |  | Subtotal: |  | 10000
A003 | D | 249 EGERTON ROAD OUTFALL (S-MA70032285)
| D1 | Site Development and Restoration | E11 | lump sum | 1 |  | 0
A004 | D2 | Supply and Installation of Outfall Pipe | E16 |  |  |  | 0
A010 |  | a) 1050 mm diameter CMP (2.8mm) c/w Polymer Coating |  | l.m. | 31.9 |  | 0
A012 | D3 | Construction of Concrete Collar | E19 |  |  |  | 0
A022 |  | a) 1050 mm diameter |  | lump sum | 1 |  | 0
A022A | D4 | Supply and Installation of Pipe Fittings | E16 | tonne | 5 |  | 0
|  | a) 1050 mm diameter polymer coated internal slip joint |  | each | 2 |  | 0
| D5 | Supply and Installation of Debris Grate | E16 |  |  |  | 0
|  | a) 1050 mm diameter |  | each | 1 |  | 0
B099 | D6 | Riverbank Regrading | E20 | m3 | 30 |  | 0
B199 | D7 | Geotextile | E21 | m2 | 50 |  | 0
B219 | D8 | Rockfill Riprap | E15 | tonne | 75 |  | 0
| D9 | Installation of Silt Fence | E12 | l.m. | 15 |  | 0
| D10 | Erosion Control Blankets | E30 | m2 | 300 |  | 0
C007 | D11 | Tree Removal | E13
C008 |  | a) 50 mm to 249 mm diameter |  | each | 5 |  | 0
C014 |  | b) 250 mm to 499 mm diameter |  | each | 1 |  | 0
C015 | D12 | Tree Revegation | E23
E004 |  | a) Manitoba Maple |  | each | 5 |  | 0
E004 |  | b) Basswood |  | each | 5 |  | 0
| D13 | Native Grass Seed & Topsoil | E22 | m2 | 300 |  | 0
| D14 | Adjustment of Manhole Frame | CW 3210-R8 | each | 1 |  | 0
| D15 | Replacing Existing Flat Top Reducer | CW 2130-R12 |  |  |  | 0
|  | a) 1200 mm dia. x 750 mm dia. |  | each | 1 |  | 0
| D16 | Patching Existing Manholes | CW 2130-R12 | vert.m. | 1 |  | 0
| D17 | Sewer Inspection | E25 |  |  |  | 0
|  | a) Outfall (900 mm Conc, 1050 mm CMP) |  | l.m. | 31.9 |  | 0
| D | 249 EGERTON ROAD OUTFALL (S-MA70032285) |  |  | Subtotal: |  | 0
A003 | E | GAREAU STREET/EVANS STREET OUTFALL (S-MA70042084)
| E1 | Site Development and Restoration | E11 | lump sum | 1 |  | 0
A004 | E2 | Supply and Installation of Outfall Pipe | E16 |  |  |  | 0
A010 |  | a) 525 mm diameter CMP (2.0mm) c/w Polymer Coating |  | l.m. | 8.9 |  | 0
A012 | E3 | Construction of Concrete Collar | E19 |  |  |  | 0
A022 |  | a) 525 mm diameter |  | lump sum | 1 |  | 0
A022A | E4 | Supply and Installation of Pipe Fittings | E16 | tonne | 5 |  | 0
B099 |  | a) 525 mm diameter polymer coated external slip joint | E16 | each | 1 |  | 0
B199 | E5 | Riverbank Regrading | E20 | m3 | 30 |  | 0
B219 | E6 | Geotextile | E21 | m2 | 40 |  | 0
| E7 | Rockfill Riprap | E15 | tonne | 75 |  | 0
| E8 | Installation of Silt Fence | E12 | l.m. | 15 |  | 0
C007 | E9 | Erosion Control Blankets | E30 | m2 | 100 |  | 0
C008 | E10 | Tree Removal | E13
C014 |  | a) 50 mm to 249 mm diameter |  | each | 5 |  | 0
E004 | E11 | Tree Revegation | E23
E004 |  | a) Manitoba Maple |  | each | 5 |  | 0
|  | b) Basswood |  | each | 2 |  | 0
E005 | E12 | Native Grass Seed & Topsoil | E22 | m2 | 100 |  | 0
E046 | E13 | Sewer Inspection | E25 |  |  |  | 0
|  | a) Outfall (450 mm Conc, 525 mm CMP) |  | l.m. | 22.2 |  | 0
|  | b) Adjacent Outfall (800 mm CMP) Pre-Construction |  | l.m. | 31.4 |  | 0
F001 |  | c) Adjacent Outfall (800 mm CMP) Post-Construction |  | l.m. | 31.4 |  | 0
| E | GAREAU STREET/EVANS STREET OUTFALL (S-MA70042084) |  |  | Subtotal: |  | 0
A003 | F | PROSPER STREET OUTFALL (S-MA50002566)
| F1 | Site Development and Restoration | E11 | lump sum | 1 |  | 0
A010 | F2 | Supply and Installation of Outfall Pipe | E16 |  |  |  | 0
A012 |  | a) 375 mm diameter CMP (2.0mm) c/w Polymer Coating |  | l.m. | 13.7 |  | 0
A022 |  | b) 300 mm diameter PVC DR35 (trenchless) |  | l.m. | 3 |  | 0
B219 | F3 | Supply and Installation of Standard Drop Manhole (SD-010D) | CW 2130-R12 | vert.m. | 3.3 |  | 0
| F4 | Connect 375 mm diameter CMP to Manhole | E16 | each | 1 |  | 0
| F5 | Connect 300 mm diameter PVC DR35 to Manhole | E16 | each | 1 |  | 0
|  | Supply and Installation of Pipe Fittings |  |  |  |  | 0
|  | a) 375 mm diameter polymer coated external slip joint | E16 | each | 1 |  | 0
|  | b) 45 degree bend - 300 mm diameter PVC DR35 | E16 | each | 1 |  | 0
C008 | F6 | Plugging and Abandoning Existing Outfall with cement stabilized fill | CW 2130-R12 | m3 | 2 |  | 0
C014 | F7 | Riverbank Regrading | E20 | m3 | 10 |  | 0
C015 | F8 | Geotextile | E21 | m2 | 10 |  | 0
E004 | F9 | Rockfill Riprap | E15 | tonne | 15 |  | 0
E004 | F10 | Installation of Silt Fence | E12 | l.m. | 20 |  | 0
| F11 | Erosion Control Blankets | E30 | m2 | 120 |  | 0
E005 | F12 | Tree Removal | E13
F001 |  | b) 250 mm to 499 mm diameter |  | each | 2 |  | 0
| F13 | Tree Revegation | E23
|  | a) Manitoba Maple |  | each | 2 |  | 0
G002 |  | d) Oak |  | each | 2 |  | 0
G003 | F14 | Native Grass Seed & Topsoil | E22 | m2 | 100 |  | 0
| F15 | Sodding | CW 3510-R9 |  |  |  | 0
|  | a) Width > or = 600mm |  | m2 | 20 |  | 0
| F16 | Sewer Inspection | E25 |  |  |  | 0
|  | a) Adjacent Outfall (300 mm CSP) - Pre-Construction |  | l.m. | 18 |  | 0
|  | b) Adjacent Outfall (300 mm CSP) - Post Construction |  | l.m. | 18 |  | 0
|  | c) Outfall (300 mm PVC, 375 mm CMP) |  | l.m. | 16.7 |  | 0
| F | PROSPER STREET OUTFALL (S-MA50002566) |  |  | Subtotal: |  | 0
A003 | G | PEMBINA HIGHWAY OUTFALL (S-MA70044846)
| G1 | Site Development and Restoration | E11 | lump sum | 1 |  | 0
A004 | G2 | Supply and Installation of Outfall Pipe | E16 |  |  |  | 0
A010 |  | a) 1050 mm diameter CMP (2.8mm) c/w Polymer Coating |  | l.m. | 5 |  | 0
A022 | G3 | Supply and Installation of HDPE Spiral Wound Liner Pipe | E17 |  |  |  | 0
|  | a) 676 mm internal diameter sprial wound HDPE pipe (RSC 160) |  | l.m. | 37 |  | 0
A022A | G4 | Construction of Concrete Collar | E19 |  |  |  | 0
B099 |  | a) 1050 mm diameter |  | lump sum | 1 |  | 0
B199 | G5 | Supply and Installation of Debris Grate | E16 |  |  |  | 0
B219 |  | a) 1050 mm diameter |  | each | 1 |  | 0
| G6 | Riverbank Regrading | E20 | m3 | 50 |  | 0
C007 | G7 | Geotextile | E21 | m2 | 100 |  | 0
C008 | G8 | Riverstone Rockfill Riprap | E15 | tonne | 100 |  | 0
C014 | G9 | Installation of Silt Fence | E12 | l.m. | 15 |  | 0
C015 | G10 | Erosion Control Blankets | E30 | m2 | 50 |  | 0
F001 | G11 | Native Grass Seed & Topsoil | E22 | m2 | 50 |  | 0
| G12 | Patching Existing Manholes | CW 2130-R12 | vert.m. | 2 |  | 0
| G13 | Replacing Existing Manhole Rungs | CW 2130-R12 | each | 2 |  | 0
| G14 | Sewer Cleaning | E24
|  | a) 900 mm diameter |  | hr | 8 |  | 0
| G15 | Sewer Inspection | E25
G001 |  | a) Outfall (676 mm ID HDPE Liner, 1050 mm CMP ) |  | l.m. | 42.1 |  | 0
| G | PEMBINA HIGHWAY OUTFALL (S-MA70044846) |  |  | Subtotal: |  | 0
A003 | H | 605 NIAKWA ROAD OUTFALL (S-MA70044846)
| H1 | Site Development and Restoration | E11 | lump sum | 1 |  | 0
A010 | H2 | Supply and Installation of Outfall Pipe | E16 |  |  |  | 0
A012 |  | a) 450 mm diameter CMP (2.0mm) c/w Polymer Coating |  | l.m. | 16.3 |  | 0
A022A | H3 | Supply and Installation of Gravity Sewer Pipe | CW 2130-R12 |  |  |  | 0
B099 |  | a) 450 mm PVC DR35 (trenchless) |  | l.m. | 38 |  | 0
|  | b) 300 mm PVC DR35 |  | l.m. | 6 |  | 0
| H4 | Supply and Installation of Pipe Fittings | E16 |  |  |  | 0
|  | a) 22.5 degree bend - 450 mm diameter PVC DR35 |  | each | 1 |  | 0
|  | b) Tee - 450 mm x 450 mm x 300 mm PVC DR35 |  | each | 1 |  | 0
| H5 | Construction of Concrete Collar | E19 |  |  |  | 0
|  | a) 450 mm diameter |  | lump sum | 1 |  | 0
| H6 | Connect 450 mm PVC DR35 to Existing Manhole | E16 | each | 1 |  | 0
| H7 | Connect 300 mm PVC DR35 to Existing Manhole | E16 | each | 1 |  | 0
| H8 | Pipe Removal | E16 |  |  |  | 0
|  | a) 450 mm diameter CMP |  | l.m. | 5 |  | 0
| H9 | Replace Existing 300 mm Culvert | CW 2130-R12 | l.m. | 5 |  | 0
| H10 | Removal and Re-Installation of Existing Flap Gate | E34 | lump sum | 1 |  | 0
C008 | H11 | Plugging and Abandoning Existing Outfall with cement stabilized fill | E35 | m3 | 10 |  | 0
C014 | H12 | Riverbank Regrading | E20 | m3 | 5 |  | 0
C015 | H13 | Geotextile | E21 | m2 | 10 |  | 0
E004 | H14 | Rockfill Riprap | E15 | tonne | 10 |  | 0
E004 | H15 | Installation of Silt Fence | E12 | l.m. | 15 |  | 0
| H16 | Erosion Control Blankets | E30 | m2 | 150 |  | 0
E005 | H17 | Tree Removal | E13
E046 |  | a) 50 mm to 249 mm diameter |  | each | 5 |  | 0
F001 |  | b) 250 mm to 499 mm diameter |  | each | 3 |  | 0
| H18 | Tree Revegation | E23
|  | a) Manitoba Maple |  | each | 3 |  | 0
F028 |  | b) Basswood |  | each | 3 |  | 0
G001 |  | c) American Elm (Prairie Expedition or Discovery) |  | each | 3 |  | 0
G002 |  | d) Oak |  | each | 3 |  | 0
G003 | H19 | Native Grass Seed & Topsoil | E22 | m2 | 150 |  | 0
| H20 | Temporary Surface Restoration | E33 | m2 | 25 |  | 0
| H21 | Sewer Inspection | E25 |  |  |  | 0
| a) | Outfall (450 mm PVC, 450 mm CMP) |  | l.m. | 54.3 |  | 0
| b) | Sewer (300mm PVC) |  | l.m. | 5 |  | 0
| H22 | Supply and Placing Crushed Sub-base Material | CW3110-R19 |  |  |  | 0
|  | a) 50 mm |  | tonne | 8 |  | 0
| H23 | Supplying and Placing Base Course Material | CW 3110-R21 | m³ | 5 |  | 0
| H24 | Pavement Removal | CW 3235 |  |  |  | 0
|  | a) Asphalt Pavement |  | m² | 25 |  | 0
| H25 | Construction of Asphaltic Concrete Pavements | CW3410-R12 |  |  |  | 0
|  | a) Tie-ins and Approaches |  | tonne | 3 |  | 0
|  | a) Type IA |  | tonne | 5 |  | 0
| H | 605 NIAKWA ROAD OUTFALL (S-MA70044846) |  |  | Subtotal: |  | 0
A003 | I | WELLINGTON CRESCENT OUTFALL (S-MA60007249)
| I1 | Site Development and Restoration | E11 | lump sum | 1 |  | 0
A004 | 12 | Allowance for Soils Investigation and Instrumentation Installation | E16 | allowance | 1 | 12000 | 12000
| I | WELLINGTON CRESCENT OUTFALL (S-MA60007249) |  |  | Subtotal: |  | 12000
| J | GREENWAY CRESCENT OUTFALL (S-MA70008562)
A004 | J1 | Site Development and Restoration | E11 | lump sum | 1 |  | 0
| J2 | Supply and Installation of Outfall Pipe | E16 |  |  |  | 0
|  | a) 750 mm diameter CMP (2.8mm) c/w Polymer Coating |  | l.m. | 20.5 |  | 0
| J3 | Construction of Concrete Collar | E19 |  |  |  | 0
|  | a) 750 mm diameter |  | lump sum | 1 |  | 0
| J4 | Riverbank Regrading | E20 | m3 | 20 |  | 0
| J5 | Geotextile | E21 | m2 | 30 |  | 0
| J6 | Rockfill Riprap | E15 | tonne | 48 |  | 0
| J7 | Installation of Silt Fence | E12 | l.m. | 15 |  | 0
| J8 | Erosion Control Blankets | E30 | m2 | 200 |  | 0
| J9 | Native Grass Seed & Topsoil | E22 | m2 | 200 |  | 0
| J10 | Adjustment of Manhole Frame | CW 3210-R8 | each | 1 |  | 0
| J11 | Lifter Rings | CW 3210-R8
|  | a) 51 mm |  | each | 2 |  | 0
| J12 | Sewer Inspection | E25 |  |  |  | 0
|  | a) Outfall (525 mm Conc, 750 mm CMP) |  | l.m. | 48 |  | 0
| J | GREENWAY CRESCENT OUTFALL (S-MA70008562) |  |  | Subtotal: |  | 0
| K | RIVIERA CRESCENT OUTFALL (S-MA70007648)
| K1 | Site Development and Restoration | E11 | lump sum | 1 |  | 0
| K2 | Supply and Installation of Pipe Fittings | E16
|  | a) 1800 mm diameter polymer coated internal slip joint |  | each | 2 |  | 0
| K3 | Repair of Sinkhole w/ Lightweight Cellular Concrete, density 475 kg/m3 | E35 | m3 | 20 |  | 0
| K4 | Riverbank Regrading | E20 | m3 | 15 |  | 0
| K5 | Allowance for Soils Investigation and Instrumentation Installation | E16 | allowance | 1 | 12000 | 12000
| K | RIVIERA CRESCENT OUTFALL (S-MA70007648) |  |  | Subtotal: |  | 12000
| L | ASSINIBOINE CRESCENT/WINDHAM ROAD OUTFALL (S-MA20005071)
A004 | L1 | Site Development and Restoration | E11 | lump sum | 1 |  | 0
| L2 | Sewer Cleaning | E24
|  | a) 750 mm diameter LDS outfall |  | hr | 16 |  | 0
| L3 | Sewer Inspection | E25 |  |  |  | 0
|  | a) 750 mm diameter LDS outfall |  | l.m. | 46.7 |  | 0
| L | ASSINIBOINE CRESCENT/WINDHAM ROAD OUTFALL (S-MA20005071) |  |  | Subtotal: |  | 0
| M | 905 COCKBURN STREET SOUTH OUTFALL (S-MA60012037)
A004 | M1 | Site Development and Restoration | E11 | lump sum | 1 |  | 0
| M2 | Sewer Cleaning | E24
|  | a) 1675 mm diameter CMP |  | hr | 16 |  | 0
| M3 | Sewer Inspection | E25 |  |  |  | 0
|  | a) 1675 mm CMP |  | l.m. | 28.6 |  | 0
| M | 905 COCKBURN STREET SOUTH OUTFALL (S-MA60012037) |  |  | Subtotal: |  | 0
| N-i | 250 CHURCHILL DRIVE OUTFALL (S-MA60013599) - OPTION A: HDD CLEANING METHOD
| N-i1 | Site Development and Restoration | E11 | lump sum | 1 |  | 0
| N-i2 | HDD Outfall Cleaning (Test Method) | E27 | lump sum | 1 |  | 0
| N-i3 | Sewer Cleaning | E24
|  | a) 1800 mm CMP/1350 mm Conc |  | hr | 8 |  | 0
| N-i4 | Sewer Inspection | E25 |  |  |  | 0
|  | a) 1800 mm CMP, 1350 mm conc |  | l.m. | 49.8 |  | 0
| N-i | 250 CHURCHILL DRIVE OUTFALL (S-MA60013599) - OPTION A: HDD CLEANING METHOD |  |  | Subtotal: |  | 0
| N-ii | 250 CHURCHILL DRIVE OUTFALL (S-MA60013599) - OPTION B: STANDARD CLEANING
A004 | N-ii1 | Site Development and Restoration | E11 | lump sum | 1 |  | 0
| N-ii2 | Sewer Cleaning | E24
|  | a) 1800 mm CMP/1350 mm Conc |  | hr | 80 |  | 0
| N-ii3 | Sewer Inspection | E25 |  |  |  | 0
|  | a) 1800 mm CMP, 1350 mm conc |  | l.m. | 49.8 |  | 0
| N-ii | 250 CHURCHILL DRIVE OUTFALL (S-MA60013599) - OPTION B: STANDARD CLEANING |  |  | Subtotal: |  | 0
| O-i | GALT AVENUE/DUNCAN STREET OUTFALL (S-MA70021229) - OPTION A: HDD CLEANING METHOD
| O-i1 | Site Development and Restoration | E11 | lump sum | 1 |  | 0
| O-i2 | HDD Outfall Cleaning (Test Method) The unit price for this Item should be no larger than [(67.6 m/49.8 m) x N-i2 Lump Sum Price x 1.1] | E27 | lump sum | 1 |  | 0
| O-i3 | Sewer Cleaning | E24
|  | a) 1500 mm diameter LDS outfall |  | hr | 8 |  | 0
| O-i4 | Sewer Inspection | E25 |  |  |  | 0
|  | a) 1500 mm diameter LDS outfall |  | l.m. | 67.6 |  | 0
| O-i | GALT AVENUE/DUNCAN STREET OUTFALL (S-MA70021229) - OPTION A: HDD CLEANING METHOD |  |  | Subtotal: |  | 0
| O-ii | GALT AVENUE/DUNCAN STREET OUTFALL (S-MA70021229) - OPTION B: STANDARD CLEANING
| O-ii1 | Site Development and Restoration | E11 | lump sum | 1 |  | 0
| O-ii2 | Sewer Cleaning | E24
|  | a) 1500 mm diameter LDS outfall |  | hr | 110 |  | 0
| O-ii4 | Sewer Inspection | E25 |  |  |  | 0
|  | a) 1500 mm diameter LDS outfall |  | l.m. | 67.6 |  | 0
| O-ii | GALT AVENUE/DUNCAN STREET OUTFALL (S-MA70021229) - OPTION B: STANDARD CLEANING |  |  | Subtotal: |  | 0
| P | 59 BLACKMORE AVENUE OUTFALL (S-MA50013076)
A004 | P1 | Site Development and Restoration | E11 | lump sum | 1 |  | 0
B199 | P2 | Riverbank Regrading | E20 | m3 | 65 |  | 0
B219 | P3 | Geotextile | E21 | m2 | 90 |  | 0
| P4 | Tree Removal | E13
|  | a) 50 mm to 249 mm diameter |  | each | 2 |  | 0
|  | b) 250 mm to 499 mm diameter |  | each | 1 |  | 0
| P5 | Tree Revegation | E23
|  | a) Manitoba Maple |  | each | 2 |  | 0
|  | b) Basswood |  | each | 2 |  | 0
| P6 | Sewer Inspection | E25 |  |  |  | 0
|  | a) Pre-Construction, 1200 mm conc, 1370 mm CMP |  | l.m. | 60.8 |  | 0
|  | b) Post-Construction, 1200 mm conc, 1370 mm CMP |  | l.m. | 60.8 |  | 0
| P7 | Rockfill Riprap | E15 | tonne | 120 |  | 0
| P | 59 BLACKMORE AVENUE OUTFALL (S-MA50013076) |  |  | Subtotal: |  | 0
| Q | 160 NIAKWA ROAD OUTFALL (S-MA50017305)
| Q1 | Site Development and Restoration | E11 | lump sum | 1 |  | 0
| Q2 | Riverbank Regrading | E20 | m3 | 15 |  | 0
| Q3 | Geotextile | E21 | m2 | 20 |  | 0
| Q4 | Geomembrane | E38 | m2 | 20 |  | 0
| Q5 | Rockfill Riprap | E15 | tonne | 30 |  | 0
| Q6 | Supply and Installation of Debris Grate | E16 |  |  |  | 0
|  | a) 900 mm diameter |  | each | 1 |  | 0
| Q6 | Tree Removal | E13
|  | a) 50 mm to 249 mm diameter |  | each | 2 |  | 0
|  | b) 250 mm to 499 mm diameter |  | each | 1 |  | 0
| Q7 | Tree Revegation | E23
|  | a) Manitoba Maple |  | each | 2 |  | 0
|  | b) Basswood |  | each | 2 |  | 0
| Q8 | Sewer Inspection | E25 |  |  |  | 0
|  | a) Pre-Construction, 900 mm CMP |  | l.m. | 29.9 |  | 0
|  | b) Post-Construction, 900 mm CMP |  | l.m. | 29.9 |  | 0
| Q | 160 NIAKWA ROAD OUTFALL (S-MA50017305) |  |  | Subtotal: |  | 0
| R | 153 EGERTON ROAD OUTFALL (S-MA50015464)
| R1 | Site Development and Restoration | E11 | lump sum | 1 |  | 0
| R2 | Pipe Removal |  |  |  |  | 0
|  | a) 1060 mm diameter CMP | E16 | l.m. | 2 |  | 0
| R3 | Riverbank Regrading | E20 | m3 | 40 |  | 0
| R4 | Geotextile | E21 | m2 | 60 |  | 0
| R5 | Rockfill Riprap | E15 | tonne | 80 |  | 0
| R6 | Tree Removal | E13
|  | a) 50 mm to 249 mm diameter |  | each | 2 |  | 0
|  | b) 250 mm to 499 mm diameter |  | each | 1 |  | 0
| R7 | Tree Revegation | E23
|  | a) Manitoba Maple |  | each | 2 |  | 0
|  | b) Basswood |  | each | 2 |  | 0
| R8 | Sewer Inspection | E25 |  |  |  | 0
|  | a) Pre-Construction, 1060 mm CMP |  | l.m. | 10.4 |  | 0
|  | b) Post-Construction, 1060 mm CMP |  | l.m. | 10.4 |  | 0
| R | 153 EGERTON ROAD OUTFALL (S-MA50015464) |  |  | Subtotal: |  | 0
| S | 555 CUSSON STREET OUTFALL (S-MA70007410)
| S1 | Site Development and Restoration | E11 | lump sum | 1 |  | 0
| S2 | Pipe Removal |  |  |  |  | 0
|  | a) 1050 mm CMP | E16 | l.m. | 5 |  | 0
| S3 | Supply and Installation of Debris Grate | E16 |  |  |  | 0
|  | a) 1050 mm diameter |  | each | 1 |  | 0
| S4 | Riverbank Regrading | E20 | m3 | 30 |  | 0
| S5 | Geotextile | E21 | m2 | 50 |  | 0
| S6 | Geomembrane | E38 | m2 | 50 |  | 0
| S7 | Rockfill Riprap | E15 | tonne | 70 |  | 0
| S8 | Sewer Inspection | E25 |  |  |  | 0
|  | a) Pre-Construction, 1050 mm CMP |  | l.m. | 32.3 |  | 0
|  | b) Post-Construction, 1050 mm CMP |  | l.m. | 32.3 |  | 0
| S | 555 CUSSON STREET OUTFALL (S-MA70007410) |  |  | Subtotal: |  | 0
| T | MAISONNEUVE STREET/DUMOULIN STREET OUTFALL (S-MA50011156)
| T1 | Site Development and Restoration | E11 | lump sum | 1 |  | 0
| T2 | Riverbank Regrading | E20 | m3 | 15 |  | 0
| T3 | Geotextile | E21 | m2 | 45 |  | 0
| T4 | Rockfill Riprap | E15 | tonne | 65 |  | 0
| T5 | Sewer Inspection | E25 |  |  |  | 0
|  | a) Pre-Construction, 525 mm CMP |  | l.m. | 19.1 |  | 0
|  | b) Post-Construction, 525 mm CMP |  | l.m. | 19.1 |  | 0
| T | MAISONNEUVE STREET/DUMOULIN STREET OUTFALL (S-MA50011156) |  |  | Subtotal: |  | 0
| U | Total Bid Price (ALL ITEMS) |  |  | SUBTOTAL: |  | 49000
UNIT PRICES FOR BID EVALUATION (Refer to B18) The following pricing forms the Evaluated Bid Price (All Items Except N-ii and O-i)
| V | EVALUATED BID PRICE (ALL ITEMS EXCEPT N-ii and O-i)
Summary
| A | CAMPEAU STREET OUTFALL (S-MA60023323) |  |  |  | 0
| B | MORROW AVENUE OUTFALL (S-MA70011102) |  |  |  | 15000
| C | COMANCHE ROAD OUTFALL (S-MA70125881) |  |  |  | 10000
| D | 249 EGERTON ROAD OUTFALL (S-MA70032285) |  |  |  | 0
| E | GAREAU STREET/EVANS STREET OUTFALL (S-MA70042084) |  |  |  | 0
| F | PROSPER STREET OUTFALL (S-MA50002566) |  |  |  | 0
| G | PEMBINA HIGHWAY OUTFALL (S-MA70044846) |  |  |  | 0
| H | 605 NIAKWA ROAD OUTFALL (S-MA70044846) |  |  |  | 0
| I | WELLINGTON CRESCENT OUTFALL (S-MA60007249) |  |  |  | 12000
| J | GREENWAY CRESCENT OUTFALL (S-MA70008562) |  |  |  | 0
| K | RIVIERA CRESCENT OUTFALL (S-MA70007648) |  |  |  | 12000
| L | ASSINIBOINE CRESCENT/WINDHAM ROAD OUTFALL (S-MA20005071) |  |  |  | 0
| M | 905 COCKBURN STREET SOUTH OUTFALL (S-MA60012037) |  |  |  | 0
| N-i | 250 CHURCHILL DRIVE OUTFALL (S-MA60013599) - OPTION A: HDD CLEANING METHOD |  |  |  | 0
| O-ii | GALT AVENUE/DUNCAN STREET OUTFALL (S-MA70021229) - OPTION B: STANDARD CLEANING |  |  |  | 0
| P | 59 BLACKMORE AVENUE OUTFALL (S-MA50013076) |  |  |  | 0
| Q | 160 NIAKWA ROAD OUTFALL (S-MA50017305) |  |  |  | 0
| R | 153 EGERTON ROAD OUTFALL (S-MA50015464) |  |  |  | 0
| S | 555 CUSSON STREET OUTFALL (S-MA70007410) |  |  |  | 0
| T | MAISONNEUVE STREET/DUMOULIN STREET OUTFALL (S-MA50011156) |  |  |  | 0
| EVALUATED BID PRICE (GST extra) (in figures) |  |  |  |  | 49000