## FORM B - PRICES
FORM B: PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
PART 1 CITY FUNDED WORK
| A | MOUNTAIN AVENUE - WATERMAIN RENEWAL
MCPHILLIPS STREET TO RADFORD STREET
| A.1 | Water Main Renewal | CW 2110-R11
| i) | 250 mm PVC
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 225 |  | 0
| ii) | 150 mm PVC
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 35 |  | 0
| A.2 | Hydrant Assembly | CW 2110-R11
| i) | SD-006 |  | each | 2 |  | 0
| ii) | SD-007 |  | each | 1 |  | 0
| A.3 | Water Main Valve | CW 2110-R11
| i) | 150 mm |  | each | 1 |  | 0
| ii) | 250 mm |  | each | 2 |  | 0
| A.4 | Fittings | CW 2110-R11
| i) | Tees
| a) | 250 mm x 250 mm x 150 mm |  | each | 1 |  | 0
| ii) | Bends (SD-004)
| a) | 150 mm - 45° |  | each | 2 |  | 0
| b) | 250 mm - 45° |  | each | 2 |  | 0
| c) | 250 mm - 22.5° |  | each | 2 |  | 0
| iii) | Bends (SD-005)
| a) | 150 mm - 45° |  | each | 2 |  | 0
| b) | 250 mm - 45° |  | each | 2 |  | 0
| iv) | Reducers
| a) | 250 mm x 150 mm |  | each | 2 |  | 0
| A.5 | Water Main Renewal | CW 2110-R11
| i) | 19 mm
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 10 |  | 0
| ii) | 25 mm
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 2 |  | 0
| A.6 | Corporation Stops | CW 2110-R11
| i) | 19 mm |  | each | 21 |  | 0
| ii) | 25 mm |  | each | 1 |  | 0
| A.7 | Connecting to Existing Watermains and Large Diameter Water Services | CW 2110-R11
| i) | In-line Connection - No Plug Existing
| a) | 150 mm |  | each | 3 |  | 0
| A.8 | Connecting Existing Copper Water Services to New Watermains | CW 2110-R11
| i) | 19 mm |  | each | 21 |  | 0
| ii) | 25 mm |  | each | 1 |  | 0
| A.9 | 10.9 Kilogram Sacrificial Zinc Anodes | CW 2110-R11
| i) | On Metallic Water Mains |  | each | 1 |  | 0
| ii) | On Water Services |  | each | 22 |  | 0
| A.10 | Maintaining Curb Stop Excavations | CW 3110-R21 | each / day | 10 |  | 0
| A.11 | Partial Slab Patches | E28
| i) | 200 mm Reinforced Concrete Pavement |  | m² | 5 |  | 0
| A.12 | Concrete Curb Renewal | E28
| i) | Barrier Curb | SD-204
| a) | Less than 3 m |  | m | 3 |  | 0
| A.13 | Construction of Asphaltic Concrete Patches Type 1A | E28 | m² | 5 |  | 0
| A.14 | Miscellaneous Concrete Slab Renewal | E28
| i) | Sidewalk | SD-228A
| a) | Less than 5 sq.m. |  | m² | 5 |  | 0
CP RAIL TRACKS TO ARLINGTON STREET
| A.15 | Water Main Renewal | CW 2110-R11
| i) | 300 mm PVC
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 65 |  | 0
| ii) | 250 mm PVC
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 355 |  | 0
| iii) | 150 mm PVC
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 80 |  | 0
| A.16 | Hydrant Assembly | CW 2110-R11
| i) | SD-007 |  | each | 4 |  | 0
| A.17 | Water Main Valve | CW 2110-R11
| i) | 150 mm |  | each | 4 |  | 0
| ii) | 250 mm |  | each | 3 |  | 0
| iii) | 300 mm |  | each | 1 |  | 0
| A.18 | Fittings | CW 2110-R11
| i) | Tees
| a) | 250 mm x 250 mm x 150 mm |  | each | 3 |  | 0
| b) | 300 mm x 300 mm x 150 mm |  | each | 1 |  | 0
| ii) | Bends (SD-004)
| a) | 150 mm - 45° |  | each | 6 |  | 0
| b) | 300 mm - 45° |  | each | 2 |  | 0
| iii) | Bends (SD-005)
| a) | 150 mm - 45° |  | each | 2 |  | 0
| b) | 250 mm - 45° |  | each | 2 |  | 0
| c) | 300 mm - 45° |  | each | 2 |  | 0
| iv) | Reducers
| a) | 300 mm x 250 mm |  | each | 1 |  | 0
| A.19 | Water Main Renewal | CW 2110-R11
| i) | 19 mm
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 185 |  | 0
| A.20 | Corporation Stops | CW 2110-R11
| i) | 19 mm |  | each | 55 |  | 0
| A.21 | Curb Stops | CW 2110-R11
| i) | 19 mm |  | each | 25 |  | 0
| A.22 | Curb Stop Boxes | CW 2110-R11
| i) | 19 mm |  | each | 25 |  | 0
| A.23 | Connecting to Existing Watermains and Large Diameter Water Services | CW 2110-R11
| i) | In-line Connection - No Plug Existing
| a) | 250 mm |  | each | 3 |  | 0
| b) | 300 mm |  | each | 2 |  | 0
| A.24 | Connecting Existing Copper Water Services to New Watermains | CW 2110-R11
| i) | 19 mm |  | each | 55 |  | 0
| A.25 | 10.9 Kilogram Sacrificial Zinc Anodes | CW 2110-R11
| i) | On Metallic Water Mains |  | each | 4 |  | 0
| ii) | On Water Services |  | each | 80 |  | 0
| A.26 | Maintaining Curb Stop Excavations | CW 3110-R21 | each / day | 10 |  | 0
| A.27 | Partial Slab Patches | E28
| i) | 200 mm Reinforced Concrete Pavement |  | m² | 45 |  | 0
| A.28 | Concrete Curb Renewal | E28
| i) | Barrier Curb | SD-204
| a) | Less than 3 m |  | m | 30 |  | 0
| ii) | Ramp Curb | SD-229C,D | m | 10 |  | 0
| A.29 | Construction of Asphlatic Concrete Patches Type 1 A | E28 | m² | 30 |  | 0
| A.30 | Miscellaneous Concrete Slab Renewal | E28
| i) | Sidewalk | SD-228A
| a) | Less than 5 sq.m. |  | m² | 155 |  | 0
PROVISIONAL ITEMS
| A.31 | Supply and Place Cement Stabilized Fill | E26 | m³ | 10 |  | 0
| A.32 | Water Services | CW 2110-R11
| i) | 38 mm
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 5 |  | 0
| ii) | 50 mm
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 5 |  | 0
| A.33 | Regrading Existing Sewer Service - Up to 1.5 meters long | CW 2130-R12
| i) | 150 mm |  | each | 10 |  | 0
| ii) | 200 mm |  | each | 3 |  | 0
| iii) | 250 mm |  | each | 3 |  | 0
| iv) | 300 mm |  | each | 3 |  | 0
| A.34 | Install Street Light Conduit c/w Cable | E26
| i) | Trench Installation |  | each | 20 |  | 0
| ii) | Trenchless Installation |  | each | 20 |  | 0
| A.35 | Water Main and Water Service Insulation | CW 2130-R12
| i) | In a Trench | SD-018
| a) | 100 mm thick |  | m | 5 |  | 0
G001 | A.36 | Sodding with Imported Topsoil | CW 3510-R10
G003 | i) | width > or = 600 mm |  | m² | 30 |  | 0
| A.37 | Continuity Bonding | CW 2110-R11 | each | 10 |  | 0
| A.38 | Hydro-Excavation | E17 | hour | 5 |  | 0
| A | MOUNTAIN AVENUE - WATERMAIN RENEWAL |  |  |  | Subtotal: | 0
| B | MCPHILLIPS STREET - SIPHON MANHOLE
| B.1 | Construction of New Combined Sewer Manhole | E29 | LS | 1 |  | 0
| B.2 | Partial Slab Patches | E28
| i) | 200 mm Reinforced Concrete Pavement |  | m² | 25 |  | 0
| B.3 | Miscellaneous Concrete Slab Renewal | E28
| i) | Bullnose Curb | SD-227C | m² | 2 |  | 0
| B.4 | Construction of Asphaltic Concrete Patches Type 1A | E28 | m² | 25 |  | 0
| B.5 | Removal of Existing Safety Grade from S-MH00008433 | E29 | LS | 1 |  | 0
| B.6 | Manhole Inspection | CW 2145-R4 | each | 2 |  | 0
| B.7 | Sewer Inspection | CW 2145-R4
| i) | 1650mm CS (S-MA00017404) - Prior to Installation of New Siphon Manhole |  | m | 15 |  | 0
| ii) | 1650mm CS (S-MA00017404) - After Installation of New Siphon Manhole |  | m | 15 |  | 0
| B | MCPHILLIPS STREET - SIPHON MANHOLE |  |  |  | Subtotal: | 0
| C | MOUNTAIN AVENUE - CONCRETE RECONSTRUCTION
EARTH AND BASE WORKS
A003 | C.1 | Excavation | CW 3110-R21 | m³ | 11500 |  | 0
| C.2 | Hydro-Excavation | E17 | hour | 100 |  | 0
| C.3 | Sand Backfill Material | CW 2030-R7 | tonne | 100 |  | 0
A004 | C.4 | Sub-Grade Compaction | CW 3110-R21 | m² | 18500 |  | 0
A007 | C.5 | Supplying and Placing Sub-base Material | CW 3110-R21
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 6800 |  | 0
A008A1 | ii) | 100 mm Granular A Limestone |  | tonne | 15100 |  | 0
A010 | C.6 | Supplying and Placing Base Course Material | CW 3110-R21 |  |  |  | 0
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 2100 |  | 0
A012 | C.7 | Grading of Boulevards | CW 3110-R21 | m² | 5625 |  | 0
A022 | C.8 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 18500 |  | 0
A022A4 | C.9 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 18500 |  | 0
A030 | C.10 | Fill Material | CW 3170-R3
A031 | i) | Placing Suitable Site Material |  | m³ | 550 |  | 0
A033 | ii) | Supplying and Placing Imported Material |  | m³ | 550 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | C.11 | Pavement Removal | CW 3110-R21
B002 | i) | Concrete Pavement |  | m² | 23300 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 300 |  | 0
B094 | C.12 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 550 |  | 0
B096 | ii) | 28.6 mm Diameter |  | each | 175 |  | 0
| iii) | 31.8 mm Diameter |  | each | 1400 |  | 0
B097 | C.13 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 275 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 900 |  | 0
B100r | C.14 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 3800 |  | 0
B114rl | C.15 | Miscellaneous Concrete Slab Renewal | CW 3235-R9, E15
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B120rl | a) | 5 sq.m. to 20 sq.m. |  | m² | 40 |  | 0
B124 | C.16 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 15 |  | 0
B125 | C.17 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 20 |  | 0
B125A | C.18 | Removal of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
| C.19 | Concrete Steps | E18
| i) | 389 Monreith Street |  | LS | 1 |  | 0
B126r | C.20 | Concrete Curb Removal | CW 3240-R10
B127rA | i) | Barrier Integral |  | m | 120 |  | 0
B132r | ii) | Curb Ramp |  | m | 20 |  | 0
B189 | C.21 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 10 |  | 0
C052 | C.22 | Interlocking Paving Stones | CW 3330-R5 | m² | 10 |  | 0
B190 | C.23 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 15 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 80 |  | 0
B199 | C.24 | Construction of Asphalt Patches | CW 3410-R12 | m² | 30 |  | 0
B200 | C.25 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 400 |  | 0
B203 | ii) | 1 - 50 mm Depth (Concrete) |  | m² | 50 |  | 0
B219 | C.26 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 56 |  | 0
| C.27 | Tree Trimming | E23 | LS | 1 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | C.28 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17, E15
C004 | i) | Construction of 250 mm Type 1 Concrete Pavement (Plain-Dowelled) |  | m² | 1250 |  | 0
C004 | ii) | Construction of 250 mm Type 1 Concrete Pavement (Plain-Dowelled, Slip-formed) |  | m² | 12000 |  | 0
C008 | iii) | Construction of 200 mm Type 1 Concrete Pavement - (Reinforced) |  | m² | 70 |  | 0
C011 | iv) | Construction of 150 mm Type 1 Concrete Pavement (Reinforced) |  | m² | 25 |  | 0
C019 | C.29 | Concrete Pavements for Early Opening | CW 3310-R17, E15
C022-24 | i) | Construction of 250 mm Type 3 Concrete Pavement for Early Opening 24 Hour (Plain-Dowelled) |  | m² | 100 |  | 0
C022-72 | ii) | Construction of 250 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Plain-Dowelled) |  | m² | 3100 |  | 0
C026-24 | iii) | Construction of 200 mm Type 3 Concrete Pavement for Early Opening 24 Hour (Reinforced) |  | m² | 25 |  | 0
C026-72 | iv) | Construction of 200 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 115 |  | 0
C029-24 | v) | Construction of 150 mm Type 3 Concrete Pavement for Early Opening 24 Hour (Reinforced) |  | m² | 25 |  | 0
C029-72 | vi) | Construction of 150 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 460 |  | 0
C032 | C.30 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17, E15, E22
C033B | i) | Construction of Barrier (180 mm ht, Type 2, Dowelled) | SD-205 | m | 40 |  | 0
C034B | ii) | Construction of Barrier (180 mm ht, Type 2, Separate) | SD-203A | m | 25 |  | 0
C035 | iii) | Construction of Barrier (100 mm ht, Type 2, Integral) | SD-204 | m | 60 |  | 0
C035B | iv) | Construction of Barrier (180 mm ht, Type 2, Integral) | SD-204 | m | 1850 |  | 0
| v) | Construction of Integral Barrier Curb for Asphalt Pavement |  | m | 8 |  | 0
C036B | vi) | Construction of Modified Barrier (180 mm ht, Type 2, Dowelled) | SD-203B | m | 20 |  | 0
C037B | vii) | Construction of Modified Barrier (180 mm ht, Type 2, Integral) | SD-203B | m | 400 |  | 0
C046 | viii) | Construction of Curb Ramp (8-12 mm ht, Type 2, Integral) | SD-229C | m | 280 |  | 0
C046A | ix) | Construction of Curb Ramp (8-12 mm ht, Type 2, Monolithic) | SD-229C | m | 35 |  | 0
C050 | C.31 | Supply and Installation of Dowel Assemblies (31.8mm Dowels) | CW 3310-R17 | m | 3800 |  | 0
C051 | C.32 | Type 5 100 mm Concrete Sidewalk | CW 3325-R5, E15 | m² | 3500 |  | 0
| C.33 | Type 5 100 mm Sidewalk with Block Outs | E15, E19 | m² | 360 |  | 0
B114E | C.34 | Paving Stone Indicator Surfaces | E20 | m² | 50 |  | 0
C055 | C.35 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 15 |  | 0
JOINT AND CRACK SEALING
D006 | C.36 | Reflective Crack Maintenance | CW 3250-R7 | m | 150 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | C.37 | Catch Basin | CW 2130-R12
E004 | i) | SD-024, 1200 mm deep |  | each | 15 |  | 0
E004A | ii) | SD-024, 1800 mm deep |  | each | 13 |  | 0
E008 | C.38 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC SSP
E010 | a) | In a Trench, Class B Bedding, Class 3 Backfill |  | m | 182 |  | 0
E011 | b) | Trenchless Installation, Class B Bedding, Class 3 Backfill |  | m | 10 |  | 0
E013 | C.39 | Sewer Service Risers | CW 2130-R12
E014 | i) | 250 mm
E016 | a) | SD-015 |  | vert. m | 97.7 |  | 0
E023 | C.40 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 28 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 28 |  | 0
E036 | C.41 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250mm PVC Connecting Pipe
E041B | a) | Connecting to 2900 mm Concrete SRS |  | each | 28 |  | 0
E046 | C.42 | Removal of Existing Catch Basins | CW 2130-R12 | each | 28 |  | 0
E047 | C.43 | Removal of Existing Catch Pit | CW 2130-R12 | each | 8 |  | 0
E050 | C.44 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 14 |  | 0
| C.45 | Abandoning Existing Sewer Services Under Pavement | CW 2130-R12
| i) | Existing Catch Basin Leads (250 mm or smaller) |  | each | 28 |  | 0
E051 | C.46 | Installation of Subdrains | CW 3120-R4 | m | 336 |  | 0
| C.47 | Sub-drain Insulation | E21 | m² | 180 |  | 0
| C.48 | Catch Basin and Catch Basin Lead Insulation | E21 | m² | 100 |  | 0
S-CL00010671
| C.49 | Solid Debris Cutting - First 3.0 Metres | CW 2140-R4 | each | 1 |  | 0
E022A | C.50 | Sewer Inspection ( following repair) | CW 2145-R4
E022B | i) | 250 mm CB Lead |  | m | 60 |  | 0
S-CL00012297
| C.51 | Solid Debris Cutting - First 3.0 Metres | CW 2140-R4 | each | 1 |  | 0
E022A | C.52 | Sewer Inspection ( following repair) | CW 2145-R4
E022B | i) | 250 mm CB Lead |  | m | 60 |  | 0
ADJUSTMENTS
F001 | C.53 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 28 |  | 0
F002 | C.54 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 2 |  | 0
F003 | C.55 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 28 |  | 0
F009 | C.56 | Adjustment of Valve Boxes | CW 3210-R8 | each | 12 |  | 0
F010 | C.57 | Valve Box Extensions | CW 3210-R8 | each | 3 |  | 0
F011 | C.58 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 49 |  | 0
F018 | C.59 | Curb Stop Extensions | CW 3210-R8 | each | 5 |  | 0
LANDSCAPING
G001 | C.60 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 425 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 5200 |  | 0
TEMPORARY WORKS
A003 | C.61 | Excavation | CW 3110-R21 | m³ | 225 |  | 0
A010 | C.62 | Supplying and Placing Base Course Material | CW 3110-R21 |  |  |  | 0
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 400 |  | 0
B001 | C.63 | Pavement Removal | CW 3110-R21
| i) | Temporary Asphalt Pavement |  | m² | 1450 |  | 0
B135i | C.64 | Concrete Curb Installation | CW 3240-R10, E15
| i) | Type 2 Temporary Concrete Barrier Curb (150 mm reveal ht, Dowelled) | SD-205 | m | 25 |  | 0
C055 | C.65 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C059 | i) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 400 |  | 0
B126r | C.66 | Concrete Curb Removal | CW 3240-R10
| i) | Temporary Concrete Barrier Curb (Dowelled) |  | m | 25 |  | 0
| C | MOUNTAIN AVENUE - CONCRETE RECONSTRUCTION |  |  |  | Subtotal: | 0
| D | SIGNALS WORKS
MOUNTAIN AVENUE AT ARLINGTON STREET
| D.1 | Installation of Conduit | CW 3620-R9
| i) | Installation of Conduit in Open Trench-Single |  | m | 5 |  | 0
| ii) | Installation of Conduit by Directional Boring- Single |  | m | 20 |  | 0
| D.2 | Installation of Concrete Bases | CW 3620-R9, E38
| i) | Signal Pole Base – Type G (Light Duty – 32 Dia. Bolts) - Early Opening | SD-313 | each | 2 |  | 0
| D.3 | Removal of Existing Bases and Service Boxes | CW 3620-R9
| i) | Signal Pole Base or Service Box |  | each | 2 |  | 0
| ii) | Controller Base or Pedestal Base |  | each | 1 |  | 0
| D.4 | Cutovers | CW 3620-R9, E37 | each | 2 |  | 0
MOUNTAIN AVENUE AT AIRLIES STREET
| D.5 | Installation of Concrete Bases | CW 3620-R9, E38
| i) | Signal Pole Base – Type G (Light Duty – 32 Dia. Bolts) - Early Opening | SD-313 | each | 2 |  | 0
MOUNTAIN AVENUE AT RADFORD STREET
| D.6 | Installation of Concrete Bases | CW 3620-R9, E38
| i) | Signal Pole Base – Type G (Light Duty – 32 Dia. Bolts) - Early Opening | SD-313 | each | 2 |  | 0
MOUNTAIN AVENUE AT ROBERTSON STREET
| D.7 | Installation of Concrete Bases | CW 3620-R9, E38
| i) | Signal Pole Base – Type G (Light Duty – 32 Dia. Bolts) - Early Opening | SD-313 | each | 2 |  | 0
| D.8 | Removal of Existing Bases and Service Boxes | CW 3620-R9
| i) | Signal Pole Base or Service Box |  | each | 2 |  | 0
MOUNTAIN AVENUE AT SINCLAIR STREET
| D.9 | Installation of Concrete Bases | CW 3620-R9, E38
| i) | Signal Pole Base – Type G (Light Duty – 32 Dia. Bolts) - Early Opening | SD-313 | each | 2 |  | 0
| D.10 | Removal of Existing Bases and Service Boxes | CW 3620-R9
| i) | Controller Base or Pedestal Base |  | each | 1 |  | 0
| D | SIGNALS WORKS |  |  |  | Subtotal: | 0
| E | WATER AND WASTE WORK
E072 | E.1 | Watermain and Water Service Insulation | E21
E073 | i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 375 |  | 0
S-MA00017402
| E.2 | Concrete Patching - Up to 1.0 Meters Long | E33
| i) | 2900 mm Concrete SRS |  | each | 1 |  | 0
| E.3 | Concrete Patching - Greater than 1.0 Meters Long | E33
| i) | 2900 mm Concrete SRS |  | m | 0.5 |  | 0
E022A | E.4 | Sewer Inspection ( following repair) | CW 2145-R4
E022B | i) | 2900 mm Concrete SRS |  | m | 294 |  | 0
S-MH00008474
| E.5 | Patching of Existing Manholes | CW 2130-R12 | vert. m | 0.3 |  | 0
| E.6 | Manhole Inspection | CW 2145-R4 | each | 1 |  | 0
S-MH00010392
| E.7 | Patching of Existing Manholes | CW 2130-R12 | vert. m | 2 |  | 0
| E.8 | Manhole Inspection | CW 2145-R4 | each | 1 |  | 0
S-MA00012102
| E.9 | Concrete Patching - Up to 1.0 Meters Long | E33
| i) | 750 mm Concrete CS |  | each | 1 |  | 0
| E.10 | Patching of Existing Manholes | CW 2130-R12 | vert. m | 0.8 |  | 0
E022A | E.11 | Sewer Inspection ( following repair) | CW 2145-R4
E022B | i) | 750 mm Concrete CS |  | m | 103 |  | 0
| E.12 | Manhole Inspection | CW 2145-R4 | each | 1 |  | 0
S-MH00010506
F002 | E.13 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 2.1 |  | 0
| E.14 | Manhole Inspection | CW 2145-R4 | each | 1 |  | 0
S-MA00012286
E017 | E.15 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017K | i) | 450 mm
E017L | a) | Class 3 Backfill |  | each | 1 |  | 0
E032 | E.16 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 450mm PVC |  | each | 1 |  | 0
E022A | E.17 | Sewer Inspection ( following repair) | CW 2145-R4
E022G | i) | 450 mm VC CS |  | m | 107 |  | 0
S-MA00012077
| E.18 | Concrete Patching - Up to 1.0 Meters Long | E33
| i) | 1200 mm x 1575 mm Concrete CS |  | each | 1 |  | 0
| E.19 | Concrete Patching - Greater than 1.0 Meters Long | E33
| i) | 1200 mm x 1575 mm Concrete CS |  | m | 4 |  | 0
E022A | E.20 | Sewer Inspection ( following repair) | CW 2145-R4
E022B | i) | 1200 mm x 1575 mm Concrete CS |  | m | 87 |  | 0
S-MA00012174
E017 | E.21 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017K | i) | 300 mm
E017L | a) | Class 3 Backfill |  | each | 1 |  | 0
E032 | E.22 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 300mm PVC |  | each | 1 |  | 0
E022A | E.23 | Sewer Inspection ( following repair) | CW 2145-R4
E022G | i) | 300 mm VC |  | m | 108 |  | 0
| E | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
PART 2 MANITOBA HYDRO FUNDED WORK (See B9.6, B.17.2.1, B18.5, D3.4, D14.4)
| F | MOUNTAIN AVENUE - NEW STREET LIGHT INSTALLATION WORKS
| F.1 | Removal of 25'/35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E36 | each | 53 |  | 0
| F.2 | Installation of 50 mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex). | E36 | lin.m | 1425 |  | 0
| F.3 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E36 | each | 54 |  | 0
| F.4 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E36 | each | 22 |  | 0
| F.5 | Install lower 3 m of Cable Guard, ground lug, cable up pole, and first 3 m section of ground rod per Standard CD 315-5. | E36 | each | 14 |  | 0
| F.6 | Installation and connection of externally-mounted relay and PEC per Standards CD 315-12 and CD 315-13. | E36 | each | 7 |  | 0
| F.7 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E36 | set | 59 |  | 0
| F.8 | Splicing #4 Al C/N or 2 single conductor street light cables. | E36 | set | 12 |  | 0
| F.9 | Installation of break-away base and reaction plate on base mounted poles up to 35'. | E36 | each | 42 |  | 0
| F.10 | Installation of overhead span of #6 duplex between new or existing streetlight poles and connect luminaire to provide temporary Overhead Feed. | E36 | per span | 56 |  | 0
| F.11 | Removal of overhead span of #6 duplex between new or existing streetlight poles to remove temporary Overhead Feed. | E36 | per span | 56 |  | 0
| F.12 | Expose underground cable entrance of existing streetlight pole and install new streetlight cable. | E36 | each | 56 |  | 0
| F | MOUNTAIN AVENUE - NEW STREET LIGHT INSTALLATION WORKS |  |  |  | Subtotal: | 0
| G | MOBILIZATION /DEMOLIBIZATION
I001 | G.1 | Mobilization/Demobilization | E3 | L. sum | 1 |  | 0
| G | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0
SUMMARY
PART 1 CITY FUNDED WORK
| A | MOUNTAIN AVENUE - WATERMAIN RENEWAL |  |  |  | Subtotal: | 0
| B | MCPHILLIPS STREET - SIPHON MANHOLE |  |  |  | Subtotal: | 0
| C | MOUNTAIN AVENUE - CONCRETE RECONSTRUCTION |  |  |  | Subtotal: | 0
| D | SIGNALS WORKS |  |  |  | Subtotal: | 0
| E | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 1 | 0
PART 2 MANITOBA HYDRO FUNDED WORK (See B9.6, B.17.2.1, B18.5, D3.4, D14.4)
| F | MOUNTAIN AVENUE - NEW STREET LIGHT INSTALLATION WORKS |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 2 | 0
| G | MOBILIZATION /DEMOLIBIZATION |  |  |  | Total: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0