## 147-2020_FORM_B-PRICES
FORM B(R2): PRICES
(SEE B10)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
PART 1 CITY FUNDED WORK
| A | WATT STREET RECONSTRUCTION - CHALMERS AVENUE TO MUNROE AVENUE
EARTH AND BASE WORKS
A003 | A.1 | Excavation | CW 3110-R21 | m³ | 9820 |  | 0
A004 | A.2 | Sub-Grade Compaction | CW 3110-R21 | m² | 14100 |  | 0
A005 | A.3 | Supplying and Placing Suitable Site Sub-grade Material | CW 3110-R21 | m³ | 50 |  | 0
A007 | A.4 | Supplying and Placing Sub-base Material | CW 3110-R21
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 6425 |  | 0
A008A1 | ii) | 100 mm Granular A Limestone |  | tonne | 12000 |  | 0
A010 | A.5 | Supplying and Placing Base Course Material | CW 3110-R21
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 1900 |  | 0
A012 | A.6 | Grading of Boulevards | CW 3110-R21 | m² | 370 |  | 0
A022 | A.7 | Geotextile Fabric | CW 3130-R5
A022A2 | i) | Separation/Filtration Fabric |  | m² | 14150 |  | 0
A022A4 | A.8 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 12250 |  | 0
A024 | A.9 | Surfacing Material | CW 3150-R4
A026 | i) | Limestone |  | tonne | 15 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | A.10 | Pavement Removal | CW 3110-R21
B002 | i) | Concrete Pavement |  | m² | 16175 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 990 |  | 0
B094 | A.11 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 480 |  | 0
B096 | ii) | 28.6 mm Diameter |  | each | 285 |  | 0
B097 | A.12 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 55 |  | 0
B100r | A.13 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 3165 |  | 0
B114rl | A.14 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 70 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 80 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 25 |  | 0
B124 | A.15 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B125 | A.16 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B125A | A.17 | Removal of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B126r | A.18 | Concrete Curb Removal | CW 3240-R10
B127rB | i) | Barrier Separate |  | m | 10 |  | 0
B132r | ii) | Curb Ramp |  | m | 5 |  | 0
B135i | A.19 | Concrete Curb Installation | CW 3240-R10
B136iB | i) | Barrier (180 mm reveal ht, Dowelled) | SD-205 | m | 5 |  | 0
B150iA | ii) | Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229A,B,C | m | 10 |  | 0
B154rl | A.20 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Barrier (100 mm reveal ht, Dowelled) | SD-205, SD-206A
B156rl | a) | Less than 3 m |  | m | 10 |  | 0
B157rl | b) | 3 m to 30 m |  | m | 25 |  | 0
B155rlB | ii) | Barrier (180 mm reveal ht, Dowelled) | SD-205, SD-206A
B156rlB | a) | Less than 3 m |  | m | 10 |  | 0
B157rlB | b) | 3 m to 30 m |  | m | 80 |  | 0
B170rlA | iii) | Curb and Gutter (150 mm reveal ht, Barrier, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200
B171rlA | a) | Less than 3 m |  | m | 10 |  | 0
B172rlA | b) | 3 m to 30 m |  | m | 10 |  | 0
B184rlA | iv) | Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 25 |  | 0
B189 | A.21 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 25 |  | 0
B190 | A.22 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 25 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 175 |  | 0
B200 | A.23 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 670 |  | 0
B219 | A.24 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 82 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | A.25 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
C004 | i) | Construction of 250 mm Concrete Pavement (Plain-Dowelled, Slip Form Paving) |  | m² | 9675 |  | 0
C004 | ii) | Construction of 250 mm Concrete Pavement (Plain-Dowelled) |  | m² | 1190 |  | 0
C016 | iii) | Construction of Concrete Safety Medians | SD-226B | m² | 10 |  | 0
C017 | iv) | Construction of Monolithic Curb and Sidewalk | SD-228B | m² | 3100 |  | 0
C018 | v) | Construction of Monolithic Concrete Bull-noses | SD-227C | m² | 5 |  | 0
C019 | A.26 | Concrete Pavements for Early Opening | CW 3310-R17
C022-24 | i) | Construction of 250 mm Concrete Pavement for Early Opening 24 Hour (Plain-Dowelled) |  | m² | 540 |  | 0
C022-72 | ii) | Construction of 250 mm Concrete Pavement for Early Opening 72 Hour (Plain-Dowelled) |  | m² | 1530 |  | 0
C026-72 | iii) | Construction of 200 mm Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 90 |  | 0
C029-72 | iv) | Construction of 150 mm Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 600 |  | 0
C032 | A.27 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
C037B | i) | Construction of Modified Barrier (180 mm ht, Integral) | SD-203B | m | 140 |  | 0
C045 | ii) | Construction of Lip Curb (40 mm ht, Integral) | SD-202B | m | 70 |  | 0
C046 | iii) | Construction of Curb Ramp (8-12 mm ht, Integral) | SD-229C | m | 375 |  | 0
C047 | iv) | Construction of Safety Curb (300 mm ht) | SD-206B | m | 50 |  | 0
C050 | A.28 | Supply and Installation of Dowel Assemblies | CW 3310-R17 | m | 2585 |  | 0
C051 | A.29 | 100 mm Concrete Sidewalk | CW 3325-R5 | m² | 170 |  | 0
C055 | A.30 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 80 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 120 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | A.31 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 18 |  | 0
E005A | ii) | SD-025, 1800 mm deep |  | each | 2 |  | 0
E006 | A.32 | Catch Pit | CW 2130-R12
E007 | i) | SD-023 |  | each | 1 |  | 0
E007D | A.33 | Remove and Replace Existing Catch Pit | CW 2130-R12
E007E | i) | SD-023 |  | each | 1 |  | 0
E008 | A.34 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E011 | a) | Trenchless Installation, Class B Type 2 Bedding, Class 3 Backfill |  | m | 140 |  | 0
E012 | A.35 | Drainage Connection Pipe | CW 2130-R12 | m | 4 |  | 0
E023 | A.36 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 36 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 35 |  | 0
E026 | iii) | AP-008 - Standard Grated Cover for Standard Frame |  | each | 1 |  | 0
E032 | A.37 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 250 mm Catch Basin Lead |  | each | 2 |  | 0
E034 | A.38 | Connecting to Existing Catch Basin | CW 2130-R12
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 1 |  | 0
E036 | A.39 | Connecting to Existing Sewer | CW 2130-R12
E040 | a) | Connecting to 450 mm (Type Conc) Sewer |  | each | 2 |  | 0
E041 | b) | Connecting to 525 mm (Type Conc) Sewer |  | each | 4 |  | 0
E041B | c) | Connecting to 750 mm (Type Conc) Sewer |  | each | 4 |  | 0
E041B | d) | Connecting to 900 mm (Type Conc) Sewer |  | each | 2 |  | 0
E041B | e) | Connecting to 1350 mm (Type Conc) Sewer |  | each | 6 |  | 0
E046 | A.40 | Removal of Existing Catch Basins | CW 2130-R12 | each | 26 |  | 0
E047 | A.41 | Removal of Existing Catch Pit | CW 2130-R12 | each | 1 |  | 0
E050 | A.42 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 16 |  | 0
| A.43 | Plugging Existing Sewers and Sewer Services Smaller Than 300 Millimetres | CW2130-R-12 | each | 20 |  | 0
E051 | A.44 | Installation of Subdrains | CW 3120-R4 | m | 240 |  | 0
E072 | A.45 | Watermain and Water Service Insulation | E17
E073 | i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 156 |  | 0
ADJUSTMENTS
F001 | A.46 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 5 |  | 0
F002 | A.47 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 5 |  | 0
F003 | A.48 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 35 |  | 0
F009 | A.49 | Adjustment of Valve Boxes | CW 3210-R8 | each | 35 |  | 0
F010 | A.50 | Valve Box Extensions | CW 3210-R8 | each | 1 |  | 0
F011 | A.51 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 2 |  | 0
F018 | A.52 | Curb Stop Extensions | CW 3210-R8 | each | 1 |  | 0
LANDSCAPING
G001 | A.53 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 60 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 600 |  | 0
MISCELLANEOUS
| A.54 | Supply and Installation of MMA Markings with Anti-Skid | E17 | m | 1100 |  | 0
| A.55 | Hydro Excavation | E20 | hr | 12 |  | 0
| A.56 | Line Painting in Parking Lots | E22 | m | 100 |  | 0
| A.57 | Landscaping Curb (150 mm reveal ht) | E23 | m | 50 |  | 0
| A | WATT STREET RECONSTRUCTION - CHALMERS AVENUE TO MUNROE AVENUE |  |  |  | Subtotal: | 0
| B | WATER AND WASTE WORK
WATT STREET WATER MAIN RENEWAL - HARBISON AVENUE W. TO 40.0m SOUTH OF MUNROE AVENUE
ROADWORKS - REMOVALS/RENEWALS
B077-72 | B.1 | Partial Slab Patches - Early Opening (72 hour) | CW 3230-R8
B091-72 | i) | 150 mm Concrete Pavement (Type B) |  | m² | 70 |  | 0
B094 | B.2 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 35 |  | 0
B097 | B.3 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 35 |  | 0
B114rl | B.4 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 18 |  | 0
B155rl | ii) | Barrier (100 mm reveal ht, Dowelled) | SD-205, SD-206A
B157rl | a) | 3 m to 30 m |  | m | 21 |  | 0
B190 | B.5 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 15 |  | 0
WATER MAIN RENEWAL
| B.6 | Watermain Renewal | CW 2110-R11
| i) | 150mm
| a) | trenchless installation, Class B sand bedding, Class 3 backfill |  | m | 101.3 |  | 0
| ii) | 200mm
| a) | trenchless installation, Class B sand bedding, Class 3 backfill |  | m | 411.9 |  | 0
| B.7 | New Hydrant Assembly on Existing Watermain | CW 2110-R11
| i) | SD-007 |  | each | 4 |  | 0
| B.8 | Watermain Valve | CW 2110-R11
| i) | 150mm |  | each | 9 |  | 0
| ii) | 200mm |  | each | 3 |  | 0
| B.9 | Fittings | CW 2110-R11
| i) | Tees
| a) | 200mm X 200mm X 200mm |  | each | 3 |  | 0
| ii) | Bends (SD-004)
| a) | 150mm - 45o |  | each | 16 |  | 0
| iii) | Crosses
| a) | 200mm X 200mm X150mm X 150mm |  | each | 2 |  | 0
| iv) | Reducers
| a) | 200mm - 150mm |  | each | 4 |  | 0
| B.10 | Water Services | CW 2110-R11
| i) | 19mm
| a) | trenchless installation, Class B sand bedding, Class 3 backfill |  | m | 36.2 |  | 0
| ii) | 25mm
| a) | trenchless installation, Class B sand bedding, Class 3 backfill |  | m | 2 |  | 0
| iii) | 50mm
| a) | trenchless installation, Class B sand bedding, Class 3 backfill |  | m | 1 |  | 0
| B.11 | Corporation Stops | CW 2110-R11
| i) | 19mm |  | each | 10 |  | 0
| ii) | 25mm |  | each | 2 |  | 0
| iii) | 50mm |  | each | 1 |  | 0
| B.12 | Curb Stops | CW 2110-R11
| i) | 19mm |  | each | 4 |  | 0
| B.13 | Connecting to Existing Watermains and Large Diameter Water Services | CW 2110-R11
| i) | In-line connection - no plug existing
| a) | 150mm |  | each | 8 |  | 0
| b) | 200mm |  | each | 3 |  | 0
| B.14 | Connecting Existing Copper Water Services to New Watermains | CW 2110-R11 | E15
| i) | 19mm |  | each | 6 |  | 0
| ii) | 25mm |  | each | 2 |  | 0
| iii) | 50mm |  | each | 1 |  | 0
| B.15 | 10.9 Kilogram Sacrificial Zinc Anodes | CW 2110-R11
| i) | On Metallic Watermains |  | each | 8 |  | 0
| ii) | On Water Services |  | each | 13 |  | 0
PROVISIONAL ITEMS
A012 | B.16 | Grading of Boulevards | CW 3110-R21 | m² | 50 |  | 0
G001 | B.17 | Sodding | CW 3510-R9
G003 | i) | width > or = 600 mm |  | m² | 50 |  | 0
| B.18 | Cement Stabilized Fill | CW 2030-R7, CW 2160-R7 | m³ | 25 |  | 0
| B.19 | Continuity Bonding | CW 2110-R11 | each | 25 |  | 0
| B.20 | Fittings | CW 2110-R11
| i) | Bends (SD-005)
| a) | 150mm - 22 1/2o |  | each | 4 |  | 0
| b) | 150mm - 45o |  | each | 4 |  | 0
| c) | 200mm - 45o |  | each | 2 |  | 0
| B.21 | Regrading of Existing Sewer Service - Up to 1.5 metres Long | CW 2110-R11
| i) | 150mm |  | each | 2 |  | 0
| B.22 | Regrading of Existing Sewer Service - Longer Than 1.5 metres | CW 2110-R11
| i) | 150mm |  | each | 2 |  | 0
| B.23 | Temporary Surface Restoration | E14
| i) | Street Pavement |  | m² | 150 |  | 0
| ii) | Sidewalk |  | m² | 80 |  | 0
WATT STREET SEWER REPAIRS - CHALMERS AVENUE TO 40.0m SOUTH OF MUNROE AVENUE
WATT STREET - SEWER REPAIR (S-MA40008169)
E017 | B.24 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017I | i) | 375mm, CS
E017J | a) | Class 3 Backfill |  | each | 1 |  | 0
E022A | B.25 | Sewer Inspection ( following repair) | CW 2145-R4
E022F | i) | 375 mm, CS |  | m | 106 |  | 0
WATT STREET - SEWER REPAIR (S-MA40008174)
E017 | B.26 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017G | i) | 300 mm, CS
E017H | a) | Class 3 Backfill |  | each | 1 |  | 0
E020 | B.27 | Sewer Repair - In Addition to First 3.0 Meters | CW 2130-R12
E020G | i) | 300 mm, CS
E020H | a) | Class 3 Backfill |  | m | 2 |  | 0
E022A | B.28 | Sewer Inspection ( following repair) | CW 2145-R4
E022E | i) | 300 mm, CS |  | m | 72 |  | 0
| B | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
| C | TRAFFIC SIGNALS WORK
CHALMERS AVENUE/LEVIS STREET & WATT STREET
| C.1 | Installation of Conduit | CW 3620, E25
| i) | Installation of Conduit in Open Trench -Single |  | m | 20 |  | 0
| ii) | Installation of Conduit in Open Trench - Double |  | m | 50 |  | 0
| iii) | Installation of Conduit by Directional Boring - Single |  | m | 50 |  | 0
| iv) | Installation of Conduit by Directional Boring - Double |  | m | 150 |  | 0
| C.2 | Installation of Bases | CW 3620, E25
| i) | Signal Pole Base – Type A (Light Duty – 25 Dia. Bolts) | SD-310 | each | 1 |  | 0
| ii) | Signal Pole Base – Type G (Light Duty – 32 Dia. Bolts) | SD-313 | each | 2 |  | 0
| iii) | Signal Pole Base - Type OD (Medium Duty – 32 Dia. Bolts) | SD-312A | each | 1 |  | 0
| iv) | Controller Base | SD-300 | each | 1 |  | 0
| v) | Ground Rods (Electrodes) |  | each | 2 |  | 0
| C.3 | Installation of Service Boxes
| i) | Service Box – Pre-Cast | SD-322 | each | 6 |  | 0
| ii) | Installation of Conduit into Traffic Signal Service Boxes | CW 3620, E25 | each | 6 |  | 0
| iii) | Installation of Conduit into Existing Concrete Base | CW 3620, E25 | each | 2 |  | 0
| C.4 | Removal of Existing Bases and Service Boxes | CW 3620, E25
| i) | Signal Pole Base, Controller, Terminal Base, Service Box | CW 3620, E25 | each | 6 |  | 0
| C.5 | Cutovers | CW 3620, E25 | each | 3 |  | 0
WASHINGTON AVENUE & WATT STREET
| C.6 | Installation of Conduit | CW 3620, E25
| i) | Installation of Conduit in Open Trench -Single |  | m | 25 |  | 0
| ii) | Installation of Conduit in Open Trench - Double |  | m | 50 |  | 0
| iii) | Installation of Conduit by Directional Boring - Single |  | m | 100 |  | 0
| iv) | Installation of Conduit by Directional Boring - Double |  | m | 150 |  | 0
| C.7 | Installation of Bases | CW 3620, E25
| i) | Signal Pole Base – Type A (Light Duty – 25 Dia. Bolts) | SD-310 | each | 1 |  | 0
| ii) | Signal Pole Base – Type G (Light Duty – 32 Dia. Bolts) | SD-313 | each | 1 |  | 0
| iii) | Signal Pole Base - Type OD (Medium Duty – 32 Dia. Bolts) | SD-312A | each | 5 |  | 0
| iv) | Controller Base | SD-300 | each | 1 |  | 0
| v) | Ground Rods (Electrodes) |  | each | 2 |  | 0
| C.8 | Installation of Service Boxes
| i) | Service Box – Pre-Cast | SD-322 | each | 5 |  | 0
| ii) | Installation of Conduit into Traffic Signal Service Boxes | CW 3620, E25 | each | 4 |  | 0
| iii) | Installation of Conduit into Existing Concrete Base | CW 3620, E25 | each | 1 |  | 0
| C.9 | Removal of Existing Bases and Service Boxes | CW 3620, E25
| i) | Signal Pole Base, Controller, Terminal Base, Service Box | CW 3620, E25 | each | 10 |  | 0
| C.10 | Cutovers | CW 3620, E25 | each | 2 |  | 0
HARBISON AVENUE & WATT STREET
| C.11 | Installation of Conduit | CW 3620, E25
| i) | Installation of Conduit in Open Trench -Single |  | m | 25 |  | 0
| ii) | Installation of Conduit in Open Trench - Double |  | m | 50 |  | 0
| iii) | Installation of Conduit by Directional Boring - Single |  | m | 55 |  | 0
| iv) | Installation of Conduit by Directional Boring - Double |  | m | 175 |  | 0
| C.12 | Installation of Bases
| i) | Signal Pole Base - Type OD (Medium Duty – 32 Dia. Bolts) | SD-312A | each | 4 |  | 0
| ii) | Controller Base | SD-300 | each | 1 |  | 0
| iii) | Ground Rods (Electrodes) | CW 3620, E25 | each | 1 |  | 0
| C.13 | Installation of Service Boxes
| i) | Service Box – Pre-Cast | SD-322 | each | 5 |  | 0
| ii) | Installation of Conduit into Traffic Signal Service Boxes | CW 3620, E25 | each | 5 |  | 0
| C.14 | Removal of Existing Bases and Service Boxes | CW 3620, E25
| i) | Signal Pole Base, Controller, Terminal Base, Service Box | CW 3620, E25 | each | 1 |  | 0
| C.15 | Cutovers | CW 3620, E25 | each | 1 |  | 0
| C | TRAFFIC SIGNALS WORK |  |  |  | Subtotal: | 0
PART 2 MANITOBA HYDRO/PROVINCIALLY FUNDED WORK (See B10.6, B18.2.1, B19.5, D2, D13.2-3, D14.4)
| D | WATT STREET - STREET LIGHTING INSTALLATION
| D.1 | Installation of conduit and #4 AL C/N or 1/0 AL Triplex streetlight cable in conduit by open trench method. | E24 | lin.m | 45 |  | 0
| D.2 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E24 | each | 2 |  | 0
| D.3 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E24 | each | 1 |  | 0
| D.4 | Install lower 3 m of Cable Guard, ground lug, cable up pole, and first 3 m section of ground rod per Standard CD 315-5. | E24 | each | 1 |  | 0
| D.5 | Installation of break-away base and reaction plate on base mounted poles up to 35'. | E24 | each | 2 |  | 0
| D | WATT STREET - STREET LIGHTING INSTALLATION |  |  |  | Subtotal: | 0
| E | MOBILIZATION /DEMOLIBIZATION
I001 | E.1 | Mobilization/Demoblization | E2 | L. sum | 1 |  | 0
| E | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0
SUMMARY
PART 1 CITY FUNDED WORK
| A | WATT STREET RECONSTRUCTION - CHALMERS AVENUE TO MUNROE AVENUE |  |  |  | Subtotal: | 0
| B | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
| C | TRAFFIC SIGNALS WORK |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 1 | 0
PART 2 MANITOBA HYDRO/PROVINCIALLY FUNDED WORK (See B10.6, B18.2.1, B19.5, D2, D13.2-3, D14.4)
| D | WATT STREET - STREET LIGHTING INSTALLATION |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 2 | 0
| E | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0
Note on D2: Insert reference to "Prices" clause from the "Bidding Procedures". Also Revise the Header by inserting Tender # and revising the Tender Version number to match the Tender template used.