## Unit prices
FORM B(R2):PRICES
(See "Prices" clause in tender document)
UNIT PRICES
Item | Description | Spec. Ref | Unit | Approximate Quantity | Unit Price | Amount
Hardware
1 | 5 Gas Multi-Gas Detector - O2, CO, H2S, LEL and PID | E3, E14 | each | 12 | $ - | $ -
2 | 5 Gas Multi-Gas Detector - O2, LEL, NH3, PH3 and PID | E3, E14 | each | 1 | $ - | $ -
3 | 5 Gas Multi-Gas Detector - O2, CO, HCN, LEL and PID | E3, E14 | each | 1 | $ - | $ -
4 | 4 Gas Multi-Gas Detector | E4 | each | 2 | $ - | $ -
5 | Bump/Calibration Stations for 5 Gas Multi-Gas Detectors | E5 | each | 11 | $ - | $ -
| Bump/Calibration Stations for 4 Gas Multi-Gas Detectors | E5, E5.1(l)(i) | each | 2
6 | Area Monitors | E6 | each | 4 | $ - | $ -
7 | Cylinder Holder | E5.1(l) | each | 36 | $ - | $ -
Software
8 | Monitoring Software Subscription | E5.4, E5.6 | Eeach | 1 | $ - | $ -
9 | Monitoring Software User Licenses | E5.4 (b), E5.6, E7 | each | 41 | $ - | $ -
Sensors - 5 Gas Multi-Gas Detectors
10 | Oxygen (O2) | E15 | each | 1 | $ - | $ -
11 | Carbon Monoxide (CO) | E15 | each | 1 | $ - | $ -
12 | Hydrogen Sulfide (H2S) | E15 | each | 1 | $ - | $ -
13 | Flammability (LEL) | E15 | each | 1 | $ - | $ -
14 | Chlorine (CL2) | E15 | each | 1 | $ - | $ -
15 | Hydrogen Cyanide (HCN) | E15 | each | 1 | $ - | $ -
16 | Ammonia (NH3) | E15 | each | 1 | $ - | $ -
17 | Phosphine (PH3) | E15 | each | 1 | $ - | $ -
Sensors - 4 Gas Multi-Gas Detectors
18 | Oxygen (O2) | E15 | each | 1 | $ - | $ -
19 | Carbon Monoxide (CO) | E15 | each | 1 | $ - | $ -
20 | Hydrogen Sulfide (H2S) | E15 | each | 1 | $ - | $ -
21 | Flammability (LEL) | E15 | each | 1 | $ - | $ -
Certification Program
22 | Certification Program | E17 | each | 4 | $ - | $ -
Calibration Gases
23 | Calibration Gas - (CH4)-1.45%, (O2)-15%, (CO)-60 PPM, (H2S)-20 PPM - Size: 34L | E16 | each | 6 | $ - | $ -
24 | Calibration Gas - (CH4)-1.45%, (O2)-15%, (CO)-60 PPM, (H2S)-20 PPM - Size: 58L | E16 | each | 1 | $ - | $ -
25 | Calibration Gas - (CH4)-1.45%, (O2)-15%, (CO)-60 PPM, (H2S)-20 PPM - Size: 116L | E16 | each | 1 | $ - | $ -
26 | Calibration Gas - (I)-100 PPM Isobutylene - Size: 34L | E16 | each | 6 | $ - | $ -
27 | Calibration Gas - (I)-100 PPM Isobutylene - Size: 58L | E16 | each | 1 | $ - | $ -
28 | Calibration Gas - ORION MIX, 1.45% CH4, 15% O2 - Size: 100L | E16 | each | 1 | $ - | $ -
29 | Calibration Cylinder - Gas, (NH3)-25 PPM - Size: 34L | E16 | each | 6 | $ - | $ -
30 | Calibration Cylinder - Gas, (NH3)-25 PPM - Size: 58L | E16 | each | 1 | $ - | $ -
31 | Calibration Cylinder - Gas, (NH3)-25 PPM - Size: 116L | E16 | each | 1 | $ - | $ -
32 | Calibration Cylinder - Gas, (PH3)-0.5 PPM - Size: 34L | E16 | each | 6 | $ - | $ -
33 | Calibration Cylinder - Gas, (PH3)-0.5 PPM - Size: 58L | E16 | each | 1 | $ - | $ -
34 | Calibration Cylinder - Gas, (PH3)-0.5 PPM - Size: 116L | E16 | each | 1 | $ - | $ -
35 | Calibration Cylinder - Gas, (HCN)-10 PPM - Size: 34L | E16 | each | 6 | $ - | $ -
36 | Calibration Cylinder - Gas, (HCN)-10 PPM - Size: 58L | E16 | each | 1 | $ - | $ -
37 | Calibration Cylinder - Gas, (HCN)-10 PPM - Size: 116L | E16 | each | 1 | $ - | $ -
TOTAL BID PRICE (GST extra) (in numbers) |  |  |  |  | 0
Name of Bidder