## 453-2022
FORM B(R1): PRICES
(SEE B10)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
| A | SURFACE WORKS
EARTH AND BASE WORKS
A003 | A.1 | Excavation | CW 3110-R21 | m³ | 4800 |  | 0
A016 | A.2 | Removal of Existing Concrete Bases | CW 3110-R21
A017 | i) | 600 mm Diameter or Less |  | each | 1 |  | 0
A004 | A.3 | Sub-Grade Compaction | CW 3110-R21 | m² | 7000 |  | 0
A005A | A.4 | Imported Fill Material | CW 3110-R21 | m³ | 150 |  | 0
A007 | A.5 | Supplying and Placing Sub-base Material | CW 3110-R21
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 2400 |  | 0
A008A1 | ii) | 100 mm Granular A Limestone |  | tonne | 5800 |  | 0
A010 | A.6 | Supplying and Placing Base Course Material | CW 3110-R21
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 730 |  | 0
A012 | A.7 | Grading of Boulevards | CW 3110-R21 | m² | 3000 |  | 0
A014 | A.8 | Boulevard Excavation | CW 3110-R21 | m³ | 70 |  | 0
A022 | A.9 | Geotextile Fabric | CW 3130-R5
A022A2 | i) | Separation/Filtration Fabric |  | m² | 7000 |  | 0
A022A4 | A.10 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 7000 |  | 0
ROADWORK - REMOVALS/RENEWALS
B001 | A.11 | Pavement Removal | CW 3110-R21
B002 | i) | Concrete Pavement |  | m² | 6670 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 230 |  | 0
B094 | A.12 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 90 |  | 0
B096 | ii) | 28.6 mm Diameter |  | each | 150 |  | 0
B097 | A.13 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 20 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 20 |  | 0
B099 | iii) | 25 M Deformed Tie Bar |  | each | 20 |  | 0
B100r | A.14 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 1980 |  | 0
B126r | A.15 | Concrete Curb Removal | CW 3240-R10
B129r | i) | Curb and Gutter |  | m | 50 |  | 0
B114rl | A.16 | Miscellaneous Concrete Slab Renewal | CW 3235-R9, E15
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 10 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 20 |  | 0
B189 | A.17 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 20 |  | 0
B190 | A.18 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B194 | i) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 50 |  | 0
C055 | A.19 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C059 | i) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 40 |  | 0
B200 | A.20 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 20 |  | 0
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 290 |  | 0
B219 | A.21 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 18 |  | 0
ROADWORK - NEW CONSTRUCTION
C001 | A.22 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17, E15
C004 | i) | Construction of 250 mm Type 1 Concrete Pavement (Plain-Dowelled) Slip Form Paving |  | m² | 4660 |  | 0
| ii) | Construction of 300 mm Type 1 Concrete Pavement (Plain-Dowelled) |  | m² | 70 |  | 0
C019 | A.23 | Concrete Pavements for Early Opening | CW 3310-R17, E15
C022-72 | i) | Construction of 250 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Plain-Dowelled) |  | m² | 850 |  | 0
C026-72 | ii) | Construction of 200 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 130 |  | 0
C029-72 | iii) | Construction of 150 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 150 |  | 0
C032 | A.24 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17, E15
C035B | i) | Construction of Barrier (180 mm ht, Type 1, Integral) | SD-204 | m | 800 |  | 0
C037A | ii) | Construction of Modified Barrier (150 mm ht, Type 1, Integral) | SD-203B | m | 110 |  | 0
C037B | iii) | Construction of Modified Barrier (180 mm ht, Type 1, Integral) | SD-203B | m | 180 |  | 0
C046A | iv) | Construction of Curb Ramp (8-12 mm ht, Type 1, Monolithic) | SD-229C | m | 40 |  | 0
C038B | v) | Construction of Curb and Gutter (180 mm ht, Barrier, Integral, 600 mm width, 150 mm Plain Type 2 Concrete Pavement) | SD-200 | m | 20 |  | 0
C050 | A.25 | Supply and Installation of Dowel Assemblies | CW 3310-R17 | m | 1950 |  | 0
| A.26 | Transition Slab: Concrete to Asphalt/Concrete Roadway (Plain-dowelled, Type 1) | CW 3325-R5, E16 | m | 50 |  | 0
| A.27 | Transition Slab: Concrete to Asphalt Roadway (Plain-dowelled, Type 1) | CW 3325-R5, E16 | m | 20 |  | 0
B206 | A.28 | Supply and Install Pavement Repair Fabric | CW 3140-R1
B206A | i) | Type A |  | m² | 90 |  | 0
C051 | A.29 | 100 mm Type 5 Concrete Sidewalk | CW 3325-R5, E15 | m² | 2020 |  | 0
| A.30 | Temporary Commercial Access | E17 | each | 1 |  | 0
JOINT AND CRACK SEALING
D006 | A.31 | Reflective Crack Maintenance | CW 3250-R7 | m | 60 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | A.32 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 17 |  | 0
| ii) | SD-025, 4320 mm deep (Rim to Sump) Cement Stabilized Backfill |  | each | 1 |  | 0
| iii) | SD-025, 4660 mm deep (Rim to Sump) Cement Stabilized Backfill |  | each | 1 |  | 0
E006 | A.33 | Catch Pit | CW 2130-R12
E007 | i) | SD-023 |  | each | 4 |  | 0
E012 | A.34 | Drainage Connection Pipe | CW 2130-R12 | m | 10 |  | 0
E046 | A.35 | Removal of Existing Catch Basins | CW 2130-R12 | each | 12 |  | 0
E047 | A.36 | Removal of Existing Catch Pit | CW 2130-R12 | each | 3 |  | 0
E051 | A.37 | Installation of Subdrains | CW 3120-R4 | m | 192 |  | 0
ADJUSTMENTS
F001 | A.38 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 8 |  | 0
| A.39 | Modifying Manhole to Lower Frame & Cover | CW 2130-R12 | each | 2 |  | 0
| A.40 | Replacing Existing Flat Top Reducer | CW 2130-R12 | each | 2 |  | 0
F009 | A.41 | Adjustment of Valve Boxes | CW 3210-R8 | each | 12 |  | 0
F011 | A.42 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 12 |  | 0
E023 | A.43 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 8 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 7 |  | 0
E026 | iII) | AP-008 - Standard Grated Cover for Standard Frame |  | each | 1 |  | 0
|  | PROVISIONAL ITEMS | E3
E023 | A.44 | Frames & Covers | CW 3210-R8
| i) | AP-006 - Low Profile Frame for Manhole and Catch Basin |  | each | 1 |  | 0
F018 | A.45 | Curb Stop Extensions | CW 3210-R8 | each | 4 |  | 0
F010 | A.46 | Valve Box Extensions | CW 3210-R8 | each | 1 |  | 0
F002 | A.47 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
F002B | ii) | Brick Risers |  | vert. m | 1 |  | 0
F002C | iii) | Cast-in-place Concrete |  | vert. m | 1 |  | 0
F003 | A.48 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 1 |  | 0
F005 | ii) | 51 mm |  | each | 7 |  | 0
F006 | iii) | 64 mm |  | each | 1 |  | 0
F007 | iv) | 76 mm |  | each | 1 |  | 0
B135i | A.49 | Concrete Curb Installation | CW 3240-R10
B151i | i) | Type 1 Concrete Safety Curb (330 mm reveal ht) | SD-206B | m | 9 |  | 0
LANDSCAPING
| A.50 | Bush Removal | E7
| i) | Various lengths and widths |  | each | 1 |  | 0
| A.51 | Stump Removal | E7
| i) | Less than 500 mm Diameter |  | each | 5 |  | 0
| ii) | Greater than 500 mm Diameter |  | each | 5 |  | 0
G001 | A.52 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 50 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 3000 |  | 0
G004 | A.53 | Seeding | CW 3520-R7 | m² | 300 |  | 0
G005 | A.54 | Salt Tolerant Grass Seeding | E27 | m² | 50 |  | 0
| A | SURFACE WORKS |  |  |  |  | 0
| B | WATER AND WASTE WORKS
SURFACE RESTORATIONS
Salter SRS Tie-in for Sewer Separation
B034-24 | B.1 | Slab Replacement - Early Opening (24 hour) | CW 3230-R8, E15
B040-24 | i) | 230 mm Type 3 Concrete Pavement (Plain-Dowelled) |  | m² | 21 |  | 0
B190 | B.2 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B194 | i) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 10 |  | 0
B200 | B.3 | Planing of Pavement | CW 3450-R6
B202 | i) | 50 - 100 mm Depth (Asphalt) |  | m² | 30 |  | 0
Aikins Sewer External Point Repair (Offsite)
B017 | B.4 | Partial Slab Patches | CW 3230-R8, E15
B027 | i) | 200 mm Type 3 Concrete Pavement (Type B) |  | m² | 15 |  | 0
B190 | B.5 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B194 | i) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 30 |  | 0
SEWER SEPARATION
Catch Basin Leads
| B.6 | Plugging and Abandoning Existing Sewers | CW 2130-R12
| i) | Plugging Existing Sewers and Sewer Services Smaller than 300 mm |  | each | 14 |  | 0
E008 | B.7 | Sewer Service | CW 2130-R12, E24
E009 | i) | 250 mm, PVC SDR35
E010 | a) | In a Trench, Class B Type 3 Bedding, Class 1 Backfill |  | m | 57 |  | 0
E011 | b) | Trenchless Installation, Class B Type 3 Bedding, Class 1 Backfill |  | m | 24 |  | 0
E009 | ii) | 300 mm, PVC SDR35
E010 | a) | In a Trench, Class B Type 3 Bedding, Class 1 Backfill |  | m | 35 |  | 0
E009 | iii) | 300 mm, PVC SDR35
E011 | a) | Trenchless Installation, Class B Type 3 Bedding, Class 1 Backfill |  | m | 14 |  | 0
E013 | B.8 | Sewer Service Risers | CW 2130-R12, E24
E014 | i) | 250 mm
E015 | a) | SD-014 |  | vert. m | 7 |  | 0
E016 | b) | SD-015 |  | vert. m | 15 |  | 0
E036 | B.9 | Connecting to Existing Sewer (S-MA00015410) | CW 2130-R12, E24
E037 | i) | 250 mm (PVC SDR 35 LDS) Connecting Pipe
E041B | a) | Connecting to 375 mm Sewer with Tee (Concrete SRS at approximate 5.5m Depth, CB Leads between Charles & Main) |  | each | 4 |  | 0
E037 | ii) | 300 mm (PVC SDR 35 LDS) Connecting Pipe
E041B | a) | Connecting to 375 mm Sewer with Tee (Concrete SRS at approximate 5.5m Depth for CB Leads for Feedermain Crossing) |  | each | 2 |  | 0
E037 | iii) | 300 mm (PVC SDR 35 LDS) Connecting Pipe (CB Lead for alley west of Main St)
E038 | a) | Connecting to 300 mm Sewer (Concrete LDS, existing sewer in alley) |  | each | 1 |  | 0
E039 | b) | Connecting to 375 mm Sewer with Tee (Concrete SRS, approximate 5.5m Depth) |  | each | 1 |  | 0
E022A | B.10 | Sewer Inspection (new catch basin Leads) | CW 2145-R4
E022D | i) | 250 mm |  | m | 57 |  | 0
E022E | ii) | 300 mm |  | m | 49 |  | 0
E022F | iii) | 375 mm |  | m | 90 |  | 0
Mainline Land Drainage Sewer Installation
| B.11 | Manholes | CW 2130-R12
| i) | Manhole (1200 mm Dia) (MH1, MH3, MH4, MH6, MH7) | SD-010 | vert. m | 16 |  | 0
| ii) | Manhole with Internal Drop Pipe (1500 mm Dia) (MH2, MH5) | SD-010D | vert. m | 9 |  | 0
| B.12 | Land Drainage Sewers | CW 2130-R12, E23
| i) | 300 mm, PVC SDR35
| a) | Trenchless installation, Class B Type 3 bedding, Class 1 backfill |  | m | 124 |  | 0
| ii) | 375 mm, PVC SDR35
| a) | Trenchless installation, Class B Type 3 bedding, Class 1 backfill |  | m | 153 |  | 0
| iii) | 375 mm, PVC SDR26
| a) | Trenchless installation, Class B Type 3 bedding, Class 1 backfill |  | m | 49 |  | 0
E036 | B.13 | Connecting to Existing Sewer | CW 2130-R12, E23
E037 | i) | 375 mm (PVC SDR 26 LDS) Connecting Pipe
E040 | a) | Connecting to 450 mm Sewer with Tee (Concrete SRS on Salter St with approximate 5.6m deep invert) |  | each | 1 |  | 0
E037 | ii) | 375 mm (PVC SDR 26 LDS) Connecting Pipe
E041A | a) | Connecting to 600 mm Sewer with Tee (Concrete SRS on Charles St with approximate 5.7m deep invert) |  | each | 1 |  | 0
EXTERNAL POINT REPAIRS
EXTERNAL POINT REPAIR (S-MA00015217)
E017 | B.14 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017K | i) | 450 mm
E017L | a) | Class 1 Backfill |  | each | 2 |  | 0
E020 | B.15 | Sewer Repair - In Addition to First 3.0 Meters | CW 2130-R12
E020K | i) | 450 mm
E020L | a) | Class 1 Backfill |  | m | 3 |  | 0
EXTERNAL POINT REPAIR (S-MA00015413)
E017 | B.16 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017G | i) | 300 mm
E017H | a) | Class 1 Backfill |  | each | 1 |  | 0
EXTERNAL POINT REPAIR (S-MA00016594)
E017 | B.17 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017G | i) | 300 mm
E017H | a) | Class 1 Backfill |  | each | 1 |  | 0
E020 | B.18 | Sewer Repair - In Addition to First 3.0 Meters | CW 2130-R12
E020G | i) | 300 mm
E020H | a) | Class 1 Backfill |  | m | 3 |  | 0
SEWER INSPECTION
E022A | B.19 | Sewer Inspection (new sewer) | CW 2145-R4
E022E | i) | 300 mm |  | m | 124 |  | 0
E022F | ii) | 375 mm |  | m | 202 |  | 0
E022A | B.20 | Sewer Inspection (following abandonment & connection) | CW 2145-R4
E022E | i) | 300 mm |  | m | 27 |  | 0
E022F | ii) | 375 mm |  | m | 63 |  | 0
E022G | iii) | 450 mm |  | m | 16 |  | 0
E022H | iv) | 600 mm |  | m | 16 |  | 0
E072 | B.21 | Watermain and Water Service Insulation | E18
E073 | i) | Pipe Under Roadway Excavation |  | m² | 2130 |  | 0
| ii) | Vertical Insulation between Structures and Water Services or Watermains |  | m² | 60 |  | 0
|  | PROVISIONAL ITEMS | E3
| B.22 | Regrading of Existing Sewer Service | CW 2130-R12, E25
| i) | Up to 1.5m long |  | each | 20 |  | 0
| ii) | Longer than 1.5m |  | m | 25 |  | 0
| B.23 | Water Service Replacement | CW 2130-R12, E25
| i) | 19 mm
| a) | In a Trench, Class B Sand Bedding, Class 2 Backfill |  | m | 5 |  | 0
| ii) | 25 mm
| a) | In a Trench, Class B Sand Bedding, Class 2 Backfill |  | m | 5 |  | 0
| iii) | 38 mm
| a) | In a Trench, Class B Sand Bedding, Class 2 Backfill |  | m | 5 |  | 0
| B.24 | Curb Stop | CW 2130-R12, E25 | each | 1 |  | 0
| B.25 | Curb Stop Box | CW 2130-R12, E25 | each | 1 |  | 0
| B.26 | Corperation Stop | CW 2130-R12, E25 | each | 1 |  | 0
| B.27 | Filing Underground Voids With Cement-Stabilized Fill | CW 2030-R7 | m3 | 5 |  | 0
| B.28 | Replacing Existing Manhole or Catch Basin Rungs | CW 2130-R12 | each | 4 |  | 0
| B.29 | Granular Backfill Material | CW 2030-R7 | m3 | 5 |  | 0
| B.30 | Curb Stops - Replace Existing | CW 3210-R8 | each | 1 |  | 0
| B.31 | Cash Allowance | E4 | Allow | 1 | 100000 | 100000
| B | WATER AND WASTE WORKS |  |  |  | Subtotal: | 100000
| C | STREET LIGHT RENEWAL WORKS
| C.1 | Removal of 25' to 35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E29 | each | 16 |  | 0
| C.2 | Installation of 50 mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex). | E29 | lin.m | 522 |  | 0
| C.3 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E29 | each | 16 |  | 0
| C.4 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E29 | each | 6 |  | 0
| C.5 | Install lower 3 m of Cable Guard, ground lug, cable up pole, and first 3 m section of ground rod per Standard CD 315-5. | E29 | each | 1 |  | 0
| C.6 | Installation and connection of externally-mounted relay and PEC per Standards CD 315-12 and CD 315-13. | E29 | each | 4 |  | 0
| C.7 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E29 | set | 16 |  | 0
| C.8 | Installation of break-away base and reaction plate on base mounted poles up to 35'. | E29 | each | 16 |  | 0
| C.9 | Installation of overhead span of #4 duplex between new or existing streetlight poles and connect luminaire to provide temporary Overhead Feed. | E29 | per span | 16 |  | 0
| C.10 | Removal of overhead span of #4 duplex between new or existing streetlight poles to remove temporary Overhead Feed. | E29 | per span | 16 |  | 0
| C.11 | Expose underground cable entrance of existing streetlight pole and install new streetlight cable. | E29 | each | 2 |  | 0
| C | STREET LIGHT RENEWAL WORKS |  |  |  | Subtotal: | 0
| D | MOBILIZATION /DEMOLIBIZATION
I001 | D.1 | Mobilization/Demobilization | E2 | L. sum | 1 |  | 0
| D | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0
SUMMARY
| A | SURFACE WORKS |  |  |  | Subtotal: | 0
| B | WATER AND WASTE WORKS |  |  |  | Subtotal: | 100000
| C | STREET LIGHT RENEWAL WORKS |  |  |  | Subtotal: | 0
| D | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 100000