## FORM B - PRICES (R1)
FORM B: PRICES (R1)
(SEE B10)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
PART 1 2023 CITY FUNDED WORKS
| A | STRUCTURAL WORKS - SOUTHBOUND STRUCTURE
| A.1 | Structural Excavation | E13 | L.S. | 1 |  | 0
| A.2 | Structural Backfill | E14 | L.S. | 1 |  | 0
| A.3 | Supplying and Placing Subsurface Drainage | E15 | L.S. | 1 |  | 0
| A.4 | Supply and Install Erosion Control Blanket | E16 | L.S. | 1 |  | 0
| A.5 | Supply and Install Silt Fence Barrier | E17 | L.S. | 1 |  | 0
| A.6 | Structural Removals | E19
| i) | Concrete Removals |  | L.S. | 1 |  | 0
| ii) | Steel Removals |  | L.S. | 1 |  | 0
| iii) | Electrical Removals |  | L.S. | 1 |  | 0
| iv) | Salvage Items |  | L.S. | 1 |  | 0
| v) | Hydrodemolition |  | L.S. | 1 |  | 0
| A.7 | Supply and Delivery of Structural Steel | E20
| i) | Cover Plates |  | kg | 25000 |  | 0
| ii) | Shear Strengthening |  | kg | 2500 |  | 0
| iii) | Abutment Jacking Beams |  | kg | 3250 |  | 0
| iv) | Pier Jacking Beam Strengthening |  | kg | 3250 |  | 0
| A.8 | Erection of Structural Steel | E21
| i) | Cover Plates |  | kg | 25000 |  | 0
| ii) | Shear Strengthening |  | kg | 2500 |  | 0
| iii) | Abutment Jacking Beams |  | kg | 3250 |  | 0
| iv) | Pier Jacking Beam Strengthening |  | kg | 3250 |  | 0
| A.9 | Supply and Delivery of Shear Studs | E20 | each | 4000 |  | 0
| A.10 | Installation of Shear Studs | E21 | each | 4000 |  | 0
| A.11 | Surface Preparation and Metallizing of Structural Steel | E22 | L.S. | 1 |  | 0
| A.12 | Surface Preparation and Termarust Application on Structural Steel | E22 | L.S. | 1 |  | 0
| A.13 | Supply and Place Structural Concrete | E23
| i) | Type 1 |  | L.S. | 1 |  | 0
| ii) | Type 2 |  | L.S. | 1 |  | 0
| iii) | Type 3 |  | L.S. | 1 |  | 0
| iv) | Type 4 |  | L.S. | 1 |  | 0
| A.14 | Self Consolidating Concrete Repairs | E36
| i) | Abutment Refacing |  | m² | 175 |  | 0
| ii) | Surface Repairs |  | m² | 60 |  | 0
| iii) | Pier Bearing Pedestals |  | m² | 26 |  | 0
| A.15 | Supply of Reinforcing Steel | E24
| i) | Black Steel Reinforcing |  | kg | 15000 |  | 0
| ii) | Stainless Steel Reinforcing |  | kg | 255000 |  | 0
| A.16 | Placing Reinforcing Steel | E24
| i) | Black Steel Reinforcing |  | kg | 15000 |  | 0
| ii) | Stainless Steel Reinforcing |  | kg | 255000 |  | 0
| A.17 | Miscellaneous Metal | E25
| i) | Deck Drains |  | kg | 4000 |  | 0
| ii) | Drain Trough Grate |  | kg | 100 |  | 0
| iii) | Duct Enclosures |  | kg | 2500 |  | 0
| iv) | Abutment Duct Hangers |  | kg | 1000 |  | 0
| A.18 | Hot-Poured Rubberized Asphalt Waterproofing | E26
| i) | Bridge Deck |  | m² | 2450 |  | 0
| A.19 | Temporary Superstructure Jacking and Support System | E29 | L.S. | 1 |  | 0
| A.20 | Bearings | E30
| i) | Supply |  | each | 36 |  | 0
| ii) | Installation |  | each | 36 |  | 0
| A.21 | Temporary Protective Systems/Work Platform | E31 | L.S. | 1 |  | 0
| A.22 | Supply and Install Distributed Galvanic Anode System | E32 | L.S. | 1 |  | 0
| A.23 | Discrete Galvanic Anode System | E33 | each | 600 |  | 0
| A.24 | Drilling and Placing Dowels | E35 | L.S. | 1 |  | 0
| A.25 | Supply and Install Aluminum Pedestrian Handrail/Bicycle Rail | E37 | m | 328 |  | 0
| A.26 | Supply and Install Bridge Aluminum Barrier Rail | E38 & CW3650 | m | 322 |  | 0
| A.27 | Supply and Install Bridge Aluminum Barrier Posts | E38 & CW3650 | each | 86 |  | 0
| A.28 | Asphalt Overlay on Bridge | E40
| i) | Mainline |  | tonne | 600 |  | 0
| ii) | Shoulder |  | tonne | 75 |  | 0
| A.29 | Environmental Containment, Collection and Disposal | E41 | L.S. | 1 |  | 0
| A.30 | Supply and Installation of Expansion Joints | E42 | L.S. | 1 |  | 0
| A.31 | Penetrating Concrete Sealer | E43 | m² | 750 |  | 0
| A.32 | Activated Arc Spray Zinc | E34
| i) | Land Piers |  | m² | 100 |  | 0
| ii) | River Piers |  | m² | 400 |  | 0
| A.33 | Supply and Installation of Electrical | E45
| i) | Navigation Lighting |  | L.S. | 1 |  | 0
| A.34 | Riverbank Excavation | E27 | m3 | 6250 |  | 0
| A.35 | Random Stone Riprap | E28 & CW3615 | m3 | 1800 |  | 0
| A.36 | Supply and Install Bridge Hangers | E69 | L.S. | 1 |  | 0
| A.37 | Supply and Install Conduits | E69 | m | 2000 |  | 0
| A.38 | Concrete Crack Injection | E71 | m | 25 |  | 0
| A | STRUCTURAL WORKS - SOUTHBOUND STRUCTURE |  |  |  | Subtotal: | 0
| B | MOBILIZATION /DEMOBILIZATION (PART 1)
| B.1 | Mobilization and Demobilization | E2 | L.S. | 1 |  | 0
| B | MOBILIZATION /DEMOBILIZATION (PART 1) |  |  |  | Subtotal: | 0
PART 2 2024 CITY FUNDED WORKS (See B10.6, B18.2.1, B19.6, D3, D25.4, D25.6)
| C | STRUCTURAL WORKS - NORTHBOUND STRUCTURE
| C.1 | Structural Excavation | E13 | L.S. | 1 |  | 0
| C.2 | Structural Backfill | E14 | L.S. | 1 |  | 0
| C.3 | Supplying and Placing Subsurface Drainage | E15 | L.S. | 1 |  | 0
| C.4 | Supply and Install Erosion Control Blanket | E16 | L.S. | 1 |  | 0
| C.5 | Supply and Install Silt Fence Barrier | E17 | L.S. | 1 |  | 0
| C.6 | Structural Removals | E19
| i) | Concrete Removals |  | L.S. | 1 |  | 0
| ii) | Steel Removals |  | L.S. | 1 |  | 0
| iii) | Electrical Removals |  | L.S. | 1 |  | 0
| iv) | Salvage Items |  | L.S. | 1 |  | 0
| v) | Hydrodemolition |  | L.S. | 1 |  | 0
| C.7 | Supply and Delivery of Structural Steel | E20
| i) | Cover Plates |  | kg | 25000 |  | 0
| ii) | Shear Strengthening |  | kg | 2500 |  | 0
| iii) | Abutment Jacking Beams |  | kg | 3250 |  | 0
| iv) | Pier Jacking Beam Strengthening |  | kg | 3250 |  | 0
| C.8 | Erection of Structural Steel | E21
| i) | Cover Plates |  | kg | 25000 |  | 0
| ii) | Shear Strengthening |  | kg | 2500 |  | 0
| iii) | Abutment Jacking Beams |  | kg | 3250 |  | 0
| iv) | Pier Jacking Beam Strengthening |  | kg | 3250 |  | 0
| C.9 | Supply and Delivery of Shear Studs | E20 | each | 4000 |  | 0
| C.10 | Installation of Shear Studs | E21 | each | 4000 |  | 0
| C.11 | Surface Preparation and Metallizing of Structural Steel | E22 | L.S. | 1 |  | 0
| C.12 | Surface Preparation and Termarust Application on Structural Steel | E22 | L.S. | 1 |  | 0
| C.13 | Supply and Place Structural Concrete | E23
| i) | Type 1 |  | L.S. | 1 |  | 0
| ii) | Type 2 |  | L.S. | 1 |  | 0
| iii) | Type 3 |  | L.S. | 1 |  | 0
| iv) | Type 4 |  | L.S. | 1 |  | 0
| C.14 | Self Consolidating Concrete Repairs | E36
| i) | Abutment Refacing |  | m² | 175 |  | 0
| ii) | Surface Repairs |  | m² | 60 |  | 0
| iii) | Pier Bearing Pedestals |  | m² | 26 |  | 0
| C.15 | Supply of Reinforcing Steel | E24
| i) | Black Steel Reinforcing |  | kg | 15000 |  | 0
| ii) | Stainless Steel Reinforcing |  | kg | 255000 |  | 0
| C.16 | Placing Reinforcing Steel | E24
| i) | Black Steel Reinforcing |  | kg | 15000 |  | 0
| ii) | Stainless Steel Reinforcing |  | kg | 255000 |  | 0
| C.17 | Miscellaneous Metal | E25
| i) | Abutment Doors |  | L.S. | 1 |  | 0
| ii) | Deck Drains |  | kg | 4000 |  | 0
| iii) | Drain Trough Grate |  | kg | 100 |  | 0
| C.18 | Hot-Poured Rubberized Asphalt Waterproofing | E26
| i) | Bridge Deck |  | m² | 2450 |  | 0
| C.19 | Temporary Superstructure Jacking and Support System | E29 | L.S. | 1 |  | 0
| C.20 | Bearings | E30
| i) | Supply |  | each | 36 |  | 0
| ii) | Installation |  | each | 36 |  | 0
| C.21 | Temporary Protective Systems/Work Platform | E31 | L.S. | 1 |  | 0
| C.22 | Supply and Install Distributed Galvanic Anode System | E32 | L.S. | 1 |  | 0
| C.23 | Discrete Galvanic Anode System | E33 | each | 600 |  | 0
| C.24 | Drilling and Placing Dowels | E35 | L.S. | 1 |  | 0
| C.25 | Supply and Install Aluminum Pedestrian Handrail/Bicycle Rail | E37 | m | 328 |  | 0
| C.26 | Supply and Install Bridge Aluminum Barrier Rail | E38 & CW3650 | m | 322 |  | 0
| C.27 | Supply and Install Bridge Aluminum Barrier Posts | E38 & CW3650 | each | 86 |  | 0
| C.28 | Asphalt Overlay on Bridge | E40
| i) | Mainline |  | tonne | 600 |  | 0
| ii) | Shoulder |  | tonne | 75 |  | 0
| C.29 | Environmental Containment, Collection and Disposal | E41 | L.S. | 1 |  | 0
| C.30 | Supply and Installation of Expansion Joints | E42 | L.S. | 1 |  | 0
| C.31 | Penetrating Concrete Sealer | E43 | m² | 750 |  | 0
| C.32 | Activated Arc Spray Zinc | E34
| i) | Land Piers |  | m² | 100 |  | 0
| ii) | River Piers |  | m² | 400 |  | 0
| C.33 | Supply and Installation of Electrical | E45
| i) | Navigation Lighting |  | L.S. | 1 |  | 0
| C.34 | Concrete Crack Injection | E71 | m | 25 |  | 0
| C | STRUCTURAL WORKS - NORTHBOUND STRUCTURE |  |  |  | Subtotal: | 0
| D | PEDESTRIAN UNDERPASSES
| D.1 | Structural Removals | E19
| i) | Concrete Removals |  | L.S. | 1 |  | 0
| ii) | Salvage Items |  | L.S. | 1 |  | 0
| iii) | Hydrodemolition |  | L.S. | 1 |  | 0
| D.2 | Supply and Place Structural Concrete | E23
| i) | Type 2 |  | L.S. | 1 |  | 0
| ii) | Type 3 |  | L.S. | 1 |  | 0
| D.3 | Self Consolidating Concrete Repairs | E36
| i) | Surface Repairs |  | m² | 12 |  | 0
| D.4 | Supply of Reinforcing Steel | E24
| i) | Black Steel Reinforcing |  | kg | 1500 |  | 0
| ii) | Stainless Steel Reinforcing |  | kg | 4000 |  | 0
| D.5 | Placing Reinforcing Steel
| i) | Black Steel Reinforcing |  | kg | 1500 |  | 0
| ii) | Stainless Steel Reinforcing |  | kg | 4000 |  | 0
| D.6 | Hot-Poured Rubberized Asphalt Waterproofing | E26
| i) | Pedestrian Underpass |  | m² | 345 |  | 0
| D.7 | Discrete Galvanic Anode System | E33 | each | 600 |  | 0
| D.8 | Drilling and Placing Dowels | E35 | L.S. | 1 |  | 0
| D.9 | Supply and Install Aluminum Pedestrian Handrail/Bicycle Rail | E37 | m | 68 |  | 0
| D.10 | Supply and Install Chain Link Fencing | E39 | m | 48 |  | 0
| D.11 | Pedestrian Underpass Tile Repair | E44 | m² | 6 |  | 0
| D.12 | Pedestrian Underpass Wall Surfaces: Sandblast, Prime and Paint | E44 | m² | 320 |  | 0
| D.13 | Pedestrian Underpass Ceiling Surfaces: Sandblast, Prime and Paint | E44 | m² | 210 |  | 0
| D.14 | Pedestrian Underpass Joint Replacement | E44 | m | 25 |  | 0
| D.15 | Supply and Installation of Electrical | E45 |  |  |  | 0
| i) | Snow Melting and Heat Tracing |  | L.S. | 1 |  | 0
| ii) | Pedestrian Underpass Lighting |  | L.S. | 1 |  | 0
| D.16 | Concrete Crack Injection | E71 | m | 10 |  | 0
| D | PEDESTRIAN UNDERPASSES |  |  |  | Subtotal: | 0
| E | OVERHEAD SIGN STRUCTURES
| E.1 | Remove and Salvage Existing Overhead Sign Structure | E46 | each | 4 |  | 0
| E.2 | Cast-in-Place Concrete Pile Foundations | E48
| i) | S791 - 915 mm Diameter Pile |  | each | 2 |  | 0
| ii) | S792 - 915 mm Diameter Pile |  | each | 2 |  | 0
| E.3 | Supply and Installation of New Steel Overhead Sign Support Structures | E49
| i) | S791 – Dunkirk Avenue SB, North of Fermor Avenue |  | each | 1 |  | 0
| ii) | S792 – Osborne Street NB, South of Jubilee Avenue |  | each | 1 |  | 0
| E.4 | Supply of Reflective Guide Sign Panels | E50
| i) | 5.275 m x 2.438 m |  | each | 1 |  | 0
| ii) | 5.000 m x 2.438 m |  | each | 3 |  | 0
| E | OVERHEAD SIGN STRUCTURES |  |  |  | Subtotal: | 0
| F | SOUTHBOUND OSBORNE/DUNKIRK, RATHGAR TO FERMOR
EARTH AND BASE WORKS
A003 | F.1 | Excavation | CW 3110-R22, E55 | m³ | 1315 |  | 0
A004 | F.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 1325 |  | 0
A030 | F.3 | Fill Material | CW 3170-R3, E56
A031 | i) | Placing Suitable Site Material |  | m³ | 190 |  | 0
A033 | ii) | Supplying and Placing Imported Material |  | m³ | 1260 |  | 0
A007 | F.4 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 475 |  | 0
A008A1 | ii) | 100 mm Granular A Limestone |  | tonne | 830 |  | 0
A010 | F.5 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 275 |  | 0
A013 | F.6 | Ditch Grading | CW 3110-R22 | m² | 2850 |  | 0
A012 | F.7 | Grading of Boulevards | CW 3110-R22 | m² | 3100 |  | 0
A022 | F.8 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 1325 |  | 0
A022A4 | F.9 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 1325 |  | 0
A034 | F.10 | Preparation of Existing Ground Surface | CW 3170-R3 | m² | 2600 |  | 0
ROADWORK - REMOVALS/RENEWALS
B001 | F.11 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 1600 |  | 0
B004 | F.12 | Slab Replacement | CW 3230-R8
B011 | i) | 200 mm Type 1 Concrete Pavement (Reinforced) |  | m² | 70 |  | 0
B017 | F.13 | Partial Slab Patches | CW 3230-R8
B026 | i) | 200 mm Type 1 Concrete Pavement (Type A) |  | m² | 10 |  | 0
B027 | ii) | 200 mm Type 1 Concrete Pavement (Type B) |  | m² | 170 |  | 0
B028 | iii) | 200 mm Type 1 Concrete Pavement (Type C) |  | m² | 10 |  | 0
B029 | iv) | 200 mm Type 1 Concrete Pavement (Type D) |  | m² | 15 |  | 0
B034-24 | F.14 | Slab Replacement - Early Opening (24 hour) | CW 3230-R8
B041-24 | i) | 200 mm Type 3 Concrete Pavement (Reinforced) |  | m² | 50 |  | 0
B047-24 | F.15 | Partial Slab Patches - Early Opening (24 hour) | CW 3230-R8
B056-24 | i) | 200 mm Type 3 Concrete Pavement (Type A) |  | m² | 10 |  | 0
B057-24 | ii) | 200 mm Type 3 Concrete Pavement (Type B) |  | m² | 20 |  | 0
B058-24 | iii) | 200 mm Type 3 Concrete Pavement (Type C) |  | m² | 10 |  | 0
B059-24 | iv) | 200 mm Type 3 Concrete Pavement (Type D) |  | m² | 10 |  | 0
B064-72 | F.16 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8
B071-72 | i) | 200 mm Type 4 Concrete Pavement (Reinforced) |  | m² | 280 |  | 0
B077-72 | F.17 | Partial Slab Patches - Early Opening (72 hour) | CW 3230-R8
B086-72 | i) | 200 mm Type 4 Concrete Pavement (Type A) |  | m² | 30 |  | 0
B087-72 | ii) | 200 mm Type 4 Concrete Pavement (Type B) |  | m² | 510 |  | 0
B088-72 | iii) | 200 mm Type 4 Concrete Pavement (Type C) |  | m² | 30 |  | 0
B089-72 | iv) | 200 mm Type 4 Concrete Pavement (Type D) |  | m² | 55 |  | 0
B094 | F.18 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 1600 |  | 0
B097 | F.19 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 100 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 2500 |  | 0
B100r | F.20 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B102r | i) | Monolithic Median Slab |  | m² | 60 |  | 0
B103r | ii) | Safety Median |  | m² | 35 |  | 0
B104r | iii) | 100 mm Sidewalk |  | m² | 670 |  | 0
B107i | F.21 | Miscellaneous Concrete Slab Installation | CW 3235-R9 |  |  |  | 0
B110i | i) | Type 2 Concrete Safety Median | SD-226B | m² | 155 |  | 0
B111i | ii) | Type 5 Concrete 100 mm Sidewalk | SD-228A | m² | 440 |  | 0
B111iA | iii) | Type 5 Concrete 150 mm Reinforced Sidewalk |  | m² | 130 |  | 0
B114rl | F.22 | Miscellaneous Concrete Slab Renewal | CW 3235-R9 |  |  |  | 0
B118rl | i) | Type 5 Concrete 100 mm Sidewalk | SD-228A |  |  |  | 0
B119rl | a) | Less than 5 sq.m. |  | m² | 40 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 75 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 280 |  | 0
B126r | F.23 | Concrete Curb Removal | CW 3240-R10
B127rB | i) | Barrier Separate |  | m | 570 |  | 0
B134rA | ii) | Splash Strip Monolithic |  | m | 145 |  | 0
B133r | iii) | Safety Curb |  | m | 35 |  | 0
B135i | F.24 | Concrete Curb Installation | CW 3240-R10
B136iA | i) | Type 2 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205 | m | 80 |  | 0
B139iA | ii) | Type 2 Concrete Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 20 |  | 0
B150iA | iii) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229A,B,C | m | 15 |  | 0
B151i | iv) | Type 2 Concrete Safety Curb (330 mm reveal ht) | SD-206B | m | 445 |  | 0
B153B | v) | Type 2 Concrete Splash Strip (150 mm reveal ht, Monolithic Barrier Curb, 750 mm width) | SD-223A | m | 620 |  | 0
B153C | vi) | Type 2 Concrete Splash Strip (150 mm reveal ht, Monolithic Modified Barrier Curb, 750 mm width) | SD-223A | m | 35 |  | 0
B153D | vii) | Type 2 Concrete Splash Strip, (Separate, 600 mm width) | SD-223B | m | 110 |  | 0
B138iB | viii) | Type 2 Concrete Barrier (180 mm reveal ht, Integral) | SD-204 | m | 140 |  | 0
B140iB | ix) | Type 2 Concrete Modified Barrier (180 mm reveal ht, Integral) | SD-203B | m | 20 |  | 0
B154rl | F.25 | Concrete Curb Renewal | CW 3240-R10
B155rlA | i) | Type 2 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rlA1 | a) | Less than 3 m |  | m | 25 |  | 0
B155rlA2 | b) | 3 m to 30 m |  | m | 10 |  | 0
B167rl | ii) | Type 2 Concrete Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 5 |  | 0
B184rlA | iii) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 40 |  | 0
B185rlB | iv) | Type 2 Concrete Splash Strip (150 mm reveal ht, Monolithic Barrier Curb, 750 mm width) | SD-223A | m | 130 |  | 0
B190 | F.26 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 2750 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 125 |  | 0
B200 | F.27 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 12660 |  | 0
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 50 |  | 0
B203 | iii) | 1 - 50 mm Depth (Concrete) |  | m² | 50 |  | 0
B206 | F.28 | Supply and Install Pavement Repair Fabric | CW 3140-R1
B206A | i) | Type A |  | m² | 100 |  | 0
B219 | F.29 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 24 |  | 0
H020 | F.30 | Salvaging Existing Barrier Rail | CW 3650-R6 | m | 790 |  | 0
H021 | F.31 | Salvaging Existing Barrier Posts | CW 3650-R6 | each | 101 |  | 0
| F.32 | Removal of Fences | E57 | m | 25 |  | 0
ROADWORK - NEW CONSTRUCTION
C001 | F.33 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R18
C008 | i) | Construction of 200 mm Type 1 Concrete Pavement - (Reinforced) |  | m² | 985 |  | 0
C018 | ii) | Construction of Monolithic Type 2 Concrete Bull-noses | SD-227C | m² | 5 |  | 0
C051 | F.34 | Type 5 100 mm Concrete Sidewalk | CW 3325-R5 | m² | 120 |  | 0
| F.35 | Type 5 100 mm Sidewalk with Block Outs | E51 | m² | 35 |  | 0
B114E | F.36 | Bus Stop Paving Stones | E52 | m² | 7 |  | 0
| F.37 | Supply and Installation of MMA Marking with Anti-Skid | E53 | m | 400 |  | 0
JOINT AND CRACK SEALING
D006 | F.38 | Reflective Crack Maintenance | CW 3250-R7 | m | 5600 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | F.39 | Catch Basin | CW 2130-R12
E004 | i) | SD-024 C/W TF-100, 1200 mm deep |  | each | 2 |  | 0
E004A | ii) | SD-024, 1800 mm deep |  | each | 4 |  | 0
| iii) | SD-024 C/W TF-100, 1800 mm deep |  | each | 1 |  | 0
E006 | F.40 | Catch Pit | CW 2130-R12
E007 | i) | SD-023 |  | each | 2 |  | 0
| ii) | SD-023 C/W TF-100 |  | each | 4 |  | 0
E008 | F.41 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Bedding, Class 3 Backfill |  | m | 7 |  | 0
E011 | b) | Trenchless Installation, Class B Bedding, Class 3 Backfill |  | m | 63 |  | 0
E012 | F.42 | Drainage Connection Pipe | CW 2130-R12 | m | 15 |  | 0
E023 | F.43 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 7 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 7 |  | 0
E032 | F.44 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 250 mm Catch Basin Lead |  | each | 5 |  | 0
E034 | F.45 | Connecting to Existing Catch Basin | CW 2130-R12
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 4 |  | 0
E042 | F.46 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 250 mm |  | each | 2 |  | 0
E046 | F.47 | Removal of Existing Catch Basins | CW 2130-R12 | each | 4 |  | 0
E047 | F.48 | Removal of Existing Catch Pit | CW 2130-R12 | each | 2 |  | 0
E050 | F.49 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 9 |  | 0
| F.50 | Abandoning Existing Sewer Services Under Pavement | CW 2130-R12
| i) | Existing Catch Basin Leads (250 mm or smaller) |  | each | 3 |  | 0
| F.51 | Concrete Spillway | E54 | each | 3 |  | 0
H013 | F.52 | Grouted Stone Rip Rap | CW 3615-R4 | m3 | 5 |  | 0
ADJUSTMENTS
F001 | F.53 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 9 |  | 0
F002 | F.54 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 2 |  | 0
F003 | F.55 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 1 |  | 0
F005 | ii) | 51 mm |  | each | 5 |  | 0
F006 | iii) | 64 mm |  | each | 1 |  | 0
F009 | F.56 | Adjustment of Valve Boxes | CW 3210-R8 | each | 5 |  | 0
F010 | F.57 | Valve Box Extensions | CW 3210-R8 | each | 3 |  | 0
F011 | F.58 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 10 |  | 0
F018 | F.59 | Curb Stop Extensions | CW 3210-R8 | each | 2 |  | 0
A016 | F.60 | Removal of Existing Concrete Bases | CW 3110-R22
A018 | i) | Greater than 600 mm Diameter |  | each | 1 |  | 0
| F.61 | Installation of Concrete Bases | CW 3620-R9
| i) | Signal Pole Base- Type D (Medium Duty- 32 Dia. Bolts) | SD-312 | each | 1 |  | 0
PATHS
A003 | F.62 | Excavation | CW 3110-R22, E55 | m³ | 700 |  | 0
A004 | F.63 | Sub-Grade Compaction | CW 3110-R22 | m² | 1950 |  | 0
A007 | F.64 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 700 |  | 0
A010 | F.65 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 255 |  | 0
A012 | F.66 | Grading of Boulevards | CW 3110-R22 | m² | 1900 |  | 0
A022 | F.67 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 1950 |  | 0
A022A4 | F.68 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 1950 |  | 0
C055 | F.69 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 335 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 25 |  | 0
D006 | F.70 | Reflective Crack Maintenance | CW 3250-R7 | m | 825 |  | 0
| F | SOUTHBOUND OSBORNE/DUNKIRK, RATHGAR TO FERMOR |  |  |  | Subtotal: | 0
| G | NORTHBOUND DUNKIRK/OSBORNE, FERMOR TO RATHGAR
EARTH AND BASE WORKS
A003 | G.1 | Excavation | CW 3110-R22, E55 | m³ | 1950 |  | 0
A004 | G.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 950 |  | 0
A030 | G.3 | Fill Material | CW 3170-R3, E56
A031 | i) | Placing Suitable Site Material |  | m³ | 700 |  | 0
A033 | ii) | Supplying and Placing Imported Material |  | m³ | 1140 |  | 0
A007 | G.4 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 340 |  | 0
A008A1 | ii) | 100 mm Granular A Limestone |  | tonne | 550 |  | 0
A010 | G.5 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 245 |  | 0
A013 | G.6 | Ditch Grading | CW 3110-R22 | m² | 2500 |  | 0
A012 | G.7 | Grading of Boulevards | CW 3110-R22 | m² | 4600 |  | 0
A022 | G.8 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 950 |  | 0
A022A4 | G.9 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 950 |  | 0
A034 | G.10 | Preparation of Existing Ground Surface | CW 3170-R3 | m² | 2250 |  | 0
ROADWORK - REMOVALS/RENEWALS
B001 | G.11 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 1420 |  | 0
B004 | G.12 | Slab Replacement | CW 3230-R8
B011 | i) | 200 mm Type 1 Concrete Pavement (Reinforced) |  | m² | 30 |  | 0
B017 | G.13 | Partial Slab Patches | CW 3230-R8
B026 | i) | 200 mm Type 1 Concrete Pavement (Type A) |  | m² | 10 |  | 0
B027 | ii) | 200 mm Type 1 Concrete Pavement (Type B) |  | m² | 250 |  | 0
B028 | iii) | 200 mm Type 1 Concrete Pavement (Type C) |  | m² | 15 |  | 0
B029 | iv) | 200 mm Type 1 Concrete Pavement (Type D) |  | m² | 50 |  | 0
B034-24 | G.14 | Slab Replacement - Early Opening (24 hour) | CW 3230-R8
B041-24 | i) | 200 mm Type 3 Concrete Pavement (Reinforced) |  | m² | 30 |  | 0
B047-24 | G.15 | Partial Slab Patches - Early Opening (24 hour) | CW 3230-R8
B056-24 | i) | 200 mm Type 3 Concrete Pavement (Type A) |  | m² | 10 |  | 0
B057-24 | ii) | 200 mm Type 3 Concrete Pavement (Type B) |  | m² | 30 |  | 0
B058-24 | iii) | 200 mm Type 3 Concrete Pavement (Type C) |  | m² | 10 |  | 0
B059-24 | iv) | 200 mm Type 3 Concrete Pavement (Type D) |  | m² | 10 |  | 0
B064-72 | G.16 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8
B071-72 | i) | 200 mm Type 4 Concrete Pavement (Reinforced) |  | m² | 100 |  | 0
B077-72 | G.17 | Partial Slab Patches - Early Opening (72 hour) | CW 3230-R8
B086-72 | i) | 200 mm Type 4 Concrete Pavement (Type A) |  | m² | 25 |  | 0
B087-72 | ii) | 200 mm Type 4 Concrete Pavement (Type B) |  | m² | 750 |  | 0
B088-72 | iii) | 200 mm Type 4 Concrete Pavement (Type C) |  | m² | 45 |  | 0
B089-72 | iv) | 200 mm Type 4 Concrete Pavement (Type D) |  | m² | 150 |  | 0
B094 | G.18 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 2500 |  | 0
B097 | G.19 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 200 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 3500 |  | 0
B100r | G.20 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 1500 |  | 0
B107i | G.21 | Miscellaneous Concrete Slab Installation | CW 3235-R9 |  |  |  | 0
B111i | i) | Type 5 Concrete 100 mm Sidewalk | SD-228A | m² | 965 |  | 0
B111iA | ii) | Type 5 Concrete 150 mm Reinforced Sidewalk |  | m² | 100 |  | 0
B114rl | G.22 | Miscellaneous Concrete Slab Renewal | CW 3235-R9 |  |  |  | 0
B118rl | i) | Type 5 Concrete 100 mm Sidewalk | SD-228A |  |  |  | 0
B119rl | a) | Less than 5 sq.m. |  | m² | 25 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 200 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 180 |  | 0
B126r | G.23 | Concrete Curb Removal | CW 3240-R10
B127rB | i) | Barrier Separate |  | m | 560 |  | 0
B128r | ii) | Modified Barrier Separate |  | m | 30 |  | 0
B132r | iii) | Curb Ramp |  | m | 45 |  | 0
B133r | iv) | Safety Curb |  | m | 45 |  | 0
B134rA | v) | Splash Strip Monolithic |  | m | 420 |  | 0
B135i | G.24 | Concrete Curb Installation | CW 3240-R10
B136iA | i) | Type 2 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205 | m | 250 |  | 0
B139iA | ii) | Type 2 Concrete Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 10 |  | 0
B150iA | iii) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229A,B,C | m | 105 |  | 0
B151i | iv) | Type 2 Concrete Safety Curb (330 mm reveal ht) | SD-206B | m | 440 |  | 0
B153B | v) | Type 2 Concrete Splash Strip (150 mm reveal ht, Monolithic Barrier Curb, 750 mm width) | SD-223A | m | 990 |  | 0
B153C | vi) | Type 2 Concrete Splash Strip (150 mm reveal ht, Monolithic Modified Barrier Curb, 750 mm width) | SD-223A | m | 65 |  | 0
B153D | vii) | Type 2 Concrete Splash Strip, (Separate, 600 mm width) | SD-223B | m | 85 |  | 0
B138iB | viii) | Type 2 Concrete Barrier (180 mm reveal ht, Integral) | SD-204 | m | 60 |  | 0
B154rl | G.25 | Concrete Curb Renewal | CW 3240-R10
B155rlA | i) | Type 2 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rlA1 | a) | Less than 3 m |  | m | 20 |  | 0
B155rlA2 | b) | 3 m to 30 m |  | m | 45 |  | 0
B167rl | ii) | Type 2 Concrete Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 15 |  | 0
B184rlA | iii) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 65 |  | 0
B190 | G.26 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 2470 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 250 |  | 0
B200 | G.27 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 11920 |  | 0
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 50 |  | 0
B203 | iii) | 1 - 50 mm Depth (Concrete) |  | m² | 35 |  | 0
B206 | G.28 | Supply and Install Pavement Repair Fabric | CW 3140-R1
B206A | i) | Type A |  | m² | 100 |  | 0
B219 | G.29 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 53 |  | 0
| G.30 | Detectable Bar Tiles | E60
| i) | 305x610mm Directional Tile |  | each | 8 |  | 0
H020 | G.31 | Salvaging Existing Barrier Rail | CW 3650-R6 | m | 760 |  | 0
H021 | G.32 | Salvaging Existing Barrier Posts | CW 3650-R6 | each | 107 |  | 0
| G.33 | Removal of Fences | E57 | m | 30 |  | 0
H007 | G.34 | Chain Link Fence | CW 3550-R3
H009 | i) | 2.44m Height |  | m | 30 |  | 0
H011 | G.35 | Chain Link Fencing Gates | CW 3550-R3 | m | 3 |  | 0
ROADWORK - NEW CONSTRUCTION
C001 | G.36 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R18
C008 | i) | Construction of 200 mm Type 1 Concrete Pavement - (Reinforced) |  | m² | 570 |  | 0
C011 | ii) | Construction of 200 mm Type 1 Concrete Pavement - (Reinforced, Tinted) | E61 | m² | 155 |  | 0
C018 | iii) | Construction of Monolithic Type 2 Concrete Bull-noses | SD-227C | m² | 10 |  | 0
| G.37 | Type 5 100 mm Sidewalk with Block Outs | E51 | m² | 140 |  | 0
B114E | G.38 | Bus Stop Paving Stones | E52 | m² | 10 |  | 0
| G.39 | Interlocking Paving Stones | E52 | m² | 25 |  | 0
| G.40 | Supply and Installation of MMA Marking with Anti-Skid | E53 | m | 630 |  | 0
JOINT AND CRACK SEALING
D006 | G.41 | Reflective Crack Maintenance | CW 3250-R7 | m | 4080 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | G.42 | Catch Basin | CW 2130-R12
| i) | SD-024 C/W TF-100, 1200 mm deep |  | each | 1 |  | 0
E004A | ii) | SD-024, 1800 mm deep |  | each | 4 |  | 0
E004 | iii) | SD-024, 1200 mm deep |  | each | 1 |  | 0
E005A | iv) | SD-025, 1800 mm deep |  | each | 1 |  | 0
E006 | G.43 | Catch Pit | CW 2130-R12
E007 | i) | SD-023 |  | each | 2 |  | 0
| ii) | SD-023 C/W TF-100 |  | each | 4 |  | 0
E008 | G.44 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Bedding, Class 3 Backfill |  | m | 25 |  | 0
E011 | b) | Trenchless Installation, Class B Bedding, Class 3 Backfill |  | m | 84 |  | 0
E012 | G.45 | Drainage Connection Pipe | CW 2130-R12 | m | 11 |  | 0
E013 | G.46 | Sewer Service Risers | CW 2130-R12
E014 | i) | 250 mm
E016 | a) | SD-015 |  | vert. m | 1.7 |  | 0
E023 | G.47 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 9 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 9 |  | 0
E026 | iii) | AP-008 - Standard Grated Cover for Standard Frame |  | each | 1 |  | 0
E032 | G.48 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 250 mm Catch Basin Lead |  | each | 6 |  | 0
E034 | G.49 | Connecting to Existing Catch Basin | CW 2130-R12
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 3 |  | 0
E036 | G.50 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm PVC Connecting Pipe
E041A | a) | Connecting to 600 mm Concrete Combined Sewer |  | each | 1 |  | 0
E042 | G.51 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 250 mm |  | each | 1 |  | 0
E046 | G.52 | Removal of Existing Catch Basins | CW 2130-R12 | each | 8 |  | 0
E047 | G.53 | Removal of Existing Catch Pit | CW 2130-R12 | each | 4 |  | 0
E050 | G.54 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 6 |  | 0
| G.55 | Abandoning Existing Sewer Services Under Pavement | CW 2130-R12
| i) | Existing Catch Basin Leads (250 mm or smaller) |  | each | 7 |  | 0
E052s | G.56 | Corrugated Steel Pipe Culvert - Supply | CW 3610-R5
E056s | i) | (600 mm, 1.6mm gauge, Galvanized) |  | m | 32 |  | 0
E057i | G.57 | Corrugated Steel Pipe Culvert - Install | CW 3610-R5
E061i | i) | (600 mm, 1.6mm gauge, Galvanized) |  | m | 32 |  | 0
| G.58 | Concrete Spillways | E54 | each | 2 |  | 0
H013 | G.59 | Grouted Stone Riprap | CW 3615-R4 | m³ | 5 |  | 0
ADJUSTMENTS
F001 | G.60 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 10 |  | 0
F002 | G.61 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 2 |  | 0
F003 | G.62 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 1 |  | 0
F005 | ii) | 51 mm |  | each | 6 |  | 0
F006 | iii) | 64 mm |  | each | 2 |  | 0
F009 | G.63 | Adjustment of Valve Boxes | CW 3210-R8 | each | 10 |  | 0
F010 | G.64 | Valve Box Extensions | CW 3210-R8 | each | 3 |  | 0
F011 | G.65 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 15 |  | 0
F018 | G.66 | Curb Stop Extensions | CW 3210-R8 | each | 2 |  | 0
PATHS
A003 | G.67 | Excavation | CW 3110-R22, E55 | m³ | 1030 |  | 0
A004 | G.68 | Sub-Grade Compaction | CW 3110-R22 | m² | 2840 |  | 0
A007 | G.69 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 1075 |  | 0
A010 | G.70 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 410 |  | 0
A012 | G.71 | Grading of Boulevards | CW 3110-R22 | m² | 1000 |  | 0
A022 | G.72 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 2840 |  | 0
A022A4 | G.73 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 2840 |  | 0
B001 | G.74 | Pavement Removal | CW 3110-R22
B003 | i) | Asphalt Pavement |  | m² | 850 |  | 0
C055 | G.75 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 450 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 35 |  | 0
D006 | G.76 | Reflective Crack Maintenance | CW 3250-R7 | m | 1330 |  | 0
REMOVAL OF TEMPORARY DETOURS AND PAVEMENT RESTORATION
B001 | G.77 | Pavement Removal | CW 3110-R22
B003 | i) | Asphalt Pavement |  | m² | 1130 |  | 0
A003 | G.78 | Excavation | CW 3110-R22, E55 | m³ | 600 |  | 0
A030 | G.79 | Fill Material | CW 3170-R3, E56
A033 | i) | Supplying and Placing Imported Material |  | m³ | 710 |  | 0
E069 | G.80 | Removal of Existing Culverts | CW 3610-R5 | m | 24 |  | 0
B200 | G.81 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 370 |  | 0
C055 | G.82 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 120 |  | 0
| G | NORTHBOUND DUNKIRK/OSBORNE, FERMOR TO RATHGAR |  |  |  | Subtotal: | 0
| H | WEST ACCESS ROAD AND MULTI-USE PATHS, CONCRETE RECONSTRUCTION
EARTH AND BASE WORKS
A003 | H.1 | Excavation | CW 3110-R22, E55 | m³ | 2025 |  | 0
A004 | H.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 2720 |  | 0
A030 | H.3 | Fill Material | CW 3170-R3, E56
A033 | i) | Supplying and Placing Imported Material |  | m³ | 75 |  | 0
A007 | H.4 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 1030 |  | 0
A008A1 | ii) | 100 mm Granular A Limestone |  | tonne | 1640 |  | 0
A010 | H.5 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 315 |  | 0
A012 | H.6 | Grading of Boulevards | CW 3110-R22 | m² | 4700 |  | 0
A022 | H.7 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 2720 |  | 0
A022A4 | H.8 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 2720 |  | 0
| H.9 | Removal of Water Feature | E58 | L.S. | 1 |  | 0
ROADWORK - REMOVALS/RENEWALS
B001 | H.10 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 4010 |  | 0
B094 | H.11 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 140 |  | 0
B097 | H.12 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 50 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 20 |  | 0
B100r | H.13 | Miscellaneous Concrete Slab Removal | CW 3235-R9 |  |  |  | 0
B102r | i) | Monolithic Median Slab |  | m² | 155 |  | 0
B104r | ii) | 100 mm Sidewalk |  | m² | 620 |  | 0
B114rl | H.14 | Miscellaneous Concrete Slab Renewal | CW 3235-R9 |  |  |  | 0
B118rl | i) | Type 5 Concrete 100 mm Sidewalk | SD-228A |  |  |  | 0
B119rl | a) | Less than 5 sq.m. |  | m² | 5 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 30 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 70 |  | 0
B219 | H.15 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 5 |  | 0
B190 | H.16 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B194 | i) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 25 |  | 0
ROADWORK - NEW CONSTRUCTION
C001 | H.17 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R18
C007 | i) | Construction of 230 mm Type 1 Concrete Pavement (Plain-Dowelled, Slip-Formed) |  | m² | 1350 |  | 0
C007 | ii) | Construction of 230 mm Type 1 Concrete Pavement (Plain-Dowelled) |  | m² | 510 |  | 0
C008 | iii) | Construction of 200 mm Type 1 Concrete Pavement - (Reinforced) |  | m² | 110 |  | 0
C019 | H.18 | Concrete Pavements for Early Opening | CW 3310-R18
C025-24 | i) | Construction of 230 mm Type 3 Concrete Pavement for Early Opening 24 Hour (Plain-Dowelled) |  | m² | 175 |  | 0
C026-72 | ii) | Construction of 200 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 215 |  | 0
C032 | H.19 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R18
C033B | i) | Construction of Barrier (180 mm ht, Type 2, Dowelled) | SD-205 | m | 25 |  | 0
C035B | ii) | Construction of Barrier (180 mm ht, Type 1, Integral) | SD-204 | m | 410 |  | 0
C037B | iii) | Construction of Modified Barrier (180 mm ht, Type 1, Integral) | SD-203B | m | 40 |  | 0
C046 | iv) | Construction of Curb Ramp (8-12 mm ht, Type 2, Integral) | SD-229C | m | 50 |  | 0
C046A | v) | Construction of Curb Ramp (8-12 mm ht, Type 2, Monolithic) | SD-229C | m | 10 |  | 0
C050 | H.20 | Supply and Installation of Dowel Assemblies 28.6 mm | CW 3310-R18 | m | 530 |  | 0
C051 | H.21 | Type 5 100 mm Concrete Sidewalk | CW 3325-R5 | m² | 270 |  | 0
| H.22 | Type 5 100 mm Sidewalk with Block Outs | E51 | m² | 25 |  | 0
B114E | H.23 | Bus Stop Paving Stones | E52 | m² | 1 |  | 0
C052 | H.24 | Interlocking Paving Stones | E52 | m² | 2 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | H.25 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 5 |  | 0
E008 | H.26 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Bedding, Class 3 Backfill |  | m | 30.5 |  | 0
E011 | b) | Trenchless Installation, Class B Bedding, Class 3 Backfill |  | m | 41.2 |  | 0
E023 | H.27 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 3 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 3 |  | 0
E032 | H.28 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 250 mm Catch Basin Lead |  | each | 2 |  | 0
E034 | H.29 | Connecting to Existing Catch Basin | CW 2130-R12
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 1 |  | 0
E036 | H.30 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm PVC Connecting Pipe
E041A | a) | Connecting to 250 mm Concrete LDS |  | each | 1 |  | 0
E046 | H.31 | Removal of Existing Catch Basins | CW 2130-R12 | each | 5 |  | 0
E047 | H.32 | Removal of Existing Catch Pit | CW 2130-R12 | each | 1 |  | 0
E050 | H.33 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 4 |  | 0
| H.34 | Abandoning Existing Sewer Services Under Pavement | CW 2130-R12
| i) | Existing Catch Basin Leads (250 mm or smaller) |  | each | 8 |  | 0
E051 | H.35 | Installation of Subdrains | CW 3120-R4 | m | 36 |  | 0
ADJUSTMENTS
F001 | H.36 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 4 |  | 0
F002 | H.37 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
F003 | H.38 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 3 |  | 0
F009 | H.39 | Adjustment of Valve Boxes | CW 3210-R8 | each | 2 |  | 0
F010 | H.40 | Valve Box Extensions | CW 3210-R8 | each | 1 |  | 0
PATHS
A003 | H.41 | Excavation | CW 3110-R22, E55 | m³ | 230 |  | 0
A004 | H.42 | Sub-Grade Compaction | CW 3110-R22 | m² | 610 |  | 0
A007 | H.43 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 230 |  | 0
A010 | H.44 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 90 |  | 0
A012 | H.45 | Grading of Boulevards | CW 3110-R22 | m² | 400 |  | 0
A022 | H.46 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 610 |  | 0
A022A4 | H.47 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 610 |  | 0
C055 | H.48 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 100 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 10 |  | 0
D006 | H.49 | Reflective Crack Maintenance | CW 3250-R7 | m | 270 |  | 0
| H | WEST ACCESS ROAD AND MULTI-USE PATHS, CONCRETE RECONSTRUCTION |  |  |  | Subtotal: | 0
| I | EAST ACCESS ROAD AND MULTI-USE PATHS, CONCRETE RECONSTRUCTION
EARTH AND BASE WORKS
A003 | I.1 | Excavation | CW 3110-R22, E55 | m³ | 2300 |  | 0
A004 | I.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 2910 |  | 0
A030 | I.3 | Fill Material | CW 3170-R3, E56
A033 | i) | Supplying and Placing Imported Material |  | m³ | 450 |  | 0
A007 | I.4 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 1100 |  | 0
A008A1 | ii) | 100 mm Granular A Limestone |  | tonne | 1760 |  | 0
A010 | I.5 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 335 |  | 0
A012 | I.6 | Grading of Boulevards | CW 3110-R22 | m² | 5100 |  | 0
A022 | I.7 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 2910 |  | 0
A022A4 | I.8 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 2910 |  | 0
ROADWORK - REMOVALS/RENEWALS
B001 | I.9 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 3510 |  | 0
B094 | I.10 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 220 |  | 0
B097 | I.11 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 85 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 20 |  | 0
B100r | I.12 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 500 |  | 0
B219 | I.13 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 10 |  | 0
ROADWORK - NEW CONSTRUCTION
C001 | I.14 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R18
C007 | i) | Construction of 230 mm Type 1 Concrete Pavement (Plain-Dowelled, Slip-Formed) |  | m² | 1550 |  | 0
C007 | ii) | Construction of 230 mm Type 1 Concrete Pavement (Plain-Dowelled) |  | m² | 670 |  | 0
C008 | iii) | Construction of 200 mm Type 1 Concrete Pavement - (Reinforced) |  | m² | 185 |  | 0
C032 | I.15 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R18
C035B | i) | Construction of Barrier (180 mm ht, Type 1, Integral) | SD-204 | m | 345 |  | 0
C037B | ii) | Construction of Modified Barrier (180 mm ht, Type 1, Integral) | SD-203B | m | 85 |  | 0
C046 | iii) | Construction of Curb Ramp (8-12 mm ht, Type 1, Integral) | SD-229C | m | 90 |  | 0
C050 | I.16 | Supply and Installation of Dowel Assemblies 28.6 mm | CW 3310-R18 | m | 550 |  | 0
C051 | I.17 | Type 5 100 mm Concrete Sidewalk | CW 3325-R5 | m² | 620 |  | 0
| I.18 | Type 5 100 mm Sidewalk with Block Outs | E51 | m² | 5 |  | 0
B114E | I.19 | Bus Stop Paving Stones | E52 | m² | 1 |  | 0
C055 | I.20 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C059 | i) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 40 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | I.21 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 2 |  | 0
E005A | ii) | SD-025 C/W AP-009, 1800 mm deep |  | each | 1 |  | 0
E006 | I.22 | Catch Pit | CW 2130-R12
E007 | i) | SD-023 |  | each | 1 |  | 0
E008 | I.23 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Bedding, Class 3 Backfill |  | m | 3 |  | 0
E011 | b) | Trenchless Installation, Class B Bedding, Class 3 Backfill |  | m | 34 |  | 0
E012 | I.24 | Drainage Connection Pipe | CW 2130-R12 | m | 6 |  | 0
E023 | I.25 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 2 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 2 |  | 0
E032 | I.26 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 250 mm Catch Basin Lead |  | each | 3 |  | 0
E034 | I.27 | Connecting to Existing Catch Basin | CW 2130-R12
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 1 |  | 0
E046 | I.28 | Removal of Existing Catch Basins | CW 2130-R12 | each | 4 |  | 0
E047 | I.29 | Removal of Existing Catch Pit | CW 2130-R12 | each | 1 |  | 0
E050 | I.30 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 5 |  | 0
| I.31 | Abandoning Existing Sewer Services Under Pavement | CW 2130-R12
| i) | Existing Catch Basin Leads (250 mm or smaller) |  | each | 5 |  | 0
E051 | I.32 | Installation of Subdrains | CW 3120-R4 | m | 24 |  | 0
ADJUSTMENTS
F001 | I.33 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 6 |  | 0
F002 | I.34 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
F003 | I.35 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 2 |  | 0
F009 | I.36 | Adjustment of Valve Boxes | CW 3210-R8 | each | 5 |  | 0
F010 | I.37 | Valve Box Extensions | CW 3210-R8 | each | 2 |  | 0
PATHS
A003 | I.38 | Excavation | CW 3110-R22, E55 | m³ | 290 |  | 0
A004 | I.39 | Sub-Grade Compaction | CW 3110-R22 | m² | 800 |  | 0
A007 | I.40 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 300 |  | 0
A010 | I.41 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 115 |  | 0
A012 | I.42 | Grading of Boulevards | CW 3110-R22 | m² | 600 |  | 0
A022 | I.43 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 800 |  | 0
A022A4 | I.44 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 800 |  | 0
C055 | I.45 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 135 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 10 |  | 0
D006 | I.46 | Reflective Crack Maintenance | CW 3250-R7 | m | 400 |  | 0
| I | EAST ACCESS ROAD AND MULTI-USE PATHS, CONCRETE RECONSTRUCTION |  |  |  | Subtotal: | 0
| J | KINGSTON ROW, REHABILITATION
EARTH AND BASE WORKS
A003 | J.1 | Excavation | CW 3110-R22, E55 | m³ | 80 |  | 0
A004 | J.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 150 |  | 0
A005A | J.3 | Imported Fill Material | CW 3110-R22, E56 | m³ | 30 |  | 0
A007 | J.4 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 100 |  | 0
A010 | J.5 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 15 |  | 0
A012 | J.6 | Grading of Boulevards | CW 3110-R22 | m² | 1100 |  | 0
A022 | J.7 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 150 |  | 0
A022A4 | J.8 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 150 |  | 0
ROADWORK - REMOVALS/RENEWALS
B001 | J.9 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 150 |  | 0
B064-72 | J.10 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8
B071-72 | i) | 200 mm Type 4 Concrete Pavement (Reinforced) |  | m² | 380 |  | 0
B077-72 | J.11 | Partial Slab Patches - Early Opening (72 hour) | CW 3230-R8
B086-72 | i) | 200 mm Type 4 Concrete Pavement (Type A) |  | m² | 5 |  | 0
B087-72 | ii) | 200 mm Type 4 Concrete Pavement (Type B) |  | m² | 120 |  | 0
B088-72 | iii) | 200 mm Type 4 Concrete Pavement (Type C) |  | m² | 5 |  | 0
B089-72 | iv) | 200 mm Type 4 Concrete Pavement (Type D) |  | m² | 30 |  | 0
B094 | J.12 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 420 |  | 0
B097 | J.13 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 25 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 430 |  | 0
B100r | J.14 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 260 |  | 0
B107i | J.15 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B111i | i) | Type 5 Concrete 100 mm Sidewalk | SD-228A | m² | 150 |  | 0
B114rl | J.16 | Miscellaneous Concrete Slab Renewal | CW 3235-R9 |  |  |  | 0
B118rl | i) | Type 5 Concrete 100 mm Sidewalk | SD-228A |  |  |  | 0
B119rl | a) | Less than 5 sq.m. |  | m² | 5 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 70 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 100 |  | 0
B126r | J.17 | Concrete Curb Removal | CW 3240-R10
B127rB | i) | Barrier Separate |  | m | 80 |  | 0
B128r | ii) | Modified Barrier Separate |  | m | 10 |  | 0
B135i | J.18 | Concrete Curb Installation | CW 3240-R10
B136iA | i) | Type 2 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205 | m | 90 |  | 0
B139iA | ii) | Type 2 Concrete Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 5 |  | 0
B150iA | iii) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229A,B,C | m | 5 |  | 0
B151i | iv) | Type 2 Concrete Safety Curb (330 mm reveal ht) | SD-206B | m | 90 |  | 0
B154rl | J.19 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Barrier (100 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rl1 | a) | Less than 3 m |  | m | 5 |  | 0
B155rl2 | b) | 3 m to 30 m |  | m | 10 |  | 0
B155rlA | ii) | Barrier (150 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rlA1 | a) | Less than 3 m |  | m | 5 |  | 0
B155rlA2 | b) | 3 m to 30 m |  | m | 30 |  | 0
B155rlA3 | c) | Greater than 30 m |  | m | 110 |  | 0
B167rl | iii) | Modified Barrier (100 mm reveal ht, Dowelled) | SD-203B | m | 15 |  | 0
B167rlA | iv) | Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 25 |  | 0
B184rlA | v) | Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 28 |  | 0
B190 | J.20 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 375 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 65 |  | 0
B200 | J.21 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 20 |  | 0
B219 | J.22 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 3 |  | 0
H020 | J.23 | Salvaging Existing Barrier Rail | CW 3650-R6 | m | 270 |  | 0
H021 | J.24 | Salvaging Existing Barrier Posts | CW 3650-R6 | each | 25 |  | 0
H016 | J.25 | Installation of Barrier Posts | CW 3650-R6 | each | 5 |  | 0
H018 | J.26 | Installation of Barrier Rails | CW 3650-R6 | m | 135 |  | 0
C019 | J.27 | Concrete Pavements for Early Opening | CW 3310-R18
C029-72 | i) | Construction of 150 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 145 |  | 0
| J.28 | Type 5 100 mm Sidewalk with Block Outs | E51 | m² | 140 |  | 0
| J.29 | Interlocking Paving Stones | E52 | m² | 20 |  | 0
JOINT AND CRACK SEALING
D006 | J.30 | Reflective Crack Maintenance | CW 3250-R7 | m | 850 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E006 | J.31 | Catch Pit | CW 2130-R12
E007 | i) | SD-023 |  | each | 2 |  | 0
E012 | J.32 | Drainage Connection Pipe | CW 2130-R12 | m | 5 |  | 0
E023 | J.33 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 5 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 5 |  | 0
E034 | J.34 | Connecting to Existing Catch Basin | CW 2130-R12
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 2 |  | 0
E046 | J.35 | Removal of Existing Catch Basins | CW 2130-R12 | each | 1 |  | 0
E050 | J.36 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 3 |  | 0
| J.37 | Abandoning Existing Sewer Services Under Pavement | CW 2130-R12
| i) | Existing Catch Basin Leads (250 mm or smaller) |  | each | 1 |  | 0
ADJUSTMENTS
F001 | J.38 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 14 |  | 0
F002 | J.39 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
F003 | J.40 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 2 |  | 0
F009 | J.41 | Adjustment of Valve Boxes | CW 3210-R8 | each | 2 |  | 0
F010 | J.42 | Valve Box Extensions | CW 3210-R8 | each | 1 |  | 0
F011 | J.43 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 6 |  | 0
F018 | J.44 | Curb Stop Extensions | CW 3210-R8 | each | 1 |  | 0
| J | KINGSTON ROW, REHABILITATION |  |  |  | Subtotal: | 0
| K | CHURCHILL DRIVE PATH
A003 | K.1 | Excavation | CW 3110-R22, E55 | m³ | 1300 |  | 0
A004 | K.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 3500 |  | 0
A007 | K.3 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 1275 |  | 0
A010 | K.4 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 460 |  | 0
A012 | K.5 | Grading of Boulevards | CW 3110-R22 | m² | 3300 |  | 0
A022 | K.6 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 3500 |  | 0
A022A4 | K.7 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 3500 |  | 0
B126r | K.8 | Concrete Curb Removal | CW 3240-R10
B127rA | i) | Barrier Separate |  | m | 30 |  | 0
B135i | K.9 | Concrete Curb Installation | CW 3240-R10
B150iA | i) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229A,B,C | m | 30 |  | 0
B219 | K.10 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 6 |  | 0
C051 | K.11 | 100 mm Type 5 Concrete Sidewalk | CW 3325-R5 | m² | 30 |  | 0
C055 | K.12 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 650 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 5 |  | 0
D006 | K.13 | Reflective Crack Maintenance | CW 3250-R7 | m | 1750 |  | 0
| K | CHURCHILL DRIVE PATH |  |  |  | Subtotal: | 0
| L | WATER AND WASTE WORK
PRE-CONSTRUCTION INSPECTIONS
| L.1 | Pre-Construction Sewer Televising | CW 2145-R4
| i) | 100mm |  | m | 85 |  | 0
| ii) | 200mm (CB Leads) |  | m | 85 |  | 0
| iii) | 300mm |  | m | 25 |  | 0
| iv) | 375mm |  | m | 100 |  | 0
| v) | 450mm |  | m | 125 |  | 0
| vi) | 750mm |  | m | 100 |  | 0
| vii) | 1050mm |  | m | 10 |  | 0
| viii) | 900x1200mm |  | m | 80 |  | 0
| ix) | 925x1200mm |  | m | 100 |  | 0
| L.2 | Panoramic Manhole Inspection | CW 2145-R4 | each | 6 |  | 0
CONSTRUCTION REPAIRS AND INSPECTIONS
S-CL50014734
E017 | L.3 | Sewer Repair- Up to 3.0 metres long (SD-022A) | CW 2130-R12
E017C | i) | 200mm
E017D | a) | Class 3 Backfill |  | each | 1 |  | 0
E022A | L.4 | Sewer Inspection (following repair) | CW 2145-R4
E022C | i) | 200mm |  | m | 16 |  | 0
S-CL50014721
E017 | L.5 | Sewer Repair- Up to 3.0 metres long (SD-022A) | CW 2130-R12
E017C | i) | 200mm
E017D | a) | Class 3 Backfill |  | each | 1 |  | 0
E020 | L.6 | Sewer Repair- In addition to first 3.0 metres (SD-022A) | CW 2130-R12
E020C | i) | 200mm
E020D | a) | Class 3 Backfill |  | m | 1.6 |  | 0
E022A | L.7 | Sewer Inspection (following repair) | CW 2145-R4
E022C | i) | 200mm |  | m | 5 |  | 0
S-CL50014719
E017 | L.8 | Sewer Repair- Up to 3.0 metres long (SD-022A) | CW 2130-R12
E017C | i) | 200mm
E017D | a) | Class 3 Backfill |  | each | 1 |  | 0
E020 | L.9 | Sewer Repair- In addition to first 3.0 metres (SD-022A) | CW 2130-R12
E020C | i) | 200mm
E020D | a) | Class 3 Backfill |  | m | 2.2 |  | 0
E022A | L.10 | Sewer Inspection (following repair) | CW 2145-R4
E022C | i) | 200mm |  | m | 30 |  | 0
S-CL60012445
| L.11 | Solid Debris Cutting - First 3.0 Metres | CW 2140-R4 | each | 1 |  | 0
E022A | L.12 | Sewer Inspection (following repair) | CW 2145-R4
E022C | i) | 200mm |  | m | 40 |  | 0
S-CL60012459
E017 | L.13 | Sewer Repair- Up to 3.0 metres long (SD-022A) | CW 2130-R12
E017C | i) | 200mm
E017D | a) | Class 3 Backfill |  | each | 1 |  | 0
E022A | L.14 | Sewer Inspection (following repair) | CW 2145-R4
E022C | i) | 200mm |  | m | 16 |  | 0
S-CL7006370
E017 | L.15 | Sewer Repair- Up to 3.0 metres long (SD-022A) | CW 2130-R12
E017E | i) | 250mm
E017F | a) | Class 3 Backfill |  | each | 1 |  | 0
E020 | L.16 | Sewer Repair- In addition to first 3.0 metres (SD-022A) | CW 2130-R12
E020E | i) | 250mm
E020F | a) | Class 3 Backfill |  | m | 0.1 |  | 0
E022A | L.17 | Sewer Inspection (following repair) | CW 2145-R4
E022D | i) | 250mm |  | m | 40 |  | 0
S-MH60010632
| L.18 | Patch Existing Manhole | CW 2130-R12 | vert. m | 0.6 |  | 0
| L.19 | Panoramic Manhole Inspection | CW 2145-R4 | each | 1 |  | 0
S-MH50011784
| L.20 | Patch Existing Manhole | CW 2130-R12 | vert. m | 0.1 |  | 0
| L.21 | Panoramic Manhole Inspection | CW 2145-R4 | each | 1 |  | 0
S-MH50011786
F002 | L.22 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.4 |  | 0
| L.23 | Panoramic Manhole Inspection | CW 2145-R4 | each | 1 |  | 0
S-MH50011686
| L.24 | Patch Existing Manhole | CW 2130-R12 | vert. m | 1.6 |  | 0
| L.25 | Panoramic Manhole Inspection | CW 2145-R4 | each | 1 |  | 0
S-MH60010734
| L.26 | Patch Existing Manhole | CW 2130-R12 | vert. m | 0.4 |  | 0
| L.27 | Panoramic Manhole Inspection | CW 2145-R4 | each | 1 |  | 0
S-MH60010701
| L.28 | Patch Existing Manhole | CW 2130-R12 | vert. m | 0.7 |  | 0
| L.29 | Panoramic Manhole Inspection | CW 2145-R4 | each | 1 |  | 0
S-MH60010677
| L.30 | Solid Debris Cutting - First 3 Metres | CW 2130-R12 | each | 1 |  | 0
| L.31 | Removal of Debris from Manhole | CW 2130-R12 | each | 1 |  | 0
| L.32 | Panoramic Manhole Inspection | CW 2145-R4 | each | 1 |  | 0
| L | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
| M | LANDSCAPING WORKS
| M.1 | Tree Planting in Trench (inc. 2 yr. maintenance + warranty) | E62
| i) | Deciduous Trees
| a) | Triumph Hybrid Elm (caliper) |  | each | 45 |  | 0
| b) | Silver Cloud Maple (caliper) |  | each | 54 |  | 0
| M.2 | Tree Planting in Pit (inc. 2 yr. maintenance + warranty) | E62
| i) | Deciduous Trees
| a) | Baron Manitoba Maple (caliper) |  | each | 12 |  | 0
| b) | Prairie Horizon Alder (caliper) |  | each | 21 |  | 0
| c) | Spring Snow Crabapple (5 gal) |  | each | 14 |  | 0
| d) | Toba Hawthorn (5 gal) |  | each | 36 |  | 0
| e) | Discovery Elm (caliper) |  | each | 34 |  | 0
| f) | Prairie Sky Poplar (5 gal) |  | each | 51 |  | 0
| g) | Cottonwood (caliper) |  | each | 3 |  | 0
| h) | Peach-leaf Willow (5 gal) |  | each | 11 |  | 0
| i) | Golden Cascade Linden (caliper) |  | each | 18 |  | 0
| j) | Harvest Gold Linden (caliper) |  | each | 17 |  | 0
| k) | Delta Hackberry (caliper) |  | each | 7 |  | 0
| l) | Ventura Amur Maple (3 gal) |  | each | 15 |  | 0
| m) | Amur Ming Cherry (5 gal) |  | each | 9 |  | 0
| n) | Beaked Hazelnut (3 gal) |  | each | 16 |  | 0
| ii) | Coniferous Trees
| a) | Black Hills White Spruce (caliper) |  | each | 67 |  | 0
| b) | Siberian Larch (caliper) |  | each | 27 |  | 0
| c) | Scots Pine (caliper) |  | each | 15 |  | 0
| d) | Swiss Stone Pine (5 gal) |  | each | 37 |  | 0
| M.3 | Shrub Planting (inc. 1 yr. maintenance + warranty) | E62
| i) | Deciduous Shrub
| a) | Red Osier Dogwood (5 gal) |  | each | 32 |  | 0
| b) | Tor Birchleaf Spirea (3 gal) |  | each | 51 |  | 0
| ii) | Coniferous Shrubs
| a) | Savin Juniper (3 gal) |  | each | 14 |  | 0
| M.4 | Planting Beds (inc. mulch) | E68
| i) | Supply and Install Planting Bed |  | m² | 350 |  | 0
| M.5 | Gabions | CW 3130, CW 3110, E64
| i) | Supply and Install Gabion Walls |  | lin.m. | 80 |  | 0
| M.6 | Tree Removal | CW 2110, CW 2130, E66
| i) | Removal and Stump Grinding |  | each | 48 |  | 0
| M.7 | Tache Bench | E65 | each | 2 |  | 0
| M.8 | Bollards | CW 2160, SCD-103C, E67
| i) | Supply and Install Removable Steel Bollards |  | each | 13 |  | 0
G001 | M.9 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 800 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 25000 |  | 0
| M.10 | Supply and Install Erosion Control Blanket | E16 | m² | 6000 |  | 0
| M | LANDSCAPING WORKS |  |  |  | Subtotal: | 0
| N | MOBILIZATION /DEMOBILIZATION (PART 2)
| N.1 | Mobilization and Demobilization | E2 | L.S. | 1 |  | 0
| N | MOBILIZATION /DEMOBILIZATION (PART 2) |  |  |  | Subtotal: | 0
SUMMARY
PART 1 2023 CITY FUNDED WORKS
| A | STRUCTURAL WORKS - SOUTHBOUND STRUCTURE |  |  |  | Subtotal: | 0
| B | MOBILIZATION /DEMOBILIZATION (PART 1) |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 1 | 0
PART 2 2024 CITY FUNDED WORKS (See B10.6, B18.2.1, B19.6, D3, D25.4, D25.6)
| C | STRUCTURAL WORKS - NORTHBOUND STRUCTURE |  |  |  | Subtotal: | 0
| D | PEDESTRIAN UNDERPASSES |  |  |  | Subtotal: | 0
| E | OVERHEAD SIGN STRUCTURES |  |  |  | Subtotal: | 0
| F | SOUTHBOUND OSBORNE/DUNKIRK, RATHGAR TO FERMOR |  |  |  | Subtotal: | 0
| G | NORTHBOUND DUNKIRK/OSBORNE, FERMOR TO RATHGAR |  |  |  | Subtotal: | 0
| H | WEST ACCESS ROAD AND MULTI-USE PATHS, CONCRETE RECONSTRUCTION |  |  |  | Subtotal: | 0
| I | EAST ACCESS ROAD AND MULTI-USE PATHS, CONCRETE RECONSTRUCTION |  |  |  | Subtotal: | 0
| J | KINGSTON ROW, REHABILITATION |  |  |  | Subtotal: | 0
| K | CHURCHILL DRIVE PATH |  |  |  | Subtotal: | 0
| L | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
| M | LANDSCAPING WORKS |  |  |  | Subtotal: | 0
| N | MOBILIZATION /DEMOBILIZATION (PART 2) |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 2 | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0