## FORM B - PRICES
FORM B: PRICES
(SEE B11)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
| A | WILKES INTERSECTION-SURFACE WORKS
EARTH AND BASE WORKS
A003 | A.1 | Common Excavation | CW 3110-R19 E19 | m³ | 2110 |  | 0
A003 | A.2 | Roadway Excavation | CW 3110-R19 E19 | m³ | 9920 |  | 0
A004 | A.3 | Sub-Grade Compaction | CW 3110-R19 | m² | 13400 |  | 0
A007 | A.4 | Crushed Sub-base Material | CW 3110-R19
A008 | i) | 50 mm - Limestone |  | tonne | 7110 |  | 0
A008C | ii) | 100 mm - Limestone |  | tonne | 180 |  | 0
A009 | iii) | 150 mm - Limestone |  | tonne | 14400 |  | 0
A010 | A.5 | Supplying and Placing Base Course Material | CW 3110-R19 | m³ | 1040 |  | 0
A012 | A.6 | Grading of Boulevards | CW 3110-R19 E19 | m² | 6230 |  | 0
A013 | A.7 | Ditch Grading | CW 3110-R19 E19 | m² | 850 |  | 0
A016 | A.8 | Removal of Existing Concrete Bases | CW 3110-R19
A017 | i) | 600 mm Diameter or Less |  | each | 8 |  | 0
A022 | A.9 | Separation Geotextile Fabric | CW 3130-R4 | m² | 13400 |  | 0
ROADWORKS - RENEWALS
B001 | A.10 | Pavement Removal | CW 3110-R19
B002 | i) | Concrete Pavement |  | m² | 3710 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 1840 |  | 0
B004 | A.11 | Slab Replacement | CW 3230-R8
B007 | i) | 250 mm Concrete Pavement (Plain-Dowelled) |  | m² | 175 |  | 0
B013 | ii) | 200 mm Concrete Pavement (Plain-Dowelled) |  | m² | 25 |  | 0
B017 | A.12 | Partial Slab Patches | CW 3230-R8
B026 | i) | 200 mm Concrete Pavement (Type A) |  | m² | 4 |  | 0
B027 | ii) | 200 mm Concrete Pavement (Type B) |  | m² | 135 |  | 0
B028 | iii) | 200 mm Concrete Pavement (Type C) |  | m² | 15 |  | 0
B029 | iv) | 200 mm Concrete Pavement (Type D) |  | m² | 40 |  | 0
B034-24 | A.13 | Slab Replacement - Early Opening (24 hour) | CW 3230-R8
B044-24 | i) | 150 mm Concrete Pavement (Reinforced) |  | m² | 130 |  | 0
B047-24 | A.14 | Partial Slab Patches - Early Opening (24 hour) | CW 3230-R8
B056-24 | i) | 200 mm Concrete Pavement (Type A) |  | m² | 30 |  | 0
B057-24 | ii) | 200 mm Concrete Pavement (Type B) |  | m² | 60 |  | 0
B093A | A.15 | Partial Depth Planing of Existing Joints | E25 | m² | 40 |  | 0
B093B | A.16 | Asphalt Patching of Partial Depth Joints | E25 | m² | 40 |  | 0
B094 | A.17 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 330 |  | 0
B097 | A.18 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 460 |  | 0
B100r | A.19 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B102r | i) | Monolithic Median Slab |  | m² | 80 |  | 0
B104r | ii) | 100 mm Sidewalk |  | m² | 1300 |  | 0
B105r | iii) | Bullnose |  | m² | 60 |  | 0
B107i | A.20 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B112i | i) | Bullnose | SD-227C | m² | 40 |  | 0
B114rl | A.21 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B122rl | i) | Bullnose | SD-227C | m² | 65 |  | 0
B126r | A.22 | Concrete Curb Removal | CW 3240-R10
B127r | i) | Barrier Curb Separate |  | m | 1400 |  | 0
B127r | ii) | Barrier Curb Integral |  | m | 100 |  | 0
B132r | iii) | Curb Ramp |  | m | 50 |  | 0
B134r | iv) | Splash Strip Monolithic |  | m | 800 |  | 0
B154rl | A.23 | Concrete Curb Renewal | CW 3240-R10
B188 | A.24 | Supply and Installation of Dowel Assemblies | CW 3310-R17 | m | 30 |  | 0
B100r | A.25 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 1300 |  | 0
B190 | A.26 | Construction of Asphaltic Concrete Overlay | CW 3410-R11
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 1700 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 180 |  | 0
B199 | A.27 | Asphalt Patching of Miscellaneous Concrete | E26 | m² | 110 |  | 0
B200 | A.28 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 700 |  | 0
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 700 |  | 0
B203 | iii) | 1 - 50 mm Depth (Concrete) |  | m² | 80 |  | 0
B219 | A.29 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 50 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | A.30 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
C007 | i) | Construction of 230 mm Concrete Pavement (Plain-Dowelled) Slip Form Paving |  | m² | 8800 |  | 0
C010 | ii) | Construction of 200 mm Concrete Pavement (Plain-Dowelled) |  | m² | 2450 |  | 0
C010 | iii) | Construction of 200 mm Concrete Pavement (Plain-Dowelled, Tinted) | E24 | m² | 40 |  | 0
C015 | iv) | Construction of Monolithic Concrete Median Slabs | SD-226A | m² | 900 |  | 0
C018 | v) | Construction of Monolithic Concrete Bull-noses | SD-227C | m² | 100 |  | 0
C007 | A.31 | Transit Shelter Foundations | E21 | m² | 15 |  | 0
C032 | A.32 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
C036 | i) | Construction of Modified Barrier (180 mm ht, Dowelled) | SD-203B | m | 300 |  | 0
C036 | ii) | Construction of Modified Barrier Curb And Gutter (180 mm ht, Integral) | SD-203B E30 | m | 1300 |  | 0
C037 | iii) | Pinned Barrier Curb | SD-205 E30 | m | 100 |  | 0
C044 | iv) | 75 mm Lip Curb and Gutter | SD-202A E30 | m | 75 |  | 0
C046A | v) | Construction of Curb Ramp (8-12 mm ht, Monolithic) | SD-229C | m | 130 |  | 0
C047A | vi) | Construction of Splash Strip (180 mm ht, Monolithic Barrier Curb, 750 mm width) Slip Form Paving | SD-223A | m | 530 |  | 0
C047C | vii) | Construction of Splash Strip, ( Separate, 600 mm width) | SD-223B | m | 1410 |  | 0
C050 | A.33 | Supply and Installation of Dowel Assemblies | CW 3310-R17 | m | 1740 |  | 0
C052 | A.34 | Interlocking Paving Stones Charcoal Holland Paver 60x210x210mm | CW 3330-R5 E27 | m² | 20 |  | 0
C052 | A.35 | Interlocking Paving Stones Blue Holland Paver 60x105x210mm | CW 3330-R5 E27 | m² | 5 |  | 0
C052 | A.36 | Directional Tactile Strip | E28 | m | 100 |  | 0
JOINT AND CRACK SEALING
D006 | A.37 | Reflective Crack Maintenance | CW 3250-R7 | m | 1100 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E023 | A.38 | Replacing Existing Manhole and Catch Basin Frames & Covers | CW 2130-R12
E024 | i) | AP-004 - Standard Frame for Manhole and Catch Basin |  | each | 1 |  | 0
E025 | ii) | AP-005 - Standard Solid Cover for Standard Frame |  | each | 1 |  | 0
E026 | iii) | AP-006 - Standard Grated Cover for Standard Frame |  | each | 1 |  | 0
E051 | A.39 | Installation of Subdrains | CW 3120-R4 | m | 270 |  | 0
ADJUSTMENTS
F001 | A.40 | Adjustment of Catch Basins / Manholes Frames | CW 3210-R7 | each | 2 |  | 0
F002 | A.41 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
F002B | ii) | Brick Risers |  | vert. m | 1 |  | 0
F002C | iii) | Cast-in-place Concrete |  | vert. m | 1 |  | 0
F003 | A.42 | Lifter Rings | CW 3210-R7
F004 | i) | 38 mm |  | each | 1 |  | 0
F005 | ii) | 51 mm |  | each | 4 |  | 0
F006 | iii) | 64 mm |  | each | 1 |  | 0
F007 | iv) | 76 mm |  | each | 1 |  | 0
F009 | A.43 | Adjustment of Valve Boxes | CW 3210-R7 | each | 9 |  | 0
F010 | A.44 | Valve Box Extensions | CW 3210-R7 | each | 7 |  | 0
F011 | A.45 | Adjustment of Curb Stop Boxes | CW 3210-R7 | each | 3 |  | 0
F028 | A.46 | Adjustment of Traffic Signal Service Box Frames | CW 3210-R7 | each | 2 |  | 0
ACTIVE TRANSPORTATION PATHWAY
A003 | A.47 | Excavation | CW 3110-R19 | m³ | 560 |  | 0
A007 | A.48 | Removal of Existing Asphalt | CW 3110-R19 | m² | 870 |  | 0
A004 | A.49 | Sub-Grade Compaction | CW 3110-R19 | m² | 3500 |  | 0
A007 | A.50 | Crushed Sub-base Material | CW 3110-R19
A008 | i) | 50 mm - Limestone |  | tonne | 1120 |  | 0
A010 | A.51 | Supplying and Placing Base Course Material | CW 3110-R19 | m³ | 350 |  | 0
A022 | A.52 | HaTelit C | E22 | m² | 320 |  | 0
A022 | A.53 | Separation Geotextile Fabric | CW 3130-R4 | m² | 3500 |  | 0
C051 | A.54 | 100 mm Concrete Sidewalk | CW 3325-R5 SD-228A E20 | m² | 1020 |  | 0
B190 | A.55 | Construction of Asphaltic Concrete Overlay | CW 3410-R11
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 530 |  | 0
B198 | A.56 | Construction of Asphaltic Concrete Base Course (Type III) | CW 3410-R11 | tonne | 40 |  | 0
D006 | A.57 | Asphalt Rumble Strip | E32 | m | 320 |  | 0
D006 | A.58 | Reflective Crack Maintenance | CW 3250-R7 | m | 100 |  | 0
LANDSCAPING
D006 | A.59 | Clearing and Grubbing | CW 3010-R4 E16
A001 | i) | Clearing and Grubbing | CW 3010-R4 E16 | ha | 0.05 |  | 0
D006 | ii) | Tree Removal | E16 | each | 10 |  | 0
D006 | A.60 | Chain Link Fence Removal | E42 | m | 160 |  | 0
D006 | A.61 | Fencing | CW 3550-R3 E40
D006 | i) | Chain Link Fencing 3.66 m HT w Barb Wire | E40 | m | 155 |  | 0
D006 | ii) | Man Gate 1.22 m Wide x 2.44 m High | E40 | each | 1 |  | 0
D006 | A.62 | Sodding | CW 3510-R9 E46
D006 | i) | Sodding width > 600mm (c/w 75mm imported topsoil) |  | m2 | 7250 |  | 0
D006 | ii) | Sodding width < or = 600mm (c/w 75 mm imported topsoil) |  | m2 | 858 |  | 0
D006 | A.63 | Seeding | CW 3520-R7 E47
D006 | i) | Seed Mix |  | m2 | 1550 |  | 0
D006 | ii) | Fescue Overs-seed Mix |  | m2 | 7250 |  | 0
D006 | A.64 | Soil Amendments for Seeding | E45 | m2 | 1550 |  | 0
D006 | A.65 | Plant Material | E48
G002 | i) | Ohio Buckeye (50 mm cal.) |  | each | 4 |  | 0
G003 | ii) | Delta Hackberry (50 mm cal.) |  | each | 4 |  | 0
G002 | iii) | Japanese Tree Lilac (50 mm cal.) |  | each | 3 |  | 0
D006 | A.66 | Site Furnishings | E39
D006 | i) | Bench |  | each | 1 |  | 0
D006 | ii) | Waste Receptacle |  | each | 1 |  | 0
D006 | A.67 | Interlocking Paving Stones | CW 3335-R1 | m2 | 9 |  | 0
D006 | A.68 | Lean Concrete Base | CW 3335-R1 | m2 | 9 |  | 0
MISCELLANEOUS
| A.69 | Supply and Installation of Crash Attenuation Barrier | E36 | each | 2 |  | 0
| A.70 | Supply and Place Crash Attenuation Barrels | E37 | each | 9 |  | 0
| A | WILKES INTERSECTION-SURFACE WORKS |  |  |  | Subtotal: | 0
| B | BGSA-SURFACE WORKS
EARTH AND BASE WORKS
A003 | B.1 | Common Excavation | CW 3110-R19 E19 | m³ | 91360 |  | 0
A003 | B.2 | Roadway Excavation | CW 3110-R19 E19 | m³ | 31210 |  | 0
A004 | B.3 | Sub-Grade Compaction | CW 3110-R19 | m² | 32200 |  | 0
A007 | B.4 | Crushed Sub-base Material | CW 3110-R19
A008 | i) | 50 mm - Limestone |  | tonne | 14250 |  | 0
A008C | ii) | 100 mm - Limestone |  | tonne | 3840 |  | 0
A009 | iii) | 150 mm - Limestone |  | tonne | 43860 |  | 0
A010 | B.5 | Supplying and Placing Base Course Material | CW 3110-R19 | m³ | 2830 |  | 0
A012 | B.6 | Grading of Boulevards | CW 3110-R19 E19 | m² | 22100 |  | 0
A016 | B.7 | Removal of Existing Concrete Bases | CW 3110-R19
A017 | i) | 600 mm Diameter or Less |  | each | 4 |  | 0
A022 | B.8 | Separation Geotextile Fabric | CW 3130-R4 | m² | 32200 |  | 0
A022A | B.9 | Supply and Install Geogrid | CW 3135-R1 | m² | 7450 |  | 0
A030 | B.10 | Fill Material | CW 3170-R3 E19
A031 | i) | Placing Suitable Site Material |  | m³ | 3400 |  | 0
ROADWORKS - RENEWALS
B001 | B.11 | Pavement Removal | CW 3110-R19
B002 | i) | Concrete Pavement |  | m² | 9900 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 9255 |  | 0
B100r | B.12 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B102r | i) | Monolithic Median Slab |  | m² | 400 |  | 0
B104r | ii) | 100 mm Sidewalk |  | m² | 1650 |  | 0
B105r | iii) | Bullnose |  | m² | 20 |  | 0
B126r | B.13 | Concrete Curb Removal | CW 3240-R10
B127r | i) | Barrier Curb Separate |  | m | 2130 |  | 0
B127r | ii) | Barrier Curb Integral |  | m | 300 |  | 0
B132r | iii) | Curb Ramp |  | m | 60 |  | 0
| B.14 | Line Painting | E33 | m | 200 |  | 0
B219 | B.15 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 35 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | B.16 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
C004 | i) | Construction of 250 mm Concrete Pavement (Plain-Dowelled) |  | m² | 165 |  | 0
C007 | ii) | Construction of 230 mm Concrete Pavement (Plain-Dowelled) Slip Form Paving |  | m² | 13000 |  | 0
C010 | iii) | Construction of 200 mm Concrete Pavement (Plain-Dowelled) |  | m² | 830 |  | 0
C015 | iv) | Construction of Monolithic Concrete Median Slabs | SD-226A | m² | 640 |  | 0
C016 | v) | Construction of Concrete Safety Medians | SD-226B | m² | 110 |  | 0
C018 | vi) | Construction of Monolithic Concrete Bull-noses | SD-227C | m² | 40 |  | 0
C007 | B.17 | Transit Shelter Foundations | E21 | m² | 10 |  | 0
C032 | B.18 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
C033 | i) | Construction of Barrier (180 mm ht, Dowelled) | SD-205 | m | 200 |  | 0
C034 | ii) | Construction of Barrier (180 mm ht, Separate, Slip Formed) | SD-203A | m | 155 |  | 0
C039 | iii) | Modified Barrier Curb and Gutter | SD-203B E30 | m | 1330 |  | 0
C039 | iv) | Barrier Curb and Gutter | SD-200 E30 | m | 850 |  | 0
C039 | v) | 75 mm Lip Curb and Gutter | SD-202A E30 | m | 500 |  | 0
C039 | vi) | Pinned Barrier Curb | SD-203B E30 | m | 110 |  | 0
| vii) | Construction of Curb Ramp and Gutter | E30 | m | 13 |  | 0
C046A | viii) | Construction of Curb Ramp (8-12 mm ht, Monolithic) | SD-229C | m | 140 |  | 0
C047A | ix) | Construction of Splash Strip (180 mm ht, Monolithic Barrier Curb, 750 mm width) | SD-223A | m | 1200 |  | 0
C047C | x) | Construction of Splash Strip, ( Separate, 600 mm width) | SD-223B | m | 1500 |  | 0
C050 | B.19 | Supply and Installation of Dowel Assemblies | CW 3310-R17 | m | 2375 |  | 0
C052 | B.20 | Interlocking Paving Stones Charcoal Holland Paver 60x210x210mm | CW 3330-R5 E27 | m² | 15 |  | 0
C052 | B.21 | Interlocking Paving Stones Blue Holland Paver 60x105x210mm | CW 3330-R5 E27 | m² | 5 |  | 0
C052 | B.22 | Directional Tactile Strip | E28 | m | 40 |  | 0
C055 | B.23 | Construction of Asphaltic Concrete Pavements | CW 3410-R11
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 3200 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 125 |  | 0
C063 | B.24 | Construction of Asphaltic Concrete Base Course (Type III) | CW 3410-R11 | tonne | 3400 |  | 0
JOINT AND CRACK SEALING
D006 | B.25 | Reflective Crack Maintenance | CW 3250-R7 | m | 350 |  | 0
ACTIVE TRANSPORTATION PATHWAY
A003 | B.26 | Excavation | CW 3110-R19 | m³ | 1850 |  | 0
A007 | B.27 | Removal of Existing Asphalt | CW 3110-R19 | m² | 2900 |  | 0
A004 | B.28 | Sub-Grade Compaction | CW 3110-R19 | m² | 7910 |  | 0
A007 | B.29 | Crushed Sub-base Material | CW 3110-R19
A008 | i) | 50 mm - Limestone |  | tonne | 3040 |  | 0
A010 | B.30 | Supplying and Placing Base Course Material | CW 3110-R19 | m³ | 610 |  | 0
A022 | B.31 | Separation Geotextile Fabric | CW 3130-R4 | m² | 7910 |  | 0
C017 | i) | Construction of Monolithic Curb and Sidewalk | SD-228B E20 | m² | 100 |  | 0
C051 | B.32 | 100 mm Concrete Sidewalk | CW 3325-R5 | m² | 2400 |  | 0
B190 | B.33 | Construction of Asphaltic Concrete Overlay | CW 3410-R11
B191 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 1155 |  | 0
D006 | B.34 | Asphalt Rumble Strip | E32 | m | 920 |  | 0
D006 | B.35 | Reflective Crack Maintenance | CW 3250-R7 | m | 230 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E051 | B.36 | Installation of Subdrains | CW 3120-R4 | m | 1200 |  | 0
LANDSCAPING
A001 | B.37 | Clearing and Grubbing | CW 3010-R4 E16
A001 | i) | Clearing and Grubbing |  | ha | 0.02 |  | 0
A001 | ii) | Tree Removal |  | each | 80 |  | 0
A001 | B.38 | Chain Link Fence Removal | E42 | m | 730 |  | 0
A001 | B.39 | Fencing | CW 3550-R3 E40
A001 | i) | Chain Link Fencing 1.83 m HT |  | m | 255 |  | 0
A001 | ii) | Chain Link Fencing 1.83 m HT w Barb Wire |  | m | 210 |  | 0
A001 | iii) | New Ornamental Fencing |  | m | 5 |  | 0
A001 | iv) | Man Gate 1.22 m Wide x 1.83 m High |  | each | 1 |  | 0
A001 | v) | Chain Link Baseball Backstop |  | each | 1 |  | 0
A001 | vi) | Remove, Salvage and Intall Ornamental Fence |  | m | 55 |  | 0
A001 | vii) | Remove, Salvage and Install Wood Fence |  | m | 13 |  | 0
A001 | B.40 | Sodding | CW 3510-R9 E46
A001 | i) | Sodding width > 600mm (c/w 75mm imported topsoil) |  | m2 | 20650 |  | 0
A001 | ii) | Sodding width < or = 600mm (c/w 75 mm imported topsoil) |  | m2 | 1100 |  | 0
A001 | B.41 | Seeding | CW 3520-R7 E47
A001 | i) | Seed Mix |  | m2 | 11750 |  | 0
A001 | ii) | Fescue Overs-seed Mix |  | m2 | 20650 |  | 0
A001 | B.42 | Soil Amendments for Seeding | E45 | m2 | 11750 |  | 0
A001 | B.43 | Planting Beds with Growing Medium (450mm Depth) | E45 | m2 | 125 |  | 0
A001 | B.44 | Wood Chip Mulch | E45 | m2 | 125 |  | 0
A001 | B.45 | Heavy Duty Plastic Landscape Edger | E45 | m | 60 |  | 0
A001 | B.46 | Plant Material | E48
| i) | Colorado Spruce (2.4 m HT) |  | each | 8 |  | 0
| ii) | Baron Manitoba Maple (65 mm cal.) |  | each | 11 |  | 0
| iii) | Silver Maple (65 mm cal.) |  | each | 3 |  | 0
| iv) | Ohio Buckeye (50 mm cal.) |  | each | 12 |  | 0
| v) | Prairie Horizon Alder (50 mm cal.) |  | each | 12 |  | 0
| vi) | Delta Hackberry (50 mm cal.) |  | each | 23 |  | 0
| vii) | Bur Oak (45 mm cal.) |  | each | 1 |  | 0
| viii) | Glenleven Linden (65 mm cal.) |  | each | 2 |  | 0
| ix) | American Elm (65 mm cal.) |  | each | 10 |  | 0
| x) | Brandon Elm (65 mm cal) |  | each | 14 |  | 0
| xi) | Amur Maple (50 mm cal.) |  | each | 9 |  | 0
| xii) | Japanese Tree Lilac (50 mm cal.) |  | each | 7 |  | 0
| xiii) | False Spirea (0.80 m HT) |  | each | 15 |  | 0
| xiv) | Charles Joly Lilac (1.2 m HT) |  | each | 12 |  | 0
| xv) | Meyer Lilac (0.60 m HT) |  | each | 45 |  | 0
| xvi) | Nannyberry (0.80 m HT) |  | each | 9 |  | 0
| xvii) | Abbotswood Potentilla (0.50 m ht) |  | each | 45 |  | 0
| xviii) | Gray Gleam Junipers (1.0 m ht) |  | each | 8 |  | 0
| xix) | Big Tuna Mugo Pine (0.80 m ht.) |  | each | 5 |  | 0
| xx) | Calgary Carpet Juniper (0.60 m width) |  | each | 13 |  | 0
| xxi) | Hughes Juniper (0.60 m width) |  | each | 5 |  | 0
| xxii) | Blue Chip Juniper (0.50 m width) |  | each | 11 |  | 0
| B.46 | Chemical Application of Herbicide | E51 | m2 | 1000 |  | 0
| B.47 | Site Furnishings | E39
| i) | Bench |  | each | 2 |  | 0
| ii) | Waste Receptacle |  | each | 2 |  | 0
| B.48 | Interlocking Paving Stones | CW 3335-R1 | m2 | 18 |  | 0
| B.49 | Lean Concrete Base | CW 3335-R1 | m2 | 18 |  | 0
| B.50 | Crushed Limestone Path | E43 | m2 | 600 |  | 0
| B.51 | Infield Granular | E44 | m2 | 725 |  | 0
| B.52 | Cash Allowance for Irrigation Systems | E53 | l.s | 1 |  | 0
| B.53 | Long Term Maintenance | E49
| i) | General Maintenance of Plant Material and Planting Beds |  | annual | 2 |  | 0
MISCELLANEOUS
| B.54 | Supply and Installation of Crash Attenuation Barrier | E36 | each | 2 |  | 0
| B.55 | Steel Beam Guardrail | E38 | m | 11.4 |  | 0
| B.56 | ET-31 End Treatment | E38 | each | 1 |  | 0
| B | BGSA-SURFACE WORKS |  |  |  | Subtotal: | 0
| C | DETOUR-SURFACE WORKS
EARTH AND BASE WORKS
A003 | C.1 | Common Excavation | CW 3110-R19 E19 | m³ | 11120 |  | 0
A003 | C.2 | Roadway Excavation | CW 3110-R19 E19 | m³ | 5200 |  | 0
A004 | C.3 | Sub-Grade Compaction | CW 3110-R19 | m² | 13450 |  | 0
A007 | C.4 | Crushed Sub-base Material | CW 3110-R19
A008 | i) | 50 mm - Limestone |  | tonne | 6030 |  | 0
A008C | ii) | 100 mm - Limestone |  | tonne | 10210 |  | 0
A010 | C.5 | Supplying and Placing Base Course Material | CW 3110-R19 | m³ | 1110 |  | 0
A022 | C.6 | Separation Geotextile Fabric | CW 3130-R4 | m² | 13560 |  | 0
B001 | C.7 | Pavement Removal | CW 3110-R19
B003 | i) | Asphalt Pavement |  | m² | 9900 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | C.8 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
C036 | i) | Temporary Asphalt Curb (150 mm ht) Slip Form | E31 | m | 1200 |  | 0
C036 | ii) | Temporary Asphalt Median (180 mm ht) | E31 | m² | 240 |  | 0
C036 | iii) | Temporary Safety Curb | E31 | m | 20 |  | 0
C055 | C.9 | Construction of Asphaltic Concrete Pavements | CW 3410-R11
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 1650 |  | 0
C063 | C.10 | Construction of Asphaltic Concrete Base Course (Type III) | CW 3410-R11 | tonne | 2300 |  | 0
ACTIVE TRANSPORTATION PATHWAY
A010 | C.11 | Supplying and Placing Base Course Material | CW 3110-R19 | m³ | 234 |  | 0
B190 | C.12 | Construction of Asphaltic Concrete Overlay | CW 3410-R11
B191 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 310 |  | 0
LANDSCAPING
A001 | C.13 | Clearing and Grubbing | CW 3010-R4 E16
A001 | i) | Clearing and Grubbing |  | ha | 0.01 |  | 0
A001 | ii) | Tree Removal |  | each | 40 |  | 0
A001 | C.14 | Fencing | CW 3550-R3 E40
A001 | i) | Chain Link Fencing 1.22 m HT |  | m | 70 |  | 0
A001 | ii) | Chain Link Fencing 1.83 m HT |  | m | 80 |  | 0
A001 | C.15 | Sodding | CW 3510-R9 E46
A001 | i) | Sodding width > 600mm (c/w 75mm imported topsoil) |  | m2 | 2000 |  | 0
A001 | ii) | Sodding width < or = 600mm (c/w 75 mm imported topsoil) |  | m2 | 500 |  | 0
MISCELLANEOUS
| C.16 | Supply and Place Crash Attenuation Barrels | E37 | each | 14 |  | 0
| C.17 | Detour Temporary Lighing | E35 | l.s | 1 |  | 0
| C | DETOUR-SURFACE WORKS |  |  |  | Subtotal: | 0
| D | 1360 TAYLOR AVENUE
EARTH AND BASE WORKS
A003 | D.1 | Roadway Excavation | CW 3110-R19 E19 | m³ | 470 |  | 0
A004 | D.2 | Sub-Grade Compaction | CW 3110-R19 | m² | 1100 |  | 0
A007 | D.3 | Crushed Sub-base Material | CW 3110-R19
A010 | D.4 | Supplying and Placing Base Course Material | CW 3110-R19 | m³ | 90 |  | 0
ROADWORKS - RENEWALS
B001 | D.5 | Pavement Removal | CW 3110-R19
B002 | i) | Concrete Pavement |  | m² | 30 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 600 |  | 0
B116rl | iii) | Monolithic Median Slab | SD-226A | m² | 70 |  | 0
B154rl | D.6 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Pinned Barrier Curb | SD-205 E30 |  | 170 |  | 0
| D.7 | Line Painting | E33 | m | 200 |  | 0
B190 | D.8 | Construction of Asphaltic Concrete Overlay | CW 3410-R11
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 210 |  | 0
LANDSCAPING
A001 | D.9 | Tree Removal | E16 | each | 5 |  | 0
A001 | D.10 | Sodding | CW 3510-R9 E46
A001 | i) | Sodding width > 600mm (c/w 75mm imported topsoil) |  | m2 | 100 |  | 0
A001 | ii) | Sodding width < or = 600mm (c/w 75 mm imported topsoil) |  | m2 | 10 |  | 0
A001 | D.11 | Planting Beds with Growing Medium (450mm Depth) | E45 | m2 | 110 |  | 0
A001 | D.12 | Wood Chip Mulch | E45 | m2 | 110 |  | 0
A001 | D.13 | Heavy Duty Plastic Landscape Edger | E45 | m2 | 40 |  | 0
A001 | D.14 | Plant Material | E48
| i) | Ohio Buckeye (50 mm cal.) |  | each | 4 |  | 0
| ii) | Delta Hackberry (50 mm cal.) |  | each | 1 |  | 0
| iii) | Green Ash (65 mm cal.) |  | each | 1 |  | 0
| iv) | Miss Kim Lilac (0.60 m ht.) |  | each | 45 |  | 0
| D | 1360 TAYLOR AVENUE |  |  |  | Subtotal: | 0
| E | GRANT INTERSECTION-SURFACE WORKS
EARTH AND BASE WORKS
A003 | E.1 | Roadway Excavation | CW 3110-R19 E19 | m³ | 720 |  | 0
A004 | E.2 | Sub-Grade Compaction | CW 3110-R19 | m² | 1500 |  | 0
A008 | i) | 50 mm - Limestone |  | tonne | 150 |  | 0
A010 | E.3 | Supplying and Placing Base Course Material | CW 3110-R19 | m³ | 250 |  | 0
A012 | E.4 | Grading of Boulevards | CW 3110-R19 E19 | m² | 2117 |  | 0
A016 | E.5 | Removal of Existing Concrete Bases | CW 3110-R19
A017 | i) | 600 mm Diameter or Less |  | each | 3 |  | 0
A022 | E.6 | Separation Geotextile Fabric | CW 3130-R4 | m² | 1500 |  | 0
A022 | E.7 | HaTelit BL | E23 | m² | 210 |  | 0
ROADWORKS - RENEWALS
B001 | E.8 | Pavement Removal | CW 3110-R19
B002 | i) | Concrete Pavement |  | m² | 200 |  | 0
B004 | E.9 | Slab Replacement | CW 3230-R8
B007 | i) | 250 mm Concrete Pavement (Plain-Dowelled) |  | m² | 220 |  | 0
B013 | ii) | 200 mm Concrete Pavement (Plain-Dowelled) |  | m² | 1300 |  | 0
B017 | E.10 | Partial Slab Patches | CW 3230-R8
B026 | i) | 200 mm Concrete Pavement (Type A) |  | m² | 15 |  | 0
B027 | ii) | 200 mm Concrete Pavement (Type B) |  | m² | 910 |  | 0
B028 | iii) | 200 mm Concrete Pavement (Type C) |  | m² | 35 |  | 0
B029 | iv) | 200 mm Concrete Pavement (Type D) |  | m² | 65 |  | 0
B034-24 | E.11 | Slab Replacement - Early Opening (24 hour) | CW 3230-R8
B044-24 | i) | 150 mm Concrete Pavement (Reinforced) |  | m² | 55 |  | 0
B047-24 | E.12 | Partial Slab Patches - Early Opening (24 hour) | CW 3230-R8
B056-24 | i) | 200 mm Concrete Pavement (Type A) |  | m² | 40 |  | 0
B057-24 | ii) | 200 mm Concrete Pavement (Type B) |  | m² | 110 |  | 0
B094 | E.13 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 1770 |  | 0
B097 | E.14 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 2560 |  | 0
B100r | E.15 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 2230 |  | 0
B114rl | E.16 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B116rl | i) | Monolithic Median Slab | SD-226A | m² | 360 |  | 0
B117rl | ii) | Safety Median | SD-226B | m² | 230 |  | 0
B118rl | iii) | 100 mm Sidewalk | SD-228A
B121rl | a) | Greater than 20 sq.m. |  | m² | 550 |  | 0
B122rl | iv) | Bullnose | SD-227C | m² | 60 |  | 0
B124 | E.17 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 35 |  | 0
B154rl | E.18 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Barrier (150 mm reveal ht, Dowelled) | SD-205, SD-206A
B158rl | a) | Greater than 30 m |  | m | 900 |  | 0
B159rl | ii) | Barrier (150 mm reveal ht, Separate) | SD-203A
B161rl | a) | 3 m to 30 m |  | m | 4 |  | 0
B184rlA | iii) | Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 115 |  | 0
B188 | E.19 | Supply and Installation of Dowel Assemblies | CW 3310-R17 | m | 190 |  | 0
B190 | E.20 | Construction of Asphaltic Concrete Overlay | CW 3410-R11
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 2500 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 140 |  | 0
B199 | E.21 | Asphalt Patching of Miscellaneous Concrete | E26 | m² | 600 |  | 0
B200 | E.22 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 6500 |  | 0
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 6500 |  | 0
B219 | E.23 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 40 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | E.24 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
C017 | i) | Construction of Monolithic Curb and Sidewalk | SD-228B | m² | 2400 |  | 0
A010 | E.25 | Supplying and Placing Base Course Material | CW 3110-R19 | m³ | 125 |  | 0
C047A | i) | Construction of Splash Strip (180 mm ht, Monolithic Barrier Curb, 750 mm width) | SD-223A | m | 10 |  | 0
C052 | E.26 | Interlocking Paving Stones Charcoal Holland Paver 60x210x210mm | CW 3330-R5 E27 | m² | 180 |  | 0
C052 | E.27 | Interlocking Paving Stones Blue Holland Paver 60x105x210mm | CW 3330-R5 E27 | m² | 4 |  | 0
JOINT AND CRACK SEALING
D006 | E.28 | Reflective Crack Maintenance | CW 3250-R7 | m | 1860 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E023 | E.29 | Replacing Existing Manhole and Catch Basin Frames & Covers | CW 2130-R12
E024 | i) | AP-004 - Standard Frame for Manhole and Catch Basin |  | each | 1 |  | 0
E025 | ii) | AP-005 - Standard Solid Cover for Standard Frame |  | each | 4 |  | 0
E026 | iii) | AP-006 - Standard Grated Cover for Standard Frame |  | each | 12 |  | 0
E051 | E.30 | Installation of Subdrains | CW 3120-R4 | m | 10 |  | 0
ADJUSTMENTS
F001 | E.31 | Adjustment of Catch Basins / Manholes Frames | CW 3210-R7 | each | 20 |  | 0
F002 | E.32 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
F002B | ii) | Brick Risers |  | vert. m | 1 |  | 0
F003 | E.33 | Lifter Rings | CW 3210-R7
F004 | i) | 38 mm |  | each | 7 |  | 0
F005 | ii) | 51 mm |  | each | 10 |  | 0
F006 | iii) | 64 mm |  | each | 2 |  | 0
F007 | iv) | 76 mm |  | each | 1 |  | 0
F009 | E.34 | Adjustment of Valve Boxes | CW 3210-R7 | each | 7 |  | 0
F010 | E.35 | Valve Box Extensions | CW 3210-R7 | each | 3 |  | 0
F011 | E.36 | Adjustment of Curb Stop Boxes | CW 3210-R7 | each | 5 |  | 0
F012 | E.37 | Supply of Curb Inlet Box Covers | CW 3210-R7 | each | 2 |  | 0
F018 | E.38 | Curb Stop Extensions | CW 3210-R7 | each | 4 |  | 0
F028 | E.39 | Adjustment of Traffic Signal Service Box Frames | CW 3210-R7 | each | 3 |  | 0
LANDSCAPING
A001 | E.40 | Tree Removal | E16 | each | 3 |  | 0
A001 | E.41 | Chain Link Fence Removal | E42 | m | 95 |  | 0
A001 | E.42 | Fencing | CW 3550-R3 E40
A001 | i) | Chain Link Fencing 1.83 m HT |  | m | 70 |  | 0
A001 | ii) | Double Vehicular Gate 6.1 m Wide x 1.93 m HT |  | each | 1 |  | 0
A001 | E.43 | Sodding | CW 3510-R9 E46
A001 | i) | Sodding width > 600mm (c/w 75mm imported topsoil) |  | m2 | 1650 |  | 0
A001 | ii) | Sodding width < or = 600mm (c/w 75 mm imported topsoil) |  | m2 | 700 |  | 0
A001 | E.44 | Seeding | CW 3520-R7 E47
A001 | i) | Fescue Overs-seed Mix |  | m2 | 1650 |  | 0
| E | GRANT INTERSECTION-SURFACE WORKS |  |  |  | Subtotal: | 0
| F | TAYLOR AVENUE WEST-SURFACE WORKS
EARTH AND BASE WORKS
A003 | F.1 | Common Excavation | CW 3110-R19 E19 | m³ | 1760 |  | 0
A003 | F.2 | Roadway Excavation | CW 3110-R19 E19 | m³ | 14340 |  | 0
A004 | F.3 | Sub-Grade Compaction | CW 3110-R19 | m² | 15310 |  | 0
A007 | F.4 | Crushed Sub-base Material | CW 3110-R19
A008 | i) | 50 mm - Limestone |  | tonne | 6020 |  | 0
A008C | ii) | 100 mm - Limestone |  | tonne | 510 |  | 0
A009 | iii) | 150 mm - Limestone |  | tonne | 23055 |  | 0
A010 | F.5 | Supplying and Placing Base Course Material | CW 3110-R19 | m³ | 250 |  | 0
A012 | F.6 | Grading of Boulevards | CW 3110-R19 E19 | m² | 9700 |  | 0
A016 | F.7 | Removal of Existing Concrete Bases | CW 3110-R19
A017 | i) | 600 mm Diameter or Less |  | each | 2 |  | 0
A022 | F.8 | Separation Geotextile Fabric | CW 3130-R4 | m² | 15310 |  | 0
A022A | F.9 | Supply and Install Geogrid | CW 3135-R1 | m² | 6021 |  | 0
A030 | F.10 | Fill Material | CW 3170-R3
A031 | i) | Placing Suitable Site Material |  | m³ | 350 |  | 0
ROADWORKS - RENEWALS
B001 | F.11 | Pavement Removal | CW 3110-R19
B002 | i) | Concrete Pavement |  | m² | 2240 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 2236 |  | 0
B004 | F.12 | Slab Replacement | CW 3230-R8
B007 | i) | 250 mm Concrete Pavement (Plain-Dowelled) |  | m² | 220 |  | 0
B017 | F.13 | Partial Slab Patches | CW 3230-R8
B026 | i) | 200 mm Concrete Pavement (Type A) |  | m² | 5 |  | 0
B027 | ii) | 200 mm Concrete Pavement (Type B) |  | m² | 1040 |  | 0
B028 | iii) | 200 mm Concrete Pavement (Type C) |  | m² | 40 |  | 0
B029 | iv) | 200 mm Concrete Pavement (Type D) |  | m² | 80 |  | 0
B034-24 | F.14 | Slab Replacement - Early Opening (24 hour) | CW 3230-R8
B043-24 | i) | 200 mm Concrete Pavement (Plain-Dowelled) |  | m² | 70 |  | 0
B044-24 | ii) | 150 mm Concrete Pavement (Reinforced) |  | m² | 100 |  | 0
B047-24 | F.15 | Partial Slab Patches - Early Opening (24 hour) | CW 3230-R8
B056-24 | i) | 200 mm Concrete Pavement (Type A) |  | m² | 10 |  | 0
B057-24 | ii) | 200 mm Concrete Pavement (Type B) |  | m² | 60 |  | 0
B094 | F.16 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 2425 |  | 0
B097 | F.17 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 3530 |  | 0
B100r | F.18 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 1800 |  | 0
B188 | F.19 | Supply and Installation of Dowel Assemblies | CW 3310-R17 | m | 65 |  | 0
B190 | F.20 | Construction of Asphaltic Concrete Overlay | CW 3410-R11
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 990 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 255 |  | 0
B199 | F.21 | Asphalt Patching of Miscellaneous Concrete | E26 | m² | 650 |  | 0
B200 | F.22 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 2800 |  | 0
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 2800 |  | 0
B219 | F.23 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 40 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | F.24 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
C004 | i) | Construction of 250 mm Concrete Pavement (Plain-Dowelled) |  | m² | 240 |  | 0
C007 | ii) | Construction of 230 mm Concrete Pavement (Plain-Dowelled) Slip Form Paving |  | m² | 3165 |  | 0
C010 | iii) | Construction of 200 mm Concrete Pavement (Plain-Dowelled) |  | m² | 1720 |  | 0
C015 | iv) | Construction of Monolithic Concrete Median Slabs | SD-226A | m² | 525 |  | 0
C018 | v) | Construction of Monolithic Concrete Bull-noses | SD-227C | m² | 40 |  | 0
C032 | F.25 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
C033 | i) | Construction of Barrier (180 mm ht, Dowelled) | SD-205 | m | 80 |  | 0
C039 | ii) | Barrier Curb and Gutter | E30 | m | 1840 |  | 0
C039 | iii) | Pinned Barrier Curb | E30 | m | 100 |  | 0
C041 | iv) | Construction of Curb Ramp and Gutter | E30 | m | 75 |  | 0
C046A | iv) | Construction of Curb Ramp (8-12 mm ht, Monolithic) | SD-229C | m | 125 |  | 0
C047A | v) | Construction of Splash Strip (180 mm ht, Monolithic Barrier Curb, 750 mm width,Slip Form Paving) | SD-223A | m | 1300 |  | 0
C047C | vi) | Construction of Splash Strip, ( Separate, 600 mm width) | SD-223B | m | 1545 |  | 0
C050 | F.26 | Supply and Installation of Dowel Assemblies | CW 3310-R17 | m | 670 |  | 0
C052 | F.27 | Interlocking Paving Stones Charcoal Holland Paver 60x210x210mm | CW 3330-R5 E27 | m² | 40 |  | 0
C052 | F.28 | Interlocking Paving Stones Blue Holland Paver 60x105x210mm | CW 3330-R5 E27 | m² | 5 |  | 0
C055 | F.29 | Construction of Asphaltic Concrete Pavements | CW 3410-R11
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 900 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 130 |  | 0
C063 | F.30 | Construction of Asphaltic Concrete Base Course (Type III) | CW 3410-R11 | tonne | 1300 |  | 0
JOINT AND CRACK SEALING
D006 | F.31 | Reflective Crack Maintenance | CW 3250-R7 | m | 1400 |  | 0
ACTIVE TRANSPORTATION PATHWAY
A003 | F.32 | Excavation | CW 3110-R19 | m³ | 1120 |  | 0
A007 | F.33 | Removal of Existing Asphalt |  | m² | 2130 |  | 0
A004 | F.34 | Sub-Grade Compaction | CW 3110-R19 | m² | 6000 |  | 0
A007 | F.35 | Crushed Sub-base Material | CW 3110-R19
A008 | i) | 50 mm - Limestone |  | tonne | 1350 |  | 0
A010 | F.36 | Supplying and Placing Base Course Material | CW 3110-R19 | m³ | 415 |  | 0
C017 | F.37 | Construction of Monolithic Curb and Sidewalk | SD-228B | m² | 1025 |  | 0
C051 | F.38 | 100 mm Concrete Sidewalk | CW 3325-R5 | m² | 2000 |  | 0
A022 | F.39 | Separation Geotextile Fabric | CW 3130-R4 | m² | 3000 |  | 0
B190 | F.40 | Construction of Asphaltic Concrete Overlay | CW 3410-R11
B191 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 570 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E023 | F.41 | Replacing Existing Manhole and Catch Basin Frames & Covers | CW 2130-R12
E024 | i) | AP-004 - Standard Frame for Manhole and Catch Basin |  | each | 1 |  | 0
E025 | ii) | AP-005 - Standard Solid Cover for Standard Frame |  | each | 1 |  | 0
E026 | iii) | AP-006 - Standard Grated Cover for Standard Frame |  | each | 2 |  | 0
E051 | F.42 | Installation of Subdrains | CW 3120-R4 | m | 58 |  | 0
ADJUSTMENTS
F001 | F.43 | Adjustment of Catch Basins / Manholes Frames | CW 3210-R7 | each | 3 |  | 0
F002 | F.44 | Replacing Existing Risers | CW 2130-R12
F002B | i) | Brick Risers |  | vert. m | 1 |  | 0
F003 | F.45 | Lifter Rings | CW 3210-R7
F004 | i) | 38 mm |  | each | 2 |  | 0
F005 | ii) | 51 mm |  | each | 2 |  | 0
F006 | iii) | 64 mm |  | each | 1 |  | 0
F007 | iv) | 76 mm |  | each | 1 |  | 0
F009 | F.46 | Adjustment of Valve Boxes | CW 3210-R7 | each | 2 |  | 0
F010 | F.47 | Valve Box Extensions | CW 3210-R7 | each | 2 |  | 0
F011 | F.48 | Adjustment of Curb Stop Boxes | CW 3210-R7 | each | 1 |  | 0
LANDSCAPING
| F.49 | Clearing and Grubbing | CW 3010-R4 E16
A001 | i) | Clearing and Grubbing |  | ha | 0.01 |  | 0
A001 | ii) | Tree Removal |  | each | 10 |  | 0
A001 | F.50 | Sodding | CW 3510-R9 E46
A001 | i) | Sodding width > 600mm (c/w 75mm imported topsoil) |  | m2 | 11850 |  | 0
A001 | ii) | Sodding width < or = 600mm (c/w 75 mm imported topsoil) |  | m2 | 800 |  | 0
A001 | F.51 | Seeding | CW 3520-R7 E47
A001 | i) | Fescue Overs-seed Mix |  | m2 | 11850 |  | 0
A001 | F.52 | Plant Material | E48
| i) | Ohio Buckeye (50 mm cal.) |  | each | 9 |  | 0
| ii) | Prairie Horizon Alder (50 mm cal.) |  | each | 6 |  | 0
| iii) | Delta Hackberry (50 mm cal.) |  | each | 2 |  | 0
| iv) | Bur Oak (45 mm cal.) |  | each | 5 |  | 0
| v) | Glenleven Linden (65 mm cal.) |  | each | 4 |  | 0
| vi) | Harvest Gold Linden (65 mm cal.) |  | each | 2 |  | 0
| vii) | Brandon Elm (65 mm cal) |  | each | 2 |  | 0
| viii) | Gladiator Crabapple (50 mm cal.) |  | each | 7 |  | 0
| ix) | Pink Spires Crabapple (50 mm cal.) |  | each | 5 |  | 0
| x) | Japanese Tree Lilac (50 mm cal.) |  | each | 3 |  | 0
| F.53 | Site Furnishings | E39
| i) | Bench |  | each | 1 |  | 0
| ii) | Waste Receptacle |  | each | 1 |  | 0
| F.54 | Interlocking Paving Stones | CW 3335-R1 | m2 | 9 |  | 0
| F.55 | Lean Concrete Base | CW 3335-R1 | m2 | 9 |  | 0
| F | TAYLOR AVENUE WEST-SURFACE WORKS |  |  |  | Subtotal: | 0
| G | WILKES INTERSECTION-UNDERGROUND WORKS
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
WATERMAINS
| G.1 | Watermain | CW 2110-R11
| i) | 150mm
| a) | trenchless installation |  | m | 20 |  | 0
| G.2 | Watermain and Water Service Insulation | CW 2110-R11
| i) | Under Roadway Excavation (SD-018)
| a) | 100mm thick x 3000mm wide |  | m | 30 |  | 0
| ii) | Insulation Under Rail Ditch (CN R.O.W. STA 5+930)
| a) | 100mm thick x 3600mm wide |  | m | 15 |  | 0
| G.3 | U-Box around LDS | E95 | each | 2 |  | 0
| G.4 | Insulate Catch Basin | E95 | each | 5 |  | 0
| G.5 | Adjust, Relocate Existing Hydrant and Plug Drain | CW 2110-R11, E88 | each | 6 |  | 0
| G.6 | Watermain Vertical Re-alignment | CW 2110-R11, E90
| i) | 250mm |  | each | 1 |  | 0
GRAVITY SEWERS
| G.7 | Land Drainage Sewers | CW 2130-R12, E82, E83, E84, E85
| i) | 250mm
| a) | trench or trenchless installation SDR35 | E83.13 | m | 250 |  | 0
| ii) | 300mm
| a) | trench or trenchless installation C76-III or SDR35 | E83.13 | m | 175 |  | 0
| iii) | 450mm
| a) | trench or trenchless installation C76-III or SDR35 | E83.13 | m | 60 |  | 0
| G.8 | Manhole | CW 2130-R12, E96
| i) | SD-010
| a) | 1200mm diameter base |  | vert. m | 3 |  | 0
| G.9 | New Manhole on Existing Sewer | CW 2130-R12
| i) | SD-010
| a) | 1200mm diameter base |  | vert. m | 15 |  | 0
| G.10 | Catch Basin | CW 2130-R12, E95
| i) | SD-024 |  | each | 15 |  | 0
| ii) | SD-025 |  | each | 1 |  | 0
| G.11 | Beehive Ditch Inlet | CW 2130-R12, E95 | each | 2 |  | 0
| G.12 | Catch Pit | CW 2130-R12
| i) | SD-023 |  | each | 14 |  | 0
| G.13 | Connecting to Existing Manhole | CW 2130-R12
| i) | 250mm |  | each | 3 |  | 0
| ii) | 300mm |  | each | 4 |  | 0
| iii) | 450mm |  | each | 1 |  | 0
| G.14 | Connecting to Existing Sewer | CW 2130-R12, E86
| i) | 250mm LDS to 525 LDS | 0 | each | 1 |  | 0
| ii) | 250mm LDS to 600 LDS | 0 | each | 1 |  | 0
| iii) | 300mm LDS to 300 LDS |  | each | 2 |  | 0
| G.15 | Connecting to Existing Catch Basin
| i) | 250mm |  | each | 1 |  | 0
| ii) | 300mm |  | each | 2 |  | 0
| G.16 | Adjustment of Catch Basin Frames | CW 3210-R7 | each | 3 |  | 0
| G.17 | Abandoning Existing Sewers with Cement-Stabilized Flowable Fill | CW 2130-R12, E93 | m3 | 9 |  | 0
| G.18 | Removal of Existing Catch Basins | CW 2130-R12, E94 | each | 10 |  | 0
| G.19 | Removal of Existing Catch Pits | CW 2130-R12, E94 | each | 7 |  | 0
| G.20 | Sewer Inspection | CW 2145-R3
| i) | 250mm to 900mm |  | m | 485 |  | 0
| G.21 | Manhole Inspection | CW 2145-R3 | each | 4 |  | 0
| G.22 | Beehive Inlet Cover for Manhole | E96 | each | 2 |  | 0
| G | WILKES INTERSECTION-UNDERGROUND WORKS |  |  |  | Subtotal: | 0
| H | BGSA-UNDERGROUND WORKS/TAYLOR AVENUE EAST-UNDERGROUND WORKS
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
WATERMAINS
| H.1 | Watermain | CW 2110-R11
| i) | 150mm
| a) | trenchless installation | 0 | m | 145 |  | 0
| ii) | 200mm
| a) | trenchless installation | 0 | m | 535 |  | 0
| b) | in a casing pipe | CW 2110-R11, E91 | m | 56 |  | 0
| H.2 | Hydrant Assembly | CW 2110-R11
| i) | SD-006 | 0 | each | 6 |  | 0
| H.3 | New Hydrant Assembly on Existing Watermain | CW-2110-R11, E89
| i) | SD-006 | 0 | each | 1 |  | 0
| ii) | SD-007 |  | each | 2 |  | 0
| H.4 | Watermain Valve | CW 2110-R11
| i) | 150mm |  | each | 3 |  | 0
| ii) | 200mm |  | each | 5 |  | 0
| H.5 | Fittings | CW 2110-R11
| i) | Tees
| a) | 200mm X 200mm X 150mm |  | each | 3 |  | 0
| b) | 200mm X 200mm X 200mm |  | each | 1 |  | 0
| ii) | Bends (SD-004)
| a) | 150mm - 45o |  | each | 2 |  | 0
| b) | 200mm - 11 1/4o |  | each | 7 |  | 0
| c) | 200mm - 22 1/2o |  | each | 4 |  | 0
| d) | 200mm - 45o |  | each | 3 |  | 0
| iii) | Bends (SD-005)
| a) | 50mm - 45o |  | each | 4 |  | 0
| b) | 150mm - 45o |  | each | 6 |  | 0
| c) | 200mm - 45o |  | each | 4 |  | 0
| iv) | Couplings
| a) | 150mm |  | each | 3 |  | 0
| b) | 200mm |  | each | 3 |  | 0
| H.6 | Water Services | CW 2110-R11
| i) | 19mm
| a) | trenchless installation, Class B sand bedding, Class 1 backfill |  | m | 10 |  | 0
| ii) | 50mm
| a) | trenchless installation |  | m | 35 |  | 0
| H.7 | Corporation Stops | CW 2110-R11
| i) | 19mm |  | each | 1 |  | 0
| ii) | 50mm |  | each | 1 |  | 0
| H.8 | Curb Stops - Replace Existing | CW 2110-R11
| i) | 19mm |  | each | 1 |  | 0
| ii) | 50mm |  | each | 1 |  | 0
| H.9 | Curb Stop Boxes - Replace Existing | CW 2110-R11
| i) | 19mm |  | each | 1 |  | 0
| ii) | 50mm |  | each | 1 |  | 0
| H.10 | Watermain and Water Service Insulation | CW 2110-R11
| i) | Under Roadway Excavation (SD-018)
| a) | 100mm thick x 3000mm wide |  | m | 35 |  | 0
| H.11 | Connecting to Existing Watermains and Large Diameter Water Services | CW 2110-R11
| i) | Inline connection - plug existing
| a) | 200mm |  | each | 1 |  | 0
| ii) | In-line connection - no plug existing
| a) | 150mm |  | each | 3 |  | 0
| b) | 200mm |  | each | 2 |  | 0
| H.12 | Connecting Existing Copper Water Services to New Watermains | CW 2110-R11
| i) | 12mm |  | each | 1 |  | 0
| ii) | 50mm |  | each | 1 |  | 0
| H.13 | Abandoning Large Diameter Water Services | CW 2110-R11
| i) | 150mm |  | each | 3 |  | 0
| H.14 | Abandoning Small Diameter Water Services | CW 2110-R11
| i) | 50mm |  | each | 1 |  | 0
| H.15 | Adjust, Relocate Existing Hydrant and Plug Drain | CW 2110-R11, E88 | each | 1 |  | 0
| H.16 | 10.9 Kilogram Sacrificial Zinc Anode
| i) | on metallic watermains |  | each | 8 |  | 0
GRAVITY SEWERS
| H.17 | Combined Sewers | CW 2130-R12, E82, E83, E84, E85
| i) | 300mm
| a) | trenchless installation SDR35 |  | m | 125 |  | 0
| H.18 | Land Drainage Sewers | CW 2130-R12
| i) | 250mm
| a) | trench or trenchless installation SDR35 | E83.13 | m | 350 |  | 0
| ii) | 300mm
| a) | trench or trenchless installation C76-III or SDR35 | E83.13 | m | 600 |  | 0
| b) | trenchless installation C76-V (CN ROW) |  | m | 100 |  | 0
| iii) | 375mm
| a) | trench or trenchless installation C76-IV or SDR35 | E83.13 | m | 160 |  | 0
| iv) | 450mm
| a) | trench or trenchless installation C76-IV or SDR35 | E83.13 | m | 190 |  | 0
| v) | 525mm
| a) | trench or trenchless installation C76-IV or SDR35 | E83.13 | m | 75 |  | 0
| vi) | 1050mm
| a) | trench or trenchless installation C76-IV or SDR35 | E83.13 | m | 80 |  | 0
| b) | trenchless installation C76-V (CN ROW) |  | m | 55 |  | 0
| H.19 | Pre-Insulated Heat Traced Leads Land Drainage Sewers | CW 2130-R12, E97
| i) | 250mm
| a) | trench installation, SDR35, Class B sand bedding, Class 2 backfill |  | m | 50 |  | 0
| ii) | 300mm
| a) | trench installation, SDR35, Class B sand bedding, Class 2 backfill |  | m | 50 |  | 0
| H.20 | Manhole | CW 2130-R12, E96
| i) | SD-010
| a) | 1200mm diameter base |  | vert. m | 47 |  | 0
| b) | 1500mm diameter base |  | vert. m | 9 |  | 0
| c) | 2400mm diameter base |  | each | 6 |  | 0
| d) | 3050mm diameter base |  | each | 1 |  | 0
| H.21 | Catch Basin | CW 2130-R12, E95
| i) | SD-024 |  | each | 41 |  | 0
| ii) | SD-025 |  | each | 3 |  | 0
| H.22 | Beehive Ditch Inlet | CW 2130-R12, E95 | each | 16 |  | 0
| H.23 | Catch Pit | CW 2130-R12
| i) | SD-023 |  | each | 34 |  | 0
| H.24 | Connecting to Existing Manhole | CW 2130-R12
| i) | 250mm |  | each | 1 |  | 0
| ii) | 300mm |  | each | 2 |  | 0
| H.25 | Connecting to Existing Catch Basin | CW 2130-R12
| i) | 250mm |  | each | 2 |  | 0
| H.26 | Connecting to Existing Sewer | CW 2130-R12, E86
| i) | 250mm LDS to 525 CS |  | each | 2 |  | 0
| ii) | 300mm LDS to 300 LDS |  | each | 3 |  | 0
| H.27 | Abandoning Existing Sewers with Cement-Stabilized Flowable Fill | CW 2130-R12, E93 | m3 | 45 |  | 0
| H.28 | Removal of Existing Manholes | CW 2130-R12, E94 | each | 4 |  | 0
| H.29 | Removal of Existing Catch Basins | CW 2130-R12, E94 | each | 7 |  | 0
| H.30 | Removal of Existing Catch Pits | CW 2130-R12, E94 | each | 6 |  | 0
| H.31 | Sewer Inspection | CW 2145-R3
| i) | 250mm to 900mm |  | m | 1600 |  | 0
| ii) | larger than 900mm and egg shaped |  | m | 135 |  | 0
| H.32 | Manhole Inspection | CW 2145-R3 | each | 25 |  | 0
| H.33 | Remove Existing Culvert | CW 3610-R5 | m | 110 |  | 0
| H.34 | Dispose of Existing Culvert | CW 3610-R5 | m | 110 |  | 0
| H.35 | Grouted Rip-Rap Channel | CW 3615 | m3 | 18 |  | 0
| H.36 | Beehive Inlet Cover for Manhole | E96 | each | 3 |  | 0
MISCELLANEOUS
| H.37 | Concrete Pipe Three-Edge Bearing Test |  | each | 27 |  | 0
| H | BGSA-UNDERGROUND WORKS/TAYLOR AVENUE EAST-UNDERGROUND WORKS |  |  |  | Subtotal: | 0
| I | DETOUR-UNDERGROUND WORKS
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
GRAVITY SEWERS
| I.1 | Land Drainage Sewers | CW 2130-R12, E82, E83, E84, E85
| i) | 250mm
| a) | trench or trenchless installation SDR35 | E83.13 | m | 110 |  | 0
| ii) | 300mm
| a) | trench or trenchless installation C76-III or SDR35 | E83.13 | m | 150 |  | 0
| I.2 | Catch Basin | CW 2130-R12, E95
| i) | SD-024 |  | each | 4 |  | 0
| I.3 | Beehive Ditch Inlet | CW 2130-R12 E95 | each | 2 |  | 0
| I.4 | Catch Pit | CW 2130-R12
| i) | SD-023 |  | each | 2 |  | 0
| I.5 | Connecting to Existing Manhole | CW 2130-R12
| i) | 250mm |  | each | 1 |  | 0
| ii) | 300mm |  | each | 2 |  | 0
| I.6 | Connecting to Existing Sewer | CW 2130-R12, E86
| i) | 300mm LDS to 300 LDS |  | each | 1 |  | 0
| I.7 | Abandoning Existing Sewers with Cement-Stabilized Flowable Fill | CW 2130-R12, E93 | m3 | 20 |  | 0
| I.8 | Removal of Existing Catch Basins | CW 2130-R12, E94 | each | 6 |  | 0
| I.9 | Removal of Existing Catch Pits | CW 2130-R12, E94 | each | 2 |  | 0
| I.10 | Sewer Inspection | CW 2145-R3
| i) | 250mm to 900mm |  | m | 260 |  | 0
| I | DETOUR-UNDERGROUND WORKS |  |  |  | Subtotal: | 0
| J | MIDTOWN FEEDER MAIN PROTECTION
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
| J.1 | FeederMain Protection | CW 2110-R11 E80 | l.s. | 1 |  | 0
| J | MIDTOWN FEEDER MAIN PROTECTION |  |  |  | Subtotal: | 0
| K | GRANT INTERSECTION-UNDERGROUND WORKS
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
WATERMAINS
| K.1 | Insulate Catch Basin | E95 | each | 2 |  | 0
| K.2 | Adjust, Relocate Existing Hydrant and Plug Drain | CW 2110-R11, E88 | each | 4 |  | 0
GRAVITY SEWERS
| K.3 | Land Drainage Sewers | CW 2130-R12 E82, E83, E84, E85
| i) | 250mm
| a) | trench or trenchless installation SDR35 | E83.13 | m | 40 |  | 0
| K.4 | Catch Basin | CW 2130-R12, E95
| i) | SD-024 |  | each | 1 |  | 0
| ii) | SD-025 |  | each | 2 |  | 0
| K.5 | Catch Pit | CW 2130-R12
| i) | SD-023 |  | each | 2 |  | 0
| K.6 | Remove and Replace Existing Catch Basin | CW 2130-R12
| i) | SD-024 |  | each | 5 |  | 0
| ii) | SD-025 |  | each | 1 |  | 0
| K.7 | Remove and Replace Existing Catch Pit | CW 2130-R12
| i) | SD-023 |  | each | 2 |  | 0
| K.8 | Connecting to Existing Manhole | CW 2130-R12
| i) | 250mm |  | each | 1 |  | 0
| K.9 | Abandoning Existing Sewers with Cement-Stabilized Flowable Fill | CW 2130-R12, E93 | m3 | 2 |  | 0
| K.10 | Removal of Existing Catch Basins | CW 2130-R12, E94 | each | 4 |  | 0
| K.11 | Removal of Existing Catch Pits | CW 2130-R12, E94 | each | 2 |  | 0
| K.12 | Sewer Inspection | CW 2145-R3
| i) | 250mm to 900mm |  | m | 40 |  | 0
| K.13 | Adjustment of Catch Basin Frames | CW 3210-R7 | each | 2 |  | 0
| K | GRANT INTERSECTION-UNDERGROUND WORKS |  |  |  | Subtotal: | 0
| L | TAYLOR AVENUE WEST-UNDERGROUND WORKS
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
WATERMAINS
| L.1 | Watermain and Water Service Insulation | CW 2110-R11
| i) | In a trench (SD - 018)
| a) | 75mm thick |  | m | 165 |  | 0
| L.2 | Insulate Catch Basin | E95 | each | 7 |  | 0
| L.3 | Regrading of Existing Sewer Service - Up to 1.5 metres Long | CW 2110-R11, E92
| i) | 150mm |  | each | 3 |  | 0
| L.4 | Regrading of Existing Sewer Service - Longer Than 1.5 metres | CW 2110-R11, E92
| i) | 150mm |  | m | 55 |  | 0
| L.5 | Adjust, Relocate Existing Hydrant and Plug Drain | CW 2110-R11 E88 | each | 13 |  | 0
| L.6 | Watermain Vertical Re-alignment | CW 2110-R11 E90
| i) | 150mm |  | each | 2 |  | 0
| ii) | 250mm |  | each | 1 |  | 0
| iii) | 400mm |  | each | 1 |  | 0
GRAVITY SEWERS
| L.7 | Land Drainage Sewers | CW 2130-R12, E82, E83, E84, E85
| i) | 250mm
| a) | trench or trenchless installation SDR35 | E83.13 | m | 530 |  | 0
| ii) | 300mm
| a) | trench or trenchless installation C76-III or SDR35 | E83.13 | m | 110 |  | 0
| iii) | 450mm
| a) | trench or trenchless installation C76-III or SDR35 | E83.13 | m | 95 |  | 0
| iv) | 525mm
| a) | trench or trenchless installation C76-III or SDR35 | E83.13 | m | 110 |  | 0
| v) | 750mm
| a) | trench or trenchless installation C76-III or SDR35 | E83.13 | m | 135 |  | 0
| vi) | 900mm
| a) | trench or trenchless installation C76-III or SDR35 | E83.13 | m | 525 |  | 0
| vii) | 1050mm
| a) | trench or trenchless installation C76-III or SDR35 | E83.13 | m | 200 |  | 0
| L.8 | Manhole | CW 2130-R12, E96
| i) | SD-010
| a) | 1200mm diameter base |  | vert. m | 9 |  | 0
| b) | 1500mm diameter base |  | vert. m | 6 |  | 0
| c) | 1800mm diameter base |  | vert. m | 27 |  | 0
| d) | 2100mm diameter base |  | vert. m | 11 |  | 0
| L.9 | Catch Basin | CW 2130-R12, E95
| i) | SD-024 |  | each | 23 |  | 0
| ii) | SD-025 |  | each | 2 |  | 0
| L.10 | Catch Pit | CW 2130-R12
| i) | SD-023 |  | each | 7 |  | 0
| L.11 | Connecting to Existing Catch Basin | CW 2130-R12
| i) | 250mm |  | each | 5 |  | 0
| L.12 | Connecting to Existing Sewer | CW 2130-R12, E86
| i) | 900mm LDS to 900 LDS |  | each | 1 |  | 0
| ii) | 1050mm LDS to 1050 LDS | 0 | each | 1 |  | 0
| L.13 | Abandoning Existing Sewers with Cement-Stabilized Flowable Fill | CW 2130-R12, E93 | m3 | 30 |  | 0
| L.14 | Removal of Existing Catch Basins | CW 2130-R12, E94 | each | 24 |  | 0
| L.15 | Sewer Inspection | CW 2145-R3
| i) | 250mm to 900mm |  | m | 1505 |  | 0
| ii) | larger than 900mm and egg shaped |  | m | 200 |  | 0
| L.16 | Manhole Inspection | CW 2145-R3 | each | 16 |  | 0
| L.17 | Remove Existing Culvert | CW 3610-R5 | m | 13 |  | 0
| L.18 | Dispose of Existing Culvert | CW 3610-R5 | m | 13 |  | 0
| L.19 | LDS Inlet Headwall with Grate
| i) | 250mm | E98 | each | 3 |  | 0
| L | TAYLOR AVENUE WEST-UNDERGROUND WORKS |  |  |  | Subtotal: | 0
| M | UNDERPASS OUTLET-UNDERGROUND WORKS
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
WATERMAINS
| M.1 | Watermain Vertical Re-alignment | CW 2110-R11 E90
| i) | 400mm |  | each | 1 |  | 0
GRAVITY SEWERS
| M.2 | Land Drainage Sewers | CW 2130-R12, E82, E83, E84, E85
| i) | 300mm
| a) | trenchless installation C76-V (CN ROW) |  | m | 35 |  | 0
| ii) | 1200mm
| a) | trench or trenchless installation C76-III or SDR35 | E83.13 | m | 70 |  | 0
| b) | trench or trenchless installation C76-IV or SDR35 | E83.13 | m | 110 |  | 0
| c) | trench or trenchless installation C76-V or SDR35 | E83.13 | m | 245 |  | 0
| M.3 | Manhole | CW 2130-R12, E96
| i) | SD-010
| a) | 2100mm diameter base |  | vert. m | 30 |  | 0
| M.4 | Beehive Ditch Inlet | CW 2130-R12 E95 | each | 1 |  | 0
| M.5 | Catch Pit | CW 2130-R12
| i) | SD-023 |  | each | 1 |  | 0
| M.6 | Connecting to Existing Sewer | CW 2130-R12, E86
| i) | 300mm LDS to 300 LDS |  | each | 1 |  | 0
| ii) | 1200mm LDS to 1200 LDS |  | each | 1 |  | 0
| M.7 | Sewer Inspection | CW 2145-R3
| i) | 250mm to 900mm |  | m | 35 |  | 0
| ii) | larger than 900mm and egg shaped |  | m | 425 |  | 0
| M.8 | Manhole Inspection | CW 2145-R3 | each | 6 |  | 0
| M | UNDERPASS OUTLET-UNDERGROUND WORKS |  |  |  | Subtotal: | 0
| N | PUMPINGSTATION
| N.1 | Sub Structure | E99 | l.s. | 1 |  | 0
| N.2 | Super Structure | E100 | l.s. | 1 |  | 0
| N.3 | Process Mechanical Systems | E101 | l.s. | 1 |  | 0
| N.4 | Plumbing and HVAC Mechanical Systems | E102 | l.s. | 1 |  | 0
| N.5 | Electrical, Instrumentation and Control Systems | E103 | l.s. | 1 |  | 0
| N.6 | Structural Excavation and Shoring for Pumping Station | E110 | l.s. | 1 |  | 0
| N.7 | Pumping Well Installation and Testing | E104
| i) | Pumping Well Installation |  | each | 4 |  | 0
| ii) | Additional Pumping Well Drilling Depth |  | m | 40 |  | 0
| iii) | Additional Well Development |  | hour | 16 |  | 0
| N.8 | System Installation | E104 | l.s. | 1 |  | 0
| N.9 | System Operation | E104 | l.s. | 1 |  | 0
| N.10 | System Decommissioning | E104 | l.s. | 1 |  | 0
| N.11 | Well Decommissioning | E104
| i) | Pumping Well Decommissioning |  | each | 4 |  | 0
| ii) | Monitoring Well Decommissioning |  | each | 6 |  | 0
| N.12 | Applicable MRST (PST) on Items N.3 to N.5 | B11 | l.s. | 1 |  | 0
| N | PUMPINGSTATION |  |  |  | Subtotal: | 0
| O | RAILWORKS
EARTH AND BASE WORKS
SHOOFLY - CONSTRUCTION
| O.1 | Topsoil Excavation | CW3170-R3 E77 | m3 | 2147 |  | 0
| O.2 | Common Excavation Suitable Site Material | CW3170-R3 E77 | m3 | 334 |  | 0
| O.3 | Common Excavatin Unsuitable Site Material | CW3170-R3 E77 | m3 | 12035 |  | 0
| O.4 | Chain Link Fence Removal | E42 | l.s. | 70 |  | 0
| O.5 | Asphalt Removal | CW3110 R17 | m2 | 737 |  | 0
| O.6 | Concrete Removal | CW3110 R17 | m2 | 48 |  | 0
| O.7 | Supply and Placing Subballast Material | E78 | m3 | 3706 |  | 0
| O.8 | Corrugated Steel Pipe (CSP) Culverts | CW3610-R5 E79
| i) | 150mm Perf CSP (1.6mm Thick) |  | l.s. | 88 |  | 0
| ii) | 900mm CSP STN 0+539.830 (2.0mm Thick) |  | l.s. | 18 |  | 0
| iii) | 900mm CSP STN 0+564.271(2.0mm Thick) |  | l.s. | 49 |  | 0
| iv) | 900mm CSP STN 0+611.000(2.0mm Thick) |  | l.s. | 25 |  | 0
| v) | 600mm CSP STN0+452.332 (1.6mm Thick) |  | l.s. | 40 |  | 0
MAINTRACK - CONSTRUCTION
| O.9 | Excavation to Waste | E77
| i) | Ballast |  | m3 | 1251 |  | 0
| ii) | Subballast |  | m3 | 1890 |  | 0
| iii) | Subgrade |  | m3 | 1080 |  | 0
| O.10 | Placing Suitable Site Material | CW3170-R3 E77 | m3 | 6185 |  | 0
| O.11 | Supply and Placing Subballast Material | E78 | m3 | 1796 |  | 0
| O.12 | Ditch Excavation | CW3110-R19 E77 | m3 | 7100 |  | 0
SHOOFLY - REMOVAL AND FINSHING
| O.13 | Salvage Ballast | E77 | m3 | 4908 |  | 0
| O.14 | Salvage Subballast | E77 | m3 | 3706 |  | 0
| O.15 | Removal of Existing Culverst | CW3610-R5 E79
| i) | 150mm Perf CSP (1.6mm Thick) |  | m | 88 |  | 0
| ii) | 900mm CSP STN 0+539.830 (2.0mm Thick) |  | m | 18 |  | 0
| iii) | 900mm CSP STN 0+564.271(2.0mm Thick) |  | m | 49 |  | 0
| iv) | 900mm CSP STN 0+611.000(2.0mm Thick) |  | m | 25 |  | 0
| O.16 | Corrugated Steel Pipe (CSP) Culverts | CW3610-R5 E79
| i) | 600mm CSP STN0+452.332 (1.6mm Thick) |  | m | 40 |  | 0
| O.17 | Supply and Place Base Course Material | CW3110-R19 | m3 | 470 |  | 0
| O.18 | Seeding | E40 | hectare | 1.01 |  | 0
| O | RAILWORKS |  |  |  | Subtotal: | 0
| P | BRIDGE, AND OHSS
| P.1 | Mobilization and Demobilization | E7 | l.s. | 1 |  | 0
| P.2 | Structural Excavation | E56 | l.s. | 1 |  | 0
| P.3 | Temporary Shoring, Excavation, Dewatering and Monitoring | E58 | l.s. | 1 |  | 0
| P.4 | Supplying Steel H Piles | E60 | m | 640 |  | 0
| P.5 | Driving Steel Piles | E60 | m | 640 |  | 0
| P.6 | Supplying of Steel H Pile Tips | E60 | each | 36 |  | 0
| P.7 | Installation of Steel H Pile Tips | E60 | each | 36 |  | 0
| P.8 | Splicing Steel H Piles | E60 | each | 36 |  | 0
| P.9 | Rock-Socketed Caissons
| i) | Supply and Install Rock-Socketed Caissons | E59,E62 | l.s. | 1 |  | 0
| ii) | Added Length of Rock-Socket | E59 | m | 20 |  | 0
| iii) | Added Length of Steel Casing into Weathered Rock Zone | E59 | m | 5 |  | 0
| iv) | Subtracted Length of Rock-Socketed Caisson | E59 | m | -15 |  | 0
| P.10 | Steel Casing Tips
| i) | Supply of Steel Casing Tips | E59 | each | 9 |  | 0
| ii) | Installation of Steel Casing Tips | E59 | each | 9 |  | 0
| P.11 | Pile Dynamic Analyzer (PDA) Testing | E61 | l.s. | 1 |  | 0
| P.12 | Supplying Reinforcing Steel
| i) | Plain Steel | E63 | kg | 23660 |  | 0
| ii) | Galvanized Steel | E63 | kg | 65905 |  | 0
| iii) | Stainless Steel | E63 | kg | 11020 |  | 0
| iv) | CHROMX 9000 Steel | E63 | kg | 132343 |  | 0
| P.13 | Placing Reinforcing Steel | E63 |  | 232928 |  | 0
| P.14 | Supply and Place Structural Concrete
| i) | Abutment | E62 | l.s. | 1 |  | 0
| ii) | Pier Caps | E62 | l.s. | 1 |  | 0
| iii) | Deck and Trainman's Walkways | E62 | l.s. | 1 |  | 0
| iv) | Shoulder and Median Traffic Barriers | E62 | l.s. | 1 |  | 0
| vi) | Slope Protection Paving | E62 | l.s. | 1 |  | 0
| P.15 | Supplying and Placing Subsurface Drainage | E55 | l.s. | 1 |  | 0
| P.16 | Structural Backfilling | E57 | l.s. | 1 |  | 0
| P.17 | Heating Concrete | E62 | m3 | 300 |  | 0
| P.18 | Supply, Fabrication and Delivery of Steel Reinforced Elastomeric Bearings
| i) | Bearings "EB1" | E64 | each | 16 |  | 0
| ii) | Bearings "EB2" | E64 | each | 8 |  | 0
| P.19 | Installation of Steel Reinforced Elastomeric Bearings
| i) | Bearings "EB1" | E64 | each | 16 |  | 0
| ii) | Bearings "EB2" | E64 | each | 8 |  | 0
| P.20 | Supply, Fabrication and Delivery of Structural Steel | E65 | l.s. | 1 |  | 0
| P.21 | Erection of Structural Steel | E66 | l.s. | 1 |  | 0
| P.22 | Supply and Installation of Expansion Joints | E69 | l.s. | 1 |  | 0
| P.23 | Supply and Install Moveable Deck Hoarding | E62 | l.s. | 1 |  | 0
| P.24 | Supply and Fabricate Miscellaneous Metal | E71 | l.s. | 1 |  | 0
| P.25 | Placing Miscellaneous Metal | E71 | l.s. | 1 |  | 0
| P.26 | Supply and Placement of Waterproofing | E70 | l.s. | 1 |  | 0
| P.27 | Supply and Installation of Bridge Electrical | E73 | l.s. | 1 |  | 0
| P.28 | Cast-in-Place Concrete Pile Foundations
| i) | S780 - 762 mm Diameter Pile | E74 | each | 1 |  | 0
| ii) | S781 - 915 mm Diameter Pile | E74 | each | 1 |  | 0
| iii) | S782 - 762 mm Diameter Pile | E74 | each | 1 |  | 0
| iv) | S783 - 915 mm Diameter Pile | E74 | each | 1 |  | 0
| v) | S784 - 1219 mm Diameter Pile | E74 | each | 1 |  | 0
| vi) | S785 - 1219 mm Diameter Pile | E74 | each | 2 |  | 0
| P.29 | Abandonment of Piles due to Utility Interference |  | each | 1 |  | 0
| P.30 | Supply and Installation of New Steel Overhead Sign Support Structures
| i) | S780 - WB Grant Ave at Waverley St | E75 | each | 1 |  | 0
| ii) | S781 - NB Waverley St at Taylor Ave | E75 | each | 1 |  | 0
| iii) | S782 - WB Taylor Ave at Waverley St | E75 | each | 1 |  | 0
| iv) | S783 - EB Wilkes Ave at Waverley St | E75 | each | 1 |  | 0
| v) | S784 - SB Waverley St at Victor Lewis Dr | E75 | each | 1 |  | 0
| vi) | S785 - SB Waverley St at Wilkes Ave | E75 | each | 1 |  | 0
| P | BRIDGE, AND OHSS |  |  |  | Subtotal: | 0
SUMMARY
| A | WILKES INTERSECTION-SURFACE WORKS |  |  |  | Subtotal: | 0
| B | BGSA-SURFACE WORKS |  |  |  | Subtotal: | 0
| C | DETOUR-SURFACE WORKS |  |  |  | Subtotal: | 0
| D | 1360 TAYLOR AVENUE |  |  |  | Subtotal: | 0
| E | GRANT INTERSECTION-SURFACE WORKS |  |  |  | Subtotal: | 0
| F | TAYLOR AVENUE WEST-SURFACE WORKS |  |  |  | Subtotal: | 0
| G | WILKES INTERSECTION-UNDERGROUND WORKS |  |  |  | Subtotal: | 0
| H | BGSA-UNDERGROUND WORKS/TAYLOR AVENUE EAST-UNDERGROUND WORKS |  |  |  | Subtotal: | 0
| I | DETOUR-UNDERGROUND WORKS |  |  |  | Subtotal: | 0
| J | MIDTOWN FEEDER MAIN PROTECTION |  |  |  | Subtotal: | 0
| K | GRANT INTERSECTION-UNDERGROUND WORKS |  |  |  | Subtotal: | 0
| L | TAYLOR AVENUE WEST-UNDERGROUND WORKS |  |  |  | Subtotal: | 0
| M | UNDERPASS OUTLET-UNDERGROUND WORKS |  |  |  | Subtotal: | 0
| N | PUMPINGSTATION |  |  |  | Subtotal: | 0
| O | RAILWORKS |  |  |  | Subtotal: | 0
| P | BRIDGE, AND OHSS |  |  |  | Subtotal: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0