## FORM B - PRICES
FORM B: PRICES
(SEE B9)
UNIT PRICES
ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  | REF. |  | QUANTITY
Community Resource Recovery Centre (4R Winnipeg Depot) - East Winnipeg Site
A | Siteworks
EARTH AND BASE WORKS
A.1 | Clearing and Grubbing | CW 3010-R4 | ha | 2.6 |  | 0
A.2 | Borrow Excavation | CW 3110-R19 | m³ | 8000 |  | 0
A.3 | Sub-Grade Compaction | CW 3110-R19 | m² | 19770 |  | 0
A.4 | Crushed Sub-base Material | CW 3110-R19
i) | 50 mm - Limestone |  | tonne | 16560 |  | 0
A.5 | Supplying and Placing Limestone Base Course Material | CW 3110-R19 | m³ | 2700 |  | 0
A.6 | Grading of Boulevards | CW 3110-R19 | m² | 560 |  | 0
A.7 | Ditch Grading | CW 3110-R19 | m² | 4300 |  | 0
A.8 | Boulevard Excavation | CW 3110-R19 | m³ | 120 |  | 0
A.9 | Ditch Excavation | CW 3110-R19 | m³ | 2600 |  | 0
A.10 | Separation Geotextile Fabric | CW 3130-R4 | m² | 19770 |  | 0
A.11 | Common Excavation- Unsuitable site material | CW 3170-R3 | m³ | 5750 |  | 0
A.12 | Fill Material | CW 3170-R3
i) | Placing Suitable Site Material (Reused from Site) |  | m³ | 6800 |  | 0
ii) | Supplying and Placing Clay Borrow Material for Retention Pond Liner |  | m³ | 760 |  | 0
ROADWORK - REMOVALS/RENEWALS
A.13 | Partial Slab Patches | CW 3230-R8
i) | 230 mm Concrete Pavement (Type B) |  | m² | 20 |  | 0
ROADWORKS - NEW CONSTRUCTION
A.14 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
i) | Construction of Curb and Gutter (150 mm ht, Barrier, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 | m | 515 |  | 0
ii) | Construction of Curb and Gutter (40 mm ht, Lip Curb, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 SD-202B | m | 20 |  | 0
iii) | Construction of Curb Ramp (8-12 mm ht, Integral) | SD-229C | m | 45 |  | 0
A.15 | 100 mm Concrete Sidewalk | CW 3325-R5 | m² | 40 |  | 0
A.16 | Construction of Asphaltic Concrete Pavements | CW 3410-R11
i) | Main Line Paving
a) | Type IA |  | tonne | 1340 |  | 0
A.17 | Construction of Asphaltic Concrete Base Course (Type III) | CW 3410-R11 | tonne | 2010 |  | 0
JOINT AND CRACK SEALING
A.18 | Reflective Crack Maintenance | CW 3250-R7 | m | 200 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
A.19 | Hydrant Assembly | CW 2110
i) | SD-006 |  | each | 1 |  | 0
A.20 | Watermain | CW 2110
i) | 200 mm
a) | trenchelss installation, Class B sand bedding, Class 3 backfill |  | m | 123 |  | 0
A.21 | Fittings | CW 2110
i) | Tees
a) | 250mm x 250mm x 200mm |  | each | 1 |  | 0
A.22 | Water Services | CW 2110
i) | 25mm
a) | trenchless installation, Class B sand bedding, Class 3 backfill |  | m | 51 |  | 0
A.23 | Corporation Stops
i) | 25mm |  | each | 1 |  | 0
A.24 | Curb Stops
i) | 25mm |  | each | 1 |  | 0
A.25 | Curb Stop Boxes
i) | 25mm |  | each | 1 |  | 0
A.26 | Connect to Existing Watermains and Large Diameter Perpendicular connection | CW 2110
i) | 200mm |  | each | 1 |  | 0
A.27 | 10.9 Kilogram Sacrificial Zinc Anodes
i) | On Water Services |  | each | 1 |  | 0
A.28 | Watermain Valve | CW 2110
i) | 200mm |  | each | 1 |  | 0
A.29 | Land Drainage Sewers | CW 2130
i) | 250 mm
a) | trenchless installation, Class B sand bedding, Class 3 backfill |  | m | 371 |  | 0
ii) | 375 mm
a) | trenchless installation, Class B sand bedding, Class 3 backfill |  | m | 24 |  | 0
iii) | 450 mm
a) | trenchless installation, Class B sand bedding, Class 3 backfill |  | m | 115 |  | 0
A.30 | Connecting to Existing Manhole | CW 2130-R12
i) | 250 mm |  | each | 1 |  | 0
A.31 | Sewer Service Inspection | CW 2145
i) | 200 mm to 900 mm |  | m | 950 |  | 0
A.32 | Manhole | CW 2130
i) | SD-010
a) | 1200 mm diameter base |  | vert. m | 30 |  | 0
A.33 | Catch basin
i) | SD-025, 1800 mm deep |  | each | 6 |  | 0
ii) | Install Pre-Cast Concrete Risers | CW 2130-R12 | vert. m | 1 |  | 0
A.34 | Sewer Service | CW 2130
i) | 200 mm
a) | trenchless installation, Class B sand bedding, Class 3 backfill |  | m | 187 |  | 0
A.35 | Connecting to Existing Manhole | CW 2130-R12
i) | 200 mm |  | each | 1 |  | 0
A.36 | Installation of Subdrains | CW 3120 | m | 225 |  | 0
A.37 | Corrugated Steel Pipe Culvert (Supply and Install)
i) | 600 mm, 2.0mm Wall Thickness | CW 3610-R4 | m | 83 |  | 0
LANDSCAPING
A.38 | Seeding | CW 3520-R7 | m² | 7700 |  | 0
A.39 | Landscaping Allowance |  | L.S. | 1 |  | 0
MISCELLANEOUS
A.40 | Chain Link Fence | CW 3550-R3 E17
i) | 2.44m Height c/w Three Strand Barbed Wire |  | m | 518 |  | 0
A.41 | Vehicle Access Gate | CW 3550-R3 E17
i) | 2.44m Height |  | each | 3 |  | 0
A.42 | Line Painting | E15 | L.S. | 1 |  | 0
A.43 | Supply and Install Parking Fence | SCD-629 | m | 25 |  | 0
A.44 | Supply and Install Parking Curb | E27 | each | 28 |  | 0
A.45 | Supply and Install Bollard | E28 | each | 2 |  | 0
A.46 | Grouted Stone Riprap | CW 3615-R4 | m³ | 11 |  | 0
A | Siteworks |  |  |  | Subtotal: | 0
B | Structural Works
B.1 | Cast-in-Place Concrete Pile Foundations | E19
i) | P-1 Pile type, 610 mm Diameter x 11 m Long |  | each | 27 |  | 0
ii) | P-2 Pile type, 405 mm Diameter x 11 m Long |  | each | 20 |  | 0
B.2 | Structural Concrete | E20
i) | Retaining Walls |  | L.S. | 1 |  | 0
ii) | Structural Bin Slabs |  | L.S. | 1 |  | 0
iii) | Prefabricated Kiosk Foundation |  | each | 2 |  | 0
iv) | HHW Building Concrete Items (excluding Piles) |  | L.S. | 1 |  | 0
B.3 | Supply, Fabrication, and Erection of Miscellaneous Metal | E22
i) | Roll-Off Bin Guide Rail Assemblies |  | each | 14 |  | 0
ii) | Roll-Off Bin Back Stops |  | each | 14 |  | 0
iii) | Handrail and Guardrail at End of Bays |  | m | 215 |  | 0
iv) | Retaining Wall Stairs |  | each | 2 |  | 0
B | Structural Works |  |  |  | Subtotal: | 0
C | Buildings
C.1 | Prefabricated Kiosk Building | E26 | each | 2 |  | 0
C.2 | HHW Building Shell and Finishes | E23 | L.S. | 1 |  | 0
C | Buildings |  |  |  | Subtotal: | 0
D | Electrical and Mechanical Works
D.1 | Electrical - Overhead | E24 | L.S. | 1 |  | 0
D.2 | Electrical - Distribution | E24 | L.S. | 1 |  | 0
D.3 | Electrical - Power | E24 | L.S. | 1 |  | 0
D.4 | Electrical - Security | E24 | L.S. | 1 |  | 0
D.5 | Electrical - Lighting | E24 | L.S. | 1 |  | 0
D.6 | Electrical - Telecommunications | E24 | L.S. | 1 |  | 0
D.7 | Electrical - Fire Alarm | E24 | L.S. | 1 |  | 0
D.8 | Mechanical - Overhead | E25 | LS. | 1 |  | 0
D.9 | Mechanical - Plumbing | E25 | LS. | 1 |  | 0
D.10 | Mechanical - HVAC | E25 | LS. | 1 |  | 0
D.11 | Application MRST / PST for Mechanical and Electrical Works |  | L.S. | 1 |  | 0
D | Electrical and Mechanical Works |  |  |  | Subtotal: | 0
SUMMARY
A | Siteworks |  |  |  | Subtotal: | 0
B | Structural Works |  |  |  | Subtotal: | 0
C | Buildings |  |  |  | Subtotal: | 0
D | Electrical and Mechanical Works |  |  |  | Subtotal: | 0
TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0