## FORM B -PRICES
FORM B: PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
PART 1 CITY FUNDED WORK
| A | INKSTER BOULEVARD, MILNER STREET TO FIFE STREET, CONCRETE RECONSTRUCTION
EARTH AND BASE WORKS
A003 | A.1 | Excavation | CW 3110-R19 | m³ | 9400 |  | 0
A004 | A.2 | Sub-Grade Compaction | CW 3110-R19 | m² | 12500 |  | 0
A007 | A.3 | Crushed Sub-base Material | CW 3110-R19
A008 | i) | 50 mm - Limestone |  | tonne | 4400 |  | 0
A008C | ii) | 100 mm - Limestone |  | tonne | 8000 |  | 0
A010A | A.4 | Supplying and Placing Limestone Base Course Material | CW 3110-R19 | m³ | 930 |  | 0
A012 | A.5 | Grading of Boulevards | CW 3110-R19 | m² | 6500 |  | 0
A022 | A.6 | Separation Geotextile Fabric | CW 3130-R4 | m² | 12500 |  | 0
A022A | A.7 | Supply and Install Geogrid | CW 3135-R1 | m² | 12000 |  | 0
ROADWORKS - RENEWALS
B001 | A.8 | Pavement Removal | CW 3110-R19
B002 | i) | Concrete Pavement |  | m² | 10000 |  | 0
B094 | A.9 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 40 |  | 0
B096 | ii) | 28.6 mm Diameter |  | each | 1080 |  | 0
B097 | A.10 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 160 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 150 |  | 0
B099 | iii) | 25 M Deformed Tie Bar |  | each | 30 |  | 0
B100r | A.11 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 1500 |  | 0
B114rl | A.12 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Sidewalk | SD-228A
B120rl | a) | 5 sq.m. to 20 sq.m. |  | m² | 35 |  | 0
B126r | A.13 | Concrete Curb Removal | CW 3240-R10
B127r | i) | Barrier Separate |  | m | 435 |  | 0
B134r | ii) | Splash Strip Separate |  | m | 100 |  | 0
B135i | A.14 | Concrete Curb Installation | CW 3240-R10
B136i | i) | Barrier (150 mm reveal ht, Dowelled) | SD-205 | m | 35 |  | 0
B153B | ii) | Splash Strip (150 mm reveal ht, Monolithic Barrier Curb, 750 mm width) | SD-223A | m | 100 |  | 0
B189 | A.15 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 15 |  | 0
C052 | A.16 | Interlocking Paving Stones | CW 3330-R5 | m² | 5 |  | 0
B190 | A.17 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B194 | i) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 110 |  | 0
B199 | A.18 | Construction of Asphalt Patches | CW 3410-R12 | m² | 100 |  | 0
B200 | A.19 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 500 |  | 0
B219 | A.20 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 26 |  | 0
ROADWORKS - NEW CONSTRUCTION
| A.21 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17, E12, E13
C007 | i) | Construction of 230 mm Concrete Pavement (Plain-Dowelled) |  | m² | 350 |  | 0
C007 | ii) | Construction of 230 mm Concrete Pavement (Plain-Dowelled, Slip-formed) |  | m² | 3600 |  | 0
C008 | iii) | Construction of 200 mm Concrete Pavement (Reinforced) |  | m² | 140 |  | 0
C005 | iv) | Construction of 230 mm Reinforced Concrete Pavement Over Feedermain |  | m² | 25 |  | 0
C007 | v) | Construction of 230 mm Portland Limestone Cement Concrete Pavement (Plain-Dowelled) |  | m² | 450 |  | 0
C007 | vi) | Construction of 230 mm Portland Limestone Cement Concrete Pavement (Plain-Dowelled, Slip-formed) |  | m² | 3600 |  | 0
C008 | vii) | Construction of 200 mm Portland Limestone Cement Concrete Pavement (Reinforced) |  | m² | 110 |  | 0
| A.22 | Concrete Pavements for Early Opening | CW 3310-R17, E12, E13
C025 | i) | Construction of 230 mm Concrete Pavement for Early Opening 72 Hour (Plain-Dowelled) |  | m² | 950 |  | 0
C026 | ii) | Construction of 200 mm Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 150 |  | 0
C007 | iii) | Construction of 230 mm Portland Limestone Cement Concrete Pavement for Early Opening 72 Hour (Plain-Dowelled) |  | m² | 800 |  | 0
C008 | iv) | Construction of 200 mm Portland Limestone Cement Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 30 |  | 0
| A.23 | Application of Curing Compound in Pavement Joints | E12 | m | 4200 |  | 0
| A.24 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17, E12
C033 | i) | Construction of Barrier (180 mm ht, Dowelled) | SD-205 | m | 150 |  | 0
C035 | ii) | Construction of Barrier (180 mm ht, Integral) | SD-204 | m | 650 |  | 0
C036 | iii) | Construction of Modified Barrier (180 mm ht, Dowelled) | SD-203B | m | 20 |  | 0
C037 | iv) | Construction of Modified Barrier (180 mm ht, Integral) | SD-203B | m | 130 |  | 0
C046 | v) | Construction of Curb Ramp (8-12 mm ht, Integral) | SD-229C | m | 100 |  | 0
C047C | vi) | Construction of Splash Strip, (Separate, 600 mm width) | SD-223B | m | 475 |  | 0
C033 | vii) | Construction of Portland Limestone Cement Concrete Barrier (180 mm ht, Dowelled) | SD-205 | m | 10 |  | 0
C035 | viii) | Construction of Portland Limestone Cement Concrete Barrier (180 mm ht, Integral) | SD-204 | m | 750 |  | 0
C037 | ix) | Construction of Portland Limestone Cement Concrete Modified Barrier (180 mm ht, Integral) | SD-203B | m | 100 |  | 0
C046 | x) | Construction of Portland Limestone Cement Concrete Curb Ramp (8-12 mm ht, Integral) | SD-229C | m | 80 |  | 0
C047C | xi) | Construction of Portland Limestone Cement Concrete Splash Strip, (Separate, 600 mm width) | SD-223B | m | 460 |  | 0
C050 | A.25 | Supply and Installation of Dowel Assemblies | CW 3310-R17 | m | 2650 |  | 0
C051 | A.26 | 100 mm Concrete Sidewalk | CW 3325-R5 | m² | 80 |  | 0
| A.27 | 100 mm Concrete Sidewalk c/w Paving Stone Band (Paving Stone Band Paid Separately) | CW 3325-R5 | m² | 1100 |  | 0
| A.28 | 100 mm Portland Limestone Cement Concrete Sidewalk c/w Paving Stone Band (Paving Stone Band Paid Separately) | CW 3325-R5, E13 | m² | 1150 |  | 0
| A.29 | Interlocking Paving Stones | CW 3335-R1, E11
| i) | Banding Strip |  | m² | 160 |  | 0
TEMPORARY ASPHALT PAVEMENT
A003 | A.30 | Excavation | CW 3110-R19 | m³ | 830 |  | 0
A007 | A.31 | Crushed Sub-base Material | CW 3110-R19
A008 | i) | 50 mm - Limestone |  | tonne | 1220 |  | 0
A010A | A.32 | Supplying and Placing Limestone Base Course Material | CW 3110-R19 | m³ | 140 |  | 0
A022 | A.33 | Separation Geotextile Fabric | CW 3130-R4 | m² | 1800 |  | 0
A022A | A.34 | Supply and Install Geogrid | CW 3135-R1 | m² | 1850 |  | 0
B001 | A.35 | Pavement Removal | CW 3110-R19
B002 | i) | Temporary Asphalt Pavement |  | m² | 1850 |  | 0
B190 | A.36 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
| i) | Temporary Asphalt Pavement
B193 | a) | Type IA |  | tonne | 340 |  | 0
JOINT AND CRACK SEALING
D006 | A.37 | Reflective Crack Maintenance | CW 3250-R7 | m | 50 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | A.38 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 12 |  | 0
E008 | A.39 | Sewer Service | CW 2130-R12
E009 | i) | 200 mm, PVC
E010 | a) | In a Trench, Class B Bedding with Sand, Class 3 Backfill |  | m | 2 |  | 0
E011 | b) | Trenchless Installation, Class B Bedding with Sand, Class 3 Backfill |  | m | 19 |  | 0
E009 | ii) | 250 mm, PVC
E010 | a) | In a Trench, Class B Bedding with Sand, Class 3 Backfill |  | m | 10 |  | 0
E011 | b) | Trenchless Installation, Class B Bedding with Sand, Class 3 Backfill |  | m | 147 |  | 0
E013 | A.40 | Sewer Service Risers | CW 2130-R12
E014 | i) | 250 mm
E016 | a) | SD-015 |  | vert. m | 17.5 |  | 0
E023 | A.41 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 8 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 8 |  | 0
E042 | A.42 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 200 mm |  | each | 2 |  | 0
E046 | A.43 | Removal of Existing Catch Basins | CW 2130-R12 | each | 14 |  | 0
E050 | A.44 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 9 |  | 0
| A.45 | Abandoning Existing Sewer Services Under Pavement | CW 2130-R12
| i) | Existing Catch Basin Leads (250 mm or smaller) |  | each | 12 |  | 0
E051 | A.46 | Installation of Subdrains | CW 3120-R4 | m | 144 |  | 0
| A.47 | Excavation and Backfill for Sewer Service Pipe Connections Near Feedermain | E16 | each | 5 |  | 0
ADJUSTMENTS
F001 | A.48 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 9 |  | 0
F002 | A.49 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
F003 | A.50 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 8 |  | 0
F009 | A.51 | Adjustment of Valve Boxes | CW 3210-R8 | each | 25 |  | 0
F010 | A.52 | Valve Box Extensions | CW 3210-R8 | each | 5 |  | 0
F011 | A.53 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 9 |  | 0
F018 | A.54 | Curb Stop Extensions | CW 3210-R8 | each | 5 |  | 0
| A.55 | Adjustment of Existing Manitoba Hydro Manholes | E14 | each | 4 |  | 0
LANDSCAPING
G001 | A.56 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 100 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 6500 |  | 0
H002 | A.57 | Polyethylene Waterline, 50 mm | CW 3530-R3 | m | 100 |  | 0
H003 | A.58 | Sprinkler Assemblies | CW 3530-R3 | each | 10 |  | 0
| A | INKSTER BOULEVARD, MILNER STREET TO FIFE STREET, CONCRETE RECONSTRUCTION |  |  |  | Subtotal: | 0
| B | WATER AND WASTE WORKS
E072 | B.1 | Watermain and Water Service Insulation | E15 | m² | 380 |  | 0
| B | WATER AND WASTE WORKS |  |  |  | Subtotal: | 0
PART 2 MANITOBA HYDRO FUNDED WORK (See B9.5, B17.2.1, B18.4, D2, D13.2-3, D14.4)
| C | STREET LIGHT INSTALLATION
| C.1 | Removal of 25' to 35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E17 | each | 27 |  | 0
| C.2 | Installation of conduit and #4 AL C/N or 1/0 AL Triplex streetlight cable in conduit by open trench method. | E17 | lin.m | 1335 |  | 0
| C.3 | Installation of 50 mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex). | E17 | lin.m | 95 |  | 0
| C.4 | Installation of 35' pole, davit arm and 206 precast concrete base including luminaire and appurtenances. | E17 | each | 26 |  | 0
| C.5 | Installation of one (1) 10' ground rod at end of street light circuit. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E17 | each | 4 |  | 0
| C.6 | Install lower 3 m of Cable Guard, ground lug, cable up pole, and first 3 m section of ground rod per Standard CD 315-5. | E17 | each | 1 |  | 0
| C.7 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E17 | set | 26 |  | 0
| C.8 | Installation of break-away base and reaction plate on base mounted poles up to 35'. | E17 | each | 26 |  | 0
| C.9 | Installation of overhead span of #4 duplex between new or existing streetlight poles and connect luminaire to provide temporary Overhead Feed. | E17 | per span | 28 |  | 0
| C.10 | Removal of overhead span of #4 duplex between new or existing streetlight poles to remove temporary Overhead Feed. | E17 | per span | 28 |  | 0
| C | STREET LIGHT INSTALLATION |  |  |  | Subtotal: | 0
SUMMARY
PART 1 CITY FUNDED WORK
| A | INKSTER BOULEVARD, MILNER STREET TO FIFE STREET, CONCRETE RECONSTRUCTION |  |  |  | Subtotal: | 0
| B | WATER AND WASTE WORKS |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 1 | 0
PART 2 MANITOBA HYDRO FUNDED WORK (See B9.5, B17.2.1, B18.4, D2, D13.2-3, D14.4)
| C | STREET LIGHT INSTALLATION |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 2 | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0