## FORM B
FORM B: PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
PART 1 CITY FUNDED WORK
| A | TACHE AVENUE - LYNDALE DR TO ST MARY'S ROAD - ASPHALT RECONSTRUCTION
EARTH AND BASE WORKS
A003 | A.1 | Excavation | CW 3110-R19 | m³ | 4000 |  | 0
A004 | A.2 | Sub-Grade Compaction | CW 3110-R19 | m² | 5200 |  | 0
A007 | A.3 | Crushed Sub-base Material | CW 3110-R19
A007A | i) | 50 mm |  | tonne | 2000 |  | 0
A008B | ii) | 100 mm |  | tonne | 4500 |  | 0
A010 | A.4 | Supplying and Placing Base Course Material | CW 3110-R19 | m³ | 600 |  | 0
A012 | A.5 | Grading of Boulevards | CW 3110-R19 | m² | 8350 |  | 0
A022 | A.6 | Separation Geotextile Fabric | CW 3130-R4 | m² | 5200 |  | 0
A022A | A.7 | Supply and Install Geogrid | CW 3135-R1 | m² | 1800 |  | 0
ROADWORKS - RENEWALS
B001 | A.8 | Pavement Removal | CW 3110-R19
B002 | i) | Concrete Pavement |  | m² | 4650 |  | 0
B100r | A.9 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 1650 |  | 0
B107i | A.10 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B111i | i) | 100 mm Sidewalk | SD-228A | m² | 1800 |  | 0
B114rl | A.11 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
| i) | 100 mm Sidewalk - Exposed Aggregate | E9 | m² | 5 |  | 0
B124 | A.12 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 60 |  | 0
B125 | A.13 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 20 |  | 0
B189 | A.14 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 40 |  | 0
C054A | A.15 | Interlocking Paving Stones | CW 3335-R1 | m² | 10 |  | 0
B200 | A.16 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 50 |  | 0
B219 | A.17 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 14 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | A.18 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
C011 | i) | Construction of 150 mm Concrete Pavement (Reinforced) |  | m² | 135 |  | 0
C032 | A.19 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
C036 | i) | Construction of Modified Barrier (180 mm ht, Dowelled) | SD-203B | m | 40 |  | 0
C038 | ii) | Construction of Curb and Gutter (180 mm ht, Barrier, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 | m | 950 |  | 0
C039 | iii) | Construction of Curb and Gutter (180 mm ht, Modified Barrier, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 SD-203B | m | 45 |  | 0
C040 | iv) | Construction of Curb and Gutter (40 mm ht, Lip Curb, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 SD-202B | m | 65 |  | 0
C041 | v) | Construction of Curb and Gutter (8-12 mm ht, Curb Ramp, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 SD-229E | m | 45 |  | 0
C046 | vi) | Construction of Curb Ramp (8-12 mm ht, Integral) | SD-229C | m | 20 |  | 0
C055 | A.20 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 450 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 75 |  | 0
C063 | A.21 | Construction of Asphaltic Concrete Base Course (Type III) | CW 3410-R12 | tonne | 750 |  | 0
JOINT AND CRACK SEALING
D006 | A.22 | Reflective Crack Maintenance | CW 3250-R7 | m | 2140 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | A.23 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 12 |  | 0
E008 | A.24 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class 2 Type B Bedding, Class 2 Backfill |  | m | 20 |  | 0
E011 | b) | Trenchless Installation |  | m | 35 |  | 0
E013 | A.25 | Sewer Service Risers | CW 2130-R12
E014 | i) | 250 mm
E016 | a) | SD-015 |  | vert. m | 4.5 |  | 0
E032 | A.26 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 250 mm Catch Basin Lead |  | each | 6 |  | 0
E036 | A.27 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm PVC Connecting Pipe
E039 | a) | Connecting to 375 mm Concrete LDS Sewer |  | each | 2 |  | 0
E041 | b) | Connecting to 525 mm Concrete LDS Sewer |  | each | 2 |  | 0
E039 | c) | Connecting to 375 mm Concrete Combined Sewer |  | each | 2 |  | 0
E051 | A.28 | Installation of Subdrains | CW 3120-R4 | m | 144 |  | 0
E023 | A.29 | Frames & Covers | CW3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 8 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 8 |  | 0
E046 | A.30 | Removal of Existing Catch Basins | CW 2130-R12 | each | 13 |  | 0
E047 | A.31 | Removal of Existing Catch Pit | CW 2130-R12 | each | 2 |  | 0
E050 | A.32 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 9 |  | 0
| A.33 | Abanoning Existing Sewer Services Under Pavement | CW 2130-R12
| i) | Existing Catch Basin Leads (250 mm or smaller) |  | each | 13 |  | 0
ADJUSTMENTS
F001 | A.34 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 8 |  | 0
F003 | A.35 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 5 |  | 0
F009 | A.36 | Adjustment of Valve Boxes | CW 3210-R8 | each | 4 |  | 0
F010 | A.37 | Valve Box Extensions | CW 3210-R8 | each | 1 |  | 0
F011 | A.38 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 62 |  | 0
F018 | A.39 | Curb Stop Extensions | CW 3210-R8 | each | 10 |  | 0
LANDSCAPING
G001 | A.40 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 1150 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 7200 |  | 0
H002 | A.41 | Polyethylene Waterline | CW 3530-R3 | m | 20 |  | 0
H003 | A.42 | Sprinkler Assemblies | CW 3530-R3 | each | 5 |  | 0
| A.43 | Trim Overhanging Trees | E13 | l.s. | 1 |  | 0
| A | TACHE AVENUE - LYNDALE DR TO ST MARY'S ROAD - ASPHALT RECONSTRUCTION |  |  |  | Subtotal: | 0
| B | HOWDEN ROAD - BETOURNAY ST TO HARPER AVE - REHABILIATION
EARTH AND BASE WORKS
A010A | B.1 | Supplying and Placing Base Course Material | CW 3110-R19 | m³ | 10 |  | 0
A012 | B.2 | Grading of Boulevards | CW 3110-R19 | m² | 1490 |  | 0
ROADWORKS - RENEWALS
B001 | B.3 | Pavement Removal | CW 3110-R19
B003 | i) | Asphalt Pavement |  | m² | 10 |  | 0
B034-24 | B.4 | Slab Replacement - Early Opening (24 hour) | CW 3230-R8
B044-24 | i) | 150 mm Concrete Pavement (Reinforced) |  | m² | 280 |  | 0
B047-24 | B.5 | Partial Slab Patches - Early Opening (24 hour) | CW 3230-R8
B060-24 | i) | 150 mm Concrete Pavement (Type A) |  | m² | 8 |  | 0
B061-24 | ii) | 150 mm Concrete Pavement (Type B) |  | m² | 25 |  | 0
B063-24 | iii) | 150 mm Concrete Pavement (Type D) |  | m² | 65 |  | 0
B064-72 | B.6 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8
B074-72 | i) | 150 mm Concrete Pavement (Reinforced) |  | m² | 410 |  | 0
B077-72 | B.7 | Partial Slab Patches - Early Opening (72 hour) | CW 3230-R8
B090-72 | i) | 150 mm Concrete Pavement (Type A) |  | m² | 12 |  | 0
B091-72 | ii) | 150 mm Concrete Pavement (Type B) |  | m² | 180 |  | 0
B092-72 | iii) | 150 mm Concrete Pavement (Type C) |  | m² | 40 |  | 0
B094 | B.8 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 725 |  | 0
B097 | B.9 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 100 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 1200 |  | 0
B114rl | B.10 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 20 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 160 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 240 |  | 0
| ii) | 100 mm Sidewalk - Exposed Aggregate | E10 | m² | 5 |  | 0
B121rlA | iii) | 150 mm Reinforced Sidewalk
B121rlB | a) | Less than 5 sq.m. |  | m² | 10 |  | 0
B121rlC | b) | 5 sq.m. to 20 sq.m. |  | m² | 10 |  | 0
B124 | B.11 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B125 | B.12 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 2 |  | 0
B154rl | B.13 | Concrete Curb Renewal | CW 3240-R10
B183rl | i) | Modified Lip Curb (75 mm reveal ht, Dowelled) | SD-202C | m | 800 |  | 0
B167rl | ii) | Modified Barrier (75 mm reveal ht, Dowelled) | SD-203B | m | 25 |  | 0
B184rlA | iii) | Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 30 |  | 0
B189 | B.14 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 5 |  | 0
C054A | B.15 | Interlocking Paving Stones | CW 3335-R1 | m² | 2 |  | 0
B190 | B.16 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 950 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 30 |  | 0
B200 | B.17 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 20 |  | 0
B219 | B.18 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 4 |  | 0
JOINT AND CRACK SEALING
D006 | B.19 | Reflective Crack Maintenance | CW 3250-R7 | m | 1090 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E023 | B.20 | Frames & Covers | CW3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 9 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 9 |  | 0
E031 | iii) | AP-015 - Mountable Curb and Gutter Frame |  | each | 3 |  | 0
E031A | iv) | AP-016 - Mountable Curb and Gutter Cover |  | each | 3 |  | 0
| v) | TF-100 - Frame and Grated Cover | E14 | each | 5 |  | 0
ADJUSTMENTS
F001 | B.21 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 15 |  | 0
F002 | B.22 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
F003 | B.23 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 9 |  | 0
F009 | B.24 | Adjustment of Valve Boxes | CW 3210-R8 | each | 9 |  | 0
F010 | B.25 | Valve Box Extensions | CW 3210-R8 | each | 5 |  | 0
F011 | B.26 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 15 |  | 0
F018 | B.27 | Curb Stop Extensions | CW 3210-R8 | each | 8 |  | 0
| B.28 | Replacing Existing Catch Basin Hoods | CW 2130-R12 | each | 5 |  | 0
LANDSCAPING
G001 | B.29 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 140 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 1350 |  | 0
| B | HOWDEN ROAD - BETOURNAY ST TO HARPER AVE - REHABILIATION |  |  |  | Subtotal: | 0
| C | COTTONWOOD ROAD - MONACO BAY (E LEG) TO LAGIMODIERE BLVD - REHABILITATION
EARTH AND BASE WORKS
A003 | C.1 | Excavation | CW 3110-R19 | m³ | 3 |  | 0
A010A | C.2 | Supplying and Placing Base Course Material | CW 3110-R19 | m³ | 10 |  | 0
A012 | C.3 | Grading of Boulevards | CW 3110-R19 | m² | 2180 |  | 0
ROADWORKS - RENEWALS
B034-24 | C.4 | Slab Replacement - Early Opening (24 hour) | CW 3230-R8
B041-24 | i) | 200 mm Concrete Pavement (Reinforced) |  | m² | 330 |  | 0
B047-24 | C.5 | Partial Slab Patches - Early Opening (24 hour) | CW 3230-R8
B056-24 | i) | 200 mm Concrete Pavement (Type A) |  | m² | 25 |  | 0
B057-24 | ii) | 200 mm Concrete Pavement (Type B) |  | m² | 75 |  | 0
B058-24 | iii) | 200 mm Concrete Pavement (Type C) |  | m² | 8 |  | 0
B059-24 | iv) | 200 mm Concrete Pavement (Type D) |  | m² | 45 |  | 0
B064-72 | C.6 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8
B071-72 | i) | 200 mm Concrete Pavement (Reinforced) |  | m² | 105 |  | 0
B077-72 | C.7 | Partial Slab Patches - Early Opening (72 hour) | CW 3230-R8
B086-72 | i) | 200 mm Concrete Pavement (Type A) |  | m² | 15 |  | 0
B087-72 | ii) | 200 mm Concrete Pavement (Type B) |  | m² | 410 |  | 0
B088-72 | iii) | 200 mm Concrete Pavement (Type C) |  | m² | 10 |  | 0
B089-72 | iv) | 200 mm Concrete Pavement (Type D) |  | m² | 150 |  | 0
B094 | C.8 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 860 |  | 0
B097 | C.9 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 110 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 1225 |  | 0
B114rl | C.10 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 50 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 100 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 1225 |  | 0
| ii) | 100 mm Sidewalk - Exposed Aggregate | E9 | m² | 2 |  | 0
B121rlA | iii) | 150 mm Reinforced Sidewalk
B121rlC | a) | 5 sq.m. to 20 sq.m. |  | m² | 25 |  | 0
B124 | C.11 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 10 |  | 0
B125 | C.12 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B154rl | C.13 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Barrier (100 mm reveal ht, Dowelled) | SD-205, SD-206A
B156rl | a) | Less than 3 m |  | m | 45 |  | 0
B157rl | b) | 3 m to 30 m |  | m | 200 |  | 0
B158rl | c) | Greater than 30 m |  | m | 375 |  | 0
B159rl | ii) | Barrier (100 mm reveal ht, Separate) | SD-203A
B160rl | a) | Less than 3 m |  | m | 30 |  | 0
B161rl | b) | 3 m to 30 m |  | m | 110 |  | 0
B162rl | c) | Greater than 30 m |  | m | 145 |  | 0
B155rl | iii) | Barrier (125 mm reveal ht, Dowelled) | SD-205, SD-206A
B156rl | a) | Less than 3 m |  | m | 20 |  | 0
B157rl | b) | 3 m to 30 m |  | m | 35 |  | 0
B158rl | c) | Greater than 30 m |  | m | 25 |  | 0
B159rl | iv) | Barrier (125 mm reveal ht, Separate) | SD-203A
B160rl | a) | Less than 3 m |  | m | 10 |  | 0
B167rl | v) | Modified Barrier (100 mm reveal ht, Dowelled) | SD-203B | m | 195 |  | 0
B167rl | vi) | Modified Barrier (125 mm reveal ht, Dowelled) | SD-203B | m | 120 |  | 0
B167rl | vii) | Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 10 |  | 0
B184rlA | viii) | Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 105 |  | 0
B189 | C.14 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 6 |  | 0
| C.15 | Interlocking Paving Stones | CW 3335-R1, E12 | m² | 13 |  | 0
C054 | C.16 | Lean Concrete Base | CW 3335-R1 | m² | 10 |  | 0
B100r | C.17 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B102r | i) | Monolithic Median Slab |  | m² | 40 |  | 0
B107i | C.18 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B112i | i) | Bullnose | SD-227C | m² | 5 |  | 0
B111i | ii) | 100 mm Sidewalk | SD-228A | m² | 10 |  | 0
B190 | C.19 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 1160 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 230 |  | 0
B200 | C.20 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 7350 |  | 0
B219 | C.21 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 32 |  | 0
JOINT AND CRACK SEALING
D006 | C.22 | Reflective Crack Maintenance | CW 3250-R7 | m | 1300 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E008 | C.23 | Sewer Service | CW 2130-R12
E009 | i) | 200 mm, PVC
E010 | a) | In a Trench, Class 2 Type B Bedding, Class 2 Backfill |  | m | 48 |  | 0
E009 | ii) | 250 mm, PVC
E010 | a) | In a Trench, Class 2 Type B Bedding, Class 2 Backfill |  | m | 18 |  | 0
E022A | C.24 | Sewer Inspection | CW2145-R4
E022D | i) | 200 mm |  | m | 15 |  | 0
E023 | C.25 | Frames & Covers | CW3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 4 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 4 |  | 0
E028 | iii) | AP-011 - Barrier Curb and Gutter Frame |  | each | 19 |  | 0
E029 | iv) | AP-012 - Barrier Curb and Gutter Cover |  | each | 19 |  | 0
E031 | v) | AP-015 - Mountable Curb and Gutter Frame |  | each | 1 |  | 0
E031A | vi) | AP-016 - Mountable Curb and Gutter Cover |  | each | 1 |  | 0
| vii) | TF-100 - Frame and Grated Cover | E14 | each | 3 |  | 0
E034 | C.26 | Connecting to Existing Catch Basin | CW 2130-R12
E035 | i) | 200 mm Drainage Connection Pipe |  | each | 16 |  | 0
E035 | ii) | 250 mm Drainage Connection Pipe |  | each | 2 |  | 0
E032 | C.27 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 250 mm Catch Basin Lead |  | each | 2 |  | 0
E042 | C.28 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 200 mm |  | each | 16 |  | 0
ADJUSTMENTS
F001 | C.29 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 30 |  | 0
F003 | C.30 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 2 |  | 0
F005 | ii) | 51 mm |  | each | 4 |  | 0
F006 | iii) | 64 mm |  | each | 2 |  | 0
F007 | iv) | 76 mm |  | each | 1 |  | 0
F009 | C.31 | Adjustment of Valve Boxes | CW 3210-R8 | each | 6 |  | 0
F010 | C.32 | Valve Box Extensions | CW 3210-R8 | each | 3 |  | 0
F011 | C.33 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 25 |  | 0
F018 | C.34 | Curb Stop Extensions | CW 3210-R8 | each | 12 |  | 0
| C.35 | Replacing Existing Catch Basin Hoods | CW 2130-R12 | each | 5 |  | 0
LANDSCAPING
G001 | C.36 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 915 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 1265 |  | 0
| C | COTTONWOOD ROAD - MONACO BAY (E LEG) TO LAGIMODIERE BLVD - REHABILITATION |  |  |  | Subtotal: | 0
| D | WATER AND WASTE WORK
TACHE AVENUE - LYNDALE DR TO ST MARY'S ROAD - ASPHALT RECONSTRUCTION
| D.1 | Remove and Replace Existing Manhole | CW 2130-R12
| i) | SD-010
| a) | 1200mm diameter base |  | vert. m | 2.8 |  | 0
| D.2 | Manhole Inspection | CW 2145-R4 | each | 3 |  | 0
E072 | D.3 | Watermain and Water Service Insulation | E10
E073 | i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 670 |  | 0
F002 | D.4 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
| D.5 | Patching of Existing Manholes | CW 2130-R12 | vert. m | 1 |  | 0
HOWDEN ROAD - BETOURNAY ST TO HARPER AVE - REHABILIATION
MA50005788
E017 | D.6 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017E | i) | 250 mm
E017F | a) | Class 3 Backfill |  | each | 2 |  | 0
E020 | D.7 | Sewer Repair - In Addition to First 3.0 Meters | CW 2130-R12
E020E | i) | 250 mm
E020F | a) | Class 3 Backfill |  | m | 0.6 |  | 0
E036 | D.8 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 150 mm Connecting Pipe
E041B | a) | Connecting to 250 mm Sewer |  | each | 3 |  | 0
E022A | D.9 | Sewer Inspection ( following repair) | CW2145-R4
E022D | i) | 250 mm, Conc |  | m | 86 |  | 0
| D.10 | Patching of Existing Manholes | CW 2130-R12 | vert. m | 1 |  | 0
| D.11 | Replace Manhole Benching | E11 | each | 1 |  | 0
| D.12 | Manhole Inspection | CW 2145-R4 | each | 1 |  | 0
COTTONWOOD ROAD - MONACO BAY (E LEG) TO LAGIMODIERE BLVD - REHABILITATION
MA50006328
E017 | D.13 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017E | i) | 250 mm
E017F | a) | Class 3 Backfill |  | each | 2 |  | 0
E020 | D.14 | Sewer Repair - In Addition to First 3.0 Meters | CW 2130-R12
E020E | i) | 250 mm
E020F | a) | Class 3 Backfill |  | m | 0.8 |  | 0
E036 | D.15 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 150 mm Connecting Pipe
E041B | a) | Connecting to 250 mm Sewer |  | each | 3 |  | 0
E022A | D.16 | Sewer Inspection ( following repair) | CW2145-R4
E022D | i) | 250 mm, Conc |  | m | 80 |  | 0
F002 | D.17 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
| D.18 | Patching of Existing Manholes | CW 2130-R12 | vert. m | 1 |  | 0
| D | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
PART 2 MANITOBA HYDRO FUNDED WORK (See B9.5, B15.2.1, B16.4, D2, D14.2-3, D16.4)
| E | TACHE AVENUE - LYNDALE DR TO ST MARY'S ROAD - STREET LIGHTING
| E.1 | Removal of 25' to 35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances. | E15 | each | 11 |  | 0
| E.2 | Installation of 50 mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex). | E15 | m | 670 |  | 0
| E.3 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E15 | each | 15 |  | 0
| E.4 | Installation of one (1) 10' ground rod at end of street light circuit. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E15 | each | 3 |  | 0
| E.5 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E15 | each | 16 |  | 0
| E.6 | Installation of overhead span of #4 duplex between new or existing streetlight poles and connect luminaire to provide temporary feed. | E15 | per span | 17 |  | 0
| E.7 | Removal of overhead span of #4 duplex between new or existing streetlight poles to remove temporary feed. | E15 | per span | 17 |  | 0
| E.8 | Expose underground cable entrance of existing streetlight pole and install new streetlight cable. | E15 | each | 1 |  | 0
| E.9 | Install / lower 3 m of Cable Guard, ground lug, cable up pole, and first 3 m section of ground rod per Standard CD 315-5. | E15 | each | 3 |  | 0
| E.10 | Installation of break-away base and reaction plate on base mounted poles up to 35'. | E15 | each | 15 |  | 0
| E | TACHE AVENUE - LYNDALE DR TO ST MARY'S ROAD - STREET LIGHTING |  |  |  | Subtotal: | 0
SUMMARY
PART 1 CITY FUNDED WORK
| A | TACHE AVENUE - LYNDALE DR TO ST MARY'S ROAD - ASPHALT RECONSTRUCTION |  |  |  | Subtotal: | 0
| B | HOWDEN ROAD - BETOURNAY ST TO HARPER AVE - REHABILIATION |  |  |  | Subtotal: | 0
| C | COTTONWOOD ROAD - MONACO BAY (E LEG) TO LAGIMODIERE BLVD - REHABILITATION |  |  |  | Subtotal: | 0
| D | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 1 | 0
PART 2 MANITOBA HYDRO FUNDED WORK (See B9.5, B15.2.1, B16.4, D2, D14.2-3, D16.4)
| E | TACHE AVENUE - LYNDALE DR TO ST MARY'S ROAD - STREET LIGHTING |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 2 | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0