## 108-2020
FORM B: PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
PART 1 CITY FUNDED WORK
| A | BLACKWATER BAY - CHARING CROSS CRESCENT TO BLACKWATER BAY
EARTH AND BASE WORKS
| A.1 | Clearing and Grubbing - Tree Removal | CW 3010-R4, E5 | each | 2 |  | 0
A003 | A.2 | Excavation | CW 3110-R21 | m³ | 350 |  | 0
A004 | A.3 | Sub-Grade Compaction | CW 3110-R21 | m² | 740 |  | 0
A007 | A.4 | Supplying and Placing Sub-base Material | CW 3110-R21
A007B3 | i) | 50 mm Granular B |  | tonne | 565 |  | 0
A010 | A.5 | Supplying and Placing Base Course Material | CW 3110-R21
A010B1 | i) | Base Course Material - Granular B Limestone |  | m³ | 95 |  | 0
A012 | A.6 | Grading of Boulevards | CW 3110-R21 | m² | 610 |  | 0
A022 | A.7 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 740 |  | 0
A022A4 | A.8 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 740 |  | 0
A028 | A.9 | Common Excavation- Suitable site material | CW 3170-R3 | m³ | 15 |  | 0
A030 | A.10 | Fill Material | CW 3170-R3
A031 | i) | Placing Suitable Site Material |  | m³ | 15 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | A.11 | Pavement Removal | CW 3110-R21
B002 | i) | Concrete Pavement |  | m² | 665 |  | 0
B004 | A.12 | Slab Replacement | CW 3230-R8
B014 | i) | 150 mm Concrete Pavement (Reinforced) |  | m² | 31 |  | 0
B097 | A.13 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 8 |  | 0
B124 | A.14 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B125 | A.15 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B125A | A.16 | Removal of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B126r | A.17 | Concrete Curb Removal | CW 3240-R10
B127rB | i) | Barrier Separate |  | m | 15 |  | 0
B131r | ii) | Lip Curb | SD-202C | m | 7 |  | 0
B135i | A.18 | Concrete Curb Installation | CW 3240-R10
B139iA | i) | Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 15 |  | 0
B150i | ii) | Curb Ramp (8-12 mm reveal ht, Integral) | SD-229A,B,C | m | 7 |  | 0
B189 | A.19 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 40 |  | 0
ROADWORKS - NEW CONSTRUCTION
C032 | A.20 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
| i) | Construction of Barrier Curb for Asphalt Pavement-A (180 mm ht), Slip Form Paving | E21 | m | 104 |  | 0
| ii) | Construction of Landscape Barrier Curb (150 mm ht, Intergral) | E20 | m | 44 |  | 0
| iii) | Construction of Modified Barrier Curb for Asphalt Pavement-A (180 mm ht) | E21 | m | 47 |  | 0
| iv) | Construction of Lip Curb for Asphalt Pavement-A (40 mm ht, Integral) | E21 | m | 8 |  | 0
C051 | A.21 | 100 mm Concrete Sidewalk | CW 3325-R5 | m² | 174 |  | 0
C055 | A.22 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 75 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 10 |  | 0
C063 | A.23 | Construction of Asphaltic Concrete Base Course (Type III) | CW 3410-R12 | tonne | 120 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | A.24 | Catch Basin | CW 2130-R12
E004 | i) | SD-024, 1200 mm deep |  | each | 2 |  | 0
E008 | A.25 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E011 | a) | Trenchless Installation, Class B Type 2 Bedding, Class 3 Backfill |  | m | 9.7 |  | 0
E022A | A.26 | Sewer Inspection | CW 2145-R4
E022F | i) | 375 mm, PVC |  | m | 55 |  | 0
E036 | A.27 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm (PVC) Connecting Pipe
E039 | a) | Connecting to 375 mm (PVC) Sewer |  | each | 2 |  | 0
E046 | A.28 | Removal of Existing Catch Basins | CW 2130-R12 | each | 2 |  | 0
E051 | A.29 | Installation of Subdrains | CW 3120-R4 | m | 24 |  | 0
ADJUSTMENTS
F001 | A.30 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 1 |  | 0
F009 | A.31 | Adjustment of Valve Boxes | CW 3210-R8 | each | 2 |  | 0
F010 | A.32 | Valve Box Extensions | CW 3210-R8 | each | 2 |  | 0
F011 | A.33 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 1 |  | 0
F018 | A.34 | Curb Stop Extensions | CW 3210-R8 | each | 1 |  | 0
LANDSCAPING
G001 | A.35 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 60 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 550 |  | 0
MISCELLANEOUS
| A.36 | Adjustment of Sprinkler Head and/or Drainage Pipe | E15 | each | 1 |  | 0
| A.37 | Replace Existing Sprikler Pipe | E15 | m | 1 |  | 0
| A | BLACKWATER BAY - CHARING CROSS CRESCENT TO BLACKWATER BAY |  |  |  | Subtotal: | 0
| B | BLACKWATER BAY - CHARING CROSS CRESCENT TO END OF CUL-DE-SAC
EARTH AND BASE WORKS
| B.1 | Clearing and Grubbing - Tree Removal | CW 3010-R4, E5 | each | 3 |  | 0
A010 | B.2 | Supplying and Placing Base Course Material | CW 3110-R21
A010B1 | i) | Base Course Material - Granular B Limestone |  | m³ | 10 |  | 0
A012 | B.3 | Grading of Boulevards | CW 3110-R21 | m² | 2730 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B004 | B.4 | Slab Replacement | CW 3230-R8
B014 | i) | 150 mm Concrete Pavement (Reinforced) |  | m² | 60 |  | 0
B017 | B.5 | Partial Slab Patches | CW 3230-R8
B030 | i) | 150 mm Concrete Pavement (Type A) |  | m² | 5 |  | 0
B031 | ii) | 150 mm Concrete Pavement (Type B) |  | m² | 110 |  | 0
B032 | iii) | 150 mm Concrete Pavement (Type C) |  | m² | 20 |  | 0
B064-72 | B.6 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8
B074-72 | i) | 150 mm Concrete Pavement (Reinforced) |  | m² | 200 |  | 0
B093A | B.7 | Partial Depth Planing of Existing Joints | E14 | m² | 45 |  | 0
B093B | B.8 | Asphalt Patching of Partial Depth Joints | E14 | m² | 45 |  | 0
B094 | B.9 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 170 |  | 0
B097 | B.10 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 80 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 190 |  | 0
B124 | B.11 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 25 |  | 0
B125 | B.12 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 15 |  | 0
B125A | B.13 | Removal of Precast Sidewalk Blocks | CW 3235-R9 | m² | 15 |  | 0
B126r | B.14 | Concrete Curb Removal | CW 3240-R10
B127rB | i) | Barrier Separate |  | m | 55 |  | 0
B131r | ii) | Lip Curb | SD-202C | m | 450 |  | 0
B135i | B.15 | Concrete Curb Installation | CW 3240-R10
B136i | i) | Barrier (100 mm reveal ht, Dowelled), Slip Form Paving | SD-205 | m | 440 |  | 0
B139iA | ii) | Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 55 |  | 0
B150iA | iii) | Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229A,B,C | m | 14 |  | 0
B154rl | B.16 | Concrete Curb Renewal | CW 3240-R10
B183rlA | i) | Modified Lip Curb (75 mm reveal ht, Dowelled) | SD-202C | m | 35 |  | 0
B189 | B.17 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 10 |  | 0
B190 | B.18 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 640 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 60 |  | 0
B200 | B.19 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 90 |  | 0
B203 | ii) | 1 - 50 mm Depth (Concrete) |  | m² | 20 |  | 0
B206 | B.20 | Pavement Repair Fabric | E13 | m² | 640 |  | 0
ROADWORKS - NEW CONSTRUCTION
C051 | B.21 | 100 mm Concrete Sidewalk | CW 3325-R5 | m² | 105 |  | 0
JOINT AND CRACK SEALING
D006 | B.22 | Reflective Crack Maintenance | CW 3250-R7 | m | 615 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E023 | B.23 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 1 |  | 0
E026 | ii) | AP-008 - Standard Grated Cover for Standard Frame |  | each | 1 |  | 0
E028 | iii) | AP-011 - Barrier Curb and Gutter Frame |  | each | 2 |  | 0
E029 | iv) | AP-012 - Barrier Curb and Gutter Cover |  | each | 2 |  | 0
ADJUSTMENTS
F001 | B.24 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 5 |  | 0
F002 | B.25 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
F003 | B.26 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 1 |  | 0
F009 | B.27 | Adjustment of Valve Boxes | CW 3210-R8 | each | 4 |  | 0
F010 | B.28 | Valve Box Extensions | CW 3210-R8 | each | 2 |  | 0
F011 | B.29 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 1 |  | 0
F018 | B.30 | Curb Stop Extensions | CW 3210-R8 | each | 1 |  | 0
F015 | B.31 | Adjustment of Curb and Gutter Frames | CW 3210-R8 | each | 1 |  | 0
F019 | B.32 | Relocating Existing Hydrant - Type A | CW 2110-R11 | each | 1 |  | 0
LANDSCAPING
G001 | B.33 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 50 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 2680 |  | 0
MISCELLANEOUS
| B.34 | Adjustment of Sprinkler Head and/or Drainage Pipe | E15 | each | 2 |  | 0
| B.35 | Replace Existing Sprikler Pipe | E15 | m | 5 |  | 0
| B | BLACKWATER BAY - CHARING CROSS CRESCENT TO END OF CUL-DE-SAC |  |  |  | Subtotal: | 0
| C | DRAKE BOULEVARD - COTTONWOOD ROAD TO AUTUMNWOOD DRIVE
EARTH AND BASE WORKS
A010 | C.1 | Supplying and Placing Base Course Material | CW 3110-R21
A010B1 | i) | Base Course Material - Granular B Limestone |  | m³ | 10 |  | 0
A012 | C.2 | Grading of Boulevards | CW 3110-R21 | m² | 3675 |  | 0
A030 | C.3 | Fill Material | CW 3170-R3
A033 | i) | Supplying and Placing Imported Material |  | m³ | 35 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | C.4 | Pavement Removal | CW 3110-R21
B002 | i) | Concrete Pavement |  | m² | 155 |  | 0
B004 | C.5 | Slab Replacement | CW 3230-R8
B014 | i) | 150 mm Concrete Pavement (Reinforced) |  | m² | 100 |  | 0
B017 | C.6 | Partial Slab Patches | CW 3230-R8
B030 | i) | 150 mm Concrete Pavement (Type A) |  | m² | 95 |  | 0
B031 | ii) | 150 mm Concrete Pavement (Type B) |  | m² | 395 |  | 0
B032 | iii) | 150 mm Concrete Pavement (Type C) |  | m² | 15 |  | 0
B033 | iv) | 150 mm Concrete Pavement (Type D) |  | m² | 110 |  | 0
B064-72 | C.7 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8
B091-72 | i) | 150 mm Concrete Pavement (Type B) |  | m² | 20 |  | 0
B094 | C.8 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 180 |  | 0
B097 | C.9 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 100 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 1180 |  | 0
B100r | C.10 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B102r | i) | Monolithic Median Slab |  | m² | 25 |  | 0
B104r | ii) | 100 mm Sidewalk |  | m² | 20 |  | 0
B107i | C.11 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B111i | i) | 100 mm Sidewalk | SD-228A | m² | 65 |  | 0
B114rl | C.12 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 120 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 370 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 60 |  | 0
B121rlA | ii) | 150 mm Reinforced Sidewalk
B121rlB | a) | Less than 5 sq.m. |  | m² | 10 |  | 0
B124 | C.13 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B125 | C.14 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B125A | C.15 | Removal of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B135i | C.16 | Concrete Curb Installation | CW 3240-R10
B139iA | i) | Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 155 |  | 0
B150i | ii) | Curb Ramp (8-12 mm reveal ht, Integral) | SD-229A,B,C | m | 25 |  | 0
B154rl | C.17 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Barrier (100 mm reveal ht, Dowelled) | SD-205, SD-206A
B156rl | a) | Less than 3 m |  | m | 10 |  | 0
B157rl | b) | 3 m to 30 m |  | m | 695 |  | 0
B158rl | c) | Greater than 30 m |  | m | 310 |  | 0
B184rl | ii) | Curb Ramp (8-12 mm reveal ht, Integral) | SD-229C,D | m | 105 |  | 0
B182rl | iii) | Lip Curb (40 mm reveal ht, Integral) | SD-202B | m | 85 |  | 0
B189 | C.18 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 5 |  | 0
B190 | C.19 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 1550 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 425 |  | 0
B200 | C.20 | Planing of Pavement | CW 3450-R6
B202 | i) | 50 - 100 mm Depth (Asphalt) |  | m² | 7470 |  | 0
B206 | C.21 | Pavement Repair Fabric | E13 | m² | 1565 |  | 0
B219 | C.22 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 36 |  | 0
JOINT AND CRACK SEALING
D006 | C.23 | Reflective Crack Maintenance | CW 3250-R7 | m | 1230 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E006 | C.24 | Catch Pit | CW 2130-R12
E007 | i) | SD-023 |  | each | 30 |  | 0
E007D | C.25 | Remove and Replace Existing Catch Pit | CW 2130-R12
E007E | i) | SD-023 |  | each | 2 |  | 0
E012 | C.26 | Drainage Connection Pipe | CW 2130-R12 | m | 155 |  | 0
E023 | C.27 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 2 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 1 |  | 0
E026 | iii) | AP-008 - Standard Grated Cover for Standard Frame |  | each | 1 |  | 0
E034 | C.28 | Connecting to Existing Catch Basin | CW 2130-R12
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 30 |  | 0
E050 | C.29 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 48 |  | 0
ADJUSTMENTS
F001 | C.30 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 5 |  | 0
F002 | C.31 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
F003 | C.32 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 7 |  | 0
F005 | ii) | 51 mm |  | each | 8 |  | 0
F006 | iii) | 64 mm |  | each | 1 |  | 0
F007 | iv) | 76 mm |  | each | 2 |  | 0
F009 | C.33 | Adjustment of Valve Boxes | CW 3210-R8 | each | 10 |  | 0
F010 | C.34 | Valve Box Extensions | CW 3210-R8 | each | 3 |  | 0
F011 | C.35 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 1 |  | 0
F018 | C.36 | Curb Stop Extensions | CW 3210-R8 | each | 1 |  | 0
LANDSCAPING
G001 | C.37 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 150 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 3525 |  | 0
MISCELLANEOUS
| C.38 | Hydro Excavation | E16 | hr | 8 |  | 0
| C.39 | Adjustment of Sprinkler Head and/or Drainage Pipe | E15 | each | 2 |  | 0
| C.40 | Replace Existing Sprikler Pipe | E15 | m | 5 |  | 0
| C | DRAKE BOULEVARD - COTTONWOOD ROAD TO AUTUMNWOOD DRIVE |  |  |  | Subtotal: | 0
| D | FLEURY PLACE - FONTAINE CRESCENT TO FONTAINE CRESCENT
EARTH AND BASE WORKS
A003 | D.1 | Excavation | CW 3110-R21 | m³ | 710 |  | 0
A004 | D.2 | Sub-Grade Compaction | CW 3110-R21 | m² | 1585 |  | 0
A005 | D.3 | Supplying and Placing Suitable Site Sub-grade Material | CW 3110-R21 | m³ | 5 |  | 0
A007 | D.4 | Supplying and Placing Sub-base Material | CW 3110-R21
A007B3 | i) | 50 mm Granular B |  | tonne | 45 |  | 0
A008B3 | ii) | 100 mm Granular B |  | tonne | 1095 |  | 0
A010 | D.5 | Supplying and Placing Base Course Material | CW 3110-R21
A010B1 | i) | Base Course Material - Granular B Limestone |  | m³ | 160 |  | 0
A012 | D.6 | Grading of Boulevards | CW 3110-R21 | m² | 1070 |  | 0
A022 | D.7 | Geotextile Fabric | CW 3130-R5
A022A2 | i) | Separation/Filtration Fabric |  | m² | 1585 |  | 0
A022A4 | D.8 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 1585 |  | 0
A028 | D.9 | Common Excavation- Suitable site material | CW 3170-R3 | m³ | 20 |  | 0
A030 | D.10 | Fill Material | CW 3170-R3
A031 | i) | Placing Suitable Site Material |  | m³ | 20 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | D.11 | Pavement Removal | CW 3110-R21
B002 | i) | Concrete Pavement |  | m² | 1535 |  | 0
B004 | D.12 | Slab Replacement | CW 3230-R8
B014 | i) | 150 mm Concrete Pavement (Reinforced) |  | m² | 300 |  | 0
B097 | D.13 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 85 |  | 0
B124 | D.14 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 10 |  | 0
B125 | D.15 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B125A | D.16 | Removal of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B154rl | D.17 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Barrier (100 mm reveal ht, Dowelled) | SD-205, SD-206A
B156rl | a) | Less than 3 m |  | m | 5 |  | 0
B167rlA | ii) | Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 5 |  | 0
B182rl | iii) | Lip Curb (40 mm reveal ht, Integral) | SD-202B | m | 5 |  | 0
B189 | D.18 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 20 |  | 0
B190 | D.19 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 20 |  | 0
B200 | D.20 | Planing of Pavement | CW 3450-R6
B202 | i) | 50 - 100 mm Depth (Asphalt) |  | m² | 105 |  | 0
ROADWORKS - NEW CONSTRUCTION
C032 | D.21 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
| i) | Construction of Barrier Curb for Asphalt Pavement-A (180 mm ht), Slip Form Paving | E21 | m | 250 |  | 0
| ii) | Construction of Modified Barrier Curb for Asphalt Pavement-A (180 mm ht) | E21 | m | 35 |  | 0
| iii) | Construction of Lip Curb for Asphalt Pavement-A (40 mm ht, Integral) | E21 | m | 100 |  | 0
C055 | D.22 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 185 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 5 |  | 0
C063 | D.23 | Construction of Asphaltic Concrete Base Course (Type III) | CW 3410-R12 | tonne | 275 |  | 0
JOINT AND CRACK SEALING
D006 | D.24 | Reflective Crack Maintenance | CW 3250-R7 | m | 370 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E023 | D.25 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 2 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 2 |  | 0
ADJUSTMENTS
F001 | D.26 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 3 |  | 0
F002 | D.27 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
F009 | D.28 | Adjustment of Valve Boxes | CW 3210-R8 | each | 1 |  | 0
F010 | D.29 | Valve Box Extensions | CW 3210-R8 | each | 1 |  | 0
F011 | D.30 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 1 |  | 0
F018 | D.31 | Curb Stop Extensions | CW 3210-R8 | each | 1 |  | 0
LANDSCAPING
G001 | D.32 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 70 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 1000 |  | 0
MISCELLANEOUS
| D.33 | Adjustment of Sprinkler Head and/or Drainage Pipe | E15 | each | 2 |  | 0
| D.34 | Replace Existing Sprikler Pipe | E15 | m | 5 |  | 0
| D | FLEURY PLACE - FONTAINE CRESCENT TO FONTAINE CRESCENT |  |  |  | Subtotal: | 0
| E | OAKRIDGE BAY - METZ STREET TO METZ STREET
EARTH AND BASE WORKS
A010 | E.1 | Supplying and Placing Base Course Material | CW 3110-R21
A010B1 | i) | Base Course Material - Granular B Limestone |  | m³ | 10 |  | 0
A012 | E.2 | Grading of Boulevards | CW 3110-R21 | m² | 2065 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | E.3 | Pavement Removal | CW 3110-R21
B002 | i) | Concrete Pavement |  | m² | 310 |  | 0
B017 | E.4 | Partial Slab Patches | CW 3230-R8
B030 | i) | 150 mm Concrete Pavement (Type A) |  | m² | 5 |  | 0
B031 | ii) | 150 mm Concrete Pavement (Type B) |  | m² | 80 |  | 0
B064-72 | E.5 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8
B074-72 | i) | 150 mm Concrete Pavement (Reinforced) |  | m² | 630 |  | 0
B093A | E.6 | Partial Depth Planing of Existing Joints | E14 | m² | 45 |  | 0
B093B | E.7 | Asphalt Patching of Partial Depth Joints | E14 | m² | 45 |  | 0
B094 | E.8 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 150 |  | 0
B097 | E.9 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 160 |  | 0
B124 | E.10 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B125 | E.11 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B125A | E.12 | Removal of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B126r | E.13 | Concrete Curb Removal | CW 3240-R10
B127rB | i) | Barrier Separate |  | m | 40 |  | 0
B135i | E.14 | Concrete Curb Installation | CW 3240-R10
B139iA | i) | Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 35 |  | 0
B150i | ii) | Curb Ramp (8-12 mm reveal ht, Integral) | SD-229A,B,C | m | 5 |  | 0
B154rl | E.15 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Barrier (100 mm reveal ht, Dowelled) | SD-205, SD-206A
B156rl | a) | Less than 3 m |  | m | 25 |  | 0
B157rl | b) | 3 m to 30 m |  | m | 195 |  | 0
B189 | E.16 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 5 |  | 0
B190 | E.17 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 630 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 60 |  | 0
B200 | E.18 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 250 |  | 0
B206 | E.19 | Pavement Repair Fabric | E13 | m² | 1555 |  | 0
JOINT AND CRACK SEALING
D006 | E.20 | Reflective Crack Maintenance | CW 3250-R7 | m | 665 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E023 | E.21 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 1 |  | 0
E026 | ii) | AP-008 - Standard Grated Cover for Standard Frame |  | each | 1 |  | 0
E028 | iii) | AP-011 - Barrier Curb and Gutter Frame |  | each | 3 |  | 0
E029 | iv) | AP-012 - Barrier Curb and Gutter Cover |  | each | 3 |  | 0
ADJUSTMENTS
F001 | E.22 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 2 |  | 0
F002 | E.23 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
F003 | E.24 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 1 |  | 0
F005 | ii) | 51 mm |  | each | 1 |  | 0
F009 | E.25 | Adjustment of Valve Boxes | CW 3210-R8 | each | 1 |  | 0
F010 | E.26 | Valve Box Extensions | CW 3210-R8 | each | 1 |  | 0
F011 | E.27 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 1 |  | 0
F018 | E.28 | Curb Stop Extensions | CW 3210-R8 | each | 1 |  | 0
LANDSCAPING
G001 | E.29 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 50 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 2015 |  | 0
MISCELLANEOUS
| E.30 | Adjustment of Sprinkler Head and/or Drainage Pipe | E15 | each | 2 |  | 0
| E.31 | Replace Existing Sprikler Pipe | E15 | m | 5 |  | 0
| E | OAKRIDGE BAY - METZ STREET TO METZ STREET |  |  |  | Subtotal: | 0
| F | ROSEWARNE AVENUE - KINGSTON ROW TO ST MARY'S AVENUE
EARTH AND BASE WORKS
A003 | F.1 | Excavation | CW 3110-R21 | m³ | 2750 |  | 0
A004 | F.2 | Sub-Grade Compaction | CW 3110-R21 | m² | 4935 |  | 0
A005 | F.3 | Supplying and Placing Suitable Site Sub-grade Material | CW 3110-R21 | m³ | 190 |  | 0
A007 | F.4 | Supplying and Placing Sub-base Material | CW 3110-R21
A007B3 | i) | 50 mm Granular B |  | tonne | 4305 |  | 0
A010 | F.5 | Supplying and Placing Base Course Material | CW 3110-R21
A010B3 | i) | Base Course Material - Granular B |  | m³ | 645 |  | 0
A012 | F.6 | Grading of Boulevards | CW 3110-R21 | m² | 3950 |  | 0
A022 | F.7 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 4935 |  | 0
A022A4 | F.8 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 4935 |  | 0
A028 | F.9 | Common Excavation- Suitable site material | CW 3170-R3 | m³ | 200 |  | 0
A030 | F.10 | Fill Material | CW 3170-R3
A031 | i) | Placing Suitable Site Material |  | m³ | 200 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | F.11 | Pavement Removal | CW 3110-R21
B002 | i) | Concrete Pavement |  | m² | 5395 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 75 |  | 0
B097 | F.12 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 85 |  | 0
B100r | F.13 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 670 |  | 0
B105r | ii) | Bullnose |  | m² | 5 |  | 0
B107i | F.14 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B111i | i) | 100 mm Sidewalk | SD-228A | m² | 730 |  | 0
B114rl | F.15 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 35 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 30 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 30 |  | 0
B124 | F.16 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 41 |  | 0
B125 | F.17 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 41 |  | 0
B125A | F.18 | Removal of Precast Sidewalk Blocks | CW 3235-R9 | m² | 41 |  | 0
B154rl | F.19 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Barrier (100 mm reveal ht, Dowelled) | SD-205, SD-206A
B156rl | a) | Less than 3 m |  | m | 10 |  | 0
B185rlD | ii) | Splash Strip, ( Separate, 600 mm width) | SD-223B | m | 13 |  | 0
B189 | F.20 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 65 |  | 0
B190 | F.21 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B194 | i) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 5 |  | 0
B200 | F.22 | Planing of Pavement | CW 3450-R6
B202 | i) | 50 - 100 mm Depth (Asphalt) |  | m² | 25 |  | 0
B219 | F.23 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 3 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | F.24 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
C011 | i) | Construction of 150 mm Concrete Pavement (Reinforced) |  | m² | 780 |  | 0
C029-72 | ii) | Construction of 150 mm Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 255 |  | 0
C032 | F.25 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
| i) | Construction of Barrier Curb for Asphalt Pavement-A (180 mm ht), Slip Form Paving | E21 | m | 798 |  | 0
C036B | ii) | Construction of Modified Barrier (180 mm ht, Dowelled) | SD-203B | m | 51 |  | 0
| iii) | Construction of Modified Barrier Curb for Asphalt Pavement-A (180 mm ht) | E21 | m | 36 |  | 0
C045 | iv) | Construction of Lip Curb (40 mm ht, Integral) | SD-202B | m | 7 |  | 0
| v) | Construction of Lip Curb for Asphalt Pavement-A (40 mm ht, Integral) | E21 | m | 214 |  | 0
B150iA | vi) | Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229A,B,C | m | 14 |  | 0
| vii) | Construction of Curb Ramp for Asphalt Pavement-B (8-12 mm ht, Integral) | E21 | m | 19 |  | 0
C055 | F.26 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 530 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 7 |  | 0
C063 | F.27 | Construction of Asphaltic Concrete Base Course (Type III) | CW 3410-R12 | tonne | 800 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | F.28 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 6 |  | 0
E005A | ii) | SD-025, 1800 mm deep |  | each | 1 |  | 0
E007A | F.29 | Remove and Replace Existing Catch Basin | CW 2130-R12
E007B | i) | SD-024 |  | each | 7 |  | 0
E008 | F.30 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E011 | a) | Trenchless Installation, Class B Type 2 Bedding, Class 3 Backfill |  | m | 44.1 |  | 0
E022A | F.31 | Sewer Inspection | CW 2145-R4
E022E | i) | 300 mm, PVC |  | m | 46 |  | 0
E022I | ii) | 900x1350 mm, Concrete |  | m | 83 |  | 0
E023 | F.32 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 10 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 9 |  | 0
E026 | iii) | AP-008 - Standard Grated Cover for Standard Frame |  | each | 1 |  | 0
E032 | F.33 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 250 mm Catch Basin Lead |  | each | 3 |  | 0
E036 | F.34 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm (PVC) Connecting Pipe
E038 | a) | Connecting to 300 mm (PVC) Sewer |  | each | 1 |  | 0
E041B | b) | Connecting to 900x1350 mm (Concrete) Sewer |  | each | 4 |  | 0
E041B | c) | Connecting to 250 mm (Unknown) Sewer |  | each | 2 |  | 0
E046 | F.35 | Removal of Existing Catch Basins | CW 2130-R12 | each | 6 |  | 0
E050 | F.36 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 2 |  | 0
E051 | F.37 | Installation of Subdrains | CW 3120-R4 | m | 132 |  | 0
ADJUSTMENTS
F001 | F.38 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 5 |  | 0
F002 | F.39 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 2 |  | 0
F009 | F.40 | Adjustment of Valve Boxes | CW 3210-R8 | each | 4 |  | 0
F010 | F.41 | Valve Box Extensions | CW 3210-R8 | each | 1 |  | 0
F011 | F.42 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 5 |  | 0
F018 | F.43 | Curb Stop Extensions | CW 3210-R8 | each | 1 |  | 0
F022 | F.44 | Raising of Existing Hydrant | CW 2110-R11 | each | 1 |  | 0
LANDSCAPING
G001 | F.45 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 500 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 3450 |  | 0
MISCELLANEOUS
| F.46 | Hydro Excavation | E16 | hr | 8 |  | 0
| F.47 | Adjustment of Sprinkler Head and/or Drainage Pipe | E15 | each | 1 |  | 0
| F.48 | Replace Existing Sprikler Pipe | E15 | m | 1 |  | 0
| F | ROSEWARNE AVENUE - KINGSTON ROW TO ST MARY'S AVENUE |  |  |  | Subtotal: | 0
| G | WATER AND WASTE WORK
FLEURY PLACE - WATER MAIN AND WATER SERVICE INSULATION
E072 | G.1 | Watermain and Water Service Insulation | E19
E073 | i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 140 |  | 0
ROSEWARNE AVENUE - WATER MAIN AND WATER SERVICE INSULATION
E072 | G.2 | Watermain and Water Service Insulation | E19
E073 | i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 820 |  | 0
| G | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
PART 2 MANITOBA HYDRO/PROVINCIALLY FUNDED WORK (See B9.6, B17.2.1, B18.6, D2.1, D12.2-3, D13.4)
| H | BACKWATER BAY - CHARING CROSS CRESCENT TO BLACKWATER BAY, STREET LIGHTING
| H.1 | Removal of 25' to 35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E19 | each | 2 |  | 0
| H.2 | Installation of 50 mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex). | E19 | lin.m | 70 |  | 0
| H.3 | Installation of cable(s) (#4 AL C/N or 1/0 AL Triplex) by boring method. | E19 | lin.m | 70 |  | 0
| H.4 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E19 | each | 2 |  | 0
| H.5 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E19 | each | 2 |  | 0
| H.6 | Install lower 3 m of Cable Guard, ground lug, cable up pole, and first 3 m section of ground rod per Standard CD 315-5. | E19 | each | 2 |  | 0
| H.7 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E19 | each | 2 |  | 0
| H.8 | Splicing #4 Al C/N or 2 single conductor street light cables. | E19 | each | 2 |  | 0
| H.9 | Installation of overhead span of #6 duplex between new or existing streetlight poles and connect luminaire to provide temporary Overhead Feed. | E19 | per span | 2 |  | 0
| H.10 | Removal of overhead span of #6 duplex between new or existing streetlight poles to remove temporary Overhead Feed. | E19 | per span | 2 |  | 0
| H.11 | Expose underground cable entrance of existing streetlight pole and install new streetlight cable. | E19 | each | 2 |  | 0
| H | BACKWATER BAY - CHARING CROSS CRESCENT TO BLACKWATER BAY, STREET LIGHTING |  |  |  | Subtotal: | 0
| I | FLEURY PLACE - FONTAINE CRESCENT TO FONTAINE CRESCENT, STREET LIGHTING
| I.1 | Removal of 25' to 35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E19 | each | 4 |  | 0
| I.2 | Installation of 50 mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex). | E19 | lin.m | 340 |  | 0
| I.3 | Installation of cable(s) (#4 AL C/N or 1/0 AL Triplex) by boring method. | E19 | lin.m | 340 |  | 0
| I.4 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E19 | each | 4 |  | 0
| I.5 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E19 | each | 2 |  | 0
| I.6 | Install lower 3 m of Cable Guard, ground lug, cable up pole, and first 3 m section of ground rod per Standard CD 315-5. | E19 | each | 2 |  | 0
| I.7 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E19 | each | 4 |  | 0
| I.8 | Splicing #4 Al C/N or 2 single conductor street light cables. | E19 | each | 2 |  | 0
| I.9 | Installation of overhead span of #4 duplex between new or existing streetlight poles and connect luminaire to provide temporary Overhead Feed. | E19 | per span | 4 |  | 0
| I.10 | Removal of overhead span of #4 duplex between new or existing streetlight poles to remove temporary Overhead Feed. | E19 | per span | 4 |  | 0
| I.11 | Expose underground cable entrance of existing streetlight pole and install new streetlight cable. | E19 | each | 2 |  | 0
| I | FLEURY PLACE - FONTAINE CRESCENT TO FONTAINE CRESCENT, STREET LIGHTING |  |  |  | Subtotal: | 0
| J | ROSEWARNE AVENUE - KINGSTON ROW TO ST MARY'S AVENUE, STREET LIGHTING
| J.1 | Removal of 25' to 35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E19 | each | 8 |  | 0
| J.2 | Installation of 50 mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex). | E19 | lin.m | 503 |  | 0
| J.3 | Installation of cable(s) (#4 AL C/N or 1/0 AL Triplex) by boring method. | E19 | lin.m | 503 |  | 0
| J.4 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E19 | each | 8 |  | 0
| J.5 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E19 | each | 4 |  | 0
| J.6 | Install lower 3 m of Cable Guard, ground lug, cable up pole, and first 3 m section of ground rod per Standard CD 315-5. | E19 | each | 4 |  | 0
| J.7 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E19 | each | 2 |  | 0
| J.8 | Splicing #4 Al C/N or 2 single conductor street light cables. | E19 | each | 2 |  | 0
| J.9 | Installation of overhead span of #6 duplex between new or existing streetlight poles and connect luminaire to provide temporary Overhead Feed. | E19 | per span | 9 |  | 0
| J.10 | Removal of overhead span of #6 duplex between new or existing streetlight poles to remove temporary Overhead Feed. | E19 | per span | 9 |  | 0
| J.11 | Expose underground cable entrance of existing streetlight pole and install new streetlight cable. | E19 | each | 2 |  | 0
| J | ROSEWARNE AVENUE - KINGSTON ROW TO ST MARY'S AVENUE, STREET LIGHTING |  |  |  | Subtotal: | 0
| K | MOBILIZATION /DEMOLIBIZATION
I001 | K.1 | Mobilization/Demobilization | E2 | L. sum | 1 |  | 0
| K | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0
SUMMARY
PART 1 CITY FUNDED WORK
| A | BLACKWATER BAY - CHARING CROSS CRESCENT TO BLACKWATER BAY |  |  |  | Subtotal: | 0
| B | BLACKWATER BAY - CHARING CROSS CRESCENT TO END OF CUL-DE-SAC |  |  |  | Subtotal: | 0
| C | DRAKE BOULEVARD - COTTONWOOD ROAD TO AUTUMNWOOD DRIVE |  |  |  | Subtotal: | 0
| D | FLEURY PLACE - FONTAINE CRESCENT TO FONTAINE CRESCENT |  |  |  | Subtotal: | 0
| E | OAKRIDGE BAY - METZ STREET TO METZ STREET |  |  |  | Subtotal: | 0
| F | ROSEWARNE AVENUE - KINGSTON ROW TO ST MARY'S AVENUE |  |  |  | Subtotal: | 0
| G | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 1 | 0
PART 2 MANITOBA HYDRO/PROVINCIALLY FUNDED WORK (See B9.6, B17.2.1, B18.6, D2.1, D12.2-3, D13.4)
| H | BACKWATER BAY - CHARING CROSS CRESCENT TO BLACKWATER BAY, STREET LIGHTING |  |  |  | Subtotal: | 0
| I | FLEURY PLACE - FONTAINE CRESCENT TO FONTAINE CRESCENT, STREET LIGHTING |  |  |  | Subtotal: | 0
| J | ROSEWARNE AVENUE - KINGSTON ROW TO ST MARY'S AVENUE, STREET LIGHTING |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 2 | 0
| K | MOBILIZATION /DEMOLIBIZATION |  |  |  | Total: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0