## Unit prices
FORM B:PRICES
(See "Prices" clause in tender document)
UNIT PRICES
Item | Description | Spec. Ref | Unit | Approximate Quantity | Unit Price | Amount
1 | Drill and Install Vertical Gas Extraction Wells | 33 51 26 | Vert. Metre | 350 | 0 | 0
2 | Well Abandonment | 33 51 26 | Vert. Metre | 10 | 0 | 0
3 | 450 mm HDPE LFG Collection Header Pipe, 75 mm HDPE Forcemain Pipe and 75 mm HDPE Compressed Air Pipe in same trench (triple pipe trench) | 33 52 16 | Lin. Metre | 450 | 0 | 0
4 | 250 mm HDPE LFG Collection Lateral Pipe and 75 mm HDPE Forcemain and Compressed Air Pipe in same trench (triple pipe trench) | 33 52 16 | Lin. Metre | 242 | 0 | 0
5 | 150 mm HDPE LFG Collection Sub-Lateral Pipe, Including Six (6) Pipe Stubs for Future Horizontals (single pipe trench) | 33 52 16 | Lin. Metre | 505 | 0 | 0
6 | 100 mm HDPE LFG Collection Sub-Lateral Pipe and 75 mm HDPE Forcemain and Compressed Air Pipe in same trench (triple pipe trench) | 33 52 16 | Lin. Metre | 796 | 0 | 0
7 | 100 mm HDPE LFG Collection Sub-Lateral Pipe to Leachate Manholes (single pipe trench) | 33 52 16 | Lin. Metre | 132 | 0 | 0
8 | 75 mm HDPE Forcemain Pipe and 75 mm HDPE Compressed Air Pipe to Existing Wells (double pipe trench) | 33 52 16 | Lin. Metre | 2530 | 0 | 0
9 | New Dual-Purpose Landfill Gas Wellhead Assembly | 33 52 17 | Each | 15 | 0 | 0
10 | Landfill Gas Wellhead Assembly to Horizontals & Manholes | 33 52 17 | Each | 5 | 0 | 0
11 | Dual-Purpose Retrofits at Existing Landfill Gas Wellheads | 33 52 17 | Each | 57 | 0 | 0
12 | Wellbore Seals at Existing Landfill Gas Wellheads | 33 52 17 | Each | 47 | 0 | 0
13 | Flow Control Assembly on Header (three valves: 450 / 75 / 75 mm). | 33 52 17 | Each | 1 | 0 | 0
14 | Flow Control Assembly on Lateral (three valves: 250 / 75 / 75 mm). | 33 52 17 | Each | 1 | 0 | 0
15 | Gravity Drain Trap in Waste | 33 52 17 | Each | 1 | 0 | 0
16 | Gravity Drain Trap to Leachate Cleanout | 33 52 17 | Each | 1 | 0 | 0
17 | Coring and Pipe Seals at Manholes for Gas Collection | 33 52 17 | Each | 3 | 0 | 0
18 | Leachate Manhole Lid Retrofit | 33 52 17 | Each | 10 | 0 | 0
19 | Leachate Pumping Manhole Retrofit | 33 52 17 | Each | 11 | 0 | 0
20 | Wellfield Restoration | 31 22 19 | Lump Sum | 1 | 0 | 0
21 | Wellfield System Testing and Commissioning | 01 91 00 | Lump Sum | 1 | 0 | 0
22 | Reinforced Concrete Slab for Compressed Air System | 22 15 00 | Lump Sum | 1 | 0 | 0
23 | Compressed Air System | 22 15 00 | Lump Sum | 1 | 0 | 0
24 | Disconnect on Outside of Electrical Container | 26 28 17 | Lump Sum | 1 | 0 | 0
25 | Electrical and Control Conduits to Compressed Air System | 26 05 13 | Lump Sum | 1 | 0 | 0
26 | Grounding and Bonding of Compressed Air System | 26 05 26 | Lump Sum | 1 | 0 | 0
27 | 75 mm HDPE Forcemain Pipe and 75 mm HDPE Compressed Air Pipe from Air Compressor Container to Wellfield Piping in same trench (double pipe trench) | 33 52 16 | Lin. Metre | 15 | 0 | 0
28 | Compressed Air System Restoration | 31 22 19 | Lump Sum | 1 | 0 | 0
29 | Compressed Air System Testing and Commissioning | 01 91 00 | Lump Sum | 1 | 0 | 0
30 | MRST |  | Lump Sum | 1 | 0 | 0
TOTAL BID PRICE (GST extra) (in numbers) |  |  |  |  | 0
Name of Bidder
Note on C2: Insert reference to "Prices" clause from the "Bidding Procedures". Also Revise the Header by inserting Tender # and revising the Tender Version number to match the Tender template used.
Note on A3: For Tenders with Budgets enter here. Format is BUDGET: $###.###.##