## FORM B
FORM B: PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
PART 1 CITY FUNDED WORK
| A | RECONSTRUCTION: FORT STREET FROM BROADWAY TO GRAHAM AVENUE
EARTH AND BASE WORKS
A003 | A.1 | Excavation | CW 3110-R20 | m³ | 4800 |  | 0
A004 | A.2 | Sub-Grade Compaction | CW 3110-R20 | m² | 8200 |  | 0
A007 | A.3 | Supplying and Placing Sub-base Material | CW 3110-R20
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 3250 |  | 0
A008A1 | ii) | 100 mm Granular A Limestone |  | tonne | 6000 |  | 0
A010 | A.4 | Supplying and Placing Base Course Material | CW 3110-R20
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 850 |  | 0
A012 | A.5 | Grading of Boulevards | CW 3110-R20 | m² | 25 |  | 0
A016 | A.6 | Removal of Existing Concrete Bases | CW 3110-R20
A017 | i) | 600 mm Diameter or Less |  | each | 3 |  | 0
A022 | A.7 | Geotextile Fabric | CW 3130-R5
A022A1 | i) | Separation Fabric |  | m² | 8200 |  | 0
A022A4 | A.8 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 8200 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | A..9 | Pavement Removal | CW 3110-R20
B002 | i) | Concrete Pavement |  | m² | 7900 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 50 |  | 0
B094 | A.10 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 20 |  | 0
B097 | A.11 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 165 |  | 0
B100r | A.12 | Miscellaneous Concrete Slab Removal | CW 3235-R9
| i) | 100 mm Sidewalk (includes paving stones) | E25 | m² | 2500 |  | 0
B107i | A.13 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B114A | i) | 100 mm Sidewalk with Block Outs | E41 | m² | 2650 |  | 0
| A.14 | Paving Stones for Indicator Surface | CW 3330-R5/ E27
| a) | 210 mm x 210 mm x 60 mm Charcoal Holland Paving Stones |  | m² | 360 |  | 0
B114rl | A.15 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 10 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 20 |  | 0
B154rl | A.16 | Concrete Curb Renewal | CW 3240-R10
B155rlB | i) | Barrier (180 mm reveal ht, Dowelled) | SD-205, SD-206A
B156rlB | a) | Less than 3 m |  | m | 10 |  | 0
B157rlB | b) | 3 m to 30 m |  | m | 20 |  | 0
B200 | A.17 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 100 |  | 0
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 20 |  | 0
B206 | A.18 | Pavement Repair Fabric | E12 | m² | 20 |  | 0
B219 | A.19 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 20 |  | 0
ROADWORK - NEW CONSTRUCTION
C001 | A.20 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
C004 | i) | Construction of 250 mm Concrete Pavement (Plain-Dowelled) |  | m² | 1650 |  | 0
C007 | ii) | Construction of 230 mm Concrete Pavement (Plain-Dowelled) |  | m² | 3550 |  | 0
C008 | iii) | Construction of 200 mm Concrete Pavement (Reinforced) |  | m² | 400 |  | 0
C019 | A.21 | Concrete Pavements for Early Opening | CW 3310-R17
C022-24 | i) | Construction of 250 mm Concrete Pavement for Early Opening 24 Hour (Plain-Dowelled) |  | m² | 350 |  | 0
C022-72 | ii) | Construction of 250 mm Concrete Pavement for Early Opening 72 Hour (Plain-Dowelled) |  | m² | 350 |  | 0
C025-24 | iii) | Construction of 230 mm Concrete Pavement for Early Opening 24 Hour (Plain-Dowelled) |  | m² | 760 |  | 0
C025-72 | iv) | Construction of 230 mm Concrete Pavement for Early Opening 72 Hour (Plain-Dowelled) |  | m² | 760 |  | 0
C026-24 | v) | Construction of 200 mm Concrete Pavement for Early Opening 24 Hour (Reinforced) |  | m² | 65 |  | 0
C026-72 | vi) | Construction of 200 mm Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 65 |  | 0
C032 | A.22 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
C034B | i) | Construction of Barrier (180 mm ht, Separate) | SD-203A | m | 690 |  | 0
C037B | ii) | Construction of Modified Barrier (180 mm ht, Integral) | SD-203B | m | 130 |  | 0
C045 | iii) | Construction of Lip Curb (40 mm ht, Integral) | SD-202B | m | 30 |  | 0
C046 | iv) | Construction of Curb Ramp (8-12 mm ht, Integral) | SD-229C | m | 200 |  | 0
C050 | A.23 | Supply and Installation of Dowel Assemblies | CW 3310-R17 | m | 1700 |  | 0
C052 | A.24 | Interlocking Paving Stones | CW 3330-R5 | m² | 70 |  | 0
C055 | A.25 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C059 | i) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 50 |  | 0
JOINT AND CRACK SEALING
D006 | A.26 | Reflective Crack Maintenance | CW 3250-R7 | m | 50 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | A.27 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 17 |  | 0
E005A | ii) | SD-025, 1800 mm deep |  | each | 2 |  | 0
E006 | A.28 | Catch Pit | CW 2130-R12
E007 | i) | SD-023 |  | each | 4 |  | 0
| A.29 | Installation of Curb Inlet Box, Frame and Cover | SD-221, SD-222 | each | 1 |  | 0
E008 | A.30 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Type 2 Bedding, Class 2 Backfill |  | m | 105 |  | 0
E012 | A.31 | Drainage Connection Pipe | CW 2130-R12 | m | 10 |  | 0
E023 | A.32 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 15 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 15 |  | 0
E026 | iii) | AP-008 - Standard Grated Cover for Standard Frame |  | each | 1 |  | 0
E028 | iv) | AP-011 - Barrier Curb and Gutter Frame |  | each | 1 |  | 0
E029 | v) | AP-012 - Barrier Curb and Gutter Cover |  | each | 1 |  | 0
E036 | A.33 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm (Type PVC) Connecting Pipe
E038 | a) | Connecting to 300 mm (CS) Sewer |  | each | 14 |  | 0
E042 | A.34 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 250 mm |  | each | 3 |  | 0
E044 | A.35 | Abandoning Existing Catch Basins | CW 2130-R12 | each | 11 |  | 0
E046 | A.36 | Removal of Existing Catch Basins | CW 2130-R12 | each | 15 |  | 0
E047 | A.37 | Removal of Existing Catch Pit | CW 2130-R12 | each | 9 |  | 0
E050A | A.38 | Catch Basin Cleaning | CW 2140-R4 | each | 1 |  | 0
E051 | A.39 | Installation of Subdrains | CW 3120-R4 | m | 400 |  | 0
E072 | A.40 | Watermain and Water Service Insulation | E15 | m2 | 2300 |  | 0
| A.41 | Catch Basin Flow Restrictors | CW 2130-R12/ E16 | each | 16 |  | 0
| A.42 | Abandoning Existing Sewer Services under Existing or Future Pavement | CW 2130-R12 | each | 12 |  | 0
| A.43 | Catchpit and Catchbasin Insulation | CW 2130-R12/ E14 | each | 18 |  | 0
ADJUSTMENTS
F001 | A.44 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 15 |  | 0
F002 | A.45 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1.5 |  | 0
F003 | A.46 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 2 |  | 0
F005 | ii) | 51 mm |  | each | 15 |  | 0
F007 | iii) | 76 mm |  | each | 3 |  | 0
F009 | A.47 | Adjustment of Valve Boxes | CW 3210-R8 | each | 8 |  | 0
F010 | A.48 | Valve Box Extensions | CW 3210-R8 | each | 14 |  | 0
F011 | A.49 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 5 |  | 0
F018 | A.50 | Curb Stop Extensions | CW 3210-R8 | each | 1 |  | 0
F028 | A.51 | Adjustment of Traffic Signal Service Box Frames | CW 3210-R8 | each | 1 |  | 0
LANDSCAPING
G001 | A.52 | Sodding | CW 3510-R9
G003 | i) | width > or = 600 mm |  | m² | 20 |  | 0
MISCELLANEOUS
| A.53 | Tree Removal | E24 | each | 1 |  | 0
| A.54 | Tree Vaults | E28 | m² | 32 |  | 0
| A.55 | Pick Up and Install Tree Grates | E28 | each | 2 |  | 0
| A.56 | Supply and Install Tree Grate Frames | E28 | each | 2 |  | 0
| A.57 | Long Term Maintenance | E33
| i) | General Maintenance of Plant Material |  | years | 2 |  | 0
| A.58 | Supply and Install Tree Vault Covers | E28 | each | 12 |  | 0
| A.59 | Pick Up and Install Tree Guard | E28 | each | 2 |  | 0
| A.60 | Supply and Install Planting Medium | E29 | m3 | 20 |  | 0
| A.61 | Plant Material | E32
| i) | Brandon Elm |  | each | 2 |  | 0
| A.62 | Hydro Excavation | E13 | hours | 100 |  | 0
| A.63 | Removal and Installation of Utility Frame and Cover | E18 | each | 1 |  | 0
| A.64 | Installation of Utility Riser Rings | E18 | each | 6 |  | 0
| A.65 | Green Bike Lane Treatment | E19 | m² | 50 |  | 0
| A.66 | Supply and Install Bicycle Rack | E30 | each | 4 |  | 0
| A | RECONSTRUCTION: FORT STREET FROM BROADWAY TO GRAHAM AVENUE |  |  |  | Subtotal: | 0
| B | RECONSTRUCTION: HARGRAVE STREET FROM PORTAGE AVENUE TO ELLICE AVENUE
EARTH AND BASE WORKS
A003 | B.1 | Excavation | CW 3110-R20 | m³ | 1490 |  | 0
A004 | B.2 | Sub-Grade Compaction | CW 3110-R20 | m² | 2450 |  | 0
A007 | B.3 | Supplying and Placing Sub-base Material | CW 3110-R20
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 975 |  | 0
A008A1 | ii) | 100 mm Granular A Limestone |  | tonne | 1775 |  | 0
A010 | B.4 | Supplying and Placing Base Course Material | CW 3110-R20
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 260 |  | 0
A012 | B.5 | Grading of Boulevards | CW 3110-R20 | m² | 25 |  | 0
A016 | B.6 | Removal of Existing Concrete Bases | CW 3110-R20
A017 | i) | 600 mm Diameter or Less |  | each | 3 |  | 0
A022 | B.7 | Geotextile Fabric | CW 3130-R5
A022A1 | i) | Separation Fabric |  | m² | 2450 |  | 0
A022A4 | B.8 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 2450 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | B.9 | Pavement Removal | CW 3110-R20
B002 | i) | Concrete Pavement |  | m² | 2400 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 50 |  | 0
B094 | B.10 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 20 |  | 0
B097 | B.11 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 25 |  | 0
B100r | B.12 | Miscellaneous Concrete Slab Removal | CW 3235-R9
| i) | 100 mm Sidewalk (including paving stones) | E25 | m² | 950 |  | 0
B107i | B.13 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B114A | i) | 100 mm Sidewalk with Block Outs | E41 | m² | 950 |  | 0
B114E | B.14 | Paving Stone Indicator Surfaces | CW 3330-R5/ E27
| a) | 210 mm x 210 mm x 60 mm Charcoal Holland Paving Stones |  | m² | 110 |  | 0
B114rl | B.15 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 10 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 20 |  | 0
B154rl | B.16 | Concrete Curb Renewal | CW 3240-R10
B155rlB | i) | Barrier (180 mm reveal ht, Dowelled) | SD-205, SD-206A
B156rlB | a) | Less than 3 m |  | m | 10 |  | 0
B157rlB | b) | 3 m to 30 m |  | m | 20 |  | 0
B200 | B.17 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 65 |  | 0
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 20 |  | 0
B206 | B.18 | Pavement Repair Fabric | E12 | m² | 20 |  | 0
B219 | B.19 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 12 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | B.20 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
C007 | i) | Construction of 230 mm Concrete Pavement (Plain-Dowelled) |  | m² | 1670 |  | 0
C008 | ii) | Construction of 200 mm Concrete Pavement (Reinforced) |  | m² | 100 |  | 0
C010 | iii) | Construction of 200 mm Concrete Pavement (Plain-Dowelled) |  | m² | 300 |  | 0
C015 | iv) | Construction of Monolithic Concrete Median Slabs | SD-226A | m² | 150 |  | 0
C018 | v) | Construction of Monolithic Concrete Bull-noses | SD-227C | m² | 20 |  | 0
C019 | B.21 | Concrete Pavements for Early Opening | CW 3310-R17
C025-24 | i) | Construction of 230 mm Concrete Pavement for Early Opening 24 Hour (Plain-Dowelled) |  | m² | 350 |  | 0
C025-72 | ii) | Construction of 230 mm Concrete Pavement for Early Opening 72 Hour (Plain-Dowelled) |  | m² | 350 |  | 0
C026-24 | iii) | Construction of 200 mm Concrete Pavement for Early Opening 24 Hour (Reinforced) |  | m² | 70 |  | 0
C026-72 | iv) | Construction of 200 mm Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 70 |  | 0
C032 | B.22 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
C034B | i) | Construction of Barrier (180 mm ht, Separate) | SD-203A | m | 210 |  | 0
C037B | ii) | Construction of Modified Barrier (180 mm ht, Integral) | SD-203B | m | 30 |  | 0
C045 | iii) | Construction of Lip Curb (40 mm ht, Integral) | SD-202B | m | 30 |  | 0
C046 | iv) | Construction of Curb Ramp (8-12 mm ht, Integral) | SD-229C | m | 90 |  | 0
C050 | B.23 | Supply and Installation of Dowel Assemblies | CW 3310-R17 | m | 600 |  | 0
C052 | B.24 | Interlocking Paving Stones | CW 3330-R5 | m² | 75 |  | 0
C055 | B.25 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C059 | i) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 50 |  | 0
JOINT AND CRACK SEALING
D006 | B.26 | Reflective Crack Maintenance | CW 3250-R7 | m | 40 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | B.27 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 5 |  | 0
E006 | B.28 | Catch Pit | CW 2130-R12
E007 | i) | SD-023 |  | each | 1 |  | 0
E008 | B.29 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Type 2 Bedding, Class 2 Backfill |  | m | 35 |  | 0
E012 | B.30 | Drainage Connection Pipe | CW 2130-R12 | m | 10 |  | 0
E023 | B.31 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 5 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 5 |  | 0
E026 | iii) | AP-008 - Standard Grated Cover for Standard Frame |  | each | 1 |  | 0
E028 | iv) | AP-011 - Barrier Curb and Gutter Frame |  | each | 1 |  | 0
E029 | v) | AP-012 - Barrier Curb and Gutter Cover |  | each | 1 |  | 0
E036 | B.32 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm (Type PVC) Connecting Pipe
E038 | a) | Connecting to 300 mm (CS) Sewer |  | each | 5 |  | 0
E042 | B.33 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 250 mm |  | each | 1 |  | 0
E044 | B.34 | Abandoning Existing Catch Basins | CW 2130-R12 | each | 1 |  | 0
E046 | B.35 | Removal of Existing Catch Basins | CW 2130-R12 | each | 4 |  | 0
E047 | B.36 | Removal of Existing Catch Pit | CW 2130-R12 | each | 1 |  | 0
E050A | B.37 | Catch Basin Cleaning | CW 2140-R4 | each | 1 |  | 0
E051 | B.38 | Installation of Subdrains | CW 3120-R4 | m | 120 |  | 0
E072 | B.39 | Watermain and Water Service Insulation | E15 | m² | 680 |  | 0
| B.40 | Catch Basin Flow Restrictors | CW 2130-R12/ E16 | each | 5 |  | 0
| B.41 | Abandoning Existing Sewer Services under Existing or Future Pavement | CW 2130-R12 | each | 4 |  | 0
| B.42 | Catchpit and Catchbasin Insulation | CW 2130-R12/ E14 | each | 3 |  | 0
ADJUSTMENTS
F001 | B.43 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 5 |  | 0
F002 | B.44 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
F002B | ii) | Brick Risers |  | vert. m | 0.5 |  | 0
F003 | B.45 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 1 |  | 0
F005 | ii) | 51 mm |  | each | 5 |  | 0
F007 | iii) | 76 mm |  | each | 1 |  | 0
F009 | B.46 | Adjustment of Valve Boxes | CW 3210-R8 | each | 2 |  | 0
F010 | B.47 | Valve Box Extensions | CW 3210-R8 | each | 8 |  | 0
F011 | B.48 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 2 |  | 0
F018 | B.49 | Curb Stop Extensions | CW 3210-R8 | each | 1 |  | 0
F028 | B.50 | Adjustment of Traffic Signal Service Box Frames | CW 3210-R8 | each | 3 |  | 0
LANDSCAPING
G001 | B.51 | Sodding | CW 3510-R9
G003 | i) | width > or = 600 mm |  | m² | 25 |  | 0
MISCELLANEOUS
| B.52 | Tree Removal | E24 | each | 3 |  | 0
| B.53 | Tree Vaults | E28 | m² | 32 |  | 0
| B.54 | Pick Up and Install Tree Grates | E28 | each | 2 |  | 0
| B.55 | Supply and Install Tree Grate Frames | E28 | each | 2 |  | 0
| B.56 | Long Term Maintenance | E33
| i) | General Maintenance of Plant Material |  | years | 2 |  | 0
| B.57 | Supply and Install Tree Vault Covers | E28 | each | 12 |  | 0
| B.58 | Pick Up and Install Tree Guard | E28 | each | 2 |  | 0
| B.59 | Supply and Install Planting Medium | E29 | m3 | 20 |  | 0
| B.60 | Plant Material | E32
| i) | Hackberry |  | each | 2 |  | 0
| B.61 | Hydro Excavation | E13 | hours | 100 |  | 0
| B.62 | Removal and Installation of Utility Frame and Cover | E18 | each | 4 |  | 0
| B.63 | Installation of Utility Riser Rings | E18 | each | 2 |  | 0
| B | RECONSTRUCTION: HARGRAVE STREET FROM PORTAGE AVENUE TO ELLICE AVENUE |  |  |  | Subtotal: | 0
| C | THIN BITUMINOUS OVERLAY - PORTAGE AVENUE FROM MEMORIAL STREET TO FORT STREET
EARTH AND BASE WORKS
A003 | C.1 | Excavation | CW 3110-R20 | m³ | 55 |  | 0
A010 | C.2 | Supplying and Placing Base Course Material | CW 3110-R20
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 115 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B017 | C.3 | Partial Slab Patches | CW 3230-R8
B018 | i) | 250 mm Concrete Pavement (Type A) |  | m² | 50 |  | 0
B019 | ii) | 250 mm Concrete Pavement (Type B) |  | m² | 20 |  | 0
B021 | iii) | 250 mm Concrete Pavement (Type D) |  | m² | 500 |  | 0
B047-24 | C.4 | Partial Slab Patches - Early Opening (24 hour) | CW 3230-R8
B048-24 | i) | 250 mm Concrete Pavement (Type A) |  | m² | 25 |  | 0
B049-24 | ii) | 250 mm Concrete Pavement (Type B) |  | m² | 10 |  | 0
B050-24 | iii) | 250 mm Concrete Pavement (Type C) |  | m² | 10 |  | 0
B051-24 | iv) | 250 mm Concrete Pavement (Type D) |  | m² | 250 |  | 0
B077-72 | C.5 | Partial Slab Patches - Early Opening (72 hour) | CW 3230-R8
B079-72 | i) | 250 mm Concrete Pavement (Type B) |  | m² | 5 |  | 0
B081-72 | ii) | 250 mm Concrete Pavement (Type D) |  | m² | 240 |  | 0
B0936 | C.6 | Asphalt Patching of Partial Depth Joints | E20 | m² | 300 |  | 0
B094 | C.7 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 85 |  | 0
B097 | C.8 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 460 |  | 0
B114rl | C.9 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 45 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 325 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 530 |  | 0
B154rl | C.10 | Concrete Curb Renewal | CW 3240-R10
B155rlA | i) | Barrier (150 mm reveal ht, Dowelled) | SD-205, SD-206A
B156rlA | a) | Less than 3 m |  | m | 65 |  | 0
B157rlA | b) | 3 m to 30 m |  | m | 120 |  | 0
B158rlA | c) | Greater than 30 m |  | m | 50 |  | 0
B167rlA | ii) | Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 100 |  | 0
B184rlA | iii) | Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 250 |  | 0
B189 | C.11 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 60 |  | 0
B190 | C.12 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 4500 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 350 |  | 0
B200 | C.13 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 50 |  | 0
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 50 |  | 0
B206 | C.14 | Pavement Repair Fabric | E12 | m² | 550 |  | 0
B219 | C.15 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 74 |  | 0
ROADWORKS - NEW CONSTRUCTION
C054A | C.16 | Interlocking Paving Stones | CW 3335-R1 | m² | 230 |  | 0
JOINT AND CRACK SEALING
D006 | C.17 | Reflective Crack Maintenance | CW 3250-R7 | m | 10000 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E008 | C.18 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Type 2 Bedding, Class 2 Backfill |  | m | 7 |  | 0
E042 | C.19 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 250 mm |  | each | 4 |  | 0
E023 | C.20 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 1 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 1 |  | 0
E026 | iii) | AP-008 - Standard Grated Cover for Standard Frame |  | each | 1 |  | 0
E028 | iv) | AP-011 - Barrier Curb and Gutter Frame |  | each | 20 |  | 0
E029 | v) | AP-012 - Barrier Curb and Gutter Cover |  | each | 20 |  | 0
E050A | C.21 | Catch Basin Cleaning | CW 2140-R4 | each | 20 |  | 0
ADJUSTMENTS
F001 | C.22 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 5 |  | 0
F003 | C.23 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 2 |  | 0
F005 | ii) | 51 mm |  | each | 10 |  | 0
F007 | iii) | 76 mm |  | each | 5 |  | 0
F009 | C.24 | Adjustment of Valve Boxes | CW 3210-R8 | each | 2 |  | 0
F010 | C.25 | Valve Box Extensions | CW 3210-R8 | each | 23 |  | 0
F011 | C.26 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 1 |  | 0
F018 | C.27 | Curb Stop Extensions | CW 3210-R8 | each | 5 |  | 0
F015 | C.28 | Adjustment of Curb and Gutter Frames | CW 3210-R8 | each | 20 |  | 0
MISCELLANEOUS
| C.29 | Removal and Installation of Utility Frame and Cover | E18 | each | 9 |  | 0
| C.30 | Installation of Utility Riser Rings | E18 | each | 43 |  | 0
| C.31 | Green Bike Lane Treatment | E19 | m2 | 200 |  | 0
| C.32 | Installation of Temporary Pedestrian Bus Ramps | E38 | each | 10 |  | 0
| C | THIN BITUMINOUS OVERLAY - PORTAGE AVENUE FROM MEMORIAL STREET TO FORT STREET |  |  |  | Subtotal: | 0
| D | THIN BITUMINOUS OVERLAY - CARLTON STREET FROM PORTAGE AVENUE TO ELLICE AVENUE
EARTH AND BASE WORKS
A003 | D.1 | Excavation | CW 3110-R20 | m³ | 20 |  | 0
A010 | D.2 | Supplying and Placing Base Course Material | CW 3110-R20
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 30 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B017 | D.3 | Partial Slab Patches | CW 3230-R8
B022 | i) | 230 mm Concrete Pavement (Type A) |  | m² | 10 |  | 0
B023 | ii) | 230 mm Concrete Pavement (Type B) |  | m² | 70 |  | 0
B025 | iii) | 230 mm Concrete Pavement (Type D) |  | m² | 70 |  | 0
B047-24 | D.4 | Partial Slab Patches - Early Opening (24 hour) | CW 3230-R8
B053-24 | i) | 230 mm Concrete Pavement (Type B) |  | m² | 35 |  | 0
B055-24 | ii) | 230 mm Concrete Pavement (Type D) |  | m² | 35 |  | 0
B077-72 | D.5 | Partial Slab Patches - Early Opening (72 hour) | CW 3230-R8
B083-72 | i) | 230 mm Concrete Pavement (Type B) |  | m² | 35 |  | 0
B085-72 | ii) | 230 mm Concrete Pavement (Type D) |  | m² | 35 |  | 0
B094 | D.6 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 30 |  | 0
B097 | D.7 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 300 |  | 0
B114rl | D.8 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 10 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 70 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 180 |  | 0
B154rl | D.9 | Concrete Curb Renewal | CW 3240-R10
B155rlA | i) | Barrier (150 mm reveal ht, Dowelled) | SD-205, SD-206A
B156rlA | a) | Less than 3 m |  | m | 5 |  | 0
B157rlA | b) | 3 m to 30 m |  | m | 15 |  | 0
B158rlA | c) | Greater than 30 m |  | m | 30 |  | 0
B167rlA | ii) | Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 10 |  | 0
B184rlA | iii) | Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 55 |  | 0
B189 | D.10 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 20 |  | 0
B190 | D.11 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 450 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 30 |  | 0
B200 | D.12 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 30 |  | 0
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 20 |  | 0
B206 | D.13 | Pavement Repair Fabric | E12 | m² | 20 |  | 0
B219 | D.14 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 12 |  | 0
JOINT AND CRACK SEALING
D006 | D.15 | Reflective Crack Maintenance | CW 3250-R7 | m | 1100 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E023 | D.16 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 2 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 3 |  | 0
E026 | iii) | AP-008 - Standard Grated Cover for Standard Frame |  | each | 1 |  | 0
E028 | iv) | AP-011 - Barrier Curb and Gutter Frame |  | each | 3 |  | 0
E029 | v) | AP-012 - Barrier Curb and Gutter Cover |  | each | 3 |  | 0
E050A | D.17 | Catch Basin Cleaning | CW 2140-R4 | each | 4 |  | 0
ADJUSTMENTS
F001 | D.18 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 2 |  | 0
F003 | D.19 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 1 |  | 0
F005 | ii) | 51 mm |  | each | 4 |  | 0
F007 | iii) | 76 mm |  | each | 1 |  | 0
F009 | D.20 | Adjustment of Valve Boxes | CW 3210-R8 | each | 3 |  | 0
F010 | D.21 | Valve Box Extensions | CW 3210-R8 | each | 3 |  | 0
F011 | D.22 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 2 |  | 0
F018 | D.23 | Curb Stop Extensions | CW 3210-R8 | each | 1 |  | 0
F015 | D.24 | Adjustment of Curb and Gutter Frames | CW 3210-R8 | each | 4 |  | 0
| D.25 | Removal and Installation of Utility Frame and Cover | E18 | each | 1 |  | 0
| D.26 | Installation of Utility Riser Rings | E18 | each | 2 |  | 0
| D | THIN BITUMINOUS OVERLAY - CARLTON STREET FROM PORTAGE AVENUE TO ELLICE AVENUE |  |  |  | Subtotal: | 0
| E | SEWER REPAIRS: CARLTON STREET, FORT STREET, HARGRAVE STREET
CARLTON STREET (MH20014246)
| E.1 | Remove and Replace Manhole | CW 2130-R12
| i) | SD-010
| a) | 1200 mm Diameter Base |  | vt.m. | 3.6 |  | 0
| E.2 | Manhole Inspection (following repair) | CW 2145-R4 | each | 1 |  | 0
FORT STREET (MH20014452)
| E.3 | Remove and Replace Risers | CW 2130-R12
| i) | SD-010
| a) | 750 mm Diameter Risers |  | vt.m. | 0.75 |  | 0
| E.4 | Manhole Inspection (following repair) | CW 2145-R4 | each | 1 |  | 0
FORT STREET (MH20014456)
| E.5 | Remove and Replace Risers | CW 2130-R12
| i) | SD-010
| a) | 750 mm Diameter Risers |  | vt.m. | 1.2 |  | 0
| E.6 | Manhole Inspection (following repair) | CW 2145-R4 | each | 1 |  | 0
FORT STREET (MH20014549)
| E.7 | Remove and Replace Risers | CW 2130-R12
| i) | SD-010
| a) | 750 mm Diameter Risers |  | vt.m. | 0.9 |  | 0
| E.8 | Manhole Inspection (following repair) | CW 2145-R4 | each | 1 |  | 0
FORT STREET (MH20014453)
| E.9 | Remove Flush Tank and Replace with Manhole | CW 2130-R12
| i) | SD-010
| a) | 1200 mm Diameter Base |  | vt.m. | 3 |  | 0
| E.10 | Manhole Inspection (following repair) | CW 2145-R4 | each | 1 |  | 0
FORT STREET (MA20016063)
E017 | E.11 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017G | i) | 300 mm Combined Sewer
E017H | a) | Class 3 Backfill |  | each | 2 |  | 0
E022A | E.12 | Sewer Inspection ( following repair) | CW 2145-R4
E022E | i) | 300 mm Combined Sewer |  | m | 91.9 |  | 0
E042 | E.13 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 150 mm Wastewater Sewer |  | each | 2 |  | 0
E043 | ii) | 250 mm Land Drainage Sewer |  | each | 1 |  | 0
HARGRAVE STREET (MH70007952)
| E.14 | Remove and Replace Manhole | CW 2130-R12
| i) | SD-010
| a) | 1200 mm Diameter Base |  | vt.m. | 3.5 |  | 0
| E.15 | Manhole Inspection (following repair) | CW 2145-R4 | each | 1 |  | 0
HARGRAVE STREET (MH70007953)
| E.16 | Remove and Replace Risers | CW 2130-R12
| i) | SD-010
| a) | 750 mm Diameter Risers |  | vt.m. | 1.7 |  | 0
| E.17 | Manhole Inspection (following repair) | CW 2145-R4 | each | 1 |  | 0
HARGRAVE STREET (MH20014258)
| E.18 | Remove Partial Flush Tank and Replace with Manhole | CW 2130-R12
| i) | SD-010
| a) | 1200 mm Diameter Base |  | vt.m. | 2.8 |  | 0
| E.19 | Manhole Inspection (following repair) | CW 2145-R4 | each | 1 |  | 0
HARGRAVE STREET (MA70021966)
E017 | E.20 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017E | i) | 200 mm Combined Sewer
E017F | a) | Class 3 Backfill |  | each | 1 |  | 0
E022A | E.21 | Sewer Inspection ( following repair) | CW 2145-R4
E022C | i) | 200 mm, Combined Sewer |  | m | 61.4 |  | 0
E042 | E.22 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 200 mm Wastewater Sewer |  | each | 1 |  | 0
HARGRAVE STREET (MA70020611)
E017 | E.23 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017G | i) | 300 mm Combined Sewer
E017H | a) | Class 3 Backfill |  | each | 1 |  | 0
E022A | E.24 | Sewer Inspection ( following repair) | CW 2145-R4
E022E | i) | 300 mm Combined Sewer |  | m | 57.1 |  | 0
E042 | E.25 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 150 mm Wastewater Sewer |  | each | 1 |  | 0
HARGRAVE STREET (MA20015844)
E017 | E.26 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017E | i) | 250 mm SRS
E017F | a) | Class 3 Backfill |  | each | 1 |  | 0
E022A | E.27 | Sewer Inspection ( following repair) | CW 2145-R4
E022D | i) | 250 mm, SRS |  | m | 63.8 |  | 0
| E.28 | Potential Alteration to Private Sprinkler Line | CW 2110-R11 | each | 1 |  | 0
| E | SEWER REPAIRS: CARLTON STREET, FORT STREET, HARGRAVE STREET |  |  |  | Subtotal: | 0
| F | TRAFFIC SIGNALS INSTALLATIONS
Broadway & Fort
INSTALLATIONS
| F.1 | Installation of Conduit | CW 3620
| i) | Installation of Conduit in Open Trench -Single | CW 3620 | m | 5 |  | 0
| ii) | Installation of Conduit in Open Trench - Double | CW 3620 | m | 20 |  | 0
| iii) | Installation of Conduit by Directional Boring - Single | CW 3620 | m | 30 |  | 0
| iv) | Installation of Conduit by Directional Boring - Double | CW 3620 | m | 15 |  | 0
| F.2 | Installation of Concrete Bases | CW 3620
| i) | Signal Pole Base - Type OD (Medium Duty – 32 Dia. Bolts) | SD-312A | each | 3 |  | 0
| F.3 | Installation of Service Boxes | CW 3620
| i) | Service Box – Pre-Cast | SD-322 | each | 2 |  | 0
| F.4 | Installation of Conduit into Existing Utility Manholes and Service Boxes | CW 3620
| i) | Installation of Conduit into Traffic Signal Service Boxes | CW 3620 | each | 2 |  | 0
| ii) | Installation of Conduit into Existing Concrete Base | CW 3620 | each | 1 |  | 0
REMOVALS
| F.5 | Removal of Existing Bases and Service Boxes | CW 3620
| i) | Signal Pole Base, Controller, Terminal Base, Service Box | CW 3620 | each | 4 |  | 0
MISCELLANEOUS
| F.6 | Cutovers | CW 3620 | each | 3 |  | 0
Fort & York
INSTALLATIONS
| F.7 | Installation of Conduit | CW 3620
| i) | Installation of Conduit in Open Trench -Single | CW 3620 | m | 55 |  | 0
| ii) | Installation of Conduit in Open Trench - Double | CW 3620 | m | 40 |  | 0
| iii) | Installation of Conduit by Directional Boring - Single | CW 3620 | m | 65 |  | 0
| iv) | Installation of Conduit by Directional Boring - Double | CW 3620 | m | 65 |  | 0
| F.8 | Installation of Concrete Bases | CW 3620
| i) | Signal Pole Base – Type G (Light Duty – 32 Dia. Bolts) | SD-313 | each | 2 |  | 0
| ii) | Signal Pole Base - Type OD (Medium Duty – 32 Dia. Bolts) | SD-312A | each | 3 |  | 0
| iii) | Controller Base | SD-300 | each | 1 |  | 0
| iv) | Ground Rods (Electrodes) | CW 3620 | each | 1 |  | 0
| F.9 | Installation of Service Boxes | CW 3620
| i) | Service Box – Pre-Cast | SD-322 | each | 4 |  | 0
| F.10 | Installation of Conduit into Existing Utility Manholes and Service Boxes | CW 3620
| i) | Installation of Conduit into Traffic Signal Service Boxes | CW 3620 | each | 4 |  | 0
REMOVALS
| F.11 | Removal of Existing Bases and Service Boxes | CW 3620
| i) | Signal Pole Base, Controller, Terminal Base, Service Box | CW 3620 | each | 10 |  | 0
MISCELLANEOUS
| F.12 | Cutovers | CW 3620 | each | 2 |  | 0
Fort & St. Mary
INSTALLATIONS
| F.13 | Installation of Conduit | CW 3620
| i) | Installation of Conduit in Open Trench -Single | CW 3620 | m | 50 |  | 0
| ii) | Installation of Conduit in Open Trench - Double | CW 3620 | m | 30 |  | 0
| iii) | Installation of Conduit by Directional Boring - Single | CW 3620 | m | 60 |  | 0
| iv) | Installation of Conduit by Directional Boring - Double | CW 3620 | m | 60 |  | 0
| F.14 | Installation of Concrete Bases | CW 3620
| i) | Signal Pole Base – Type G (Light Duty – 32 Dia. Bolts) | SD-313 | each | 1 |  | 0
| ii) | Signal Pole Base - Type OD (Medium Duty – 32 Dia. Bolts) | SD-312A | each | 4 |  | 0
| iii) | Pedestal Base | SD-302 | each | 1 |  | 0
| iv) | Controller Base | SD-300 | each | 1 |  | 0
| v) | Ground Rods (Electrodes) | CW 3620 | each | 2 |  | 0
| F.15 | Installation of Service Boxes | CW 3620
| i) | Service Box – Pre-Cast | SD-322 | each | 4 |  | 0
| F.16 | Installation of Conduit into Existing Utility Manholes and Service Boxes | CW 3620
| i) | Installation of Conduit into Traffic Signal Service Boxes | CW 3620 | each | 4 |  | 0
REMOVALS
| F.17 | Removal of Existing Bases and Service Boxes | CW 3620
| i) | Signal Pole Base, Controller, Terminal Base, Service Box | CW 3620 | each | 8 |  | 0
MISCELLANEOUS
| F.18 | Cutovers | CW 3620 | each | 3 |  | 0
Ellice & Hargrave
INSTALLATIONS
| F.19 | Installation of Conduit | CW 3620
| i) | Installation of Conduit in Open Trench -Single | CW 3620 | m | 25 |  | 0
| ii) | Installation of Conduit in Open Trench - Double | CW 3620 | m | 25 |  | 0
| iii) | Installation of Conduit by Directional Boring - Single | CW 3620 | m | 35 |  | 0
| iv) | Installation of Conduit by Directional Boring - Double | CW 3620 | m | 35 |  | 0
| F.20 | Installation of Concrete Bases | CW 3620
| i) | Signal Pole Base - Type OD (Medium Duty – 32 Dia. Bolts) | SD-312A | each | 4 |  | 0
| F.21 | Installation of Service Boxes | CW 3620
| i) | Service Box – Pre-Cast | SD-322 | each | 4 |  | 0
| F.22 | Installation of Conduit into Existing Utility Manholes and Service Boxes | CW 3620
| i) | Installation of Conduit into Traffic Signal Service Boxes | CW 3620 | each | 4 |  | 0
REMOVALS
| F.23 | Removal of Existing Bases and Service Boxes | CW 3620
| i) | Signal Pole Base, Controller, Terminal Base, Service Box | CW 3620 | each | 4 |  | 0
MISCELLANEOUS
| F.24 | Cutovers | CW 3620 | each | 2 |  | 0
| F | TRAFFIC SIGNALS INSTALLATIONS |  |  |  | Subtotal: | 0
| G | MOBILIZATION /DEMOLIBIZATION
I001 | G.1 | Mobilization/Demoblization | E40 | L. sum | 1 |  | 0
| G | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0
PART 2 MANITOBA HYDRO/PROVINCIALLY FUNDED WORK (See B9.6, B17.2.1, B18.6, D2.1, D12.2-3, D13.4)
| H | STREET LIGHT INSTALLATION - HARGRAVE STREET BETWEEN ELLICE AVENUE AND PORTAGE AVENUE
| H.1 | Removal of 25' to 35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E42. | each | 1 |  | 0
| H.2 | Removal of 45' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E42. | each | 1 |  | 0
| H.3 | Installation of 50 mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex). | E42. | m | 115 |  | 0
| H.4 | Installation of cable(s) (#4 AL C/N or 1/0 AL Triplex) by boring method. | E42. | m | 115 |  | 0
| H.5 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E42. | each | 2 |  | 0
| H.6 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E42. | each | 6 |  | 0
| H.7 | Splicing #4 Al C/N or 2 single conductor street light cables. | E42. | each | 2 |  | 0
| H.8 | Installation of overhead span of #6 duplex between new or existing streetlight poles and connect luminaire to provide temporary Overhead Feed. | E42. | each | 1 |  | 0
| H.9 | Removal of overhead span of #6 duplex between new or existing streetlight poles to remove temporary Overhead Feed. | E42. | each | 4 |  | 0
| H.10 | Expose underground cable entrance of existing streetlight pole and install new streetlight cable. | E42. | each | 6 |  | 0
| H | STREET LIGHT INSTALLATION - HARGRAVE STREET BETWEEN ELLICE AVENUE AND PORTAGE AVENUE |  |  |  | Subtotal: | 0
| I | STREET LIGHT INSTALLATION - FORT STREET BETWEEN GRAHAM AVENUE AND BROADWAY
| I.1 | Removal of 25' to 35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E42. | each | 8 |  | 0
| I.2 | Removal of 45' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E42. | each | 3 |  | 0
| I.3 | Removal of 12 - 35' Galvanized street light davits, arms, luminaires and Install 12- 35' spun aluminum davits, arms and luminaires. 12 galvanized davits to be returned to Hydro. | E42. | each | 12 |  | 0
| I.4 | Removal of 35' "Trolley" poles, poured in place concrete base, arm and luminaire | E42. | each | 7 |  | 0
| I.5 | Installation of 50 mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex). | E42. | m | 1000 |  | 0
| I.6 | Installation of cable(s) (#4 AL C/N or 1/0 AL Triplex) by boring method. | E42. | m | 1000 |  | 0
| I.7 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E42. | each | 20 |  | 0
| I.8 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E42. | each | 8 |  | 0
| I.9 | Install lower 3 m of Cable Guard, ground lug, cable up pole, and first 3 m section of ground rod per Standard CD 315-5. | E42. | each | 2 |  | 0
| I.10 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E42. | each | 20 |  | 0
| I.11 | Splicing 1/0 AL triplex cable or 3 single conductor street light cables. | E42. | each | 4 |  | 0
| I.12 | Installation of break-away base and reaction plate on base mounted poles up to 35'. | E42. | each | 6 |  | 0
| I.13 | Installation of overhead span of #6 duplex between new or existing streetlight poles and connect luminaire to provide temporary Overhead Feed. | E42. | each | 20 |  | 0
| I.14 | Removal of overhead span of #6 duplex between new or existing streetlight poles to remove temporary Overhead Feed. | E42. | each | 20 |  | 0
| I.15 | Expose underground cable entrance of existing streetlight pole and install new streetlight cable. | E42. | each | 6 |  | 0
| I | STREET LIGHT INSTALLATION - FORT STREET BETWEEN GRAHAM AVENUE AND BROADWAY |  |  |  | Subtotal: | 0
PART 1 CITY FUNDED WORK
| A | RECONSTRUCTION: FORT STREET FROM BROADWAY TO GRAHAM AVENUE |  |  |  | Subtotal: | 0
| B | RECONSTRUCTION: HARGRAVE STREET FROM PORTAGE AVENUE TO ELLICE AVENUE |  |  |  | Subtotal: | 0
| C | THIN BITUMINOUS OVERLAY - PORTAGE AVENUE FROM MEMORIAL STREET TO FORT STREET |  |  |  | Subtotal: | 0
| D | THIN BITUMINOUS OVERLAY - CARLTON STREET FROM PORTAGE AVENUE TO ELLICE AVENUE |  |  |  | Subtotal: | 0
| E | SEWER REPAIRS: CARLTON STREET, FORT STREET, HARGRAVE STREET |  |  |  | Subtotal: | 0
| F | TRAFFIC SIGNALS INSTALLATIONS |  |  |  | Subtotal: | 0
| G | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 1 | 0
PART 2 MANITOBA HYDRO/PROVINCIALLY FUNDED WORK (See B9.6, B17.2.1, B18.6, D2.1, D12.2-3, D13.4)
| H | STREET LIGHT INSTALLATION - HARGRAVE STREET BETWEEN ELLICE AVENUE AND PORTAGE AVENUE |  |  |  | Subtotal: | 0
| I | STREET LIGHT INSTALLATION - FORT STREET BETWEEN GRAHAM AVENUE AND BROADWAY |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 2 | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0
Note on C46: Pheifer, Henly: old version has 0 - 50
Note on C179: Pheifer, Henly: old version has 0 - 50
Note on C390: Pheifer, Henly: old version has 0 - 50