## FORM B - PRICES
FORM B: PRICES
(SEE B10)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
| A | WASTEWATER SEWERS
| a) | 250 mm DR 35 PVC | CW 2130-R12
| i) | In A Trench, Class B sand bedding, Class 2 backfill, 5 - 6 m Deep |  | l.m. | 12 |  | 0
| ii) | In A Trench, Class B sand bedding, Class 2 backfill, 4 - 5 m Deep |  | l.m. | 10 |  | 0
| iii) | In A Trench, Class B sand bedding, Class 2 backfill, < 4 m Deep |  | l.m. | 2 |  | 0
| iv) | In A Trench, Class B sand bedding, Class 4 backfill, 5 - 6 m Deep |  | l.m. | 345 |  | 0
| v) | In A Trench, Class B sand bedding, Class 4 backfill, 4 - 5 m Deep |  | l.m. | 284 |  | 0
| vi) | In A Trench, Class B sand bedding, Class 4 backfill, < 4 m Deep |  | l.m. | 51 |  | 0
| vii) | trenchless installation, Class B sand bedding, Class 2 backfill |  | l.m. | 30 |  | 0
| A.2 | Manholes | CW 2130-R12
| a) | SD-010
| i) | 1200mm diameter base |  | vert. m | 29.8 |  | 0
| A.3 | Connect to Existing 250 mm WWS Plug | CW 2130-R12 | each | 1 |  | 0
| A.4 | Sewer Inspection | CW 2145-R4
| a) | Wastewater Sewers
| i) | 250 mm |  | l.m. | 769 |  | 0
| A | WASTEWATER SEWERS |  |  |  | Subtotal: | 0
| B | LAND DRAINAGE SEWERS
| B.1 | Land Drainage Sewers | CW 2130-R12
| a) | 300 mm DR 35 PVC Sewer
| i) | In A Trench, Class B sand bedding, Class 2 backfill, < 4 m Deep |  | l.m. | 2 |  | 0
| ii) | In A Trench, Class B sand bedding, Class 4 backfill, < 4 m Deep |  | l.m. | 16 |  | 0
| b) | 525 mm Sewer
| i) | In A Trench, Class B sand bedding, Class 2 backfill, < 4 m Deep |  | l.m. | 10 |  | 0
| ii) | In A Trench, Class B sand bedding, Class 4 backfill, < 4 m Deep |  | l.m. | 16 |  | 0
| c) | 750 mm Reinforced Concrete CL III
| i) | In A Trench, Class B sand bedding, Class 2 backfill, < 4 m Deep |  | l.m. | 16 |  | 0
| ii) | In A Trench, Class B sand bedding, Class 4 backfill, < 4 m Deep |  | l.m. | 336 |  | 0
| d) | 900 mm Reinforced Concrete CL III
| i) | In A Trench, Class B sand bedding, Class 2 backfill, < 4 m Deep |  | l.m. | 24 |  | 0
| ii) | In A Trench, Class B sand bedding, Class 4 backfill, < 4 m Deep |  | l.m. | 168 |  | 0
| B.2 | Manhole | CW 2130-R12
| a) | SD-010
| i) | 1200mm diameter base |  | vert. m | 2.3 |  | 0
| ii) | 1500mm diameter base |  | vert. m | 16.1 |  | 0
| iii) | 1650mm diameter base |  | vert. m | 4.8 |  | 0
| B.4 | Sewer Inspection | CW 2145-R4
| a) | Land Drainage Sewers
| i) | 300 mm |  | l.m. | 18 |  | 0
| ii) | 525 mm |  | l.m. | 26 |  | 0
| iii) | 750 mm |  | l.m. | 352 |  | 0
| iv) | 900 mm |  | l.m. | 192 |  | 0
| B.4 | LDS Outfall | CW 2130-R12, E10
| a) | 12.15 m of 1000 mm Aluminized Type II CSP (2.8mm Thick) - Including Concrete Collar and Riprap |  | L.S. | 1 |  | 0
| B.5 | Connect 300 LDS to Existing Rip Rap Pad (incl. restoration) (incl. additional rip rap as per Sheet C-201) | E10 | L.S. | 1 |  | 0
| B.6 | Connect 250 CB Lead to Existing Manhole (incl. restoration) | CW 2130-R12 | ea. | 2 |  | 0
| B | LAND DRAINAGE SEWERS |  |  |  | Subtotal: | 0
| C | WATERMAINS
| C.1 | Hydrant Assembly | CW 2110-R11
| a) | SD-006
| i) | 2.90 m Bury |  | each | 4 |  | 0
| ii) | 3.05 m Bury |  | each | 2 |  | 0
| iii) | 3.50 m Bury |  | each | 1 |  | 0
| C.2 | Connect Hydrant to Existing Hydrant Tees | CW 2110-R11 | each | 6 |  | 0
| C.3 | Connect Hydrant Tee to Existing 300 mm WM with 300x300x150 Tee | CW 2110-R11 | L.S. | 1 |  | 0
| C.4 | Remove Existing Hydrant Tee and 300 mm WM Plug and Install New 300 mm WM Plug | CW 2110-R11 | L.S. | 1 |  | 0
| C.5 | Bacteriological Testing | CW 2125-R4 | L.S. | 1 |  | 0
| C | WATERMAINS |  |  |  | Subtotal: | 0
| D | RETENTION POND, DITCHES AND RELATED WORKS
| D.1 | Excavation to Lake Bottom (incl. fine grading of slopes) with Disposal and Levelling to Stantec set Grades (use Cut/Fill Plan) | E7 | c.m | 119400 |  | 0
| D.2 | Ditch Outfall (incl. 180 sq. metres of 300 mm thick Rip Rap Channel) (As Per Details A and B on Sheet C-501) | E10, E11 | L.S. | 1 |  | 0
| D.3 | Ditches | E11
| a) | Ditch Excavation (incl. fine grading of slopes and flat bottom)
| i) | 2 m Wide Bottom |  | l.m. | 1110 |  | 0
| b) | Topsoil and Sod Ditch (side slopes and bottom) | CW 3510-R9 | s.m. | 17500 |  | 0
| D.4 | 300mm Thick Rip Rap Pad | E10 | s.m. | 80 |  | 0
| D.5 | High Performance CSP Ditch Culvert (2.8 mm thick) | CW 3610-R5, E12
| a) | 900 mm (incl. bevelled ends, soft digging and Class 3 backfill through roads) |  | l.m. | 46 |  | 0
| D.6 | 0.3m Erosion Control Berm (around top of pond) (incl. 6" Weeping Tile every 50m) | E7 | l.m. | 1000 |  | 0
| D.7 | Stripping and Removal of Sod from Existing Retention Pond 7:1 Slope (25 mm to 50 mm Depth) (incl haul off-site) (incl. restoration) | E18 | s.m. | 21000 |  | 0
| D.8 | Pump Down Pond to Excavate Retention Pond | E7 | L.S. | 1 |  | 0
| D | RETENTION POND, DITCHES AND RELATED WORKS |  |  |  | Subtotal: | 0
| E | CONCRETE PAVEMENT, ASPHALT PAVEMENT AND RELATED WORKS
EARTH AND BASE WORKS - Concrete Pavement
| E.1 | Excavation (to 1.0m past back of curb, incl. disposal as per cut/fill plan) | CW 3110 - R21 | c.m | 120 |  | 0
| E.2 | Sub-Grade Compaction (to 1.0m past back of curb, compaction with non-vibrating compaction equipment) | CW 3110 - R21 | s.m. | 155 |  | 0
| E.3 | Crushed Sub-base Material | CW 3110 - R21
| a) | 50 mm - Limestone (450mm depth, to 1.0m past back of curb, compaction with non-vibrating compaction equipment) (incl. QA and QC testing paid by Contractor) (As Per New CW 3110-R21 Specification) |  | tonne | 160 |  | 0
| E.4 | Supplying and Placing Base Course Material (75 mm depth, to 1.0m past back of curb, compaction with non-vibrating compaction equipment) (incl. QA and QC testing paid by Contractor) (As Per New CW 3110-R21 Specification) | CW 3110 - R21 | c.m | 12 |  | 0
| E.5 | Allowance for Unsuitable Subgrade Material | CW 3110 - R21
| a) | Excavation (to 1.0m past back of curb, incl. hauling, disposing, and levelling of material) |  | c.m | 50 |  | 0
| b) | Crushed Sub-base Material
| i) | 100 mm - Limestone (compaction with non-vibrating compaction equipment) (incl. QA and QC testing paid by Contractor) (As Per New CW 3110-R21 Specification) |  | tonne | 110 |  | 0
| c) | Placing Suitable Site Sub-base Material |  | c.m. | 50 |  | 0
| E.6 | Separation Geotextile Fabric (to 1.0m past back of curb) | CW 3130-R5 | s.m. | 155 |  | 0
| E.7 | Supply and Install Geogrid (to 1.0m past back of curb | CW 3130-R5 | s.m. | 155 |  | 0
ROADWORK - NEW CONSTRUCTION - Concrete Pavement
| E.8 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
| a) | Construction of 200 mm Concrete Pavement (Reinforced) |  | s.m. | 130 |  | 0
| E.9 | Concrete Curbs, Curb and Gutter, and Splash Strips
| a) | Construction of Modified Barrier Curb (180 mm ht, Integral) | SD-203B | l.m. | 30 |  | 0
ROADWORK - REMOVALS/RENEWALS
| E.10 | Concrete Curb Removal | CW 3310-R17
| a) | Modified Barrier (Integral) (incl. removal of approx. 1.0 m width of adjacent pavement to reach joint) (incl. haul off-site) |  | l.m. | 51 |  | 0
| E.11 | Concrete Sidewalk Removal (incl. haul off-site) | CW 3310-R17 | s.m. | 40 |  | 0
EARTH AND BASE WORKS - Asphalt Pavement
| E.12 | Excavation to 0.45m past back of curb, incl. disposal as per Cut/Fill plan) | CW 3110 - R21 | c.m | 10000 |  | 0
| E.13 | Sub-Grade Compaction (to 0.45m past back of curb) | CW 3110 - R21 | s.m. | 12400 |  | 0
| E.14 | Crushed Sub-base Material | CW 3110 - R21
| a) | 50 mm - Limestone (150mm depth, to 0.45m past back of curb) (incl. QA and QC testing paid by Contractor) (As Per New CW 3110-R21 Specification) |  | tonne | 4170 |  | 0
| b) | 100 mm - Limestone (350mm depth, to 0.45m past back of curb) (incl. QA and QC testing paid by Contractor) (As Per New CW 3110-R21 Specification) |  | tonne | 9730 |  | 0
| E.15 | Supplying and Placing Base Course Material (100 mm depth, to 0.45m past back of curb) (incl. QA and QC testing paid by Contractor) (As Per New CW 3110-R21 Specification) | CW 3110 - R21 | c.m | 1240 |  | 0
| E.16 | Allowance for Unsuitable Subgrade Material | CW 3110 - R21
| a) | Excavation (to 0.45m past back of curb, incl. hauling, disposing, and levelling of material) |  | c.m | 3100 |  | 0
| b) | Crushed Sub-base Material
| i) | 100 mm - Limestone (incl. QA and QC testing paid by Contractor) (As Per New CW 3110-R21 Specification) |  | tonne | 6950 |  | 0
| c) | Placing Suitable Site Sub-base Material |  | c.m. | 3100 |  | 0
| E.17 | Separation Geotextile Fabric (to 0.45m past back of curb) | CW 3130-R5 | s.m. | 12400 |  | 0
| E.18 | Supply and Install Geogrid (to 0.45m past back of curb) | CW 3130-R5 | s.m. | 12400 |  | 0
ROADWORK - NEW CONSTRUCTION - Asphalt Pavement
| E.19 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
| a) | Construction of Curb and Gutter (180 mm ht, Modified Barrier, Integral, 600 mm width, 150 mm Plain Concrete Pavement, Slip Form Paving) | SD-200, SD-203B | l.m. | 2070 |  | 0
| b) | Construction of Curb and Gutter (40 mm ht, Ramp, Integral, 600 mm width, 150 mm Plain Concrete Pavement, Hand Form Paving) | SD 200, SD-202B | l.m. | 10 |  | 0
| E.20 | Main Line Paving | CW 3410-R12
| a) | Type IA (55 mm thick) |  | tonne | 1360 |  | 0
| E.21 | Construction of Asphaltic Concrete Base Course (Type III) (75 mm thick) |  | tonne | 1860 |  | 0
| E.22 | Pavement Changes Required if 1 < CBR < 2 | CW 3410-R12
| a) | Thickness Reduction in Asphalt Lift (5 mm) - Type III |  | tonne | -120 |  | 0
| b) | Thickness Reduction in Asphalt Lift (5 mm) - Type 1A |  | tonne | -120 |  | 0
| c) | New Asphalt Lift (40 mm) - Type 1A |  | tonne | 980 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
| E.23 | Catch Basin with Curb and Gutter Inlet | CW 2130-R12
| a) | SD-024, 1800 mm deep |  | each | 10 |  | 0
| E.24 | Catch Basin Frame and Covers | CW 2130-R12, SD-203B
| a) | Modified Barrier Curb |  | each | 10 |  | 0
| E.25 | Installation of Subdrains | CW 3120-R4 | l.m. | 360 |  | 0
| E.26 | Catch Basin Lead Pipe | CW 2130-R12
| a) | 250mm |  | l.m. | 80 |  | 0
MISCELLANEOUS ITEMS
| E.27 | Grading of Boulevards | CW 3110-R21 | s.m. | 15500 |  | 0
| E.28 | Topsoil and Sod for Boulevards (incl. fine grading) | CW 3510-R9 | s.m. | 14000 |  | 0
| E.29 | 100 mm Concrete Sidewalk | CW 3325-R5 | s.m. | 1600 |  | 0
| E.30 | Subgrade Compaction for Sidewalks after Hydro Installation | CW 3110-R21 | s.m. | 1600 |  | 0
| E.31 | Detectable Warning Surface Tiles | CW 3326-R3 | ea. | 4 |  | 0
| E.32 | Utility Conduit Installation | E13 | l.m. | 320 |  | 0
| E.33 | Asphalt Crossing Surface Between Railway Tracks (extend 0.5m past edge of curb and edge of sidewalk) (incl. adherence to GWWD requirements as per E8) | SD-231A, SD-231B | s.m. | 20 |  | 0
| E.34 | Clearing and Grubbing | CW 3010-R4, E15 | s.m. | 20000 |  | 0
| E.35 | Stripping and Stockpiling Existing Layer of Topsoil (147 mm average topsoil depth) (as per Stripping and Stockpiling Plan in Appendix D) | E16 | s.m. | 226000 |  | 0
| E.36 | Silt Fence Along South Ditch and Part of Pond (Limits Shown on Stripping and Stockpiling Plan) | E19 | l.m. | 630 |  | 0
| E.37 | Removal Off-Site of Topsoil Pile North of Existing Retention Pond (Location shown on Stripping and Stockpiling Plan) | CW 3010-R4 | c.m. | 13430 |  | 0
| E.38 | Haul Excess Material Off-Site for Ray Marius Road between GWWD tracks and Camiel Sys (as required) | CW 3010-R4 | c.m. | 600 |  | 0
| E.39 | Fill In Existing Temporary Drainage Ditch (As per Specification E17) | E17 | l.m. | 570 |  | 0
| E.40 | Fill in Swale and Re-Grade Area Between Top 7:1 and Property Line (as per Sheet C-201) | E7 | s.m. | 1000 |  | 0
| E.41 | Construct Swale (incl. topsoil and sod) | CW 3170-R3, CW 3510-R9 | s.m. | 530 |  | 0
| E.42 | 300 mm Culvert within GWWD Right-of-Way (compaction with non-vibrating compaction equipment) | CW 3610-R5, E8 | l.m. | 19 |  | 0
| E.43 | Adjust Existing LDS MH Rim on Ray Marius to Match New Pavement (Raise Approx. 0.31 m) | SD-010 | ea. | 1 |  | 0
| E.44 | Adjust Existing Valve Box and Spindle to Match New Pavement | SD-016 | ea. | 3 |  | 0
| E.45 | Street Cleaning | E14
| a) | Mud Removal With Loader |  | ea. | 12 |  | 0
| b) | Street Sweeping |  | ea. | 12 |  | 0
| E | CONCRETE PAVEMENT, ASPHALT PAVEMENT AND RELATED WORKS |  |  |  | Subtotal: | 0
SUMMARY
| A | WASTEWATER SEWERS |  |  |  | Subtotal: | 0
| B | LAND DRAINAGE SEWERS |  |  |  | Subtotal: | 0
| C | WATERMAINS |  |  |  | Subtotal: | 0
| D | RETENTION POND, DITCHES AND RELATED WORKS |  |  |  | Subtotal: | 0
| E | CONCRETE PAVEMENT, ASPHALT PAVEMENT AND RELATED WORKS |  |  |  | Subtotal: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0
Name of Bidder