## Unit prices
FORM B:PRICES
(See "Prices" clause in tender document)
UNIT PRICES
Item | Description | Spec. Ref | Unit | Approximate Quantity | Unit Price | Amount
1 | Mobilization and Demobilization | E5 | L.S. | 1 |  | 0
2 | Pipeline Access | E11
| (a) East Valve Chamber |  | L.S. | 1 |  | 0
| (b) West Tunnel Shaft |  | L.S. | 1 |  | 0
3 | 600 mm Feeder Main Cleaning and Lining Preparation Work | E12 | L.S. | 1 |  | 0
4 | 600 mm Pipeline Inspection | E13
| (a) Pre-Cleaning |  | m | 226 |  | 0
| (b) Pre-Lining |  | m | 452 |  | 0
| (c) Post-Lining |  | m | 226 |  | 0
5 | Supply and Install 600 mm NSF 61 AWWA Class III Pressure CIPP Liner | E14 | m | 226 |  | 0
6 | Supply and Install 600 mm Liner Terminations | E14 | each | 2 |  | 0
7 | West Tunnel and Shaft Rehabilitation
| (a) Sandblast and Recoat Interior and Exterior of 600 mm Feeder Main Drop Pipe & Fittings | E11 | L.S. | 1 |  | 0
| (b) Rehabilitate 600 mm Victaulic Feeder Main Joints within the Tunnel and Install Corrosion Protection Wrap | E11 | each | 4 |  | 0
| (c) Rehabilitate 600 mm Flanged Feeder Main Joints within the Tunnel and Install Corrosion Protection Wrap | E11 | each | 7 |  | 0
| (d) Install Corrosion Protection Wrap on the Existing Feeder Main within the Tunnel (300 mm wide) | E11 | each | 1 |  | 0
| (e) Structural Concrete Repairs to Existing West Tunnel Roof Slab | E16 | L.S. | 1 |  | 0
| (f) Sandblast and Recoat Steel Components | E11 | L.S. | 1 |  | 0
| (g) Install Bollards at West Tunnel Shaft | E16 | each | 2 |  | 0
| (h) Install Asphalt Cap over the West Tunnel Shaft | E17 | L.S. | 1 |  | 0
| (i) Replace Existing Tunnel Ventilation Pipe Hangers | E11 | L.S. | 1 |  | 0
8 | Restoration | E19
| (a) Supply and Placement of Sod using Imported Topsoil |  | m2 | 400 |  | 0
| (b) Sidewalk Patches - Unreinforced Concrete up to 100 mm Thick |  | m2 | 10 |  | 0
| (c) Concrete Barrier Curb Renewal |  | m | 5 |  | 0
| (d) Asphalt overlay over Existing Concrete Pavement |  | m2 | 20 |  | 0
9 | Provisional Items | E11
| (a) Supply new 600 mm Victaulic Feeder Main Coupling |  | each | 4 |  | 0
| (b) Asbestos Abatement in the West Tunnel Shaft |  | L.S. | 1 |  | 0
| (c) Welded Steel Patch on 600 mm Feeder Main Pipe (Max Dimension 300x300 mm) |  | each | 2 |  | 0
TOTAL BID PRICE (GST and MRST extra) (in numbers) |  |  |  |  | 0
Name of Bidder
Note on C2: Insert reference to "Prices" clause from the "Bidding Procedures". Also Revise the Header by inserting Tender # and revising the Tender Version number to match the Tender template used.
Note on A3: For Tenders with Budgets enter here. Format is BUDGET: $###.###.##