## FORM B
FORM B: PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
PART 1 CITY FUNDED WORK
| A | MOBILIZATION AND DEMOBILIZATION
| A.1 | Mobilization and Demobilization | E2 | LS | 1 |  | 0
| A | MOBILIZATION AND DEMOBILIZATION |  |  |  | Subtotal: | 0
| B | RIVERBANK STABILIZATION WORKS
| B.1 | Site Development | E14 | LS | 1 |  | 0
| B.2 | Rockfill Columns
| i) | Drill Rockfill Column Shafts | E17 | v.m | 3000 |  | 0
| ii) | Supply and Compact Rockfill for Rockfill Columns | E17 | tonne | 21600 |  | 0
| iii) | Deep Sleeving Rockfill Columns Shafts | E17 | v.m | 300 |  | 0
| B.3 | Rockfill Rib Construction | E18 | tonne | 2000 |  | 0
| B | RIVERBANK STABILIZATION WORKS |  |  |  | Subtotal: | 0
PART 2 PROVINCIALLY FUNDED WORK (See B9.6, B17.2.1, B18.4, D3.1, D3.5, D14.2-3, D15.4)
| C | RIVERBANK GRADNIG WORKS
| C.1 | Pathway Embankment Construction | E19 |  |  |  | 0
| i) | Excavation and Disposal of Unsuitable Materials | E19 | m³ | 1000 |  | 0
| ii) | Excavation and Placement of Suitable Site Fill | E19 | m² | 1000 |  | 0
| iii) | Supply and Placement of Imported Fill | E19 | m² | 1000 |  | 0
| C.2 | Supply and Place Planting Medium in Revegetation Areas | E20 | m² | 3500 |  | 0
| C.3 | Supply and Install Erosion Control Blanket | E21 | m² | 3500 |  | 0
| C | RIVERBANK GRADNIG WORKS |  |  |  | Subtotal: | 0
| D | ROAD AND PATHWAY WORKS
| D.1 | Excavation | CW 3110-R21 | m³ | 480 |  | 0
| D.2 | Sub-Grade Compaction | CW 3110-R21 | m² | 1250 |  | 0
| D.3 | Supplying and Placing Sub-base Material | CW 3110-R20 |  |  |  | 0
| i) | 50 mm Granular B |  | tonne | 500 |  | 0
| D.4 | Supplying and Placing Base Course Material | CW 3110-R21 |  |  |  | 0
| i) | Base Course Material - Granular B |  | m³ | 200 |  | 0
| D.5 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
| i) | Separation/Filtration Fabric |  | m² | 1300 |  | 0
| D.6 | Supply and Install Geogrid | CW 3135-R2 |  |  |  | 0
| i) | Class B Geogrid |  | m² | 1300 |  | 0
| D.7 | Pavement Removal | CW 3110-R21 |  |  |  | 0
| i) | Asphalt Pavement |  | m² | 200 |  | 0
| D.8 | Concrete Curb Removal | CW 3240-R10 |  |  |  | 0
| i) | Curb and Gutter |  | m | 45 |  | 0
| D.9 | Concrete Curb Installation | CW 3240-R10 |  |  |  | 0
| i) | Curb and Gutter (150 mm reveal ht, Barrier, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 | m | 40 |  | 0
| i) | Curb and Gutter (8-12 mm reveal ht, Curb Ramp, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 | m | 7 |  | 0
| D.10 | Construction of Asphaltic Concrete Pavements | CW 3410-R12 |  |  |  | 0
| i) | Main Line Paving |  |  |  |  | 0
| a) | Type IA |  | tonne | 300 |  | 0
| ii) | Tie-ins and Approaches |  |  |  |  | 0
| a) | Type IA |  | tonne | 10 |  | 0
| D.11 | Reflective Crack Maintenance | CW 3250-R7 | m | 250 |  | 0
| D.12 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 4 |  | 0
| D | ROAD AND PATHWAY WORKS |  |  |  | Subtotal: | 0
| E | LARGE CALIPER TREE PLANTINGS
| E.1 | Supply and Installation of Trees | E22 |  |  |  | 0
| i) | Manitoba Maple | E22 | each | 8 |  | 0
| ii) | American Elm | E22 | each | 11 |  | 0
| iii) | Basswood | E22 | each | 13 |  | 0
| iv) | Cottonwood (male) | E22 | each | 7 |  | 0
| v) | Peachleaf Willow | E22 | each | 12 |  | 0
| E.2 | Landscape Maintenance Year 1 | E22 | each | 1 |  | 0
| E.3 | Landscape Maintenance Year 2 | E22 | each | 1 |  | 0
| E | LARGE CALIPER TREE PLANTINGS |  |  |  | Subtotal: | 0
PART 3 MANITOBA HYDRO FUNDED WORK (See B9.6, B17.2.1, B18.5, D3.1, D3.6, D14.2-3, D15.5)
| F | STREETLIGHTING AND ASSOCIATED WORKS
| F.1 | Removal of 25' to 35' street light pole and precast, poured in place concrete, steel power installed base or direct buried davit arm, luminaire and appurtenances | E23 | each | 7 |  | 0
| F.2 | Installation of 50mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex) | E23 | m | 375 |  | 0
| F.3 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances | E23 | each | 7 |  | 0
| F.4 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E23 | each | 4 |  | 0
| F.5 | Install lower 3 m of Cable Guard, ground lug, cable up pole, and first 3 m section of ground rof per Standard CD 315.5 | E23 | each | 7 |  | 0
| F.6 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10 | E23 | each | 4 |  | 0
| F.7 | Installation of overheard span of #6 duplex between new or existing street light poles and connect luminaire to provide temporary Overhead Feed | E23 | each | 7 |  | 0
| F.8 | Removal of overheard span of #6 duplex between new or existing streetlight poles to remove temporary Overhead Feed | E23 | each | 7 |  | 0
| F | STREETLIGHTING AND ASSOCIATED WORKS |  |  |  | Subtotal: | 0
SUMMARY
PART 1 CITY FUNDED WORK
| A | MOBILIZATION AND DEMOBILIZATION |  |  |  | Subtotal: | 0
| B | RIVERBANK STABILIZATION WORKS |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 1 | 0
PART 2 PROVINCIALLY FUNDED WORK (See B9.6, B17.2.1, B18.4, D3.1, D3.5, D14.2-3, D15.4)
| C | RIVERBANK GRADNIG WORKS |  |  |  | Subtotal: | 0
| D | ROAD AND PATHWAY WORKS |  |  |  | Subtotal: | 0
| E | LARGE CALIPER TREE PLANTINGS | 0 | 0 | 0 | Subtotal: | 0
[6 empty] | (total price) PART 2 | 0
PART 3 MANITOBA HYDRO FUNDED WORK (See B9.6, B17.2.1, B18.5, D3.1, D3.6, D14.2-3, D15.5)
| F | STREETLIGHTING AND ASSOCIATED WORKS | 0 | 0 | 0 | Subtotal: | 0
[6 empty] | (total price) PART 3 | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0