## FORM B - PRICES
FORM B: PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
| A | DAKOTA STREET - ABINOJII MIKANAH (FORMERLY BISHOP GRANDIN BOULEVARD) TO ST. MARY'S ROAD - REHABILITATION
EARTH AND BASE WORKS
A003 | A.1 | Excavation | CW 3110-R22 | m³ | 510 |  | 0
A004 | A.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 690 |  | 0
A005A | A.3 | Imported Fill Material | CW 3110-R22 | m³ | 70 |  | 0
A007 | A.4 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 585 |  | 0
A010 | A.5 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 90 |  | 0
A012 | A.6 | Grading of Boulevards | CW 3110-R22 | m² | 1750 |  | 0
A016 | A.7 | Removal of Existing Concrete Bases | CW 3110-R22
A018 | i) | Greater than 600 mm Diameter |  | each | 1 |  | 0
A022 | A.8 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 690 |  | 0
A022A4 | A.9 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 150 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | A.10 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 500 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 450 |  | 0
B047-24 | A.11 | Partial Slab Patches - Early Opening (24 hour) | CW 3230-R8
B056-24 | i) | 200 mm Type 3 Concrete Pavement (Type A) |  | m² | 5 |  | 0
B057-24 | ii) | 200 mm Type 3 Concrete Pavement (Type B) |  | m² | 25 |  | 0
B058-24 | iii) | 200 mm Type 3 Concrete Pavement (Type C) |  | m² | 10 |  | 0
B059-24 | iv) | 200 mm Type 3 Concrete Pavement (Type D) |  | m² | 10 |  | 0
B064-72 | A.12 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8
B071-72 | i) | 200 mm Type 4 Concrete Pavement (Reinforced) |  | m² | 850 |  | 0
B077-72 | A.13 | Partial Slab Patches - Early Opening (72 hour) | CW 3230-R8
B086-72 | i) | 200 mm Type 4 Concrete Pavement (Type A) |  | m² | 15 |  | 0
B087-72 | ii) | 200 mm Type 4 Concrete Pavement (Type B) |  | m² | 600 |  | 0
B088-72 | iii) | 200 mm Type 4 Concrete Pavement (Type C) |  | m² | 10 |  | 0
B089-72 | iv) | 200 mm Type 4 Concrete Pavement (Type D) |  | m² | 120 |  | 0
B094 | A.14 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 1500 |  | 0
B097 | A.15 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 100 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 1800 |  | 0
B100r | A.16 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B101r | i) | Median Slab |  | m² | 75 |  | 0
B104r | ii) | 100 mm Sidewalk |  | m² | 260 |  | 0
B106r | iii) | Monolithic Curb and Sidewalk |  | m² | 260 |  | 0
B107i | A.17 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B109i | i) | Type 1 Concrete Monolithic Median Slab | SD-226A | m² | 365 |  | 0
B110i | ii) | Type 1 Concrete Safety Median | SD-226B | m² | 130 |  | 0
B111i | iii) | Type 5 Concrete 100 mm Sidewalk | SD-228A | m² | 300 |  | 0
B114C | A.18 | Type 1 Concrete Monolithic Curb and 100 mm Sidewalk with Block Outs (150 mm reveal ht) | E12 | m² | 190 |  | 0
B114E | A.19 | Paving Stone Indicator Surfaces | E13 | m² | 5 |  | 0
| A.20 | Bus stop Paving Stones | E13 | m² | 5 |  | 0
B114rl | A.21 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 10 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 60 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 400 |  | 0
B122rl | ii) | Type 1 Concrete Bullnose | SD-227C | m² | 35 |  | 0
B125A | A.22 | Removal of Precast Sidewalk Blocks | CW 3235-R9 | m² | 15 |  | 0
B126r | A.23 | Concrete Curb Removal | CW 3240-R10
B127rA | i) | Barrier Integral |  | m | 820 |  | 0
B135i | A.24 | Concrete Curb Installation | CW 3240-R10
B136i | i) | Type 1 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205 | m | 55 |  | 0
B153B | ii) | Type 1 Concrete Splash Strip (150 mm reveal ht, Monolithic Barrier Curb, 750 mm width) | SD-223A | m | 600 |  | 0
B153C | iii) | Type 1 Concrete Splash Strip (150 mm reveal ht, Monolithic Modified Barrier Curb, 750 mm width) | SD-223A | m | 20 |  | 0
B153D | iv) | Type 1 Concrete Splash Strip, (Separate, 600 mm width) | SD-223B | m | 10 |  | 0
B154rl | A.25 | Concrete Curb Renewal | CW 3240-R10
B155rlA | i) | Type 1 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rlA1 | a) | Less than 3 m |  | m | 10 |  | 0
B155rlA2 | b) | 3 m to 30 m |  | m | 100 |  | 0
B155rlA3 | c) | Greater than 30 m |  | m | 150 |  | 0
B167rlA | ii) | Type 1 Concrete Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 30 |  | 0
B184rl | iii) | Type 1 Concrete Curb Ramp (8-12 mm reveal ht, Integral) | SD-229C,D | m | 30 |  | 0
B184rlA | iv) | Type 1 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 80 |  | 0
B190 | A.26 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 2000 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 400 |  | 0
B199 | A.27 | Construction of Asphalt Patches | CW 3410-R12 | m² | 40 |  | 0
B200 | A.28 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 4900 |  | 0
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 4700 |  | 0
B203 | iii) | 1 - 50 mm Depth (Concrete) |  | m² | 50 |  | 0
B219 | A.29 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 29 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | A.30 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R18
C008 | i) | Construction of 200 mm Type 1 Concrete Pavement - (Reinforced) |  | m² | 510 |  | 0
C055 | A.31 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 20 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 20 |  | 0
JOINT AND CRACK SEALING
D006 | A.32 | Reflective Crack Maintenance | CW 3250-R7 | m | 3000 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | A.33 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 1 |  | 0
E006 | A.34 | Catch Pit | CW 2130-R12
E007 | i) | SD-023 |  | each | 1 |  | 0
E007A | A.35 | Remove and Replace Existing Catch Basin | CW 2130-R12
E007B | i) | SD-024 |  | each | 1 |  | 0
E008 | A.36 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC SSP
E010 | a) | In a Trench, Class B Bedding, Class 3 Backfill |  | m | 1.1 |  | 0
E012 | A.37 | Drainage Connection Pipe | CW 2130-R12 | m | 2 |  | 0
E023 | A.38 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 2 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 4 |  | 0
E028 | iii) | AP-011 - Barrier Curb and Gutter Frame |  | each | 4 |  | 0
E029 | iv) | AP-012 - Barrier Curb and Gutter Cover |  | each | 4 |  | 0
E034 | A.39 | Connecting to Existing Catch Basin | CW 2130-R12
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 1 |  | 0
E036 | A.40 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm PVC Connecting Pipe
E041A | a) | Connecting to 600 mm Concrete Sewer |  | each | 1 |  | 0
E042 | A.41 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 250 mm |  | each | 1 |  | 0
E046 | A.42 | Removal of Existing Catch Basins | CW 2130-R12 | each | 1 |  | 0
E048 | A.43 | Relocation of Existing Catch Basins | CW 2130-R12 | each | 1 |  | 0
E050 | A.44 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 1 |  | 0
| A.45 | Abandoning Existing Sewer Services Under Pavement | CW 2130-R12
| i) | Existing Catch Basin Leads (250 mm or smaller) |  | each | 1 |  | 0
S-CL50018811
E017 | A.46 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017E | i) | 250 mm
E017F | a) | Class 3 Backfill |  | each | 1 |  | 0
E022A | A.47 | Sewer Inspection ( following repair) | CW 2145-R4
E022D | i) | 250 mm |  | m | 9 |  | 0
ADJUSTMENTS
F001 | A.48 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 15 |  | 0
F002 | A.49 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1.5 |  | 0
F003 | A.50 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 1 |  | 0
F005 | ii) | 51 mm |  | each | 3 |  | 0
F006 | iii) | 64 mm |  | each | 2 |  | 0
F009 | A.51 | Adjustment of Valve Boxes | CW 3210-R8 | each | 13 |  | 0
F010 | A.52 | Valve Box Extensions | CW 3210-R8 | each | 5 |  | 0
LANDSCAPING
G001 | A.53 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 40 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 1800 |  | 0
| A.54 | Landscaping Mulch | E14 | m² | 80 |  | 0
| A.55 | Regrading of Landscape Rock and Edging | E15 | m² | 35 |  | 0
MISCELLANEOUS
| A.56 | Relocation of Bus Stop Flag | E16 | each | 1 |  | 0
| A.57 | Relocation of Inground Waste Receptacle | E16 | each | 1 |  | 0
| A.58 | Relocation of Bollard/Trail Marker | E16 | each | 1 |  | 0
| A.59 | Relocation of Miscellaneous Waste Containers | E16 | each | 3 |  | 0
| A | DAKOTA STREET - ABINOJII MIKANAH (FORMERLY BISHOP GRANDIN BOULEVARD) TO ST. MARY'S ROAD - REHABILITATION |  |  |  | Subtotal: | 0
| B | DAKOTA STREET - WATER AND WASTE WORK
S-MA50018781
E017 | B.1 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017E | i) | 250 mm
E017F | a) | Class 3 Backfill |  | each | 1 |  | 0
E020 | B.2 | Sewer Repair - In Addition to First 3.0 Meters | CW 2130-R12
E020E | i) | 250 mm
E020F | a) | Class 3 Backfill |  | m | 0.5 |  | 0
E022A | B.3 | Sewer Inspection ( following repair) | CW 2145-R4
E022D | i) | 250 mm |  | m | 22 |  | 0
S-MH50014520
F002 | B.4 | Replacing Existing Risers | CW 2130-R12
F002C | i) | Cast-in-place Concrete |  | vert. m | 0.25 |  | 0
| B.5 | Manhole Inspection | CW 2145-R4 | each | 1 |  | 0
S-MH50015075
| B.6 | Patching of Existing Manholes | CW 2130-R12 | vert. m | 0.87 |  | 0
| B.7 | Manhole Inspection | CW 2145-R4 | each | 1 |  | 0
S-MH50012153
F002 | B.8 | Replacing Existing Risers | CW 2130-R12
F002C | i) | Cast-in-place Concrete |  | vert. m | 0.3 |  | 0
| B.9 | Manhole Inspection | CW 2145-R4 | each | 1 |  | 0
S-MH50012231
F002 | B.10 | Replacing Existing Risers | CW 2130-R12
F002C | i) | Cast-in-place Concrete |  | vert. m | 0.46 |  | 0
| B.11 | Manhole Inspection | CW 2145-R4 | each | 1 |  | 0
S-MH50012232
F002 | B.12 | Replacing Existing Risers | CW 2130-R12
F002C | i) | Cast-in-place Concrete |  | vert. m | 0.25 |  | 0
| B.13 | Manhole Inspection | CW 2145-R4 | each | 1 |  | 0
| B | DAKOTA STREET - WATER AND WASTE WORK |  |  |  | Subtotal: | 0
| C | NB LAGIMODIERE BOULEVARD - FERMOR AVENUE TO COTTONWOOD ROAD - REHABILITATION
EARTH AND BASE WORKS
A003 | C.1 | Excavation | CW 3110-R22 | m³ | 160 |  | 0
A004 | C.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 250 |  | 0
A007 | C.3 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 200 |  | 0
A010 | C.4 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 30 |  | 0
A012 | C.5 | Grading of Boulevards | CW 3110-R22 | m² | 1650 |  | 0
A013 | C.6 | Ditch Grading | CW 3110-R22 | m² | 2500 |  | 0
A022 | C.7 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 250 |  | 0
A022A4 | C.8 | Supply and Install Geogrid | CW 3135-R2
A022A6 | i) | Class B Geogrid |  | m² | 180 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | C.9 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 10 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 10 |  | 0
B047-24 | C.10 | Partial Slab Patches - Early Opening (24 hour) | CW 3230-R8
B056-24 | i) | 200 mm Type 3 Concrete Pavement (Type A) |  | m² | 10 |  | 0
B057-24 | ii) | 200 mm Type 3 Concrete Pavement (Type B) |  | m² | 25 |  | 0
B064-72 | C.11 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8
B071-72 | i) | 200 mm Type 4 Concrete Pavement (Reinforced) |  | m² | 170 |  | 0
B077-72 | C.12 | Partial Slab Patches - Early Opening (72 hour) | CW 3230-R8
B086-72 | i) | 200 mm Type 4 Concrete Pavement (Type A) |  | m² | 20 |  | 0
B087-72 | ii) | 200 mm Type 4 Concrete Pavement (Type B) |  | m² | 450 |  | 0
B088-72 | iii) | 200 mm Type 4 Concrete Pavement (Type C) |  | m² | 10 |  | 0
B089-72 | iv) | 200 mm Type 4 Concrete Pavement (Type D) |  | m² | 20 |  | 0
B094 | C.13 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 1100 |  | 0
B097 | C.14 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 60 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 1100 |  | 0
B100r | C.15 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B101r | i) | Median Slab |  | m² | 60 |  | 0
B104r | ii) | 100 mm Sidewalk |  | m² | 70 |  | 0
B107i | C.16 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B111i | i) | Type 5 Concrete 100 mm Sidewalk | SD-228A | m² | 150 |  | 0
B114A | C.17 | Type 5 Concrete 100 mm Sidewalk with Block Outs | E12 | m² | 10 |  | 0
B114E | C.18 | Paving Stone Indicator Surfaces | E13 | m² | 2 |  | 0
B114rl | C.19 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B116rl | i) | Type 1 Concrete Monolithic Median Slab | SD-226A | m² | 10 |  | 0
B122rl | ii) | Type 1 Concrete Bullnose | SD-227C | m² | 30 |  | 0
B126r | C.20 | Concrete Curb Removal | CW 3240-R10
B127rB | i) | Barrier Separate |  | m | 950 |  | 0
B130r | ii) | Mountable Curb |  | m | 130 |  | 0
B135i | C.21 | Concrete Curb Installation | CW 3240-R10
B138iA | i) | Type 1 Concrete Barrier (150 mm reveal ht, Integral) | SD-204 | m | 25 |  | 0
B140iA | ii) | Type 1 Concrete Modified Barrier (150 mm reveal ht, Integral) | SD-203B | m | 5 |  | 0
B150i | iii) | Type 1 Concrete Curb Ramp (8-12 mm reveal ht, Integral) | SD-229A,B,C | m | 8 |  | 0
B150iA | iv) | Type 1 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229A,B,C | m | 20 |  | 0
B153B | v) | Type 1 Concrete Splash Strip (150 mm reveal ht, Monolithic Barrier Curb, 750 mm width) | SD-223A | m | 1000 |  | 0
B153C | vi) | Type 1 Concrete Splash Strip (150 mm reveal ht, Monolithic Modified Barrier Curb, 750 mm width) | SD-223A | m | 50 |  | 0
B154rl | C.22 | Concrete Curb Renewal | CW 3240-R10
B155rlA | i) | Type 1 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rlA1 | a) | Less than 3 m |  | m | 30 |  | 0
B167rlA | ii) | Type 1 Concrete Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 30 |  | 0
B169rl | iii) | Type 1 Concrete Mountable Curb (120 mm reveal ht Integral) | SD-201 | m | 410 |  | 0
B184rlA | iv) | Type 1 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 45 |  | 0
B190 | C.23 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 3200 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 400 |  | 0
B199 | C.24 | Construction of Asphalt Patches | CW 3410-R12 | m² | 150 |  | 0
B200 | C.25 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 1000 |  | 0
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 12000 |  | 0
B203 | iii) | 1 - 50 mm Depth (Concrete) |  | m² | 50 |  | 0
B219 | C.26 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 18 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | C.27 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R18
C008 | i) | Construction of 200 mm Type 1 Concrete Pavement - (Reinforced) |  | m² | 50 |  | 0
JOINT AND CRACK SEALING
D006 | C.28 | Reflective Crack Maintenance | CW 3250-R7 | m | 3250 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E023 | C.29 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 3 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 3 |  | 0
S-CL50009913
E022A | C.30 | Sewer Inspection ( following repair) | CW 2145-R4
E022D | i) | 250 mm |  | m | 22 |  | 0
S-CL50009937
E017 | C.31 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017E | i) | 250 mm
E017F | a) | Class 3 Backfill |  | each | 1 |  | 0
E020 | C.32 | Sewer Repair - In Addition to First 3.0 Meters | CW 2130-R12
E020E | i) | 250 mm
E020F | a) | Class 3 Backfill |  | m | 3.2 |  | 0
E022A | C.33 | Sewer Inspection ( following repair) | CW 2145-R4
E022D | i) | 250 mm |  | m | 36 |  | 0
S-CL50009940
E022A | C.34 | Sewer Inspection ( following repair) | CW 2145-R4
E022D | i) | 250 mm |  | m | 20 |  | 0
S-CL50009942
E017 | C.35 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017E | i) | 250 mm
E017F | a) | Class 3 Backfill |  | each | 1 |  | 0
E022A | C.36 | Sewer Inspection ( following repair) | CW 2145-R4
E022D | i) | 250 mm |  | m | 11 |  | 0
S-CL50009947
E017 | C.37 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017E | i) | 250 mm
E017F | a) | Class 3 Backfill |  | each | 1 |  | 0
E022A | C.38 | Sewer Inspection ( following repair) | CW 2145-R4
E022D | i) | 250 mm |  | m | 18 |  | 0
S-CL50009948
E017 | C.39 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017E | i) | 250 mm
E017F | a) | Class 3 Backfill |  | each | 1 |  | 0
E022A | C.40 | Sewer Inspection ( following repair) | CW 2145-R4
E022D | i) | 250 mm |  | m | 5 |  | 0
S-CL50009954
E017 | C.41 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017E | i) | 250 mm
E017F | a) | Class 3 Backfill |  | each | 1 |  | 0
E022A | C.42 | Sewer Inspection ( following repair) | CW 2145-R4
E022D | i) | 250 mm |  | m | 17 |  | 0
ADJUSTMENTS
F001 | C.43 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 13 |  | 0
F002 | C.44 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
F003 | C.45 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 1 |  | 0
F005 | ii) | 51 mm |  | each | 1 |  | 0
F006 | iii) | 64 mm |  | each | 1 |  | 0
LANDSCAPING
G001 | C.46 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 50 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 1650 |  | 0
G005 | C.47 | Salt Tolerant Grass Seeding | E11 | m² | 2500 |  | 0
| C | NB LAGIMODIERE BOULEVARD - FERMOR AVENUE TO COTTONWOOD ROAD - REHABILITATION |  |  |  | Subtotal: | 0
| D | DAKOTA STREET - ABINOJII MIKANAH (FORMERLY BISHOP GRANDIN BOULEVARD) TO ST. MARY'S ROAD -TRAFFIC SIGNALS
ABINOJII MIKANAH (FORMERLY BISHOP GRANDIN) AT DAKOTA
| D.1 | Installation of Conduit | CW 3620-R9
| i) | Installation of Conduit- Single |  | m | 20 |  | 0
| ii) | Installation of Conduit- Double |  | m | 10 |  | 0
| D.2 | Installation of Concrete Bases | CW 3620-R9, E20
| i) | Signal Pole Base Early Open - Type G | SD-313 | each | 4 |  | 0
| D.3 | Installation of Service Boxes | CW 3620-R9
| i) | Service Box - Pre-Cast (17" x 30") | SD-322 | each | 1 |  | 0
| D.4 | Installation of Conduit into Existing Bases/Service Boxes | CW 3620-R9
| i) | Installation of Conduit into Existing Concrete Base |  | each | 1 |  | 0
| D.5 | Removal of Concrete Bases | CW 3620-R9
| i) | Removal of Existing Signal Pole Base or Service Box |  | each | 4 |  | 0
| D.6 | Cutovers | CW 3620-R9 | each | 6 |  | 0
BELIVEAU AT DAKOTA
| D.7 | Installation of Conduit | CW 3620-R9
| i) | Installation of Conduit- Single |  | m | 5 |  | 0
| D.8 | Ground Rods (Electrodes) | CW 3620-R9 | each | 1 |  | 0
| D.9 | Cutovers | CW 3620-R9 | each | 1 |  | 0
| D | DAKOTA STREET - ABINOJII MIKANAH (FORMERLY BISHOP GRANDIN BOULEVARD) TO ST. MARY'S ROAD -TRAFFIC SIGNALS |  |  |  | Subtotal: | 0
| E | NB LAGIMODIERE BOULEVARD - FERMOR AVENUE TO COTTONWOOD ROAD - TRAFFIC SIGNALS
FERMOR AT LAGIMODIERE
| E.1 | Installation of Conduit | CW 3620-R9
| i) | Installation of Conduit- Double |  | m | 5 |  | 0
| E.2 | Installation of Concrete Bases | CW 3620-R9, E20
| i) | Signal Pole Base Early Open - Type OD | SD-312A | each | 1 |  | 0
| E.3 | Removal of Concrete Bases | CW 3620-R9
| i) | Removal of Existing Signal Pole Base or Service Box |  | each | 1 |  | 0
| E.4 | Cutovers | CW 3620-R9 | each | 1 |  | 0
CAM FONTAINE/PATERSON AT LAGIMODIERE
| E.5 | Installation of Conduit | CW 3620-R9
| i) | Installation of Conduit- Single |  | m | 10 |  | 0
| E.6 | Installation of Concrete Bases | CW 3620-R9, E20
| i) | Signal Pole Base Early Open - Type G | SD-313 | each | 3 |  | 0
| E.7 | Removal of Concrete Bases | CW 3620-R9
| i) | Removal of Existing Signal Pole Base or Service Box |  | each | 2 |  | 0
| E.8 | Cutovers | CW 3620-R9 | each | 3 |  | 0
| E | NB LAGIMODIERE BOULEVARD - FERMOR AVENUE TO COTTONWOOD ROAD - TRAFFIC SIGNALS |  |  |  | Subtotal: | 0
| F | MOBILIZATION /DEMOLIBIZATION
I001 | F.1 | Mobilization/Demobilization | E2 | L. sum | 1 |  | 0
| F | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0
SUMMARY
| A | DAKOTA STREET - ABINOJII MIKANAH (FORMERLY BISHOP GRANDIN BOULEVARD) TO ST. MARY'S ROAD - REHABILITATION |  |  |  | Subtotal: | 0
| B | DAKOTA STREET - WATER AND WASTE WORK |  |  |  | Subtotal: | 0
| C | NB LAGIMODIERE BOULEVARD - FERMOR AVENUE TO COTTONWOOD ROAD - REHABILITATION |  |  |  | Subtotal: | 0
| D | DAKOTA STREET - ABINOJII MIKANAH (FORMERLY BISHOP GRANDIN BOULEVARD) TO ST. MARY'S ROAD -TRAFFIC SIGNALS |  |  |  | Subtotal: | 0
| E | NB LAGIMODIERE BOULEVARD - FERMOR AVENUE TO COTTONWOOD ROAD - TRAFFIC SIGNALS |  |  |  | Subtotal: | 0
| F | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0